DRAFT

MINUTES OF THE ERCOT RELIABILITY AND OPERATIONS
SUBCOMMITTEE (ROS) SIGNIFICANT EVENT REVIEW MEETING

FOR APRIL 17, 2006 EECP OPERATIONS

ERCOT – Austin

7620 Metro Center Drive

Austin, TX

- May 15, 2006; 9:00 a.m. – 3:30 p.m.

- Attendance:

- Members:

| Armke, James | Austin Energy |  |
| --- | --- | --- |
| Breitzman, Paul | City of Garland |  |
| Dillard, Jesse | City of Dallas |  |
| Garrett, Mark | Direct Energy, L.P. |  |
| Gibbens, David | CPS Energy |  |
| Greer, Clayton | Constellation |  |
| Helyer, Scott | Tenaska Power Services |  |
| Jones, Randy | Calpine Corporation |  |
| Keetch, Rick | Reliant Resources, Inc. |  |
| Kunkel, Dennis | American Electric Power |  |
| McCann, James | Brownsville PUB |  |
| McDaniel, Rex | Texas-New Mexico Power |  |
| Nelson, Stuart | Lower Colorado River Authority |  |
| Ogelman, Kenan | OPUC |  |
| Rankin, Ellis | TXU Electric Delivery |  |
| Rocha, Paul | CenterPoint Energy |  |
| Ryan, Marty | NRG Texas LLC |  |
| Ryno, Randy | Brazos Electric Power |  |
| Sweeney, Jason | SUEZ Energy Marketing NA, Inc. |  |
| Wheeler, Ron | Dynegy Power Corporation |  |
| Wood, Henry | South Texas Electric Cooperative | (via teleconference) |

- Guests:

| Avila, Robert | Brownsville P.U.B. |  |
| --- | --- | --- |
| Brewster, Chris | Steering Committee of TXU Cities |  |
| Brown, Jeff | Coral Power |  |
| Bruce, Mark | FPL Energy |  |
| Cummings, Bob | North American Electric Reliability Council |  |
| Grasso, Tony | PUCT |  |
| Jones, Don | TIEC |  |
| Jones, Liz | TXU Electric Delivery |  |
| Kemper, Wayne | CenterPoint Energy |  |
| Lange, Garry | CSU |  |
| Lloyd, Brian | PUCT |  |
| Niemeyer, Sydney | NRG Texas, LLC |  |
| Palmisano, Augie | CSU |  |
| Payton, Tom | Occidental Chemical Corporation |  |
| Teeter, David L. | Lower Colorado River Authority |  |
| Willms, Jerry | Lower Colorado River Authority |  |

ERCOT Staff:

| Dusenberry, Brad |  |
| --- | --- |
| Dumas, John |  |
| Gaytan, Jose |  |
| Grammer, Kent |  |
| Grimm, Larry |  |
| Henry, Mark |  |
| Hinson, James |  |
| Hunsucker, Brett |  |
| López, Nieves |  |
| Myers, Steve |  |
| Saathoff, Kent |  |
| Sampath, Anitha |  |
| Sanders, Sarah |  |
| Villanueva, Leo |  |

- Chair Paul Breitzman called the meeting to order on May 15, 2006 at 9:01 a.m.

Antitrust Admonition

The Antitrust Admonition was displayed. Paul Breitzman noted the need to comply with the ERCOT Antitrust Guidelines. A copy of the Antitrust Guidelines was available for review.

North American Electric Reliability Council (NERC) Event Analysis Overview (see Key Documents)

Bob Cummings discussed the overall scope of the NERC Reliability Assessment & Performance Analysis (RAPA) Programs: Reliability Assessment, Events Analysis and Information Exchange and Benchmarking. Several large scale outages are currently under investigation by NERC including the ERCOT Emergency Electric Curtailment Plan (EECP) Event on April 17, 2006.

Review of Events (see Key Documents)

John Dumas presented the ERCOT Operations draft report of the April 17th EECP Event, which included a chronological review of events, load forecast issues, and resource plan and available capacity issues. After extensive discussion with the ROS, Mr. Dumas agreed to include a number of additions and clarifications to the report

Lessons Learned/Next Steps

ROS discussion of aspects of the Event that could have been improved focused on the following:

- Appropriate trigger events for moving to various EECP steps,

- Need to provide better advance notice of conditions to the market,

- Need for public appeal to come earlier,

- More effective communication between ERCOT and Transmission Operators (TOs) and Qualified Service Entities (QSEs)

- How reserve capability is being measured

- Dispatch and control of additional reserves

- Manual LaaR deployment

- Need for industrial Customers to know when an event may be triggered

Mr. Breitzman opined that the event was handled adequately and suggested continued discussion on lessons learned. ROS agreed to the wording that “ROS looked at the anomalous event and found ERCOT’s actions appropriate but with room for improvement.” Several Market Participants stated the area that most needed examination and improvement was notification and communications.

Ellis Rankin agreed to develop a strawman of the best way to measure reserve capability and Marty Ryan offered assistance with this effort. Mr. Dumas will provide information to assist with strawman development.

Stuart Nelson and Randy Jones agreed to develop a strawman for improved advance notice to market participants

Jack Thormahlen and James Hinson agreed to develop a strawman for improved clarity and adequacy of communication between ERCOT and TOs and QSEs during an EECP event.

Mr. Breitzman asked Mr. Dumas to note in his report that wind capacity is no longer being included as part of the reserve capacity. Stuart Nelson suggested consistency on use of terms and use of footnotes to define terms being used. He also asked that QSEs be anonymously differentiated.

Levels of alert and discussion of a noon report resulted in Mr. Breitzman requesting that ERCOT put together a plan for review to present at the June ROS meeting. James Hinson agreed to provide this information.

Steve Myers reported that questionnaires have been sent to TOs and QSEs; survey data will be aggregated and added to the event report.

Adjournment

Mr. Breitzman adjourned the meeting at 2:42 p.m.

Key Documents referenced in these minutes can be accessed on ERCOT.com at the following link:

http://www.ercot.com/calendar/2006/05/20060515-ROS.html