| Competitive Working Group Meeting Attendance |  |  |  |
| --- | --- | --- | --- |
| Name | Company | Name | Company |
| Steve Isser | Good Company | Chuck Moore | Direct Energy |
| Eric Blakey | TXUED | Mike Hammock | TXU Energy |
| Dale Tinnin | Center Point Energy | Zachary Collared | Center Point Energy |
| Chris King (p) | eMeter | Diana Ott | ERCOT |
| Christine Wright | PUC | Walt Shumate | ITRON |
| Frank Billman | TNMP | Carl Raish | ERCOT |
| Herman Millican | Austin Energy | Mike McCabe | Reliant Energy |
| Don Tucker | ERCOT |  |  |
| Scott DeBroff | LeBoeuf, Lamb, Greene & MacRae on behalf of Elster & Hunt Technologies | Denise Stokes | Competitive Assets / Energy Com Network |
| Fred Strauss (p) | AEP | Harvey Scheffler | CPS |
|  |  | Sarah Heselmeyer | ERCOT |

Commission Staff has requested some informal feedback from the market pertaining to project #31418 – Advanced Metering.

General Discussion:

Listed below is a general structure for data exchange for the commission staff. The group believes the details should be left to an ERCOT working group or task force.

- Provide input/recommendations on the file structure and data exchange format for metering information available from advanced metering networks.

The group reached consensus on using a “web based “automated file transfer with a uniform data exchange format across TDSP’s.  The data exchange format is intended to provide the capability for addressing data exchange for the CR, a third party and the individual customer. Current rules assign ownership of the data to the customer and these data exchanges must adhere to current Market and PUCT rules. Examples of some formats are below.

  - Scope is limited to the file structure and data exchange format for information exchange outside of the current market transactions required to support ERCOT settlements.

    - Types of data transfer

      - Text files

      - CSV files

      - XML document format

      - EDI

      - Current ERCOT API technology in standard XML format

        - Group supports this for a minimum, but is not saying that other methods can not be used

    - Multi-speak initiative – This is an example of an industry initiative to reach standards for file transfer and data structure.

      - uses xml document format

      - web services for data transfer

      - Customer access through internet to collected data

  - Options to provide feedback on:

    - Assume the REP has access to the meter, similar to large customers where the REP currently has read access for IDR data.

Clarification from Staff: Looking for speed that the REP gets access to data.  This does not require that the REP has direct access to the meter.

Discussions:

Speed that the REP gets access to data will be covered in the frequency of data collection section.

Options for timing of connect/disconnects.  Not all points will have the capability installed for remote disconnects by the TDSP.  Sites selected for installation of this technology would be based on cost effectiveness based on the TDSP analysis. The REP should have the option to request installation of this equipment for specific locations at the incremental cost associated with the equipment and the installation.

REP would continue to make connect/disconnect requests through the TDSP.  The TDSP retains the responsibility to perform connect and disconnect.

REP would like the ability to utilize the network to capacity: (need cost versus capabilities dialogue)

- Ability to get interval data (not specifying what the interval is)

- Ability to get data more frequently than monthly

- Know when and where advanced metering is deployed.

- Need ability to access most recent data in the TDSP system that has been collected from the meter.

- REP needs flexibility to set the frequency of data collection and granularity of data.

Access to network/data should be uniform across the TDSP’s

    - Assume that the TDSP is responsible for collecting this information from the network and the data will be made available to the market after it has been collected.

      - See discussion for question 1 above

    - Other?

      - Aggregators or other service providers the customer authorizes should have access to the data.

- Provide input/recommendations on the market expectations for the frequency of data collection from advanced metering networks. (hourly, daily, weekly, monthly)

Discussion:

This group has consensus that, at a minimum, a daily read frequency be established and supported by the “TDSP” and requests above this frequency, if feasible, would be at a charge to the requestor.

This group has consensus that, at a minimum, the TDSP will make the data available the day after the read and requests above this frequency, if feasible, would be at a charge to the requestor.

  - Desire was expressed for on demand / real time access to the meter

  - Recognition that there are costs associated with more frequent data collection

  - Minimum daily reads are consistent with the suggested requirements in EPACT section 103 for federal buildings.

- Provide input/recommendations on the market expectations for data granularity from advanced metering networks. (15 minute, , hourly, daily, weekly, monthly)

General Discussion:

The group has consensus that, at a minimum, for residential customers the data granularity required is daily consumption data with the functionality to go to hourly data to support TOU offerings.

The group has consensus that, at a minimum, for C&I customers the data granularity required is daily consumption data with the functionality to go to hourly data to support TOU offerings and  fifteen minute data to support the IDR threshold in the ERCOT Market.

  - Information for REP billing

    - Current market

      - Support of TOU rates (functionality)

        - TOU buckets in the meter

          - some advanced metering networks do this in the network but not in the meter

      - Current ERCOT settlement interval

    - Future offerings (be specific in general terms)

      - Real time pricing

        - Critical peak pricing with dynamic TOU

      - Generator settlement intervals

      - Flexibility to change data granularity

        - from monthly data to settlement interval required for that customer

        - One REP would like to have the capability of fifteen minute data available for all meter points.

        - Recognition that there are costs associated with data storage.  These costs will vary based on the data granularity and retention period for the data.

  - Information for ERCOT Settlements

    - Current market

      - Support of TOU rates (functionality)

    - Future market enhancements (be specific)

      - Weekly data submittals for settlements – requires Protocol changes

      - Flexibility to change data granularity (maybe just for some customer level but not necessarily all customers)

        - from monthly data to settlement interval required for that customer

      - Real time pricing

        - Critical peak pricing with dynamic TOU

      - Capability to change settlement intervals due to changes in ERCOT Protocols.

- Provide input/recommendations on the market expectations for the minimum functionality expected from advanced metering networks.

Discussion:

The group has consensus that the basic advanced functionality listed under letter “a” would be available upon deployment for all metering points located on an advanced metering network.

The group has consensus that the advanced functionality listed under letter “b” should be available for all metering points located on an advanced metering network and would be deployed based on requests.

The group has consensus that the advanced functionality listed under letter “c” should be investigated for possible inclusion in functionality available for all metering points. There was no discussion on whether this functionality should be available upon deployment or would be deployed based on requests.

  - Basic advanced functionality for all metering points on an advanced metering network

    - Remote reads for billing metrics with the ability for reads more often that once a month – see question #2 above

    - Outage detection (improved customer service)

    - Tamper alarms

    - Security

  - The advanced metering network should support the functionality listed below for all metering points and can be deployed based on request

    - Power Quality

    - Remote connect and disconnect

    - Prepaid metering

    - Flexible data granularity - see question # 3 above

  - Optional functionality of an advanced metering network to investigate as possible inclusion for all metering points or for a subset of metering points on an advanced metering network.

    - The capability to implement new communications technology for direct access to the meter, or direct access to the meter data through the internet or by other means, by the customer or the customers representative

      - Advanced metering systems currently utilize proprietary software to read meters and this must be considered to allow third party direct access to the meter.  This may be a barrier for third party direct access to the meter.

      - Option of requesting an on demand read from the meter through the TDSP systems.

    - Will the advanced metering network be utilized by parties other than the TDSP to communicate to the customer and/or control loads on the Customers premise?

      - The ability to provide price signals to some display for the customer

      - The ability to provide other load control functions.

      - Security concerns need to be investigated for access beyond the REP

    - Distribution automation

- Other / Parking Lot

The group either deleted the parking lot items or categorized them into the headings below.

  - Requires resolution before/during the rulemaking

    - With different technology solutions deployed in different geographic areas, there should be a mechanism where a REP can determine what technology was deployed for a customer / geographical region.

    - Discussion on time synchronization for different networks and the associated time tolerance for IDR data. Difference of opinion on where this should be placed.

      - ANSI C12.1 defines how a meter calculates revenue data.  Is this an issue for using advanced metering networks to timestamp data for TOU rates?

    - What is the upgrade path for enhancements to advanced metering networks? Difference of opinion on where this should be placed by one participant and others believe it should be in the “outside the current scope” section.

  - Can be resolved after the rulemaking

    - Need to define daily consumption based on market needs and technology limitations.  Is this a 24 hour period or midnight to midnight?

    - In the event a read is not available for that day, there needs to be an indicator that the read is not available for that account?

    - Will data estimation be performed for missing reads?

    - What data validation will occur to posted reads?

  - Outside the current scope of the COMET WG

    - Will End users need access to data without the use of special software?  What would the authorization process be?

    - Discussion on time synchronization for different networks and the associated time tolerance for IDR data.  Difference of opinion on where this should be placed.

      - ANSI C12.1 defines how a meter calculates revenue data.  Is this an issue for using advanced metering networks to timestamp data for TOU rates?

    - PURA Section 39.107 Restructuring of Electric Industry subchapter C Retail Competition (metering and billing services) needs to be considered in conjunction with EPACT 2005 section 1252.

    - Direct access by third parties to the meter for advanced metering networks could be prohibitively expensive.

      - Direct access to a meter may eliminate some systems.

      - Concerns about liability introduced for a third party to have “direct” access to networks.

      - Where do customer protection rules come into play if third parties have “direct” access to meters/networks?

    - What is the upgrade path for enhancements to advanced metering networks? Difference of opinion on where this should be placed by one participant and others believe it should be in the “outside the current scope” section.