NOTES OF THE ERCOT REVIEW OF EECP EVENT:

MARKET ACTIVITIES AND COMMUNICATIONS GENERAL MARKET MEETING

#### ERCOT Met Center – Austin

7620 Metro Center Drive

Austin, Texas 78744

#### May 8, 2006; 9:00 a.m. – 12:00 p.m.

Attendance

Guests:

| Aldridge, Curry | Tenaska Power Services |
| --- | --- |
| Ashley, Kristy | Exelon |
| Belk, Brad | Lower Colorado River Authority |
| Brandt, Adrianne | PUCT |
| Brewster, Chris | TXU Cities |
| Brown, Jeff | Coral Power |
| Comstock, Read | Strategic Energy |
| Detelich, David | CPS Energy |
| Dreyfus, Mark | Austin Energy |
| Emery, Keith | Tenaska Power Services |
| Flowers, BJ | TXU Energy |
| Garcia, Jennifer | Direct Energy |
| Grasso, Tony | PUCT |
| Gresham, Kevin | Reliant Energy |
| Grim, Mike | TXU Wholesale |
| Gurley, Larry | Tenaska Power Services |
| Helton, Bob | ANP |
| Hughes, Gilbert | AEP Texas |
| Jones, Dan | CPS Energy |
| Jones, Don | TIEC |
| Jones, Larry | AEP Texas |
| Jones, Randy | Calpine |
| Keller, Ken | TXU Electric Delivery |
| Kolodziej, Eddie | Customized Energy Solutions |
| Lloyd, Brian | PUCT |
| Lowe, Leticia | CenterPoint Energy |
| Martinez, Alberto | Xtend Energy, LP |
| McDaniel, Rex | Texas-New Mexico Power |
| Morter, Wayne | Austin Energy |
| Niemeyer, Sydney | NRG Texas, LLC |
| Pieniazek, Adrian | NRG Texas |
| Reed, Jeff | TXU Electric Delivery |
| Ryan, Martin | NRG Texas, LLC |
| Southers, Stan | TXU Electric Delivery |
| Stecker, Milli | Austin Energy |
| Teeter, David L. | Lower Colorado River Authority |
| Thompson, Emily | CenterPoint Energy |
| Thormahlen, Jack | Lower Colorado River Authority |
| Trefny, Floyd | Reliant Energy |

| Wagner, Marguerite | Reliant Energy |
| --- | --- |
| Walker, DeAnn | CenterPoint Energy |
| Ward, Jerry | EXTYR |
| Willms, Jerry | Lower Colorado River Authority |

ERCOT Staff:

Day, Betty

Deller, Art

Dumas, John

Grimm, Larry

Gruber, Richard

Hobbs, Kristi

López, Nieves

Patterson, Mark

Ragsdale, Kenneth

Saathoff, Kent

Sanders, Sarah

Seely, Chad

Wattles, Paul

Zake, Diana

TAC -Chair Read Comstock called the general market meeting to order at 9:06 a.m.

Antitrust Admonition

Mr. Comstock directed attention to the Antitrust Admonition displayed. A copy of the Antitrust Guidelines was available for review.

# ERCOT Review of Events (see Key Documents)

Kent Saathoff reviewed information related to the Emergency Electric Curtailment Plan (EECP) event of April 17, 2006. Mr. Saathoff presented a chronological review of EECP events and stated two primary issues that ERCOT is examining in relation to the event: load forecasting error and inaccuracies in total system capability values. Mr. Saathoff and John Dumas answered questions from Market Participants regarding system parameters, system capacity, load forecasting, resource planning, and the weather forecasting service used by ERCOT. The difficulty in accurately estimating capacity has been a factor in each EECP event according to Mr. Saathoff. Mr. Saathoff reported that the weather forecasting service used by ERCOT has been reliable and accurate and that a shift in a dry line in the Dallas/Fort Worth area caused the temperature to rise unexpectedly in that area.

ERCOT has looked at the calculation of Responsive Reserve Service in real-time and Mr. Saathoff explained the challenges in this task. The Responsive Reserve amount is based on the High Operating Limit (HOL) of generating units as represented by the minimum three values: resource plan value, telemetered value, and the maximum capability from the last unit capability test. Issues on the communication between ERCOT and Market Participants were also raised.

Mark Patterson discussed the total of QSEs providing Loads Acting as a Resource (LaaRs) services and reported that he is working with the Demand Side Working Group (DSWG) and with individual QSEs to determine why response took longer then the ten minutes required by the Protocols. DSWG was requested to continue studying LaaRs performance during the EECP event and determine if other interruptible load responded. DSWG is also tasked with the investigation of Demand Side products.

Mr. Saathoff reviewed the Protocols related to EECP Procedures and discussed the steps with Stakeholders, stating that public appeals for curtailment of use takes time to have an effect and consideration should be given to moving this to an earlier step in the plan.

ERCOT Compliance is investigating EECP-related issues including firm load shedding and receipt of telephone communication by a transmission operator.

The need for further study of the event by the Generation Adequacy Task Force (GATF) under the Wholesale Market Subcommittee (WMS) with input of ROS as needed was requested. The specific topics to be addressed included:

- Review of Resource Plans and Study of Relation to EECP Event

- Update of Resource Plans

- Evaluate of Maximum Capability MW Number in Resource Plans

- Study Wind Capacity

- Examine Offline Capacity in Resource Plan not Available

ERCOT was requested to sponsor a forum to present the current Load Forecasting methodology to Stakeholders. A reliability review meeting of the Reliability and Operations Subcommittee (ROS) on May 15, 2006 was scheduled to discuss the technical issues surrounding the EECP event.

Market Events Associated with EECP Event (see Key Documents)

Kenneth Ragsdale reported on market events associated with the EECP event, including arrangement and deployment of capacity services and payments for capacity services and cost allocations. Mr. Ragsdale reviewed settlement information for the operating days April 16, 2006 through April 18, 2006 showing details for the day-ahead and day-after markets on a spreadsheet. Mr. Ragsdale and Mr. Dumas answered Market Participant questions about the use of scheduled loads. Mr. Ragsdale presented the formulas used to calculate the Out-of-Merit Capacity (OOMC) payment (Protocol Section 6.8.2.2, Capacity and Minimum Energy Payments). The formula contained in Protocol Section 6.9.2.1.1, Replacement Reserve Under Scheduled Capacity, was also discussed. After a number of Market Participants expressed concern over the Replacement Reserve formula in use, Mr. Comstock assigned an action item to WMS to identify issues that need to be addressed with the Replacement Reserve and confirm the OOMC payment calculation.

Market Communications (see Key Documents)

Richard Gruber provided a review of the Protocols related to communications during emergency and short supply situations and noted that expectations of Market Participants are different than what is currently specified in the Protocols and Guides. Mr. Gruber spoke of the need to bridge the gap between the current Protocols and Guides and the Stakeholders’ expectations and of his willingness to facilitate this process.

Mr. Gruber and Market Participants discussed the specifics outlined in the Protocols and Guides and Market Participants voiced specific concerns about how communications were handled during the EECP event. Mr. Gruber reported that an internal task force is looking at communications in events and is currently investigating technology that would allow simultaneous notification by email and voicemail.

Mr. Gruber spoke of the need to clarify expectations as the ERCOT region moves from an early warning to an actual event and stated the difficulty of striking the proper balance in warnings. Due to the differences in internal communications within various organizations, ERCOT may need to send the notice to numerous lists. Market Participants maintain responsibility for signing up for the proper lists through the ERCOT Website.

Paul Wattles further addressed the ERCOT communications of event. Mr. Wattles acknowledged the Market Participants’ expressed need for early alert for forecasts of insufficient capacity. Communications with the PUCT and the immediate need to notify local officials and law enforcement for events was also discussed.

Terminology use differences between Protocols/Guides and external communication to the media was discussed. Jerry Ward opined that the media involvement can be confusing, and suggested that either consistent terminology should be used when communicating to the media or a completely different set of terminology should be used citing multiple meanings for the same work (such as “warning”). Mr. Wattles agreed on the importance of presenting a consistent message at the earliest stage possible and spoke of the technology solutions under investigation as well as the development of templates and prototypes for messages. Market Participants asked that ERCOT.com also be utilized as a communication device where Stakeholders can seek their own early warnings.

Commercial Operations Subcommittee (COPS) Communications Working Group (CCWG) will continue work that is underway to define specifics of communication from ERCOT to Stakeholders and the media with input from other subcommittees.

Other Business and Adjournment

Mr. Comstock stated that TAC would seek updates on the issues discussed. Mr. Comstock adjourned the meeting at 12:12 p.m.

| EECP Action Items: | Responsible Party |
| --- | --- |
| - Review of EECP Steps | ROS |
| - Load forecasting methodology review forum | ERCOT |
| - Review of Resource plans and how related to EECP event | WMS |
| - Review of Settlement calculations specific to RPRS due to capacity insufficiency situation and OOM Replacement Reserve calculation | WMS |
| - Review of LaaR performance during April EECP event and whether other interruptible load responded | WMS |
| - Communication review related to Emergency and Short Supply situations: When to communicate, what to communicate, to whom, and how? | COPS |

Key Documents referenced in these minutes can be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2006/05/20060508-Review_EECP.html