## Example 1
|  |  | QSE B |  |  |  |  | QSE D
|  |  | Balance Schedule |  |  |  |  | Balance Schedule
| Resource Plan |  | Supply | Obligation |  |  |  | Supply | Obligation |  | Adjusted Metered Load
| MW | 100 | 50 | 50 |  |  |  | 50 | 50 | Load | 100
QSE A
Balance Schedule
[6 empty] | Supply | Obligation
[6 empty] | 100 | 100
[6 empty] | 100 | 100
|  |  | QSE C |  |  |  |  | QSE E
|  |  | Balance Schedule |  |  |  |  | Balance Schedule
| Resource Plan |  | Supply | Obligation |  |  |  | Supply | Obligation |  | Adjusted Metered Load
| MW | 100 | 50 | 150 |  |  |  | 150 | 100 | Load | 150
|  |  | 100 | [5 empty] | 50
| From ERCOT | [8 empty] | To ERCOT
ERCOT Forecast Load of 250 MW
ERCOT Recognizes resource commitments total only 200 MW
ERCOT Procures 50 MW of RPRS from some other "QSE F" at a price of $500/MW or $25,000
QSE A RPRS Settlement
(a) QSE has no metered load, so both CL and AML are zero.
(b) QSE mismatched quantities on an individual QSE pair basis are as follows:
QSE mismatch with QSE B results in QSE A "dragging" on the market for 50 MW
| MMSQAQB = Max(0,( 100 - 50)) + Min (0, (0 - 0)) = 50 |  |  |  | 50
QSE mismatch with QSE C results in QSE C provding an extra 50 to the grid, but QSE A receives no credit.
| MMSQAQc = Max(0,( 100 - 150)) + Min (0, (0 - 0)) = 0 |  |  |  | 0
QSE mismatch with QSE D results in QSE A provding a extra 50 MW to the grid and QSE a receives credit
| MMSQAQD = Max(0,( 0 - 0)) + Min (0, (50 - 100)) = -50 |  |  |  | -50
QSE mismatch with QSE E results in QSE E "dragging" on the market for 50, but it has no impact on QSE A
| MMSQAQE = Max(0,( 0 - 0)) + Min (0, (150 - 100)) = 0 |  |  |  | 0
| MMQQA = 50 + 0 + (-50) + (0) |  |  |  | 0
(c) Combining the two components in the revised equation QSE A will be charged nothing since both terms are zero.
Net charge to QSE A for RPRS Settlement is Zero.
QSE B RPRS Settlement
(a) QSE B has no metered load, so both CL and AML are zero.
(b) QSE mismatched quantities on an individual QSE pair basis are as follows:
QSE mismatch with QSEA has no impact on QSE B
MMSQBQA = Max(0,( 0- 0)) + Min (0, (100 - 50)) = 0
QSE B has no scheduls with QSE C
MMSQBQC = 0
QSE B has no schedules with QSE D
MMSQBQD = 0
QSE B has no schedules with QSE E
MMSQBQE = 0
MMQQA = 0 + 0 + 0 + 0
(c) Combining the two components in the revised equation QSE A will be charged nothing since both terms are zero.
No credit is given for the "extra" 50 MW the QSE committed on the Resource Plan above its own needs.
Net charge to QSE B for RPRS Settlement is Zero.
QSE C RPRS Settlement
(a) QSE C has no metered load, so both CL and AML are zero.
(b) QSE mismatched quantities on an individual QSE pair basis are as follows:
QSE C mismatch with QSEA results in an over supply by QSE C dumping extra energy into the market
MMSQCQA = Max(0,( 0 - 0)) + Min (0, (100 - 150)) = -50
QSE C has no scheduls with QSE B
MMSQCQB = 0
QSE C has no schedules with QSE D
MMSQCQD = 0
QSE C has no schedules with QSE E
MMSQCQE = 0
QSE C scheduled purchase from the market, I believe, shows up much like a mismatched quantity for a counterparty that scheduled zero (0).
MMSQCQERCOT = 100
MMQQC = -50 + 0 + 0 + 0 + 100 = 50
(c) Combining the two components in the revised equation QSE D will be charged for 50 MW of RPRS.
The AML Vs Schedule component is zero combined with the 50 MW MMQ component.
Notice QSE C here ends up paying for RPRS service in spite of the fact that they showed an extra 50 MW on the Resource Plan
US = $500 X 50 MW = $25,000
Net charge to QSE C for RPRS Settlement is $25,000.
QSE D RPRS Settlement
(a) QSE D has metered load of 100 and scheduled load of 50, so the AML-SL component will be 50 MW to potentially charge him for the 50 MW covered by the market.
Max (0, AML - MinCL)) = Max (0, 100 - 50) = 50
(b) QSE mismatched quantities on an individual QSE pair basis are as follows:
QSE D mismatch with QSEA has no impact on QSE D. This has already been considered in QSE A's settlement.
MMSQDQA = Max(0,( 50 - 100)) + Min (0, (0 -0 )) = 0
QSE D has no scheduls with QSE B
MMSQDQB = 0
QSE D has no schedules with QSE C
MMSQDQC = 0
QSE D has no schedules with QSE E
MMSQDQE = 0
MMQQD = 0 + 0 + 0 + 0 + 0 = 0
(c) Combining the two components in the revised equation QSE E will be charged for 50 MW of RPRS.
The 50 MW AML Vs Schedule component combined with the 0 MW MMQ component.
US = $500 X 50 MW = $25,000
Net charge to QSE D for RPRS Settlement is $25,000.
QSE E RPRS Settlement
(a) QSE E has metered load of 150 and scheduled load of 100, so the AML-SL component will be 50 MW to potentially charge him for the 50 MW covered by the market.
Max (0, AML - MinCL)) = Max (0, 150 - 100) = 50
(b) QSE E mismatched quantities on an individual QSE pair basis are as follows:
QSE E mismatch with QSE A results in QSE E "dragging" on the market for 50 MW
MMSQEQA = Max(0,( 150 - 100)) + Min (0, (0 -0 )) = 50
QSE E has no scheduls with QSE B
MMSQEQB = 0
QSE E has no schedules with QSE C
MMSQEQC = 0
QSE E has no schedules with QSE D
MMSQEQE = 0
QSE E scheduled sale to the market, I believe, shows up much like a mismatched quantity with a counterparty that scheduled 0.
MMSQDQERCOT = -50
MMQQE = 50 + 0 + 0 + 0 + (-50) = 0
(c) Combining the two components in the revised equation QSE D will be charged for 50 MW of RPRS.
The 50 MW AML Vs Schedule component combined with the 0 MW MMQ component.
US = $500 X 50 MW = $25,000
Net charge to QSE E for RPRS Settlement is $25,000.
QSE F RPRS Settlement
$25,000 payment for RPRS procured by ERCOT
Net RPRS Payment/Charges to ERCOT:
$0 Charge to QSE A
$0 Charge to QSE B
$0 Charge to QSE C
$25,000 Charge to QSE D
$25,000 Charge to QSE E
$25,000 Payment to QSE F for the RPRS that was procured.
$25,000 net credit to be uplifted to the entire market.

## misc
INTENDED
| QSE A |  | QSE B
| Balance Schedule |  | Balance Schedule
| Supply | Obligation | Supply | Obligation
| 100 | 100 | 100 | 100
ACTUAL Submission
| QSE A |  | QSE B
| Balance Schedule |  | Balance Schedule
| Supply | Obligation | Supply | Obligation
| 100 | 100 | 0 | 0
QSE to QSE sale A to B
QSE to QSE sale B to A
QSE to QSE sale A to B
QSE to QSE sale B to A