Training Curriculum

Texas Nodal Market

ERCOT 101: The Basics

| Course | Web w/self-directed Instruction | Virtual w/live Instruction | In-Person Classroom | QSE | LSE | PM/Trader | TSPs & DSPs | General Knowledge |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ERCOT 101: The Basics |  |  |  | M | M | M | M | M |

High level 8 hour course taught to general audiences of current and potential market participants.  The course contrasts the major changes to move ERCOT from a zonal market to a nodal market.  This includes a description of the basic real time ERCOT control functions from network security analysis, to Security-Constrained Economic Dispatch (‘SCED’), to enhanced Load-Frequency Control (‘LFC’) and concluding with generation and load settlement examples.  Following the basic presentation of Real Time, the course covers ERCOT’s Day Ahead Market, Transmission System Security and Reliability Unit Commitment.

Target Audience and Timing -  This high level course is designed to provide an overview of the Texas Nodal Market for utility and energy company executives, directors, managers, schedulers, coordinators, dispatchers, controllers, traders, planning engineers, operations engineers, EMS-AGC engineers, engineering technicians, IT support staff, accountants, and others.  The course must be attended in person at ERCOT or at market participant facilities approved by ERCOT, by anyone who participates in the Texas Nodal Market by providing data or information to ERCOT. Training must be completed prior to the beginning of testing of the Early Delivery System (EDS) phase 3, that will used live data in a test operation to simulate operations under Texas Nodal Market. ERCOT Training will estimate the total number of potential Market Participant personnel and target training sessions to attract at least 75% of the total population. Course participants will be given a multiple choice quiz to gauge the effectiveness of the presentation.  Course participants are expected to answer 70% of all questions correctly.  If a participant fails to meet the required test score, the participant will be allowed to enroll in the course and retest as necessary.

NOIE QSE Operations

| Course | Web w/self-directed Instruction | Virtual w/live Instruction | In-Person Classroom | QSE | LSE | PM/Trader | TSPs & DSPs | General Knowledge |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NOIE QSE Operations |  |  |  | R | R | R | R | R |

Special 8 hour course to supplement Basic Training, open to all market participants, designed to supplement information covered in the Basic Training Program as it pertains to Non-Opt In Entities(“NOIEs”). This course will cover the typical business functions of Non-Opt in Entities who desire to use Output Schedules and/or Dynamically Scheduled Resources (DSRs) and PCRRs.  This would include descriptions of Real Time control functions using Output Schedules and the interaction with the market and other Resources that use Energy Offer Curves.  Consideration will be given to the interaction with enhanced Load Frequency Control and NOIE Resources that are providing Regulation, Responsive, and Non-Spinning Reserve ancillary services.  This course also covers the performance and compliance aspects of using DSRs and contrasts their application to Market Participants who operate using Energy Offer Curves and those who use Output Schedules not associated with a dynamic load. The course will cover that use of PCRRs including PCRR options settling in Real-Time.

Target Audience and Timing -   This special course is designed to provide key information for cooperatives and municipalities including utility department executives, directors, managers, schedulers, coordinators, dispatchers, controllers, planning engineers, operations engineers, EMS - AGC engineers, engineering technicians, IT support staff, and others.  The course must be attended in person at ERCOT or at  market participant facilities approved by ERCOT,  by all NOIE dispatch operations personnel including managers, dispatchers, supervisors and operations engineers intending to use dynamic schedules prior to the beginning of testing of the Early Delivery System (EDS) phase 3. ERCOT Training will estimate the total number of potential Market Participant personnel from each company with a 24 hour dispatch office and target training sessions to attract at least 95% of the this population.  As a minimum, at least one person from each operating shift for each 24 hour dispatch office must satisfactorily attend. Course participants will be given a multiple choice quiz to gauge the effectiveness of the presentation.  Course participants are expected to answer 70% of all questions correctly.  If a participant fails to meet the required test score, the participant will be allowed to enroll in the course and retest as necessary.

Basic Training Program

| Course | Web w/self-directed Instruction | Virtual w/live Instruction | In-Person Classroom | QSE | LSE | PM/Trader | TSPs & DSPs | General Knowledge |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Basic Training Program |  |  |  | M | R | R | M |  |

This 40 hour course (5 days) will provide a market design overview covering the operations of QSEs, TDUs and ERCOT in Real Time, the Adjustment Period and Day Ahead markets.  The program also introduces the student to the Management functions of ERCOT in the Nodal market.

Real Time Operations

The course section begins with an overview of Real Time Operations and covers the basics of ERCOT’s Real Time Sequence.  The course shows the interaction of the SCADA systems from QSEs and TDUs, alarm processing at ERCOT, Network Topology Builder, Bus Load Forecast, State Estimator, Topology Consistency Analyzer, Breaker and Switch Forced Outage Detection, use of Real-Time Weather, Dynamic Ratings for Transmission Elements, Overload alarms, Contingency List and Contingency Screening, Network Security Analysis, Security Violation Alarms, and Transmission Constraint Management.  Next, the course covers telemetry of Resource status and limits, Resource Limit Calculator, Security Constrained Economic Dispatch, Base Points, and Load Frequency Control.  Special consideration is given to describe the telemetry of Resource status, limits and participation factors and how those statuses and limits are used in ERCOT control functions.  The course also covers the Ancillary Services Capacity Monitor and the notifications to market participants of ERCOT operations reserves in SCED and Ancillary Services deployments.  This training module finishes by covering the most common abnormal operating conditions such as SCED and LMP calculation suspensions as well as the management of Emergency Electric Curtailment Plan (EECP) operations and their impact on the real time sequences. The course characterizes the changes to the EECP in the nodal operations environment stressing emergency operations directives and the general process of moving from one step to another.

Adjustment Period Operations

This course section covers the functions of ERCOT, TDU and QSE operating functions during the Adjustment Period.  The concepts of Transmission Security and Reliability Unit Commitment are detailed.  Training participants are introduced to Resource Statuses, updating the Current Operating Plan for Resources, how to show ERCOT changes in Resource’s status and limits and entering reasons for limit changes. Finally, this course section describes how TDUs can obtain data from ERCOT to forecast generation for their area.

Management Functions of ERCOT

This course section follows descriptions of Real Time and the Adjustment period and expands into the Management Activities for the ERCOT System.  The course section covers, at a high level, Outage Coordination activities and protocol requirements for providing ERCOT with information on proposed Outages.  This includes communications regarding Resource and Transmission Facilities Outages, scheduling Transmission System Outages and scheduling Outages of Resources.  Participants are shown how to obtain ERCOT’s analysis of Long-Term Resource adequacy and provided a brief introduction to the management of changes to ERCOT Transmission Grid, including how TDUs and QSEs communicate implementation of new or changed facilities and notification time-lines that need modeling for use in ERCOT’s systems.

This course section will continue with the review of management activities of ERCOT by providing participants a brief description of the Load Zones and Hubs and ERCOT’s responsibilities for managing Hubs.

This course section discusses ERCOT management of the data needed to support its obligations to operate the ERCOT system reliably. ERCOT staff and market participants should be presented the protocol requirements to provide information used in ERCOT’s Network Operations Modeling and SCADA telemetry systems. The course section will provide an overview of the Annual Planning Model and the CRR Network Model as well as details describing ERCOT’s Responsibilities contrasted with TDU, QSE and Resource responsibilities.  Also presented will be details of the ERCOT System modeling requirements for describing the modeling of Transmission Elements covering transmission lines, transmission buses, transmission breakers and switches, transmission and generation resource step-up transformers, reactors, capacitors, and other reactive controlled sources, generation Resources and Loads, and the definition of Special Protection Systems and Remedial Action Plans. The course section will also address ERCOT’s Telemetry Criteria describing requirements for the continuous telemetry of the status of breakers and switches and the continuous telemetry of the real-time measurements of bus Load, voltages, tap position, and  line flows. Next an overview of Dynamic Line Ratings and their use in Network Security Analysis and any special considerations will be presented.

Next ERCOT’s State Estimator performance standard should be presented, including a description of the current state of SE performance and the goals that the SE must maintain during nodal operations. This module gives the student a basic understanding of the purpose of the State Estimator, what convergence is and what it means, and how ERCOT’s real time operations and TDSP personnel are required to respond and/or intervene on in non-convergence situations.

Finally, other ERCOT responsibilities for Transmission Planning, Load Forecasting, Reliability Must Run contracting and RMR unit commitment, Black Start contracting, Voltage Support, Standards for Determining Ancillary Service Quantities, Resource Limits in Providing Ancillary Service will be presented.

Day Ahead Operations

This course section will describe Day-Ahead Operations and will cover ERCOT, TDU and QSE business functions.   The discussion will begin with the Day-Ahead Timeline Summary, Day-Ahead Process and Timing Deviations.

Next, ERCOT Activities in the Day-Ahead to produce the Ancillary Service Plan and Ancillary Service Obligations of QSEs will be described. The resulting Ancillary Service Supply Responsibility of QSEs is presented. The section will address the Ancillary Service obligation assignment and notice requirements of QSEs to ERCOT on any Supply Responsibility changes.

A high level discussion of Wind-Powered Generation Resource Production Potential forecasting and posting requirements will be provided along with ERCOT’s forecast of next day ERCOT System Conditions.  TDU and QSE responsibilities to provide information prior to Day Ahead Markets will also be described.

The student will be provided with information on establishing Resource Parameters and the Special Considerations for Split Generation Meters and the nodal implications for the commitment, offering, and dispatch of jointly-owned Resources.

The student will be provided with information on establishing net metering for generation plant generation and associated load including any special considerations for the settlement of net meter configurations.

Day Ahead Market

Details of the inputs into DAM including Capacity Trades, Energy Trades, DC Tie Schedules, CRR Offers, PCRRs transferring to Real-Time, Ancillary Service Supplied and Traded, Self-Arranged Ancillary Service Quantities, Ancillary Service Offers, Ancillary Service Trades are discussed.

The course section will discuss how, prior to executing the DAM, QSEs may provide Energy Offers and Bids for hourly energy to be purchased in the Day Ahead by describing the use of Three-Part Supply Offers, which supplement a Resources’ Energy Offer with Startup Offer and Minimum-Energy Offers information, for generation that is not already on-line.   Finally, the course section describes the DAM Execution and Results, DAM Clearing Process, and DAM Settlement and the posting of Day-Ahead Settlement Point Prices for Resource Nodes for Load Zones for Hubs.  This module explains the concept of “financially binding” in regard to the DAM and its settlements and the goal of price convergence between the DAM and the RT markets’ settlements. The training covers prohibited ERCOT operator functions within the DAM and Real-Time sequences  to assure equal and fair market participation for all Market Participants regarding price administration, a participant’s offers and parameters used in all ERCOT systems control systems including Outage Scheduling, Network Security Analysis, SCED, DAM, RUC and CRR auction, etc..)

Target Audience and Timing -   This basic course is designed to provide key information for all Market Participants engaged in any activity with ERCOT markets, transmission operations, and dispatch including utility executives, directors, managers, schedulers, coordinators, dispatchers, controllers, planning engineers, operations engineers, EMS - AGC engineers, engineering technicians, analysts, traders, accountants, IT support staff and others.  The course must be attended in person at ERCOT or at  market participant facilities approved by ERCOT,  by all dispatch operations personnel including managers, dispatchers, supervisors, traders, operations engineers, EMS - AGC engineers, accountants, and IT support staff prior to the beginning of testing of the Early Delivery System (EDS) phase 3. ERCOT Training will estimate the total number of potential Market Participant personnel from each company with 24 hour dispatch office and target training sessions to attract at least 95% of the this population.  As a minimum, at least two operator from each operating shift for each 24 hour dispatch office must satisfactorily attend. Market Participants may request ERCOT to reduce requirement above to one operator for a dispatch offices with limited staff.  Course participants will be given a multiple choice quiz to gauge the effectiveness of the presentation.  Course participants are expected to answer 70% of all questions correctly.  If a participant fails to meet the required test score, the participant will be allowed to enroll in the course and retest as necessary.

Summary and Presentation Techniques

The Basic Training Program is a core requirement for all market participants and describes the basics of most major requirements for QSEs and TDUs to conduct business with ERCOT.  In addition, the program describes the functions of ERCOT.  The program will contain high level scenario role playing using ERCOT training staff; one representing ERCOT operators and one representing a TDU or QSE operator.  These scenarios should create a vision in the attendee’s mind of how operations will be conducted during the nodal market and should cover typical everyday communications between operators.  For example, the QSE could call and state it has a generating unit about to trip because of a forced outage.  The communication between operators should emphasize the protocols requirements for this type of request.  Similarly, if the QSE wanted to change a Resource’s HSL a couple of hours from now, the two players could discuss how the telephone call is not required and that the operator need only to make an entry in the QSEs Current Operating Plan (COP) for that Resource.  Examples of scenario discussions between TDUs and ERCOT should cover forced outages of lines and transformers, TDU operations that did not meet the timing requirements for scheduling with ERCOT ahead of time, etc.

Extended Training - System Dynamics

| Course | Web w/self-directed Instruction | Virtual w/live Instruction | In-Person Classroom | QSE | LSE | PM/Trader | TSPs & DSPs | General Knowledge |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Extended Training - System Dynamics |  |  |  | HR |  |  | M |  |

This advanced 8 hour course describes ERCOT’s special requirements for voltage and frequency stability analysis including ERCOT’s use of advanced study network security analysis.  The course also presents how the results of that analysis is integrated into ERCOT’s Real Time Sequence and eventually could result in a SCED constraint.

Target Audience and Timing - This special course is designed to provide key information for all managers, schedulers, coordinators, dispatchers, controllers, planning engineers, operations engineers, EMS - AGC engineers, engineering technicians and others who may be influenced by the special considerations in Network Security Analysis to control flow between major regions of the ERCOT Grid subject to limits due to voltage or frequency instability.  As a minimum, at least one operator from each operating shift for each 24 hour TDU dispatch office must satisfactorily attend.   This course will be offered within the first 12 months of full Texas Nodal Market Operations.  Course participants will be given a multiple choice quiz to gauge the effectiveness of the presentation.  Course participants are expected to answer 70% of all questions correctly.  If a participant fails to meet the required test score, the participant will be allowed to enroll in the course and retest as necessary.

LMP 101

| Course | Web w/self-directed Instruction | Virtual w/live Instruction | In-Person Classroom | QSE | LSE | PM/Trader | TSPs & DSPs | General Knowledge |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LMP 101 |  |  |  | HR | HR | HR | R | HR |

This 6 hour course offers a basic introduction to LMP calculations and how LMPs represent the price of power at any settlement point on the ERCOT Grid.  The course introduces participants to SCED which determines prices and base points for all Resources.  The course uses scenario based training to explain using various generic transmission system models and how LMPs are affected by changes in network topology and as well as the effects on offers for energy at generator injection points. Special emphasis on how the marginal generation unit is determined in the presence of congestion and what the price outcomes for generation resources can look like based on location relative to the congested elements.

Target Audience and Timing -   This general introduction level course is designed to provide background for personnel who are not familiar with the calculations and results of using LMPs to value energy at any point on the ERCOT Grid.  The course is applicable to key utility and energy company executives, directors, managers, schedulers, coordinators, dispatchers, controllers, traders, planning engineers, operations engineers, EMS - AGC engineers, engineering technicians, traders, IT support staff, and others.  The course is a prerequisite for the ERCOT Nodal 101 course and should be attended in person at ERCOT or at  market participant facilities approved by ERCOT,  by anyone who participates in the Texas Nodal Market not completely familiar with LMP calculations.  ERCOT Training will estimate the total number of potential Market Participant personnel and target training sessions to attract at least 50% of the total population. Course participants will be given a multiple choice quiz to gauge the effectiveness of the presentation.  Course participants are expected to answer 70% of all questions correctly.  If a participant fails to meet the required test score, the participant will be allowed to enroll in the course and retest as necessary.

Transition to Nodal Markets and Start-up Testing

| Course | Web w/self-directed Instruction | Virtual w/live Instruction | In-Person Classroom | QSE | LSE | PM/Trader | TSPs & DSPs | General Knowledge |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Transition to Nodal Markets & Start-up Testing |  |  |  | M | M | HR | M | HR |

This 16 hour course prepares ERCOT staff and operators, market participants and TDUs for the transition from the current zonal protocol to operating in a full nodal control environment.  The course presents the details of the ERCOT Transition Plan, including the details of the Transition Planning Principles and Transition Plan Management.  The Implementation Timeline and each Transition Plan Track are presented.  The course focuses on the System Testing and Nodal Market Implementation Track to ensure that ERCOT and market participants are prepared for and have similar expectations for the transition to nodal.  The course introduces participants to data and telemetry testing requirements, state estimator implementation, real-time network security analysis implementation and security constrained economic dispatch for the purpose of transitioning from a zonal to a nodal market.  The course focus will be on providing an understanding of QSE’s and TDU’s assistance in testing nodal systems

The course will cover each phase of Early Delivery Systems architecture improvements and how market participants will be requested to assist ERCOT in final testing and approval of business function implementation.  The course will cover ERCOT’s staffing plan for having personnel stationed at EDS systems to provide simulated data entry and simulate actual operations as closely as possible prior to actual cut over.  The testing will conclude with the trial operation of congestion revenue rights auction, trial operation of day ahead market, trial operation of reliability unit commitment and load frequency control testing.  On reasonable completion of system function testing, ERCOT will need to perform the 168-hour test and trial real time settlement.  Special requirements for handling of transmission element and resource forced outages will be explained as well as the effects of testing on real time zonal operations and settlement systems.   The new performance and compliance measurement systems as well as the new market information systems will be testing with Market Participant assistance.

The course will  cover the expected operating actions from both ERCOT operations and Market Participant systems during the simulations and recovery from failures.   The class will cover what  each do in the event the systems fail, what do we do to get back to start and what actions are necessary to restore data for the tests.

The course concludes with a discussion of market readiness criteria for all market participants, the IMM and ERCOT personnel readiness, including a description of the market readiness declaration.

Target Audience and Timing -   This course is designed to provide key information needed to successfully test the Texas Nodal Market implementation by ERCOT prior to any settlements using LMP prices.  The course is intended for all Market Participants who are part of the testing of SCADA, Transmission Element parameter verification, Network Security Analysis, Transmission Constraint Management, SCED and LFC including real time dispatchers, controllers, operations support engineers, engineering technicians, accountants, IT staff, and others.  The course must be attended in person at ERCOT or at  market participant facilities approved by ERCOT,  prior to the start of Early Delivery System (EDS) phase 1 testing by all dispatch operations personnel who are directly involved in the testing and data verification as required by the ERCOT Transition Plan. ERCOT Training will estimate the total number of potential Market Participant personnel from each company with 24 hour dispatch office and target training sessions to attract at least 95% of the this population.  As a minimum, at least two operators or support staff from each 24 hour dispatch office must satisfactorily attend. Course participants will be given a multiple choice quiz to gauge the effectiveness of the presentation.  Course participants are expected to answer 70% of all questions correctly.  If a participant fails to meet the required test score, the participant will be allowed to enroll in the course and retest as necessary.

Market Settlements 301

| Course | Web w/self-directed Instruction | Virtual w/live Instruction | In-Person Classroom | QSE | LSE | PM/Trader | TSPs & DSPs | General Knowledge |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Market Settlements 301 |  |  |  | M | R | R |  |  |

This is an advanced course (16 hours) to supplement Basic Training designed for accounting and operations personnel who will need to understand the changes to a QSEs settlement statement because of the nodal market implementation.  This supplements existing ERCOT settlements training but focuses on generation nodal pricing, generation energy settlement, and other factors that may influence charges to QSEs representing Load and payments to QSEs representing Resources for provision of energy and Ancillary Services in Real Time as well as the Day Ahead Market.  Special settlement provisions describing the Reliability Unit Commitment and all the provisions for Make Whole will also be described. The course will present the format of test settlement statements using test LMP prices issued during implementation testing on the EDS. A complete review of a typical sample QSE settlement statement will be provided. Instruction is provided on how to create a shadow settlement and settlement tracking concepts.

Target Audience and Timing -   This course is designed to provide key information needed to understand QSE settlements in the Texas Nodal Market.  The course is intended for all Market Participants who are part of the testing of settlement systems including accountants, analysts, engineering technicians, IT staff and others.  The course must be attended in person at ERCOT or at  market participant facilities approved by ERCOT,  by all accounting personnel involved in the testing of the Early Delivery System (EDS) phases 3 and 4. ERCOT Training will estimate the total number of potential Market Participant personnel from each QSE and target training sessions to attract at least 75% of the this population.  As a minimum, at least two accountants or support staff from each active QSE receiving settlement statements must satisfactorily attend. Market Participants may request ERCOT to reduce requirement above to one accountant for a dispatch offices with limited staff.  Course participants will be given a multiple choice quiz to gauge the effectiveness of the presentation.  Course participants are expected to answer 70% of all questions correctly.  If a participant fails to meet the required test score, the participant will be allowed to enroll in the course and retest as necessary.

Load Serving Entity 201

| Course | Web w/self-directed Instruction | Virtual w/live Instruction | In-Person Classroom | QSE | LSE | PM/Trader | TSPs & DSPs | General Knowledge |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Load Serving Entity 201 |  |  |  | R | M | M |  | R |

A 20 hour course to supplement Basic Training introducing Load Serving Entities to ERCOT nodal Operations and the new tools, supply procurement opportunities and risks afforded to LSEs in the nodal markets. The course introduces LSEs to DAM bidding and use of CRRs for risk management. The course supplies information for load participation in Ancillary Service markets. The course covers the two settlement systems for DAM and Real Time energy consumption and reviews typical statements applicable to LSEs.   The course also provides insights into purchasing supply energy delivered at Load Zones,  HUBs and/or at generator nodes.  The course describes the  use of the Market Information System and demonstrates through simulation typical posting of information that may be useful to LSEs operating in ERCOT.

The course is designed to aid Power Marketers and other market participants to understand the types of transactions ERCOT is capable of facilitating in the DAM, Real Time market and after market time frames.  The topics include Capacity Trades, Energy Trades, and Ancillary Services Trades in ERCOT markets.

Target Audience and Timing -   This course is designed to provide key market information for all Load Serving Entities (LSEs) including REPs, load aggregators, cooperatives, and municipalities.  Personnel from REPs, load aggregators, and  utility departments including executives, directors, managers, schedulers, coordinators, traders, planning engineers, operations engineers, EMS - AGC engineers, engineering technicians, IT support staff, accountants, and others will gain valuable insight into the business functions of operating a LSE in the Texas Nodal Market.  The course must be attended in person at ERCOT or at  market participant facilities approved by ERCOT,  by LSE personnel to operate proficiently in the market. ERCOT Training will estimate the total number of potential Market Participant personnel from each LSE and target training sessions to attract at least 75% of the this population.  As a minimum, at least one person from each active separately settled LSE must satisfactorily attend. Course participants will be given a multiple choice quiz to gauge the effectiveness of the presentation.  Course participants are expected to answer 70% of all questions correctly.  If a participant fails to meet the required test score, the participant will be allowed to enroll in the course and retest as necessary.

Generation 101

| Course | Web w/self-directed Instruction | Virtual w/live Instruction | In-Person Classroom | QSE | LSE | PM/Trader | TSPs & DSPs | General Knowledge |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Generation 101 |  |  |  | M |  | R | R | R |

Generation 101 is a 16 hour class, the first of three extended courses to supplement Basic Training covering the operations requirement for QSEs with generation facilities to operate proficiently in the ERCOT nodal market. The first course will cover the basics of operating with ERCOT; demonstrating the details of receiving base points and Load Frequency control information from ERCOT and providing participation information back to ERCOT for feedback into ERCOT control systems. This course should also cover the impacts to the market and compliance and enforcement when forced outages and delayed starts occur.

Target Audience and Timing -   This course is designed to provide key operations information for all Power Generating Companies (PGCs) including generation operation personnel from cooperatives, and municipalities.  The course is intended for Market Participant personnel who are part of the real time operation of QSEs with generation Resources  including real time dispatchers and controllers their support operations engineers, EMS - AGC engineers, engineering technicians, IT staff, and others.  The course must be attended in person at ERCOT or at  market participant facilities approved by ERCOT,  by all dispatch operations personnel involved in the real time generation control and dispatch prior to EDS phase 4 testing. ERCOT Training will estimate the total number of potential Market Participant personnel from each QSE and target training sessions to attract at least 95% of this population.  As a minimum, at least two operators from each operating shift for each QSE with Generation Resources must satisfactorily attend. Course participants will be given a multiple choice quiz to gauge the effectiveness of the presentation.  Course participants are expected to answer 70% of all questions correctly.  If a participant fails to meet the required test score, the participant will be allowed to enroll in the course and retest as necessary.

Generation 201

| Course | Web w/self-directed Instruction | Virtual w/live Instruction | In-Person Classroom | QSE | LSE | PM/Trader | TSPs & DSPs | General Knowledge |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Generation 201 |  |  |  | M |  |  | R |  |

Generation 201 is a sixteen hour class, the second of three extended courses to supplement Basic Training covering the operations requirement for QSEs with generation facilities to operate proficiently in the ERCOT nodal market. The second course will cover participation in the Day Ahead Market (DAM) to provide energy and Ancillary Services and how this market provides new tools, supply sale opportunities, and risks for QSEs. Details of hedging methods used to effectively provide for delivering a specific generator’s output to a location on the ERCOT Grid other than the generator’s physical bus by using CRRs will also be covered. An overview of the actions that may be taken by ERCOT through the Day Ahead Transmission Security and Reliability Unit Commitment systems will be discussed in detail outlining the potential economic impact of participation in the DAM.  The impacts of to settlement considering the entries in the Current Operating Plan will be addressed.

Target Audience and Timing -   This course is designed to provide key operations information for all Power Generating Companies (PGCs) including generation operation personnel from cooperatives, and municipalities.  The course is intended for Market Participant personnel who plan to participate in the DAM and for QSEs with Generation Resources including traders, real time dispatchers, controllers, operations support engineers, engineering technicians, accountants, analysts, IT staff, and others.  The course must be attended in person at ERCOT or at  market participant facilities approved by ERCOT,  by all QSE personnel involved in the DAM prior to EDS phase 4 testing. ERCOT Training will estimate the total number of potential Market Participant personnel from each QSE and target training sessions to attract at least 95% of this population.  As a minimum, at least one person from each active QSE must satisfactorily attend. Course participants will be given a multiple choice quiz to gauge the effectiveness of the presentation.  Course participants are expected to answer 70% of all questions correctly.  If a participant fails to meet the required test score, the participant will be allowed to enroll in the course and retest as necessary.

Generation 301

| Course | Web w/self-directed Instruction | Virtual w/live Instruction | In-Person Classroom | QSE | LSE | PM/Trader | TSPs & DSPs | General Knowledge |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Generation 301 |  |  |  | M | HR |  | R |  |

Generation 301 is an eight hour class, the third of three extended courses to supplement Basic Training covering the operations requirement for QSEs with generation facilities to operate proficiently in the ERCOT nodal market. This third course will cover establishment of a Resource’s parameters including verification of a Resources Start-up cost and minimum run energy costs.

Target Audience and Timing -   This course is designed to provide key operations information for all Power Generating Companies (PGCs) including generation operation personnel from cooperatives, and municipalities.  The course is intended for personnel who will be providing information, data and other parameters for Generation and Load Resources to ERCOT for use in DAM, RUC and SCED. including operations support engineers, engineering technicians, IT staff, and others.  The course must be attended by all active QSEs with Generation Resources prior to EDS phase 4 testing. ERCOT Training will estimate the total number of potential Market Participant personnel from each QSE and target training sessions to attract at least 95% of this population.  As a minimum, at least one person from each active QSE must satisfactorily attend. Course participants will be given a multiple choice quiz to gauge the effectiveness of the presentation.  Course participants are expected to answer 70% of all questions correctly.  If a participant fails to meet the required test score, the participant will be allowed to enroll in the course and retest as necessary.

.

System Operator Seminar

| Course | Web w/self-directed Instruction | Virtual w/live Instruction | In-Person Classroom | QSE | LSE | PM/Trader | TSPs & DSPs | General Knowledge |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System Operator Seminar |  |  |  | M | R |  | M |  |

This is an annual operator training seminar to provide updates to all personnel engaged in the operation of the ERCOT market and control systems.

Target Audience and Timing -   This high level seminar is designed to provide a forum for open discussion of items of interest, issues, and for problem solving open to all personnel involved in operation of the Texas Nodal Market including directors, managers, schedulers, coordinators, dispatchers, controllers, traders, planning engineers, operations engineers, EMS - AGC engineers, engineering technicians, IT support staff, accountants, and others.  The course should be attended annually in person at ERCOT or at  market participant facilities approved by ERCOT,  by anyone who participates in the Texas Nodal Market. ERCOT Training will estimate the total number of potential Market Participant personnel and target the seminar sessions to attract at least 40% of the total population.

Transmission 101

| Course | Web w/self-directed Instruction | Virtual w/live Instruction | In-Person Classroom | QSE | LSE | PM/Trader | TSPs & DSPs | General Knowledge |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Transmission 101 |  |  |  | HR |  | R | M |  |

Transmission 101 is a 20 hour course to supplement Basic Training covering all requirements of TDU operations and engineering functions prescribed by the nodal protocols.  The participants are given examples of data telemetry requirements and operator to operator communication requirements, by searching the protocols for all prescribed TDU responsibilities and giving examples. This course should also cover the implications of failed telemetry and its recovery on the Texas Nodal Market.

Target Audience and Timing -   This course is designed to provide key operations information for all Transmission Service Provides (TSPs) including transmission operations personnel from cooperatives, and municipalities.  The course is intended for all Market Participant personnel who are part of the dispatch operation of TSPs including real time operators, controllers, planning engineers, operations support engineers, engineering technicians, IT staff, and others.  The course must be attended in person at ERCOT or at  market participant facilities approved by ERCOT,  by all dispatch operations personnel involved in the real time transmission dispatch prior to EDS phase 4 testing. ERCOT Training will estimate the total number of potential Market Participant personnel from each TSP and target training sessions to attract at least 95% of this population.  As a minimum, at least two operators from each operating shift for each 24 hour transmission dispatch office must satisfactorily attend. Course participants will be given a multiple choice quiz to gauge the effectiveness of the presentation.  Course participants are expected to answer 70% of all questions correctly.  If a participant fails to meet the required test score, the participant will be allowed to enroll in the course and retest as necessary.

Scenario-Based Training for QSEs with Generation Resources

| Course | Web w/self-directed Instruction | Virtual w/live Instruction | In-Person Classroom | QSE | LSE | PM/Trader | TSPs & DSPs | General Knowledge |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario-Based Training for Generation Owners |  |  |  | M |  | HR |  |  |

This training allows QSEs to experience end-to-end ERCOT business processes in a controlled training environment through the use of pre-established data sets. The scenarios focus on the most common tasks performed by QSEs with generation in relation to the ERCOT markets.

This training is a highly interactive “hands-on” session which allows participants to use ERCOT tools and interfaces in a test environment.

Target Audience and Timing -   This course is designed to provide key operations information for all Power Generating Companies (PGCs) including generation operation personnel from cooperatives, and municipalities.  The course is intended for all Market Participant personnel who are part of the real time operation of QSEs with generation Resources  including real time dispatchers and controllers their support operations engineers, EMS - AGC engineers, engineering technicians, IT staff, and others.  The course must be attended annually in person at ERCOT or at  market participant facilities approved by ERCOT,  by all dispatch operations personnel involved in the real time generation control and dispatch within 12 months following the start up of the Texas Nodal Market. ERCOT Training will estimate the total number of potential Market Participant personnel from each QSE and target training sessions to attract at least 75% of this population.  As a minimum, at least two operators from each operating shift for each QSE dispatch office must satisfactorily attend. Course participants will be given a multiple choice quiz to gauge the effectiveness of the presentation.  Course participants are expected to answer 70% of all questions correctly.  If a participant fails to meet the required test score, the participant will be allowed to enroll in the course and retest as necessary.

Scenario-Based Training for Load Serving Entities

| Course | Web w/self-directed Instruction | Virtual w/live Instruction | In-Person Classroom | QSE | LSE | PM/Trader | TSPs & DSPs | General Knowledge |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario-Based Training for Load Serving Entities |  |  |  |  | M | HR |  |  |

This training allows Load Serving Entities (LSEs) to experience end-to-end ERCOT business processes in a controlled training environment through the use of pre-established data sets. The scenarios focus on the most common tasks performed by LSEs to participate in ERCOT’s Day Ahead Market and Real Time Operations.

This training is a highly interactive “hands-on” session which allows participants to use ERCOT tools and interfaces in a test environment.

Target Audience and Timing -   This course is designed to provide key market information for all Load Serving Entities (LSEs) including REPs, load aggregators, cooperatives, and municipalities.  Personnel from REPs, load aggregators, and  utility departments including executives, directors, managers, schedulers, coordinators, traders, planning engineers, operations engineers, EMS - AGC engineers, engineering technicians, IT support staff, accountants, and others will gain valuable insight into the business functions of operating a LSE in the Texas Nodal Market.  The course must be attended annually in person at ERCOT or at  market participant facilities approved by ERCOT,  by LSE personnel within 12 months following the start up of the Texas Nodal Market. ERCOT Training will estimate the total number of potential Market Participant personnel from each LSE and target training sessions to attract at least 50% of the this population.  As a minimum, at least one person from each active separately settled LSE must satisfactorily attend. Course participants will be given a multiple choice quiz to gauge the effectiveness of the presentation.  Course participants are expected to answer 70% of all questions correctly.  If a participant fails to meet the required test score, the participant will be allowed to enroll in the course and retest as necessary.

Scenario-Based Training for TSPs and DSPs

| Course | Web w/self-directed Instruction | Virtual w/live Instruction | In-Person Classroom | QSE | LSE | PM/Trader | TSPs & DSPs | General Knowledge |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario-Based Training for TSPs and DSPs |  |  |  |  | M | HR |  |  |

This training allows TDUs to experience end-to-end ERCOT business processes in a controlled training environment through the use of pre-established data sets. The scenarios focus on the most common tasks performed by TDUs operating in ERCOT.

This training is a highly interactive “hands-on” session which allows participants to use ERCOT tools and interfaces in a test environment.

Target Audience and Timing -   This course is designed to provide key operations information for all Transmission Service Provides (TSPs) including transmission operations personnel from cooperatives, and municipalities.  The course is intended for all Market Participant personnel who are part of the real time operation of TSPs including real time dispatchers and controllers, planning engineers, operations support engineers, engineering technicians, IT staff, and others.  The course must be attended annually in person at ERCOT or at  market participant facilities approved by ERCOT,  by all dispatch operations personnel involved in the real time transmission dispatch within 12 months following the start up of the Texas Nodal Market. ERCOT Training will estimate the total number of potential Market Participant personnel from each TSP and target training sessions to attract at least 75% of this population.  As a minimum, at least two operators from each operating shift for each 24 hour transmission dispatch office must satisfactorily attend. Course participants will be given a multiple choice quiz to gauge the effectiveness of the presentation.  Course participants are expected to answer 70% of all questions correctly.  If a participant fails to meet the required test score, the participant will be allowed to enroll in the course and retest as necessary.

CRRs, PCRRs, and Supply Hedging

| Course | Web w/self-directed Instruction | Virtual w/live Instruction | In-Person Classroom | QSE | LSE | PM/Trader | TSPs & DSPs | General Knowledge |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CRRs, PCRRs, and Supply Hedging |  |  |  | M | M | M | HR | HR |

The CRR 101 course introduces the attendee to terminology used in the auctioning and scheduling of CRRs in the ERCOT markets.  The course reviews Constraint Competitiveness Tests for the annual, monthly and daily auctions.  PCRRs that are provided to selected market participants are described covering their purpose and application. The ERCOT CRR auction processes and postings of information that is useful in determining how to determine the value of a given CRR is provided in a scenario role playing exercise with participants bidding in a mock market against each other using ERCOT’s CRR auction systems.

An advanced course addresses techniques to minimize financial exposure to purchasing supply at one settlement point in ERCOT and consuming that supply at another settlement point.

Scenario training for Life of a CRR allows Market Participants to experience end-to-end ERCOT business processes in a controlled training environment through the use of pre-established data sets. The scenarios focus on the most common tasks performed by Market Participants in determining value, purchasing in an auction, scheduling in the market, and settlements of CRRs when congestion is present and when it is not.

Target Audience and Timing -   This course is designed to provide key operations information for all Market Participants including personnel from cooperatives, and municipalities.  The course is intended for all Market Participant personnel who plan to participate in the DAM and for QSEs with LSEs including traders, real time dispatchers, controllers, operations engineers, EMS - AGC engineers, engineering technicians, IT support staff, and others.  The course must be attended in person at ERCOT or at  market participant facilities approved by ERCOT,  by all QSE personnel involved in the DAM prior to EDS phase 4 testing. ERCOT Training will estimate the total number of potential Market Participant personnel from each QSE and target training sessions to attract at least 75% of this population.  As a minimum, at least one person from each active QSE must satisfactorily attend. Course participants will be given a multiple choice quiz to gauge the effectiveness of the presentation.  Course participants are expected to answer 70% of all questions correctly.  If a participant fails to meet the required test score, the participant will be allowed to enroll in the course and retest as necessary.

ERCOT 101 for Wind Generation

| Course | Web w/self-directed Instruction | Virtual w/live Instruction | In-Person Classroom | QSE | LSE | PM/Trader | TSPs & DSPs | General Knowledge |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ERCOT 101 for Wind Generation |  |  |  | M |  | M |  | R |

Wind Generation 101 is a course to supplement Basic Training that adds focuses on Wind Generation and the special problems associated with operating and forecasting wind generation.  The course covers WGR forecasting, flowgates, and emergency operations.

Target Audience and Timing -   This course is designed to provide key operations information for all Power Generating Companies (PGCs) including generation operation personnel from cooperatives, and municipalities who own and or operate wind Resources in ERCOT and for TSPs whose transmission systems support wind generation.  The course is intended for all Market Participant personnel who are part of the real time operation of QSEs with Wind Resources and their TSPs including real time dispatchers and controllers, operations support engineers, engineering technicians, IT staff, and others.  The course must be attended in person at ERCOT or at  market participant facilities approved by ERCOT,  by all dispatch operations personnel involved in either the Transmission operations supporting wind generation or the QSEs participating in the real time generation control and dispatch of Wind Resources prior to EDS phase 4 testing. ERCOT Training will estimate the total number of potential Market Participant personnel from each TSP and QSE and target training sessions to attract at least 75% of this population.  As a minimum, at least two operators from each operating shift for each required TSP and QSE dispatch office must satisfactorily attend. Course participants will be given a multiple choice quiz to gauge the effectiveness of the presentation.  Course participants are expected to answer 70% of all questions correctly.  If a participant fails to meet the required test score, the participant will be allowed to enroll in the course and retest as necessary.

Network Model Management

| Course | Web w/self-directed Instruction | Virtual w/live Instruction | In-Person Classroom | QSE | LSE | PM/Trader | TSPs & DSPs | General Knowledge |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Network Model Management |  |  |  | M |  |  | M | R |

This 16 hour course to supplement Basic Training covers the operation of ERCOT Network Model Management System. The course will demonstrate to participants the required accountability for information and data provided by Market Participants for ERCOT’s use in modeling the ERCOT System.  The course will provide instruction for Market Participants, to use the NOMCR (Network Operation Model Change Request) process, to facilitate use of the Outage Scheduler concerning new network Transmission Elements, to provide ERCOT with new and changes to the SCADA mapping of telemetry, to update protocol required information used by ERCOT for any Transmission Element and to coordinate switching of new devices onto the ERCOT Grid and retiring old devices from the ERCOT Grid .  Management principles underlying the use of a single framework will be discussed for maintaining consistency between the Network Operations Model, the CRR Auction Model and the Planning Model used for various functions at ERCOT.  The course attendee will be introduced to the actual input formats  on ERCOTs systems for provision of NOMCRs and be shown how to view the status of individual requests. The course will demonstrate using typical scenarios of TSPs and QSEs requesting changes to data base elements and the effects such request have on all the Network Models used by ERCOT in Planning, CRR Auctions and Operations.  The course will cover the implementation timeline requirements for data submittals including the prohibitions regarding of switching new elements into the system without inclusion in the Network Model and authorization from ERCOT.  The timelines for release of the model to the market, and the difference between an incremental model release and a full model release will also be discussed.

Target Audience and Timing -   This course is designed to provide key operations information for all Transmission Service Provides (TSPs), QSEs, and Power Generating Companies including transmission and generation operations personnel from cooperatives, and municipalities.  The course is intended for ERCOT staff  and all Market Participant personnel who are part of the real time operation of QSEs and TSPs including dispatchers, controllers,  planning, construction, and support engineers, operations engineers, EMS - AGC engineers, engineering technicians, IT staff, and others.  The course must be attended in person at ERCOT or at market participant facilities approved by ERCOT,  by all dispatch operations personnel involved in the real time transmission dispatch prior to EDS phase 4 testing. ERCOT Training will estimate the total number of potential Market Participant personnel from each TSP and target training sessions to attract at least 95% of this population.  As a minimum, at least two operators, one support staff engineer or engineering technician  and one licensed Professional Engineer from each TSP’s dispatch office and at least one staff engineer from each active QSE must satisfactorily attend. Course participants will be given a multiple choice quiz to gauge the effectiveness of the presentation.  Course participants are expected to answer 70% of all questions correctly.  If a participant fails to meet the required test score, the participant will be allowed to enroll in the course and retest as necessary.

Market Information System

| Course | Web w/self-directed Instruction | Virtual w/live Instruction | In-Person Classroom | QSE | LSE | PM/Trader | TSPs & DSPs | General Knowledge |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Market Information System |  |  |  | M | M | M | R | R |

This 8 hour course to supplement Basic Training introduces the course attendee to ERCOT’s Market Information System (MIS) as defined in the Nodal Protocols.  The attendee will be instructed in the security levels used to control access to ERCOTs systems.  Demonstrations of the actual Web site interface used to access the data will be provided.  ERCOT will show how the requirements of the nodal protocols to post information in the same order as it appears in the protocols has been implemented.  Attendees will be instructed where data is located on the MIS, the data format, what the data represents, and how the data can be viewed and manipulated. The participants will be provided with test scenarios to actually demonstrate actual web based downloads of information.  Ad hoc queries specified by participants may also be demonstrated.  A MIS Users Guide will be provided with this course.

Target Audience and Timing -   This course is designed to provide an overview of the MIS for utility and energy company directors, managers, schedulers, coordinators, traders, planning engineers, operations engineers, EMS - AGC engineers, engineering technicians, IT support staff, analysts, accountants, and others.  The course must be attended prior to the beginning of testing of the Early Delivery System (EDS) phase 4. in person at ERCOT or at  market participant facilities approved by ERCOT,  by all personnel who participate in the Texas Nodal Market. ERCOT Training will estimate the total number of potential Market Participant personnel and target training sessions to attract at least 50% of the total population. Course participants will be given a multiple choice quiz to gauge the effectiveness of the presentation.  Course participants are expected to answer 70% of all questions correctly.  If a participant fails to meet the required test score, the participant will be allowed to enroll in the course and retest as necessary.