## Public Summary
PUBLIC INFORMATION
As of June 9, 2006 | This table is public information and may be released.
INR | SiteName | Status | County | Region | Fuel | In Service | MW For Grid
06INR0008 | Big Spring Electricity Generating Facility 1 | Interconnect Agreement | Howard | West | Waste heat | 2006-06-01 | 12
06INR0040 | Horse Hollow 3 | Interconnect Agreement | Nolan | West | Wind | 2006-07-01 | 400
07INR0019 | Horse Hollow 4 | Interconnect Agreement | Nolan | West | Wind | 2006-08-01 | 116
05INR0018 | Horse Hollow 2 | Interconnect Agreement | Nolan | West | Wind | 2006-10-01 | 186
06INR0016 | Dow 9 | Interconnect Agreement | Brazoria | South | Gas | 2006-10-01 | 0
05INR0011 | Forest Creek | Interconnect Agreement | Sterling | West | Wind | 2006-12-06 | 215
04INR0011 | Mesquite Wind 1 | Interconnect Agreement | Shackelford | West | Wind | 2006-12-06 | 200
04INR0020 | WKN Wind 1 Snyder | Interconnect Agreement | Scurry | West | Wind | 2006-12-01 | 60
03INR0034 | Silver Star Project | Interconnect Agreement | Erath | North | Wind | 2007-03-01 | 60
04INR0015 | Cirello 1 (Buffalo Gap 2) | Interconnect Agreement | Taylor | West | Wind | 2007-03-06 | 233
06INR0035 | Colorado Bend Energy Center 1 | Interconnect Agreement | Wharton | South | Gas | 2007-04-01 | 275
06INR0036 | Quail Run Energy Center 1 | Interconnect Agreement | Ector | West | Gas | 2007-04-01 | 275
06INR0038 | Camp Springs | Interconnect Agreement | Scurry | West | Wind | 2007-05-01 | 130
05INR0015 | Gulf Wind 1 | Public Letter | Kenedy | South | Wind | 2007-09-01 | 300
04INR0011 | Mesquite Wind 2 | Interconnect Agreement | Shackelford | West | Wind | 2007-12-01 | 200
05INR0015 | Gulf Wind 2 | Public Letter | Kenedy | South | Wind | 2008-09-01 | 300
09INR0006 | Oak Grove 1 | Public Letter | Robertson | North | Coal | 2009-03-09 | 790
09INR0008 | Big Brown 3 | Public Letter | Freestone | North | Coal | 2009-04-01 | 800
09INR0010 | Martin Lake 4 | Public Letter | Rusk | North | Coal | 2009-04-01 | 800
09INR0011 | Monticello 4 | Public Letter | Titus | North | Coal | 2009-04-01 | 800
09INR0013 | Tradinghouse 3 | Public Letter | McLennan | North | Coal | 2009-04-01 | 800
09INR0014 | Valley 4 | Public Letter | Fannin | North | Coal | 2009-04-01 | 800
06INR0006 | Greenville | Public Letter | Hunt | North | Gas | 2009-05-01 | 1750
01INR0028 | Orion Delaware Mt. Wind Farm | Interconnect Agreement | Culberson | West | Wind | 2009-07-01 | 175
08INR0003 | Sandow 5 | Public Letter | Milam | North | Coal | 2009-07-01 | 585
09INR0002 | J K Spruce 2 | Commitment Letter | Bexar | South | Coal | 2009-08-09 | 750
05INR0015 | Gulf Wind 3 | Public Letter | Kenedy | South | Wind | 2009-09-01 | 300
09INR0006 | Oak Grove 2 | Public Letter | Robertson | North | Coal | 2010-03-01 | 790
09INR0013 | Tradinghouse 4 | Public Letter | McLennan | North | Coal | 2010-04-01 | 800
09INR0001 | Sandy Creek 1 | Public Letter | McLennan | North | Coal | 2010-06-01 | 800
05INR0015 | Gulf Wind 4 | Public Letter | Kenedy | South | Wind | 2010-09-01 | 300
09INR0009 | Lake Creek 4 | Public Letter | McLennan | North | Coal | 2010-10-01 | 800
09INR0012 | Morgan Creek 7 | Public Letter | Mitchell | West | Coal | 2010-10-01 | 800
10INR0002 | Hugo Plant | Public Letter | Choctaw, OK | North | Coal | 2011-02-01 | 500
11INR0001 | Twin Oaks 3 | Public Letter | Robertson | North | Coal | 2011-06-11 | 630
[6 empty] | Total | 16732
Projects into Operation
INR | SiteName | County | Region | Fuel | In Service | MW For Grid
05INR0017 | Red Canyon 1 | Borden | West | Wind | 2006-05-01 | 84
Active Generation Interconnection Requests
|  | North | South | West | Total ERCOT
| Security Screening Study | 3 | 3 | 1 | 7
| SSS Completed | 3 | 3 | 15 | 21
| Full Interconnect Study | 15 | 8 | 27 | 50
| FIS Completed | 1 | 0 | 0 | 1
| Interconnect Agreement Signed | 1 | 3 | 12 | 16
| Capacity for Grid, MW | 14550 | 10477 | 11180 | 36207
| Wind MW (under development) | 480 | 3677 | 9626 | 13783

## Public FuelTable
PUBLIC INFORMATION
This table is public information and may be released.
Generation Interconnections by Fuel Type
| Fuel | Not Public | Public | Total
| Coal | 3992 | 11245 | 15237
| Gas | 3900 | 2300 | 6200
| Other | 975 | 12 | 987
| Wind | 10608 | 3175 | 13783
| Grand Total | 8867 | 13557 | 36207