## TOU Schedules
TOU Schedules to be Used in Assigning the Time-Of-Use Schedule Codes
Time-Of-Use Schedule Codes other than 'NOTOU' should only be assigned to ESI IDs with a Meter Data Type of NIDR for which kWh data will be submitted for the specified periods.
Presently, within every TDSP service area, Time-Of-Use schedules can be developed based on agreement between the TDSP and the requesting Competitive Retailer. The implementation of any new or modified TOU schedules is subject to the ERCOT and Texas SET change control process.
Time-Of-Use Schedule: None
Time-Of-Use Schedule Code NOTOU shall be assigned to all ESI IDs not served under a Time-Of-Use schedule.
Time-Of-Use Schedule: TOUØ1
Time-Of-Use Schedule Code TOUØ1 shall only be assigned to ESI IDs served through
a TOU meter programmed to store kWh data exactly as listed in the following schedule:
| June - September |  | All Other Months
| Weekday | Weekend | Weekday | Weekend
SuperPeak | - | - | - | -
OnPeak | Noon-8pm | - | - | -
MidPeak | - | - | - | -
OffPeak | All Other Hours |  | All Hours
For TOUØ1, July 4th and Labor Day are Holidays and are considered OffPeak.
Note: TOUØ1 is presently offered only in the TXU Electric Delivery TDSP service area.
Time-Of-Use Schedule: TOUØ2
Time-Of-Use Schedule Code TOUØ2 shall only be assigned to ESI IDs served through
a TOU meter programmed to store kWh data exactly as listed in the following schedule:
| December - March |  | April, October, & November |  | May & September |  | June - August
| Weekday | Weekend | Weekday | Weekend | Weekday | Weekend | Weekday | Weekend
SuperPeak |  | - | - | - | - | - | 2pm-8pm | -
OnPeak | - | - | - | - | 2pm-8pm | - | 10am-2pm, 8pm-10pm | 2pm-10pm
MidPeak | 6am-Noon, 6pm-10pm | - | - | - | 10am-2pm, 8pm-10pm | 2pm-10pm | 8am-10am, 10pm-Midnight | 10am-2pm, 10pm-Midnight
OffPeak | All Other Hours
Note: TOUØ2 is presently offered only in the TXU Electric Delivery TDSP service area.
Time-Of-Use Schedule: TOUØ3
Time-Of-Use Schedule Code TOUØ3 shall only be assigned to ESI IDs served through
a TOU meter programmed to store kWh data exactly as listed in the following schedule:
| May 15 - October 15 |  | All Other Days
| Weekday | Weekend | Weekday | Weekend
SuperPeak | - | - | - | -
OnPeak | 11am-7pm | - | - | -
MidPeak | - | - | - | -
OffPeak | All Other Hours |  | All Hours
For TOUØ3, July 4th and Labor Day are Holidays and are considered OffPeak.
If July 4th occurs on Sunday, the following Monday shall be considered OffPeak.
Note: TOUØ3 is presently offered only in the CenterPoint Energy TDSP service area.
Time-Of-Use Schedule: TOUØ4
Time-Of-Use Schedule Code TOUØ4 shall only be assigned to ESI IDs served through
a TOU meter programmed to store kWh data exactly as listed in the following schedule:
| July - October |  | All Other Months
| Weekday | Weekend | Weekday | Weekend
SuperPeak | - | - | - | -
OnPeak | 1pm-7pm | - | - | -
MidPeak | - | - | - | -
OffPeak | All Other Hours |  | All Hours
For TOUØ4, July 4th and Labor Day are Holidays and are considered OffPeak.
Note: TOUØ4 is presently offered only in the AEP TX Central TDSP service area.
Time-Of-Use Schedule: TOUØ5
Time-Of-Use Schedule Code TOUØ5 shall only be assigned to ESI IDs served through
a TOU meter programmed to store kWh data exactly as listed in the following schedule:
| July & October |  | August & September |  | All Other Months
| Weekday | Weekend | Weekday | Weekend | Weekday | Weekend
SuperPeak | - | - | 3pm-5pm | - | - | -
OnPeak | 1pm-7pm | - | 1pm-3pm, 5pm-7pm | - | - | -
MidPeak | - | - | - | - | - | -
OffPeak | All Other Hours |  | All Other Hours | - | All Hours
For TOUØ5, July 4th and Labor Day are Holidays and are considered OffPeak.
Note: TOUØ5 is presently offered only in the AEP TX Central TDSP service area.
Time-Of-Use Schedule: TOUØ6
Time-Of-Use Schedule Code TOUØ6 shall only be assigned to ESI IDs served through
a TOU meter programmed to store kWh data exactly as listed in the following schedule:
| June - September |  | All Other Months
| Weekday | Weekend | Weekday | Weekend
SuperPeak | - | - | - | -
OnPeak | 1pm-7pm | - | - | -
MidPeak | - | - | - | -
OffPeak | All Other Hours |  | All Hours
For TOUØ6, July 4th and Labor Day are Holidays and are considered OffPeak.
Note: TOUØ6 is presently offered only in the AEP TX North TDSP service area.
Time-Of-Use Schedule: TOUØ7
Time-Of-Use Schedule Code TOUØ7 shall only be assigned to ESI IDs served through
a TOU meter programmed to store kWh data exactly as listed in the following schedule:
| June - September |  | All Other Months
| Weekday | Weekend | Weekday | Weekend
SuperPeak | - | - | - | -
OnPeak | 3pm-7pm | - | - | -
MidPeak | - | - | - | -
OffPeak | All Other Hours |  | All Hours
For TOUØ7, July 4th and Labor Day are Holidays and are considered OffPeak.
Note: TOUØ7 is presently offered only in the AEP TX Central and AEP TX North TDSP service areas.
Time-Of-Use Schedule: TOUØ8
Time-Of-Use Schedule Code TOUØ8 shall only be assigned to ESI IDs served through
a TOU meter programmed to store kWh data exactly as listed in the following schedule:
| June - September |  | All Other Months
| Weekday | Weekend | Weekday | Weekend
SuperPeak | - | - | - | -
OnPeak | 2pm-8pm | - | - | -
MidPeak | - | - | - | -
OffPeak | All Other Hours |  | All Hours
For TOUØ8, July 4th and Labor Day are Holidays and are considered OffPeak.
Note: TOUØ8 is presently offered only in the AEP TX Central and AEP TX North TDSP service areas.
Time-Of-Use Schedule: TOUØ9
Time-Of-Use Schedule Code TOUØ9 shall only be assigned to ESI IDs served through
a TOU meter programmed to store kWh data exactly as listed in the following schedule:
| June - September |  | All Other Months
| Weekday | Weekend | Weekday | Weekend
SuperPeak | - | - | - | -
OnPeak | 1pm-9pm | - | - | -
MidPeak | - | - | - | -
OffPeak | All Other Hours |  | All Hours
For TOUØ9, July 4th and Labor Day are Holidays and are considered OffPeak.
Note: TOUØ9 is presently offered only in the AEP TX Central and AEP TX North TDSP service areas.
Time-Of-Use Schedule: TOU1Ø
Time-Of-Use Schedule Code TOU1Ø shall only be assigned to ESI IDs served through
a TOU meter programmed to store kWh data exactly as listed in the following schedule:
| June - September |  | All Other Months
| Weekday | Weekend | Weekday | Weekend
SuperPeak | - | - | - | -
OnPeak | 4pm-8pm | - | - | -
MidPeak | - | - | - | -
OffPeak | All Other Hours |  | All Hours
For TOU1Ø, July 4th and Labor Day are Holidays and are considered OffPeak.
Note: TOU1Ø is presently offered only in the AEP TX North TDSP service area.
Time-Of-Use Schedule: TOU11
Time-Of-Use Schedule Code TOU11 shall only be assigned to ESI IDs served through
a TOU meter programmed to store kWh data exactly as listed in the following schedule:
| May - October |  | All Other Months
| Weekday | Weekend | Weekday | Weekend
SuperPeak | - | - | - | -
OnPeak | Noon-8pm | - | - | -
MidPeak | - | - | - | -
OffPeak | All Other Hours |  | All Hours
For TOU11, Memorial Day, July 4th and Labor Day are Holidays and are considered OffPeak.
Note: TOU11 is presently offered only in the TNMP TDSP service area.
Time-Of-Use Schedule: TOU12
Time-Of-Use Schedule Code TOU12 shall only be assigned to ESI IDs served through
a TOU meter programmed to store kWh data exactly as listed in the following schedule:
All Months
| Weekday | Weekend
SuperPeak | - | -
OnPeak | Noon-8pm | -
MidPeak | - | -
OffPeak | All Other Hours
Note: TOU12 is presently offered only in the TNMP TDSP service area.
Time-Of-Use Schedule: TOU13
Time-Of-Use Schedule Code TOU13 shall only be assigned to ESI IDs served through
a TOU meter programmed to store kWh data exactly as listed in the following schedule:
| May - October |  | All Other Months
| Weekday | Weekend | Weekday | Weekend
SuperPeak | - | - | - | -
OnPeak | 1pm-6pm | - | - | -
MidPeak | - | - | - | -
OffPeak | All Other Hours |  | All Hours
For TOU11, Memorial Day, July 4th and Labor Day are Holidays and are considered OffPeak.
Note: TOU13 is presently offered only in the TXUED TDSP service area.