## Slide 1: COMET Working Group Progress Report Discussions Related to Advanced Metering 06/14/06

## Slide 2: Contents of Report
COMET WG Consensus Recommendation to PUCT Staff Questions
Parking Lot & Future Work
Request for Direction

## Slide 3: PUCT Staff Question 1
Question 1:
Provide Input/Recommendations on the File Structure & Data Exchange Format for Metering Information Available from Advanced Metering Networks
Group Consensus:
“Web Based” automated file transfer with a uniform data exchange format across TDSP’s
Intended to provide the capability for addressing data exchange for the CR, 3rd Party and individual customer
Current rules assign data ownership to customer and these data exchanges must adhere to current Market and PUCT rules
Notes: This ensures a meter has been requested in the market – not just a mfg wanting to add their product to the list.
ERCOT SMG has graciously agreed to support the process
  Could be actual test documents or a letter signed by a Texas P.E.
  Ensures that the TDSP can be ready to install meter timely after receipt.
Completeness and technical compliance
  TDSP where meter to be installed or could rotate based on volume
ERCOT/RMS exploder list
Tests will depend on the type of meter, Also, the meter will be tested to agreed standards so that there is consistency.
Two things:
  Unanimous changed to 80% (one entity/unable to attend April meeting)
  Reworded for clarity
Note: At any step in the process
ADDED: TDSPs where competitive metering is available

## Slide 4: PUCT Staff Question 2
Question 2:
Provide Input/Recommendations on the Market Expectations for the Frequency of Data Collection from Advanced Metering Networks
Group Consensus:
Minimum of a daily read frequency by TDSP and requests above the minimum would be at a charge to the requestor
At a minimum, TDSP makes data available the day after the read and requests above this frequency, if feasible, at a charge to the requestor
Notes: This ensures a meter has been requested in the market – not just a mfg wanting to add their product to the list.
ERCOT SMG has graciously agreed to support the process
  Could be actual test documents or a letter signed by a Texas P.E.
  Ensures that the TDSP can be ready to install meter timely after receipt.
Completeness and technical compliance
  TDSP where meter to be installed or could rotate based on volume
ERCOT/RMS exploder list
Tests will depend on the type of meter, Also, the meter will be tested to agreed standards so that there is consistency.
Two things:
  Unanimous changed to 80% (one entity/unable to attend April meeting)
  Reworded for clarity
Note: At any step in the process
ADDED: TDSPs where competitive metering is available

## Slide 5: PUCT Staff Question 3
Question 3:
Provide Input/Recommendations on the Market Expectations for Data Granularity from Advanced Metering Networks
Group Consensus
At a minimum, for residential customers the data granularity required is daily consumption data with the functionality to go to hourly data to support TOU offerings
At a minimum, for C & I customers the data granularity required is daily consumption data with the functionality to go to hourly data to support TOU offerings and 15 minute data to support the IDR threshold in the ERCOT Market
Notes: This ensures a meter has been requested in the market – not just a mfg wanting to add their product to the list.
ERCOT SMG has graciously agreed to support the process
  Could be actual test documents or a letter signed by a Texas P.E.
  Ensures that the TDSP can be ready to install meter timely after receipt.
Completeness and technical compliance
  TDSP where meter to be installed or could rotate based on volume
ERCOT/RMS exploder list
Tests will depend on the type of meter, Also, the meter will be tested to agreed standards so that there is consistency.
Two things:
  Unanimous changed to 80% (one entity/unable to attend April meeting)
  Reworded for clarity
Note: At any step in the process
ADDED: TDSPs where competitive metering is available

## Slide 6: PUCT Staff Question 4
Question 4:
Provide Input/Recommendations on the Market Expectations for Minimum Functionality Expected from Advanced Metering Networks
Group Consensus
Basic advanced functionality available upon deployment for all metering points located on an advanced metering network
  Remote reads for billing metrics with the ability for reads more often that once a month – see question #2 above
  Outage detection (improved customer service)
  Tamper alarms
  Security
Functionality that should be available for all metering points located on an advanced metering network and would be deployed based on requests
  Power Quality
  Remote connect and disconnect
  Prepaid metering
  Flexible data granularity - see question # 3 above
Notes: This ensures a meter has been requested in the market – not just a mfg wanting to add their product to the list.
ERCOT SMG has graciously agreed to support the process
  Could be actual test documents or a letter signed by a Texas P.E.
  Ensures that the TDSP can be ready to install meter timely after receipt.
Completeness and technical compliance
  TDSP where meter to be installed or could rotate based on volume
ERCOT/RMS exploder list
Tests will depend on the type of meter, Also, the meter will be tested to agreed standards so that there is consistency.
Two things:
  Unanimous changed to 80% (one entity/unable to attend April meeting)
  Reworded for clarity
Note: At any step in the process
ADDED: TDSPs where competitive metering is available

## Slide 7: PUCT Staff Question 4
Question 4 (continued):
Provide Input/Recommendations on the Market Expectations for Minimum Functionality Expected from Advanced Metering Networks
Group Consensus
Optional functionality to investigate for possible inclusion for all metering points or for a subset of metering points located on an advanced metering network
  The capability to implement new communications technology for direct access to the meter, or direct access to the meter data through the internet or by other means, by the customer or the customers representative
  Will the advanced metering network be utilized by parties other than the TDSP to communicate to the customer and/or control loads on the Customers premise?
  Distribution automation
Notes: This ensures a meter has been requested in the market – not just a mfg wanting to add their product to the list.
ERCOT SMG has graciously agreed to support the process
  Could be actual test documents or a letter signed by a Texas P.E.
  Ensures that the TDSP can be ready to install meter timely after receipt.
Completeness and technical compliance
  TDSP where meter to be installed or could rotate based on volume
ERCOT/RMS exploder list
Tests will depend on the type of meter, Also, the meter will be tested to agreed standards so that there is consistency.
Two things:
  Unanimous changed to 80% (one entity/unable to attend April meeting)
  Reworded for clarity
Note: At any step in the process
ADDED: TDSPs where competitive metering is available

## Slide 8
Parking Lot & Future Work
Parking Lot items categorized
  Requires resolution before/during the rulemaking
  Can be resolved after the rulemaking
  Outside the current scope of the COMET WG
Future Work
  Update from Staff at the June 19th meeting (conference call) including discussion on any requests for follow up information
  CMGRR005 on Guide Revision Process

## Slide 9
Request Direction
Should COMET WG debate items listed on parking lot issues?

## Slide 10
Questions?????