- 10.13	EPS Meter & Meter Point Identification

10.13.1   MDAS Device Identifier

The device id used to identify an EPS Meter shall be unique for such meters on the ERCOT System.  ERCOT shall maintain a master list of device ids and shall notify each TDSP if the device id selected has been used elsewhere in MDAS.

10.13.2   EPS Meter Point Identification

EPS metering points must be associated to an Electrical Bus that exists in the ERCOT Network Operations Model before an EPS metering point price can be determined to support Settlements.  The TDSP shall provide to ERCOT, the ERCOT Network Operations Model Electrical Bus name that will uniquely identify the location of each EPS metering point. ERCOT shall utilize this Electrical Bus name when determining an EPS metering point price.