ERCOT Nodal Protocols

Section 7:  Congestion Revenue Rights

March 18, 2005

7	Congestion Revenue Rights	7-1

7.1	Function of Congestion Revenue Rights	7-1

7.2	Characteristics of Congestion Revenue Rights	7-2

7.2.1 CRR Naming Convention	7-2

7.3	Types of Congestion Revenue Rights to Be Auctioned	7-2

7.3.1	Flowgates	7-3

7.3.1.1	Process for Defining Flowgates	7-3

7.3.1.2	Defined Flowgates	7-3

7.4	Allocation of Preassigned Congestion Revenue Rights	7-3

7.4.1	PCRR Allocation Eligibility	7-3

7.4.2	PCRR Allocation Terms and Conditions	7-4

7.5	CRR Auctions	7-6

7.5.1	Nature and Timing	7-6

7.5.2	CRR Auction Offers and Bids	7-8

7.5.2.1	CRR Auction Offer Criteria	7-8

7.5.2.2	CRR Auction Offer Validation	7-9

7.5.2.3	CRR Auction Bid Criteria	7-9

7.5.2.4	CRR Auction Bid Validation	7-10

7.5.3	ERCOT Responsibilities	7-10

7.5.3.1	Data Transparency	7-11

7.5.3.2	Auction Notices	7-12

7.5.4	CRR Account Holder Responsibilities	7-13

7.5.5	Auction Clearing Methodology	7-13

7.5.5.1	Creditworthiness	7-13

7.5.5.2	Disclosure of CRR Ownership	7-13

7.5.5.3	Auction Process	7-13

7.5.5.4	Simultaneous Feasibility Test	7-14

7.5.5.5	Allocation Method and Timing for Distributing CRR Auction Revenues	7-15

7.6	CRR Balancing Account for CRRs Cleared in the Day-Ahead	7-16

7.7	Congestion Management in McCamey Area	7-17

7.7.1	Time Frame of Applicability for McCamey Area Flowgates	7-17

7.7.2	Determination of McCamey Area and the McCamey Flowgate(s)	7-17

7.7.4	Allocation of McCamey Flowgate Rights (MCFRIs)	7-18

7.7.4.1	Accommodation of New or Recommissioned WGRs	7-18

7.7.4.2	New or Recommissioned Unit Startup and Testing	7-18

7.7.4.3	New or Recommissioned Unit Commercial Operation	7-19

7.8	Bilateral Trades and ERCOT CRR Registration System	7-19

7.9	CRR Settlements	7-19

# Congestion Revenue Rights

7.1	Function of Congestion Revenue Rights

(1)	A Congestion Revenue Right (CRR) is a financial instrument that entitles the CRR Owner to be charged or to receive compensation for congestion rents that arise when the ERCOT Transmission Grid is congested in Real Time. CRRs do not represent a right to receive, or obligation to deliver, physical energy.  Most CRRs are tradable via the CRR Auction, the DAM, or bilaterally, as described in more detail in this Section 7.

(2)	CRRs may be acquired as follows:

(a)	CRR Auction – ERCOT shall conduct periodic auctions to allow eligible CRR Account Holders to acquire CRRs.  The auction also allows CRR Owners an opportunity to sell CRRs that they hold.

(b)	PCRR Allocations – ERCOT shall annually allocate CRRs to eligible Municipally Owned Utilities and Electric Cooperatives (known as PCRRs) before each annual CRR Auction under Section 7.4., Allocation of Preassigned Congestion Revenue Rights.

(c)	Flowgate Rights Allocations – ERCOT shall allocate McCamey Area Flowgate Rights (MCFRIs) to eligible Market Participants before each annual CRR Auction under Section 7.7.4, Allocation of McCamey Flowgate Rights (MCFRIs).

(d)	Bilateral Market – Any CRR Account Holder may trade PTP Options, PTP Obligations, and FGRs bilaterally.  PTP Options with Refund and PTP Obligations with Refund are not tradable.  Bilateral trading may be done privately or through ERCOT.  ERCOT shall facilitate trading on the MIS Secure Area of existing CRRs between CRR Account Holders, subject to credit requirements,.  ERCOT shall settle CRRs with the CRR Account Holder shown on ERCOT records.

(e)	DAM – Any QSE that is also a CRR Account Holder may bid for PTP Obligations in the DAM.

(3)	Each CRR is one of these types:

(a)	Point-to-Point (PTP) Option, some of which may be PCRRs;

(b)	PTP Obligation, some of which may be PCRRs;

(c)	PTP Option with Refund, all of which are PCRRs;

(d)	PTP Obligation with Refund, all of which are PCRRs; and

(e)	Flowgate Right (FGR).

7.2	Characteristics of Congestion Revenue Rights

CRRs have the following characteristics:

(a)	A quantity of one MW;

(b)	A duration of one hour; and

(c)	An ability to be fully tradable financial instruments except for PTP Options with Refund and PTP Obligations with Refund.

(d)	A designated source (injection point) that is a Settlement Point and a designated sink (withdrawal point) that is a different Settlement Point, except for FGRs, which have a designated transmission branch element instead.

7.2.1 CRR Naming Convention

The appropriate TAC subcommittee shall establish a task force that is open to Market Participants, comprised of technical experts, to develop a naming convention for CRRs consistent with the requirements of the Protocols.  The naming convention must be approved by TAC before implementation.

7.3	Types of Congestion Revenue Rights to Be Auctioned

(1)	ERCOT shall auction the following types of CRRs:

(a)	PTP Option;

(b)	PTP Obligations; and

(c) 	FGRs that are offered by CRR Account Holders.

(2)	PTP Options are evaluated hourly in each CRR Auction as the positive power flows on all directional network elements created by the injection and withdrawal at the specified source and sink points in the quantity represented by the CRR bid or offer (MW), excluding all negative flows on all directional network elements.

(3)	PTP Obligations are evaluated hourly in each CRR Auction as the positive and negative power flows on all directional network elements created by the injection and withdrawal at the specified source and sink points of the quantity represented by the CRR bid or offer (MW).

(4)	PTP Options can only result in payments from ERCOT to the CRR Owner of record.  A PTP Obligation may result in either payments or charges to the CRR Owner of record.

(5)	FGRs are evaluated in each CRR Auction as the positive power flows represented by the quantity of the CRR bid or offer (MW) on a Flowgate, (i.e., predefined direction network element or a predefined bundle of directional network elements).The Flowgates on which FGRs are offered by ERCOT are specified in Section 7.3.1.2, Defined Flowgates.

(6)	CRRs must be auctioned in the following blocks:

(a)	5x16 blocks for hours ending 0700-2200, Monday through Friday (excluding NERC holidays), in one-month strips;

(b)	2x16 blocks for hours ending 0700-2200, Saturday and Sunday, and NERC holidays in one-month strips; and

(c)	7x8 blocks for hours ending 0100-0600 and hours ending 2300-2400 Sunday through Saturday, in one-month strips; and

(d)	7x24 blocks (combinatorial by specifying the previous three types of blocks), in one-month strips.

(7) 	The CRR blocks described in subsection (6) above must be auctioned simultaneously in the Annual CRR Auctions where capacity is made available for the next two years

7.3.1	Flowgates

7.3.1.1	Process for Defining Flowgates

Flowgates where ERCOT offers FGRs may only be created by an amendment to Section 7.3.1.2, Defined Flowgates. ERCOT shall post the list of all flowgates available for FGRs on the MIS Public Area. If there is any change in the designation of flowgates, ERCOT shall provide notice to all Market Participants as soon as practicable.

7.3.1.2	Defined Flowgates

McCamey Area Flowgates are the only flowgates where FGRs are available in ERCOT as specified in Section 7.7, Congestion Management in McCamey Area.

7.4	Allocation of Preassigned Congestion Revenue Rights

Under this Section 7.4, ERCOT shall allocate a portion of the Congestion Revenue Rights to certain Market Participants.

7.4.1	PCRR Allocation Eligibility

(1)	PCRRs are available to be allocated to Non-Opt In Entities (NOIEs) that choose to apply for those rights and that own or have a long-term (greater than five years) contractual commitment that was entered into before September 1, 1999 for annual capacity and energy from specific Generation Resources.

(2)	A Municipally Owned Utility or Electric Cooperative may no longer receive allocated PCRRs after they opt into competition, with the exception of South Texas Electric Cooperative (STEC).  STEC may be allocated PCRRs for up to three years after the date it enters into competition.

7.4.2	PCRR Allocation Terms and Conditions

(1)	ERCOT shall allocate CRRs under the following terms and conditions:

(a)	ERCOT shall conduct studies to ensure that allocated CRRs comply with feasibility constraints using the simultaneous feasibility test described in Section 7.5.5.4, Simultaneous Feasibility Test. If the SFT evaluation indicates that the requested PCRRs are not feasible, then ERCOT shall proportionately reduce the requested PCRRs by their Impact Ratio on violated constraints. The “Impact Ratio” is the fraction a particular PCRR’s impact relative to the impact of all PCRRs in the same direction on a violated constraint.

(b)	Each eligible NOIE may nominate and ERCOT shall allocate to that NOIE PCRRs up to 100% of the net unit capacity (or contractual amount) for each eligible Resource, except as noted below in Subsection (c).

(i) 	Until the first annual auction, NOIEs must nominate PCRRs for the month before each monthly auction.

(ii) 	For the first annual auction, the NOIE must nominate PCRRs for each month of both years of the two-year auction term.

(iii)	For all subsequent annual auctions, the NOIE must nominate PCRRs for each month of the second year of the two-year auction term.

(c)	With the exception of solid-fuel and combined-cycle Resources, an eligible NOIE must choose for all of its other Resources before allocation whether to accept either the refund option or the capacity option:

(i)	Refund option – The eligible NOIE shall refund to ERCOT any congestion revenues received above those congestion revenues flowing to the NOIE for its Output Schedule of the Resource at the PCRR source. PCRR settlement will reflect the MW value of the Output Schedule of the Resource at the PCRR source, regardless of what MW value of actual output occurred during that interval if that change in output is in response to ERCOT Dispatch Instructions. The refund for any Settlement Interval is equal to the difference between the PCRR MW amount and the Output Schedule of the Resource at the PCRR source multiplied by the value of that PCRR. NOIEs or groups of NOIEs linked by common pre-1999 power supply arrangements that have a 2003 NOIE peak Load in excess of 2,300 MW may not choose the refund option.  PCRRs allocated under the refund option are not transferable and may only be used by the NOIE to which they are allocated.

(ii)	Capacity option –the eligible NOIE may nominate up to 40% of the lesser of the net unit capacity or contractual amount for those Resources. ERCOT shall allocate PCRRs in accordance with the NOIE nominations subject to the SFT.

(A)	Before the applicable CRR Auctions, the NOIE must nominate the months (designating on-peak and off-peak-amounts) for which it will use its PCRRs (i.e., the NOIE may shape the PCRRs representing 40% of the capacity for each Resource).

(B)	If a Resource eligible for PCRRs is shut down due to a Force Majeure, then, to the extent feasible, the NOIE may reallocate its PCRRs across its PCRR-eligible facilities before the next CRR Auction.  This change is effective no later than the date of the next CRR Auction, and the redesignation may be requested for each monthly auction during the Force Majeure event.  Any price difference in the reconfigured rights must be paid by (or paid to) the NOIE.

(d)	ERCOT shall allocate the total nominated capacity for each eligible NOIE to the Load of that NOIE in reasonable proportion to the Load served by the NOIE in each Load Zone.

(e)	The CRR type, either PTP Option or PTP Obligation, must be specified by the eligible NOIE before the PCRR allocation and is binding for purchase.  Once the allocation process is complete, the eligible NOIE may not change the CRR type.

(f)	After the allocation process, and the subsequent applicable CRR auction, PCRRs must be priced as a percentage of the applicable  CRR Auction clearing price for the applicable CRR, as follows:

(i)	PTP Option:

(A)	Nuclear, coal, lignite or combined cycle Resources: 10% of the applicable CRR one-year auction clearing price;

(B)	Gas steam Resources: 15% of the applicable CRR one-year auction clearing price; or

(C)	Hydro, wind, simple cycle, or other Resources: 20% of the applicable CRR one-year auction clearing price.

(ii)	PTP Obligation:

(A)	Nuclear, coal, lignite or combined-cycle Resources: 5% of the applicable CRR Auction clearing price if it is positive; 100% of the applicable CRR auction clearing price if it is negative;

(B)	Gas steam Resources: 7.5% of the applicable CRR annual auction clearing price if such price is positive; 100% of the applicable CRR annual auction clearing price if it is negative; or

(C)	Hydro, wind, simple cycle, or other Resources: 10% of the applicable one-year CRR Auction clearing price if it is positive; 100% of the applicable one-year CRR Auction clearing price if it is negative.

(iii)	For NOIEs that have chosen the Refund Option, PCRRs for Resources other than solid-fuel and combined-cycle Resources, are provided at no charge.

7.5	CRR Auctions

7.5.1	Nature and Timing

(1)	The CRR Auction auctions the available network capacity of the ERCOT Transmission System not allocated as described above and also allows CRR Owners an opportunity to offer for sale CRRs that they hold.  Each annual and monthly CRR Auction allows for the purchase of CRR products as described in 7.3(6) in one-month strips and allows for the reconfiguration of all CRR blocks that were previously awarded. One-month strips may be purchased or sold in groups of one or more consecutive or non-consecutive months. If a bid or offer is made for a group of one-month strips, then any award must be inclusive of all the months bid or offered in the group. Additionally, any award that is not for the full bid or offered amount must be proportional across all months in MW quantity to the bid or offer quantity.

(2)	The CRR Network Model must be based on, but is not the same as, the Network Operations Model.  The CRR Network Model must, to the extent practicable, include the same topology, contingencies, and operating procedures as used in the Network Operations Model as reasonably expected to be in place for the applicable auction term (two years, one year, or one month, as applicable).  The expected network topology for any month must include any planned outages of any transmission element known to be  16 hours or longer  in that month, as indicated in the Outage Scheduler. Transmission system upgrades and changes must be accounted for in the CRR Network Model for CRR Auctions held after the month in which the element is placed into service.

(a)	ERCOT shall use Dynamic Ratings in the CRR Network Model as required under Section 3.10.8, Dynamic Ratings.

(b)	The CRR Network Model must use the peak Load conditions of the month being modeled.

(3)	Subject to credit requirements in Section 16, Registration and Qualification of Market Participants:

(a)	ERCOT shall auction CRRs for one-month terms for at least six months after the TNT Market Implementation Date; ERCOT shall auction:

(i)   	PTP Options in one-month strips for two-year terms at and beyond the first annual CRR Auction.

(ii) 	PTP Obligations in one-month terms until the ERCOT Board approves the offering of PTP Obligations in one-month strips for longer terms at specified source Settlement Points and sink Settlement Points.

(iii)	MCFRIs in one-month strips for two-year terms at and beyond the first annual CRR Auction. Other FGRs may not be offered for two-years after the TNT Market Implementation Date or until approved by the ERCOT Board.

(b)	ERCOT shall offer network capacity for  two years in the annual CRR Auction equal to the difference between (i) and (ii) :

(i)	For each  month, the lesser of:

(A)	the expected network topology for the August of the first year in the CRR Network Model  scaled down to 55% for the first year and 15% for the second year; and

(B)	100% of all other months’ expected network topology of the first year for the corresponding months in both years; and

(ii)	All outstanding CRRs that were previously awarded or allocated for the current auction term.

(c)	ERCOT shall offer network capacity for the monthly CRR Auction equal to the difference between:

(i)	The expected transmission network topology in the CRR Network Modelof the month for which the CRRs are effective scaled down to 90%; and

(ii)	All outstanding CRRs that were previously awarded or allocated for the current auction term.

(4)	ERCOT shall model bids and offers into the CRR Auction as flows based on the MW offer and defined source and sink.  When the Simultaneous Feasibility Test (SFT) is run, the model must weight the Nodes included in a Hub or Load Zone appropriately to determine the system impacts of the CRRs.

(a)	To distribute injections and withdrawals to buses within a Hub, ERCOT shall use distribution factors specified in Section 3.5.1, Process for Defining Hubs.

(b)	To distribute injections and withdrawals to buses within Load Zones, ERCOT shall use the Load-weighted distribution factors for On-Peak Hours in each Load Zone from the planning cases (for the same period) for monthly auctions (or for the monthly models used in an annual auction).  If monthly planning cases do not exist, ERCOT shall use the Load-weighted distribution factors for On-Peak Hours in each Load Zone from the appropriate seasonal planning case.

(6)	ERCOT shall conduct CRR Auctions with the frequency, on the dates, and for the terms specified as follows:

(a)	The annual auction must occur on the first Tuesday of each December for the two-year term that starts on the immediately following January 1.

(b)	Each monthly auction must occur on the second Tuesday of each month immediately before the month that the CRRs are effective, on a date set by ERCOT.  If the second Tuesday is not a Business Day, then that monthly auction must occur on the next Business Day after the second Tuesday.

7.5.2	CRR Auction Offers and Bids

(1)	To submit bids or offers into a CRR Auction, an Entity must become a CRR Account Holder and satisfy financial assurance criteria required to participate, under Section 16.8, Registration and Qualification of Congestion Revenue Rights Account Holders.

(2) 	No later than the Texas Nodal Market Implementation Date, ERCOT shall report to TAC about whether a limit on bid volume or a nominal transaction charge for each bid submitted would benefit the auction process.  Recommendations from TAC must be approved by the ERCOT Board and may be implemented without further revision to these Protocols.

7.5.2.1	CRR Auction Offer Criteria

(1)	A CRR Auction Offer indicates a willingness to sell CRRs at the auction clearing price, if it equals or exceeds the Minimum Reservation Price. It must be submitted by a CRR Account Holder and must include the following:

(a)	The name of the CRR Account Holder;

(b)	The unique identifier for each CRR being offered, which must include the single type of CRR being offered;

(c)	The source Settlement Point and the sink Settlement Point or name of flowgate for the CRR or block of CRRs being offered;

(d)	The month for which the CRR or block of CRRs is being offered, including block designation;

(e)	The quantity of CRRs in MW, which must be the same for each hour within the block, for which the Minimum Reservation Price is effective; and

(f)	A dollars per CRR (i.e. dollars per MW per hour) for the Minimum Reservation Price.

(2)	The CRR Account Holder may submit a self-imposed auction-wide credit limit, if desired.

(3)	A CRR Account Holder can only offer to sell one-month strips of CRRs for which it is the CRR Owner of record at the time of the offer.

(4)	An offer to sell an FGR must specify the name of a flowgate as defined in Section 7.3.1, Flowgates.

(5)	A CRR offer for a specified MW quantity of CRRs constitutes an offer to sell a quantity of CRRs equal to or less than the specified quantity.  A CRR offer may not specify a minimum quantity of MW that the CRR Account Holder wishes to sell.

7.5.2.2	CRR Auction Offer Validation

(1)	A valid CRR Auction Offer is a CRR Auction Offer that ERCOT has determined meets the criteria listed in Section 7.5.2.1, CRR Auction Offer Criteria.

(2)	ERCOT shall continuously display on the MIS Certified Area information that allows any CRR Account Holder submitting a CRR Auction Offer to view its valid CRR Auction Offers.

(3)	As soon as practicable, ERCOT shall notify each CRR Account Holder of any of its CRR Auction Offers that are invalid.  The CRR Account Holder may correct and resubmit any invalid CRR Auction Offer, if within the appropriate auction timeline.

7.5.2.3	CRR Auction Bid Criteria

(1)	A CRR Auction Bid indicates a willingness to buy CRRs at the auction clearing price, if it is equal to or less than the Not-to-Exceed Price. It must be submitted by a CRR Account Holder and must include the following:

(a)	The name of the CRR Account Holder;

(b)	The single type of CRR being bid;

(c)	The source Settlement Point and the sink Settlement Point or name of flowgate for the block of CRRs being bid;

(d)	The month for which the block of CRRs is being bid, including block designation;

(e)	The quantity of CRRs in MW, which must be the same for each hour within the block,  for which the Not-to-Exceed Price is effective; and

(f)	A dollars per CRR (i.e. dollars per MW per hour) for the Not-to-Exceed Price.

(2)	The CRR Account Holder may submit a self-imposed auction-wide credit limit, if desired.

(3)	A bid to buy any CRR cannot specify a negative Not-to-Exceed Price.

(4)	A bid to buy an FGR must specify the name of a flowgate defined in Section 7.3.1, Flowgates.

(5)	A CRR bid for a specified MW quantity of CRRs constitutes a bid to buy a quantity of CRRs equal to or less than the specified quantity.  A CRR bid may not specify a minimum quantity of MW that the CRR Account Holder wishes to buy.

7.5.2.4	CRR Auction Bid Validation

(1)	A valid CRR Auction Bid is a CRR Auction Bid that ERCOT has determined meets the criteria listed in Section 7.5.2.3, CRR Auction Bid Criteria.

(2)	ERCOT shall continuously display on the MIS Certified Area information that allows any CRR Account Holder submitting a CRR Auction Bid to view its valid CRR Auction Bids.

(3)	As soon as practicable, ERCOT shall notify each CRR Account Holder of any of its CRR Auction Bids that are invalid.  The CRR Account Holder may correct and resubmit any invalid CRR Auction Bid, if within the appropriate auction timeline.

7.5.3	ERCOT Responsibilities

(1)	ERCOT shall:

(a)	Manage the qualification and registration of eligible CRR Account Holders;

(b)	Post calendar of CRR auctions;

(c)	Initiate, direct, and oversee the CRR Auction;

(d)	Post CRR Auction results;

(e)	Maintain a record of the CRRs;

(f)	Provide a mechanism to record CRR bilateral transactions;

(g)	Determine CRR Auction settlement and distribute auction revenues;

(h)	Keep, under the ERCOT data retention policy, all information and tools necessary to reproduce CRR calculations; and

(i)	Post CRR Network Model of the effective month of the auction  on the MIS Secure Area, before each CRR Auction:

(i)	For monthly auctions the model shall be posted no later than 10 business days before the auction.

(ii)	For annual auctions the model shall be posted no later than 20 business days before the annual auction.

(2)	ERCOT shall use the CRR Network Model as defined in Section 3.10.3, CRR Network Model.

(3)	ERCOT shall develop and maintain a CRR guide to help Market Participants with the CRR program.

(4)	Before each auction, ERCOT shall establish a credit limit under Section 16, Registration and Qualification of Market Participants, for each CRR Account Holder (“CRR Account Holder’s Credit Limit”) that is imposed in the CRR Auction.

7.5.3.1	Data Transparency

(1)	Following each CRR Auction, ERCOT shall record and make available to each CRR Account Holder on the MIS Certified Area the following information for each CRR awarded in, sold in, or allocated before, the CRR Auction to the specific CRR Account Holder:

(a)	Unique identifier of each CRR;

(b)	Type of CRR (PTP Option, PTP Obligation, PTP Option with Refund, PTP Obligation with Refund, or FGRs);

(c)	Clearing price of each CRR;

(d)	Except for FGRs, the source and sink of each CRR; and

(e)	FGR identity and direction;

(f)	The date and hour for which the CRR is effective.

(g)	Total MW of each PTP pair of CRR awarded, or total MW for each flowgate awarded

(2)	Following each CRR Auction, ERCOT shall post to the MIS Public Area the following information for all outstanding CRRs following this auction:

(a)	PTP Options and PTP Options with Refund – the source and sink , and total MWs;

(b)	PTP Obligations and PTP Obligations with Refund – the source and sink and total MWs;

(c)	FGRs – the identity of each directional flowgate, and the magnitude of positive flow (MW) on each directional transmission branch element represented by each flowgate;

(d)	The identities of the CRR Account Holders that were awarded or allocated CRRs in or before the CRR Auction;

(e)	The clearing prices for each strip of CRR blocks awarded in the CRR Auction;

(f)	The identity and post contingency flow of each binding directional element based on the CRR Network Model used in the CRR Auction; and

(g)	All CRR Auction Bids and CRR Auction Offers, without identifying the name of the CRR Account Holder that submitted the bid or offer.

7.5.3.2	Auction Notices

(1)	Not less than 20 days before each annual CRR Auction and not less than 10 days before each monthly CRR Auction, ERCOT shall post the following to the MIS Public Area:

(a)	For the CRR Auction, number and type (PTP Options or PTP Obligations) of  CRRs previously awarded or allocated for each appropriate month, including the source and sink for each such CRR;

(b)	For the CRR Auction, number of MCFRIs that have been previously awarded or allocated for each appropriate month, including the flowgate for each such MCFRI;

(c)	Deadline for CRR Account Holders to satisfy financial requirements to participate in the auction;

(d)	Specifications for the equipment and interfaces necessary to participate in the CRR Auction;

(e)	Date and time by which CRR Auction Bids  and CRR Auction Offers in the CRR Auction must be submitted;

(f)	Bid and offer format; and

(g)	Any other relevant information of commercial significance to CRR Account Holders.

7.5.4	CRR Account Holder Responsibilities

(1)	Eligible CRR Account Holders may submit CRR Auction Bids and CRR Auction Offers.

(2)	Each CRR Account Holder must maintain adequate credit for its CRR holdings, and CRR Auction participation requirements, as described in Section 16, Registration and Qualification of Market Participants.

7.5.5	Auction Clearing Methodology

7.5.5.1	Creditworthiness

The CRR Auction system prevents a CRR Account Holder from being awarded bids and offers that exceed the lesser of the CRR Account Holder’s self-imposed credit limit or the CRR Account Holder’s credit limit as prescribed in Section 16.8.4.4, Determination of CRR Account Holder’s Liability.

7.5.5.2	Disclosure of CRR Ownership

ERCOT shall post monthly on the MIS Public Area CRR ownership of record.

7.5.5.3	Auction Process

(1)	The auction must be a single-round, simultaneous auction for selling the CRRs available for all auction products, with the following steps:

(a)	ERCOT shall enter the following constraints into ERCOT’s auction engine model:

(i)	The lesser of the CRR Account Holder’s Credit Limit specified in Section 16.8.4.4, Determination of CRR Account Holder’s Liability or, if provided, the CRR Account Holder’s self-imposed credit limit must be enforced as a credit constraint. The credit constraint is equal to the sum of the following:

(A) 	all awarded CRR Auction Bid multiplied by their corresponding bid price, plus;

(B) 	all awarded CRR Auction Offers with negative offer prices multiplied by the absolute value of their corresponding offer price, plus;

(C) 	the additional credit requirement for  all awarded PTP Obligations bid.

(b)	ERCOT shall award CRRs in quantities rounded to the nearest MW.

(c)	The CRR Clearing Price is equal to the corresponding Shadow Price  for that CRR product.

(d)	When  a CRR Account Holder is awarded CRRs as a result of a CRR Auction, the CRRs do not become the property of the winning CRR Account Holder, and the CRRs may not be placed in their CRR accounts, until the CRR Invoices have been paid in full.

(e)	When a CRR Account Holder sells PTP Obligations as a result of an auction at a negative price, the CRR Account Holder is not relieved of the PTP Obligations until the CRR Invoices have been paid in full.

(2)	ERCOT shall use a linear programming auction engine model for each CRR Auction that evaluates all CRR Auction Bids and CRR Auction Offers submitted, and selects a combination of CRR Auction Bids and CRR Auction Offers that:

(a)	Makes the solution simultaneously feasible in light of the ERCOT network capability over the auction term; and

(b)	Maximizes the objective function, which is equal to the total economic value (as expressed in the CRR Auction Bids) of the awarded CRR Auction Bids, less the total economic cost (as expressed in CRR Auction Offers) of the awarded CRR Auction Offers, while observing all applicable constraints.

(3)	The CRR Network Model must, to the extent practicable, reflect the continuous and post-contingency system operating limits and operational procedures (i.e., Special Protection Systems and Remedial Action Plans) in the Network Operations Model used by ERCOT during Real-Time Operations, as discussed below in Section 7.5.5.4, Simultaneous Feasibility Test.

(4)	Once a CRR Auction is complete, ERCOT shall archive and keep the CRR Auction system and all models used to finalize the CRR Auction results under ERCOT’s data retention policy as that policy applies to data that may be needed to resolve requests for billing adjustments under applicable billing adjustment procedures.

7.5.5.4	Simultaneous Feasibility Test

(1)	The Simultaneous Feasibility Test (SFT) is a market feasibility test that confirms that the transmission system can support the awarded set of CRRs during normal system conditions, assuming that the Network Operations Model updated with Real-Time network topology is the same as that modeled (for the CRR auction), while observing all security constraints.

(2)	The SFT uses a DC power-flow model to model the effect of CRR Auction bids and offers on the expected system network topology during the auction term.  SFT is not a system reliability test and is not intended to model actual system operating conditions.  SFTs are run during the determination of the winning bids and offers for the CRR Auction.

(3)	Inputs to the SFT model include:

(a)	CRR bids and offers for the auction term;

(b)	All previously awarded or allocated CRRs  for the study period;

(c)	Transmission line outage schedules;

(d)	Expected configuration of Transmission Facilities, adjusted for oversold CRRs, as specified in subsection (e) below;

(e)	Increased capacity of each element that has been oversold in prior CRR Auctions and CRR allocations to exactly match the amount of CRRs that have been sold or allocated on that element (this ensures the feasibility of the CRR Auction);

(f)	Thermal operating limits (including estimates for Dynamic Ratings) for transmission lines;

(i)	for the annual auction ERCOT shall use Dynamic Ratings based on a historical analysis of the maximum peak-hour temperatures for the previous 10 years; and

(ii)	for the monthly auction ERCOT shall use Dynamic Ratings for the maximum peak-hour temperature forecast for the month;

(g)	Voltage and stability limits that are valid for the study period converted to thermal limits;

(h)	ERCOT Transmission Grid pre- and post-contingency ratings;

(i) 	All transmission element contingencies enforced by ERCOT in Real-Time Operations; and

(j)	RAPs and SPSs.

7.5.5.5	Allocation Method and Timing for Distributing CRR Auction Revenues

(1)	ERCOT shall determine, for each month in a year, the CRR Monthly Allocated Revenues (CMAR). The CMAR is the sum of a prorated amount of:

(a)	CRR Auction revenues from the auction of one-year CRRs for CRRs effective for that year;

(b)	One-half of the CRR Auction revenues from each two-year auction that includes CRRs for that year; and

(c)	PCRR revenues.

(2)	The proration used to determine the CMAR must be based on ERCOT’s most recent monthly energy forecast used to prepare ERCOT’s annual budget.

(3)	ERCOT shall add the CMAR for each month in the year to the revenue from the CRR Auction of monthly CRRs for that month to calculate the CRR Total Monthly Revenues for that month.

(4)	For the first three years after the TNT Market Implementation Date, ERCOT shall credit the net CRR Auction revenue (including PCRR revenue) produced from CRRs cleared in each CRR Auction that source from a Settlement Point located within a 2003 ERCOT Congestion Management Zone (CMZ) and sink at a Settlement Point located within the same 2003 ERCOT CMZ to QSEs in the 2003 ERCOT CMZ on a zonal Load Ratio Share basis.  All other net CRR Auction revenues must be allocated to QSEs on an ERCOT-wide Load Ratio Share basis.  For these allocation purposes, any NOIE Load Zone is considered to be located entirely within the 2003 ERCOT CMZ that represented the largest Load for that NOIE or group of NOIEs in 2003.  Before the end of the three-year period described above, the ERCOT Board shall consider whether to extend the policy or ratify some other alternative.

(5)	ERCOT shall true up the credited CRR Total Monthly Revenues using the Final Settlement for the day that includes the peak 15-minute Settlement Interval for the month.

7.6	CRR Balancing Account for CRRs Cleared in the Day-Ahead

(1)	In the DAM, if the Congestion Rent is equal to or greater than the net amounts due to all CRR Owners for any Settlement Interval, then ERCOT shall pay the net amounts due to the CRR Owners and put any excess amount into the CRR Balancing Account.

(2)	In the DAM, if the Congestion Rent is less than the net amounts due to all CRR Owners for any Settlement Interval, then ERCOT shall short-pay each CRR Owner on a prorated basis and shall keep track of how much each CRR Owner has been short-paid. The proration must be calculated using only the amounts due to the CRR Owner and not using amounts due to ERCOT for PTP Obligations owned by the CRR Owner.

(3)	At the end of each month, ERCOT shall pay any positive balance in the CRR Balancing Account to each short-paid CRR Owner, with the amount paid to each CRR Owner being the lesser of (a) a prorated amount based on the short-paid amount for that CRR Owner compared to the total short-paid amount, and (b) the short-paid amount for that CRR Owner. Any remaining positive balance in the CRR Balancing Account must be carried over to the following month, except that any remaining positive balance after paying short-pays in December must be allocated under item (4) below instead of carrying over to January.

(4)	At the end of a year, any remaining positive balance after paying any short-pays for December must be allocated to CRR Owners who ended up being short-paid for any month even after receiving a payment from the CRR Balancing Account for that month, with the amount paid being the lesser of (a)  a prorated amount based on the short-paid amount for that CRR Owner for all months in the year for which it was short-paid, compared to the total short-paid amount for all CRR Owners for that year, and (b) the short-paid amount for that CRR Owner. Any remaining positive balance in the CRR Balancing Account after making that allocation for the year must be allocated to all QSEs on a monthly Load Ratio Share basis.

7.7	Congestion Management in McCamey Area

7.7.1	Time Frame of Applicability for McCamey Area Flowgates

The procedures for determining McCamey Flowgate Rights (MCFRIs) and allocating them to QSEs representing wind-powered Generation Resources (WGRs) in the McCamey Area are applicable until 30 days after the ERCOT Board has approved ERCOT’s certification that the sustainable export capability from the McCamey Area is greater than or equal to 900 MW. No more MCFRIs may be allocated 30 days following such action by the ERCOT Board.

7.7.2	Determination of McCamey Area and the McCamey Flowgate(s)

(1)	MCFRIs are a type of FGR that must be allocated only to WGRs in the McCamey Area, which is an area of west Texas with an abundance of wind-powered generation for which there are export capability limitations.   ERCOT shall determine the boundaries of the McCamey Area and publish maps on the MIS Secure Area indicating the buses contained in the McCamey Area.

(2)	ERCOT shall post to the MIS Secure Area the specific contingency/limiting element pairs that define each McCamey Flowgate.  The elements that comprise new McCamey Flowgates may be established due to changes in the transmission system.  .

(3)	ERCOT shall identify WGRs eligible for MCFRI allocation in the McCamey Area that:

(a)	Have demonstrated that the WGR is in commercial operation or is expected to be in commercial operation during the period for which MCFRIs will be allocated.  This determination is made at ERCOT’s sole discretion;

(b)	Have significant impact on the most limiting local operational constraint; and

(c)	Cannot operate their facilities at full capacity simultaneously with other WGRs in the McCamey Area, when all local transmission lines are in service, without violating ERCOT reliability criteria.

(4)	ERCOT shall post on the MIS Public Area a current geographical map and an electrical one-line diagram of the boundaries of the McCamey Area.  ERCOT shall revise the map and diagram as necessary to reflect any changes in transmission system configuration or new interconnections of WGRs in west Texas.

(5)	ERCOT may allocate MCFRIs only to WGRs in the McCamey Area.

7.7.4	Allocation of McCamey Flowgate Rights (MCFRIs)

(1)	ERCOT shall determine the “Capacity Impact” of each McCamey Area WGR eligible for MCFRIs on each  McCamey Flowgate by multiplying the maximum rated output for the WGR times its Shift Factor (or outage Shift Factor, as appropriate) for the corresponding McCamey Flowgate relative to the Load-weighted average Shift Factor of all buses in ERCOT.

(2) 	At each CRR Auction, ERCOT shall allocate 90% of each McCamey Flowgate available capacity for the corresponding auction as MCFRIs to each McCamey Area WGR in proportion to its Capacity Impact for the corresponding flowgate using the auction Shift Factors.  All commercial and committed WGRs in the McCamey Area must be included in the analysis, but MCFRIs may be allocated only to QSEs representing WGRs that are in commercial operation.  The determination of available McCamey Flowgate  capacity must account for reduced flowgate element capacities resulting from CRRs already sold or allocated.

7.7.4.1	Accommodation of New or Recommissioned WGRs

(1)	In the case of a new or re-commissioned WGR located in the McCamey Area,  ERCOT must determine in its sole discretion that the WGR is anticipated to be in commercial operation in order for the new capacity to be included in the analysis described in Section 7.7.4 Allocation of McCamey Flowgate Rights (MCFRIs).

(2)	MCFRIs will be reserved for each new or recommissioned WGR for each whole month during which it is anticipated, in ERCOT’s sole discretion, to be in commercial operation or in pre-startup testing. .  MCFRIs reserved for a new or recommissioned WGR will only be allocated for that WGR if it is anticipated, in ERCOT’s sole discretion, to be in commercial operation or in pre-startup testing at the beginning of the month for which the MCFRIs are effective.  Any MCFRIs reserved for a month but not allocated for a new or recommissioned WGR will be allocated:

(a)	For WGRs that are in commercial operation in the same proportion as their other MCFRIs are allocated; and,

(b)	For WGRs in startup and testing as described in Section 7.7.4.2.

7.7.4.2	New or Recommissioned Unit Startup and Testing

For each new or recommissioned WGR in the McCamey Area, the WGR owner shall supply ERCOT with a test plan.  The plan shall indicate how the WGR will increase capacity, along with the expected dates that the capacity will be available.  During the testing period before commercial operation, ERCOT shall allocate MCFRIs for the new or recommissioned WGR equal to the test plan capability if it is less than five MW.  If the test plan capability is equal to or greater than 5MW, ERCOT shall allocate MCFRIs for the new or recommissioned WGR proportional to the test plan’s proportion of total available McCamey Area WGR capacity.

7.7.4.3	New or Recommissioned Unit Commercial Operation

The owner of a WGR coming On-Line in the McCamey Area shall notify ERCOT three Business Days before expected commercial operation.  The Notice must include the MW of generation capacity expected to become commercial based on the PUCT certification of the Generation Resource as a REC generator, the date of expected commercial operation, and the  QSE(s) representing the WGR with the associated capacity that the WGR will be able to provide.  The owner of the WGR shall notify ERCOT of any delays in the expected commercial operation.

7.8	Bilateral Trades and ERCOT CRR Registration System

(1)	Market Participants may sell or trade PTP Options, PTP Obligations and FGRs bilaterally, except PTP Options with Refund and PTP Obligations with Refund.

(2)	The characteristics of the CRRs sold or traded bilaterally, including CRR source and CRR sink may not be modified from the terms of the original CRR.

(3)	ERCOT shall initially populate a database of CRR Owners with the annual and monthly first-buyers of CRRs and first-recipients of PCRRs and MCFRIs.

(4)	A transfer of CRRs through the ERCOT CRR registration system is not effective until the selling CRR Account Holder reports the transaction, the buying CRR Account Holder acknowledges the transaction, and both parties meet ERCOT’s credit requirements to support the transfer.  Until all of those occur, the selling CRR Account Holder is considered the CRR Owner for purposes of these Protocols, including financial responsibility.

(5)	Any PTP Obligation, PTP Option and FGR, except PTP Options with Refund and PTP Obligations with Refund, may change ownership in the ERCOT CRR registration system through the end of the Adjustment Period for the Operating Hour for which the CRR is effective.

7.9	CRR Settlements

This settlement subsection of this Protocols section will be developed by the TNT group and will be filed with the Public Utility Commission of Texas in a filing that is supplemental to the March 18, 2005 filing.