| PRR Number | 631 | PRR Title | Black Start Bid Procedures and Compensation for Testing |
| --- | --- | --- | --- |
| Date |  | 6/20/06 |  |
| Submitter’s Information |  |  |  |
| Name |  | Paul Breitzman on behalf of the Reliability and Operations Subcommittee (ROS) |  |
| E-mail Address |  | paulb@gplops.org |  |
| Company |  | Garland Power & Light |  |
| Company Address |  | 525 E. Avenue B Garland, TX 75040 |  |
| Phone Number |  | 972-205-3011 |  |
| Fax Number |  | 972-205-3106 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 |  |  |
| Additional Qualitative Information | 1 |  |  |
| Other | 1 |  |  |

Comments

The ROS considered the Black Start Task Force’s recommendation to reject PRR631 and agreed that that the concerns and issues regarding simulation studies can best be resolved in ERCOT’s annual RFP for Black Start Service and the bid selection process.  The expenses for testing should be recovered as part of the Resource bid. The changes proposed in PRR631 are not necessary.  ROS unanimously voted on 6/16/06 to recommend that PRS reject PRR631.  The REP segment was not present for the vote.

Revised Proposed Protocol Language

None