Locational Marginal Pricing (LMP 101)

Introduction:

This course offers a basic introduction to LMP calculations. It also shows how LMPs represent the price of power at any settlement point on the ERCOT Grid. The course introduces attendees to security constrained economic dispatch, which determines prices and base points for all resources. The course uses scenario based training to explain various generic transmission system models. The scenarios show how changes in network topology affect LMPs given examples of bids and offers for energy at generator injection points. The course also shows how the marginal generation unit is determined in the presence of congestion and what the price outcomes for generation resources may look like based on their location relative to the congested elements.

Modules:

- Course introduction

- ERCOT Grid

- LMP Basics

- SCED

- Four Bus Scenarios

- Congestion Scenarios

- Outages Scenarios

- Conclusions

Objectives:

Protocol references in parenthesis.

By the end of the ERCOT Grid module, course attendees will be able to:

- Explain the difference between a congestion management zone (CMZ) and a node.

- Describe a settlement node. (3.4-3.5)

- Describe a load zone. (3.4)

- Identify the types of load zones. (3.4.1 – 3.4.5)

- Describe a settlement hub. (3.5)

- Identify the hubs in the ERCOT grid. (3.5.2)

By the end of the LMP Basics module, course attendees will be able to:

- Define a demand curve.

- Define a supply curve. (4.4.9.3)

- Describe marginal pricing. (4.5.1)

- Identify the LMP in a Two-Bus Example

- Identify the LMP in a constrained Two-Bus Example

By the end of the Security-constrained economic dispatch module, course attendees will be able to:

- Explain the meaning of the acronym SCED.( 6.5.7.3)

- Identify the key inputs into SCED. (6.5.7.1.13)

- Identify the steps in SCED.( 6.5.7.3)

- Describe a Mitigated Offer Cap. (4.4.9.4.1)

- Describe a Mitigated Offer Floor. (4.4.9.4.2)

- Explain how SCED determines a LMP.

- Explain what will happen if SCED fails.(6.5.9.2)

By the end of the Four Bus Scenarios module, course attendees will be able to:

- Explain how the marginal generation unit is determined.

- Identify what the LMP would be in a simple example.

- Solve a simple Four-bus example with no congestion.

By the end of the Congestion Scenarios module, course attendees will be able to:

- Identify how the marginal generation unit is determined in a constrained example.

- Identify what the LMP would be in a constrained example.

- Solve a Four-bus example with congestion.

By the end of the Outage Scenarios module, course attendees will be able to:

- Describe how the marginal generation unit is determined in an outage example.

- Identify what the LMP would be in an outage example.

- Solve a Four-bus example with an outage.

Competencies Required:

None.

Prerequisites:

None.  Note: Class assumes familiarity with the existing Texas Market.

Related Curriculum:

None.

Nodal Requirements:

| Intended Audiences | Knowledge Requirement | Readiness Assessment Method |
| --- | --- | --- |
| QSE Managers | Highly Recommended | Quiz at end of class |
| QSE Gen Operators | Highly Recommended | Quiz at end of class |
| QSE RT Trade mangers | Highly Recommended | Quiz at end of class |
| NOIE Manager | Mandatory | Quiz at end of class |
| NOIE Gen/QSE System Operator | Recommended | Quiz at end of class |
| NOIE Gen/QSE Shift Supervisor | Mandatory | Quiz at end of class |
| NOIE Trading | Recommended | Quiz at end of class |
| NOIE Accounting | Highly Recommended | Quiz at end of class |
| NOIE EMS/IT | Mandatory | Quiz at end of class |
| LSE Supply Coordinators | Mandatory | Quiz at end of class |
| LSE Schedulers | Highly Recommended | Quiz at end of class |
| LSE Municipality/Co-Op Managers | Highly Recommended | Quiz at end of class |
| Energy Marketers | Recommended | Quiz at end of class |
| T&D Manager | Mandatory | Quiz at end of class |
| Transmission Shift Supervisor | Mandatory | Quiz at end of class |
| Transmission Shift Operations | Mandatory | Quiz at end of class |
| T&D IT | Mandatory | Quiz at end of class |
| PM/Trader | Highly Recommended | Quiz at end of class |
| ERCOT Market Operations | Highly Recommended | Quiz at end of class |
| ERCOT Wholesale Settlements | Recommended | Quiz at end of class |
| ERCOT Operators | Recommended | Quiz at end of class |
| ERCOT General Staff | Highly Recommended | Quiz at end of class |
| ERCOT IT | Highly Recommended | Quiz at end of class |

Offerings:

| Delivery Options | Class Size Limitations |
| --- | --- |
| Instructor-led | 50 |
| Web Self-directed | N/A |