| PRR Number | 667 | PRR Title | RPRS Uplift Charge and Under Scheduled Charge Correction |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 6.6.3.2.1 Specific Procurement Process Requirements for Replacement Reserve Service in the Adjustment Period 6.9.2.1 Settlement for RPRS |  |
| Requested Resolution (Normal or Urgent) |  | Urgent |  |
| Revision Description |  | This PRR will correct an over collection and inequitable negative uplift charge, aligning RPRS payments with RPRS procurement costs. |  |
| Reason for Revision |  | When ERCOT procures PCRP, it collects more payments then are required to pay resources for the procurements, then uplifts the excess revenue collected on a load ratio share. This presents a gaming opportunity. This PRR fixes this issue and eliminates the ability to game the market due to over-collections period. |  |
| Credit Implications (Yes or No, and summary of impact) |  | No |  |
| Relevance to Nodal Market (Yes or No, and summary of impact) |  | No |  |
| Nodal Protocol Section(s) Requiring Revision (include Section No. and Title) |  | n/a |  |
| Timeline |  |  |  |
| Date Posted |  |  |  |
| Please access the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Eric Goff/Vanus Priestley |
| E-mail Address | Eric.Goff2@constellation.com |
| Company | Constellation New Energy |
| Company Address | 1221 Lamar St. Houston, TX 77010 |
| Phone Number | 713-646-6718 |
| Fax Number | 713-222-6082 |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

| Assumptions | 1 | Distribution of over-collected dollars is inequitable. |  |
| --- | --- | --- | --- |
|  | 2 | The current RPRS payment structure could allow large market participants to game the market. |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | ERCOT adjustment of settlement process. | Minimal |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Reduced RPRS costs | Varies by load ratio share and scheduling strategies; reduction in cost for most CRs |
| Additional Qualitative Information | 1 | Eliminates an incentive to game the RPRS market by market participants, potentially reducing times RPRS is required. |  |
| Other | 1 | PRR will not impact any sections between 6.6.3.2.1 and 6.9.2.1 |  |

Proposed Protocol Language Revision

6.6.3.2.1	Specific Procurement Process Requirements for Replacement Reserve Service in the Adjustment Period

ERCOT shall procure Replacement Reserve Service (RPRS) in the AP as follows:

(1)	ERCOT will evaluate Zonal Congestion, Local Congestion, and capacity insufficiency using ERCOT’s Operational Model, balanced QSE schedules, Resource Plans, and ERCOT forecast of next day Load.

(2)	ERCOT will define the level of Resources available to meet next-day reliability needs of the ERCOT System based on QSE schedule submissions, Resource Plans and ERCOT Load forecast.  ERCOT will determine incremental Resource capacity available from Generation Resources that are Off-line, or Generation Resources that are expected to be Off-line in the requested hours or Loads acting as a Resource shown as available in the Resource Plans.

(3)	RPRS procurement produces an optimum solution for the whole Operating Day.  The RPRS procurement resolves Local Congestion problems first and then resolves capacity inadequacy and Zonal Congestion problems simultaneously.  The solution of the RPRS is a result of ERCOT performing analysis of the current physical system operations for each hour to recognize potential transmission constraints that would require Resources not currently planned to be available.  The purpose and use of the RPRS procurement is to provide capacity from which energy would be available to solve the following system security violations:

(a)	ERCOT System capacity insufficiency using any RPRS bid;

(b)	Zonal Congestion using the RPRS bids by Congestion Zone in bid price Merit Order and the current physical system operations in the ERCOT System; and

(c)	Local Congestion using Resource Category Generic Cost and the current physical system operations in the ERCOT System.

(4)	ERCOT will solve security violations using a transmission security-constrained mathematical optimization application.  The application will solve as if each bid can be proportioned into individual MW bids.  The objective of the optimization is to minimize the total cost, based on Resource Category Generic Cost, capacity price, operation price, and Resource Shift Factors, as described in Section 4.4.16, ERCOT Receipt of Replacement Reserve Service Bids, as well as lead time, minimum up time, and minimum down time captured through the registration process, for the whole Operating Day while satisfying all the security constraints for each hour.

(5)	The costs associated with resolving system security violations will be identified separately into the following categories:  capacity inadequacy, Zonal Congestion, and Local Congestion.

(6)	The Market Clearing Prices on the capacity insufficiency, CSC constraint, and Operational Constraint will represent the marginal cost for the solution of each constraint and will be produced as an output of the mathematical optimization application.  The output of the application will be as follows:

(a)	The marginal cost (Shadow Price of the power balance constraint) to solve system insufficiency defines MCPC for insufficiency.

(b)	The marginal cost (Shadow Price of the CSC constraint) to solve a CSC constraint defines the Congestion price of the CSC constraint.

(c)	The bidder of RPRS shall be paid the higher of RPRS bid price (as defined in Section 6.8.1.10, Zonal or System Wide Replacement Reserve Service Capacity Payment to QSE) and MCPC of the Congestion Zone unless the bid has been selected to solve Local Congestion.  Resources taken to solve Local Congestion shall be paid in accordance with the Local Congestion Replacement Reserve formula in Section 6.8.1.11, Local Congestion Replacement Reserve Payment to QSE.

(7)	QSEs whose schedules have impacts on CSCs according to the Commercial Model (using zonal Shift Factors at the time of RPRS procurement for each Zone) shall be charged Congestion costs associated with the impact.

(8)	The costs of resolving Local Congestion are based on the amount of capacity required to solve Local Congestion.  This cost will be tracked by specific constraint to aid the determination of the potential addition to the constraint as a CSC.

(9)	RMR Units will be considered available to offset RPRS needs in resolving Local Congestion in the RPRS procurement process.  The selection process will set a bid price for each RMR Unit based on its contract start and operational costs.  If the optimal solution indicates an RMR Unit is a more economic option in resolving Local Congestion, the RMR Unit will be deployed and paid as an RMR deployment.

Generation Resources that are eligible for RPRS procurement that do not submit an RPRS bid will be considered in the RPRS procurement process.  The selection process will set a bid price for each non-bid Generation Resource based on its generic cost times an adjustment factor.  If the non-bid Generation Resource with an adjustment factor is a more economic option, the non-bid Generation Resource will be deployed and paid as an OOMC deployment.

(10)	In the case of tied bids for the selection of RPRS, ERCOT will select the bid that meets the requirement most closely (achieving the optimal solution).  When the price and capacity are identical from unaffiliated bidders, ERCOT may request re-bids.

(11)	For RPRS, for each hour, for each Congestion Zone, ERCOT will post the quantity of capacity procured and the MCPCs and Shadow Prices.

6.9.2.1	Settlement for RPRS

The Settlement for RPRS shall be as follows:

6.9.2.1.1	Replacement Reserve Under Scheduled Capacity

- Replacement Reserve Under Scheduled Capacity charges shall be allocated to QSEs in an operating hour where ERCOT procures Replacement Reserve Service.

- If the quantity of RPRS procured by ERCOT is less than the sum of each QSEs capacity insufficiency in an operating hour, than the charge for Replacement Reserve Underscheduled Capacity shall equal the ratio of a QSEs capacity insufficiency to the sum of each QSEs capacity insufficiency of the total charge for Replacement Reserve Service as calculated in section 6.8.1.10 for an operating hour.

- If the quantity of RPRS procured by ERCOT is greater than or equal to the sum of the total ERCOT capacity insufficiency then the charge for Replacement Reserve Underscheduled Capacity shall equal the product of the MCPC multiplied by the amount of capacity insufficiency of each QSE.

- In an operating hour where Zonal Congestion exists, a QSEs Replacement Reserve Under Scheduled Capacity charge shall be calculated on a zonal basis.

- The calculation for Replacement Reserve Obligation for underscheduled capacity will be as follows:

  - In an operating hour where ERCOT procures for Replacement Reserve for Capacity Insufficiency and Zonal Congestion exists, and:

PCRPizMaxM(MCPCRPMiz))<TIAiz

Then:

USRPizq=(PCRPiq)∗IRSizq

Else:

USRPizq=((AMLiz−CLiz−MISAMTDiz+MISAMTRiz))∗MaxM(MCPCRPMiz)

  - In an operating hour where ERCOT procures for Replacement Reserve for Capacity Insufficiency and no Zonal Congestion exists, and:

PCRPiMaxM(MCPCRPmi))<TIAi)

Then:

USRPiq=PCRPiqIRSiq

Else:

USRPiq=((AMLI−CLi−MISAMTDi+MISAMTRi))∗MaxM(MCPCRPMiz)

MMQizq=Across qa

MMSMi1zqaqb=MAX0,

MMSMi2zqaqb=MAX0,

MMSMi3zqaqb=MAX0,

MMSMi4zqaqb=MAX0,

Where:

i	Hourly interval being calculated where ERCOT procures Replacement Reserve fpr Capacity Insufficiency.

M	Markets, in the event of multiple markets.  i.e. Day Ahead versus the Adjustment Period

q	QSE

z	Zone

AMLizq	Adjusted Metered Load (MW) per QSE, per interval being calculated, per zone.

CLizq	Current Schedule Load (MW) of that QSE, per interval being calculated, per zone at the time of capacity procurement.

IRSiq=Max0,

IRSizq=Max0,

LPCRPiq	Service Cost ($) per interval for all QSEs of Procured Capacity of Replacement Reserve procured to resolve Local Congestion per single Resource.

MCPCRPMiz	Replacement Reserve Service Market Clearing Price of Capacity ($/MW) per hourly interval.

MCPCRPMiz	Replacement Reserve Service Market Clearing Price of Capacity ($/MW) per hourly interval per zone.

MISAMTDiqz	Mismatched amount delivered to ERCOT due to mismatched schedule per interval, per QSE, and per zone, as described in Section 6.9.8.

MISAMTRiqz	Mismatched amount received from ERCOT due to mismatched schedule per interval, per QSE, and per zone, as described in Section 6.9.8.

PCRPiq	Service Cost ($) per interval for all QSEs of Procured Capacity of Replacement Reserve procured to resolve Zonal Congestion and Capacity Insufficiency per single Resource.

USRPizq	Replacement Reserve Service Under Scheduled Charge ($) for each zone by hourly interval for that QSE

TIAi=(AMLi−CLi−MISAMTDi+MISAMTRi)

TIAiz=(AMLIz−CLiz−MISAMTDiz+MISAMTRiz)

6.9.2.1.2	Replacement Reserve Uplift Charge

(1)	Prior to direct assignment of Zonal Congestion costs, the QSE’s Obligation for Replacement Reserve procured for CSC Congestion will be recovered as part of the System Congestion Fund described in Section 7.3.3.1, System Congestion Fund.

(2)	Any costs from Replacement Reserve Service for Capacity Insufficiency procurement quantities greater than the ERCOT total capacity insufficiency in an operating hour, costs from Replacement Reserve Service to relieve Local Congestion, payments to TCR Account Holders for Replacement Reserve Service market per hourly interval, and Replacement Reserve Service CSC Impact Capacity Charge per interval for all QSEs, will be allocated to QSEs on a Load Ratio Share for each interval.

To determine the Replacement Reserve Uplift Charge for a QSE, ERCOT total capacity insufficiency in an operating hour, payments to TCR Account Holders for Replacement Reserve Service market, the and the total Replacement Reserve Service Impact Capacity Charge costs; and multiply this amount by the Load Ratio Share of that QSE for the given interval.

(3) 	The calculation for Replacement Reserve Uplift Charge will be as follows:

:

If:

PCRPiqMaxM(MCPCRPMiz)<(TIAi)

Then:

UCRPiq 	= 	 (TCRPAYRPi + Σ (CSCRPiq)q,CSC + LPCRPiq ) * LRSqi

Else:

Where:

TCRPAYRPi   	= 	-1 * (Σ(TCRcsci ) * SPCSCi )CSC

Where:

i:	Interval being calculated

q:	QSE

z:	Applicable Zone

AMLizq	Adjusted Metered Load (MW) per QSE, per interval being calculated, per zone.

CSCRPiQSE: 	Replacement Reserve Service CSC Impact Capacity Charge ($) per interval for all QSEs

CLizq	Current Schedule Load (MW) of that QSE, per interval being calculated, per zone at the time of capacity procurement.

LPCRPiq	Service Cost ($) per interval for all QSEs of Procured Capacity of Replacement Reserve procured to resolve Local Congestion per single Resource.

LRSqi	Load Ratio Share (Factor) (Adjusted Metered Load / Total System Load) per hourly interval of that QSE

MCPCRPMiz	Replacement Reserve Service Market Clearing Price of Capacity ($/MW) per hourly interval per zone.

MISAMTDiqz	Mismatched amount delivered to ERCOT due to mismatched schedule per interval, per QSE, and per zone, as described in Section 6.9.8.

MISAMTRiqz	Mismatched amount received from ERCOT due to mismatched schedule per interval, per QSE, and per zone, as described in Section 6.9.8.

PCRPiq	Service Cost ($) per interval for all QSEs of Procured Capacity of Replacement Reserve procured to resolve Zonal Congestion and Capacity Insufficiency per single Resource.

SPCSCi 	Shadow Price of RPRS per CSC per hourly interval

TCRPAYRPi	Payment to TCR Account Holders for RPRS market per hourly interval

TCRcsci	Total number of TCRs per CSC per hourly interval

TIAi=(AMLIz−CLiz−MISAMTDiz+MISAMTRiz)