## Slide 1: QSE Managers Working Group Report to WMS June 21, 2006
Report from June 14 Meeting

## Slide 2: Non-Spin Recall
ROS asked ERCOT to propose a methodology of reducing NSRS Recall impact
At May meeting, QSE Managers suggest looking into decreasing block deployments similar to NSRS deployment scheme
ERCOT reported back at the June QSE Manager meeting that decreasing block deployments already in place – blocks can be recalled in same blocks as deployed

## Slide 3: LOL Deadband
ERCOT systems currently discount all RRS on a unit if unit falls 1 mw below LOL.
ERCOT has submitted a system change to implement a 5% deadband such that reserves would not be discounted unless a unit falls below 5% under LOL.
ERCOT will update on status

## Slide 4: Multiple BES Ramp Rate Feasibility
Alternative | I | II
Resource | ERCOT Internal | AREVA
Technical Feasibility | Yes | Yes
Known Cost (Approx.) | Pre-Processing for deriving equivalent ramp-rate: $15,000 | SPD Modification: $200,000
Unknown Cost | XML, Portal, MDB, and Participant-related cost, etc. | XML, Portal, MDB, and Participant-related cost, etc.
Cost Benefit | ?? | ??
Limits | Approximate ramp-rates still, Inaccurate ramp-rate when RR_recall exists, Possible performance impact due to this additional pre-processing step, | Huge and complicated task since almost everything done in R3 will need to be either redesigned/re-implemented/retested or reviewed/retested, SPD performance issue due to additional logics in a variety of models, Prototype engine needs to be built to give accurate assessment

## Slide 5: Pre-processing outside of SPD
Equiv. UBES RR=(160-20)/10=14
Equiv. DBES RR=(170-0)/(10-1.43)=19.8
Equiv. UBES RR=(100-20)/10=8
Equiv. DBES RR=(140-0)/(10-2.5)=18.7
Bid-1
Bid-2

## Slide 6: Multiple BES Ramp Rate Feasibility (cont.)
QSE Managers suggest not pursuing Alternative II due to cost and resource commitment by ERCOT.
Coral (Ryan Thomas / Jeff Brown) has drafted a PRR. Will be submitted through the PRR process.
QSE Managers support PRR

## Slide 7: Claw-back provision in RMR contracts
WMS directed QSEMWG to investigate the significance of RMR capacity not offered in BES.
ERCOT data indicates some intervals where RMR capacity could have been utilized
QSE Managers to possibly sponsor PRR to address – draft to be discussed at August meeting

## Slide 9: PRR 476 – Ramp Rate Adherence During Local Congestion
Submitted by Exelon 11/13/03
WMS asked QSE Managers to take back up
Exelon states that PRR’s 653 and 662 address the issue.
If PRR 662 is approved, Exelon intends to withdraw PRR 476

## Slide 10: PRR 607 – One Minute Ramping
Submitted by FPL and assigned to QSE Managers through FCTF work
Intent of PRR is to allow QSE’s to better represent start-up and shut-down of units.
Current 15 minute schedules do not accurately represent these ramps and is causing SCE compliance issues
QSE Managers agree that technical requirements prohibit timely implementation of solution in ERCOT systems

## Slide 11: PRR 607 – One Minute Ramping (cont)
FPL has revised the PRR to address issue through a compliance measurement only
FPL will submit revised PRR
QSE Managers support revision