## Slide 1: CREZ and Other Wind Studies
WMS
June 21, 2006
Dan Woodfin
ERCOT Regional Planning

## Slide 2: Several Items related to Wind
SB 20 Studies - Long Term System Assessment (LTSA) and Competitive Renewable Energy Zone (CREZ) Studies
Current Interconnection Requests
5-Year Plan – 2007 Wind Scenario Study

## Slide 3: SB 20 Studies Background
Senate Bill 20 requires the PUC to designate CREZs
ERCOT is providing the cost and benefit analyses for potential CREZs for the PUCT
ERCOT is evaluating the potential CREZs as a part of the LTSA that is also required by SB20
PUCT has on-going rulemaking, but studies are being done presumptively to meet deadline

## Slide 4: LTSA Components and Schedule
J | F | M | A | M | J | J | A | S | O | N | D
LT System Analysis
Wind Integration RFQ
CREZ Criteria Development
CREZ Determination
CREZ Analysis
ERCOT
PUCT
Generation Scenarios
Stakeholder Input on CREZs
Wind Consultant RFP

## Slide 5: Stakeholder Input on Potential CREZs
Pink Counties indicate areas of single stakeholder interest
Blue and Black Counties indicate areas of multiple stakeholder interest

## Slide 6: Identifying Best, Geographically-Distributed Wind Sites
Areas identified by AWS Truewind with highest annual capacity factor sites down to level that provided geographic coverage of features identified by stakeholders

## Slide 7: Area Information – Higher CF

## Slide 8: Area Information – Lower CF

## Slide 9: Areas for Transmission Analysis
Red (and black) shapes generally contain the best 4000MW of wind sites in each area, as identified by AWS Truewind
Green shapes represent the best 1000MW sites in each area
Transmission will be analyzed for areas 2,4,5,6,7,9,10,12,14 & 24

## Slide 10: CREZ Next Steps
AWS Truewind will be supplying representative wind data for each of the 25 areas
ERCOT, working with RPGs, will study transmission necessary to connect the 10 areas and logical combinations and resolve any uneconomic congestion
ERCOT will select RFQ vendor and initiate study of A/S requirements
Goal is to have package of data available to PUCT in Oct/Nov

## Slide 11: Wind Interconnection Activity
Generation Interconnections by Fuel Type
Fuel Not Public Public Total
Coal 3,992 11,245 15,237
Gas 3,900 2,300 6,200
Other 975 12 987
Wind 10,608 3,175 13,783
Grand Total 8,867 13,557 36,207

## Slide 12: 2007 Wind Study
Study reasonable level of wind likely to be operational by EOY 2007
New units chosen from full interconnection requests and sited to show transmission impacts yet maintain confidentiality 
Develop near-term plan for congestion relief for implementation if sufficient units sign IAs
Identify projects that are needed even if portion of additional units sign IAs

## Slide 13: 2007 Wind Study- Next Steps
Have been doing some studies using in-house wind profiles, but will re-run using representative profiles from AWS Truewind
Will post likely congested elements and work with RPG to develop solutions
This study is being undertaken as part of annual 5-Year study and so will eventually look at future years

## Slide 14
QUESTIONS?