| PRR Number | 605 | PRR Title | SCE Performance and Monitoring for Combined Cycle Resources |  |
| --- | --- | --- | --- | --- |
| Timeline (Normal or Urgent) | Normal | Action |  | Withdrawn |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 6.10.5.3, SCE Monitoring Criteria |  |  |
| Revision Description |  | Revise Sections 6.10.5.3 and subsections to change the Schedule Control Error (SCE) performance standard for combined cycle resources from 90% to 80%. |  |  |
| Overall Market Benefit |  | Provides ERCOT with a realistic expectation of performance for combined cycle plants and therefore should improve reliability |  |  |
| Overall Market Impact |  | None |  |  |
| Consumer Impact |  | None |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | Yes. ERCOT credit staff and the Credit Work Group (CWG) have reviewed PRR605 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 5/27/05, ERCOT posted this PRR and the submitter requested urgent status. - On 6/1/05, the PRR failed to receive the required number of email votes to obtain urgent status. - On 6/15/05, comments from ERCOT were posted. - On 6/20/05, comments from Air Liquide were posted. - On 6/23/05, PRS considered this PRR. - On 6/22/06, PRS reconsidered this PRR. |  |  |
| PRS Action (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | On 6/23/05, the Protocol Revision Subcommittee (PRS) voted to refer the PRR to the Wholesale Market Subcommittee (WMS) to send it to the appropriate task force for consideration. There was one abstention from the Municipal segment. All Market Segments were present for the vote. On 6/22/06, PRS voted to grant a request for withdrawal of PRR605. The motion passed unanimously. all Market Segments were present for the vote. |  |  |
| Summary of PRS discussion |  | On 6/23/05, PRS discussed issues with SCE, frequency control, ramp rates, scheduling, and Resource types. PRS concluded that a task force created by WMS would be the most appropriate forum to resolve these issues. On 6/22/06, PRS discussed a request for withdrawal of PRR605 by the sponsor. |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Not Known | Not Known | Provides ERCOT with a realistic expectation of performance for combined cycle plants and therefore should improve reliability. |
| MARKET SEGMENT |  |  |  |
| Consumer | None | None | Improved reliability |
| LSE: General, Including NOIE | None | None | Improved reliability |
| LSE: CR & REP | None | None | Improved reliability |
| QSE | None | None | Gives QSEs with combined cycle generators a fair chance of passing the SCE performance metrics |
| Resource | None | None | Improved reliability |
| TDSP | None | None | Improved reliability |

| Original Sponsor |  |
| --- | --- |
| Name | Jeff Brown |
| Company | Coral Power, LLC |
| Segment | Independent Power Marketer |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| ERCOT 061505 | Disagrees with PRR. |
| Air Liquide 062005 | Suggests Qualified Facilities (QFs) be allowed SCEs equal to or greater than those of non-controllable renewable resources. |

Proposed Protocol Language Revision

6.10.5.3	Regulation Services Monitoring Criteria

Regulation Services Monitoring Criteria will be reviewed by the appropriate ERCOT TAC subcommittee and submitted into these Protocols upon approval.

QSEs providing Regulation Services shall declare this intent to ERCOT in the Scheduling Process.  On deployment of any RGS service, the QSE shall control its Resources to operate to the final Resource bilateral schedules as converted to a base power function plus the equivalent power requirement of the Balancing Energy Dispatch Instruction plus any instructed RGS Service power requirement.  ERCOT shall calculate one (1) and ten (10) minute averages of each QSE’s SCE.  ERCOT shall also calculate each QSE’s participation factor as the ratio of the QSE’s awarded RGS Service to the total amount of RGS Service in ERCOT.  For performance monitoring purposes, ERCOT shall limit the deployment of RGS Service to QSEs for each control cycle equal to one hundred twenty five percent (125%) of the total amount of RGS Service in ERCOT divided by the number of control cycles in ten (10) minutes.  RGS Service performance should be calculated only for the intervals for which the QSE is awarded or accepts transfer of responsibility for RGS Service.  Satisfactory control performance of the QSE providing only RGS Service shall be deemed acceptable when:

[PRR525: Replace the Section heading and two paragraphs above with the following upon system implementation:] 6.10.5.3 SCE Monitoring Criteria SCE Monitoring Criteria will be reviewed by the appropriate ERCOT TAC subcommittee and submitted into these Protocols upon approval. Each QSE shall control its Resources to operate to the final Resource bilateral schedules as converted to a base power function plus the equivalent power requirement of.any instructed Ancillary Services and other SCE obligation terms including governor response. ERCOT shall calculate one (1) and ten (10) minute averages of each QSE’s SCE. ERCOT shall also calculate each QSE’s participation factor as the ratio of the QSE’s generation scheduled change in the measurement period (1 or 10 minute) to the total ERCOT generation scheduled change in the same measurement period. For performance monitoring purposes, ERCOT shall limit the deployment of RGS Service to QSEs for each control cycle equal to one hundred twenty five percent (125%) of the total amount of RGS Service in ERCOT divided by the number of control cycles in ten (10) minutes. Intervals where a QSE’s generation is less than one (1) MW in the measurement period (1 or 10 minute) will not be included in the calculation of the SCE Monitoring Criteria. Satisfactory control performance of the QSE shall be deemed acceptable when:

(1)	The one (1) minute averages of the QSE’s SCE meet the following criteria over the calendar month (commonly referred to as SCPS1), and

AVG(month)SCE1ParticipationFactor∗ΔF1(10∗Bias1)∗ε21≤1

(2)	The ten (10) minute averages of the QSE’s SCE meet the following criteria for ninety percent (90%) of the ten (10) minute periods over the calendar month (commonly referred to as SCPS2).  For QSEs that only represent combined cycle resources, the SCE performance criteria shall be eighty (80%) of the ten (10)minute periods over the calendar month.

SCE10≤L10∗KParticipationFactor

Where:

SCE1 	is the one minute average of SCE.

SCE10	is the ten minute average of SCE.

Bias1 	is the one minute average of the ERCOT total bias used in the ACE calculation.

F1 	is the one minute average of frequency deviation from schedule.

Participation Factor	is determined by the ratio of the QSE’s hourly-awarded RGS Service (or as modified by transferred responsibility) to the total ERCOT RGS Service awarded.

[PRR525: Replace definition above with the following upon system implementation:] Participation Factor is determined by the ratio of the QSE’s generation scheduled change for the measurement period (1 or 10 minute) to total ERCOT generation schedule change for the measurement period (1 or 10 minute). Generation schedule change per interval is defined as below: {Absolute Value [ (ResourceSchedule – ResourceSchedulePreviousInterval) + (BalancingDeployment – BalancingDeploymentPreviousInterval) ] + RegulationUpSchedule + RegulationDownSchedule} If this Participation Factor Calculation results in a value of less than 1%, then 1% will be used.

 	is a constant derived from the targeted frequency bound.  It is the targeted root-mean score of one (1) minute average frequency error from a schedule based on frequency performance over a given year as established according to NERC Performance Requirements by ERCOT and the appropriate ERCOT Subcommittee as assigned by TAC.

L10 	is a limit to recognize the desired performance of frequency for ERCOT as established according to NERC Performance Requirements by the appropriate ERCOT Subcommittee assigned by TAC.  As of July 2003, L10 is defined as (1.65 * E10 * 10 * Bias10) where E10 is 0.01315 Hz and Bias10 is the ten (10) minute average of the ERCOT total bias used in the ACE calculation.

K	is a constant currently set to .81 which is established by the appropriate ERCOT Subcommittee as assigned by TAC.  K should initially be set to .81 to provide an ERCOT wide L10 equivalent to the ERCOT wide L10 currently used by Control Areas in ERCOT.  This constant can be adjusted to ensure correlation between passing the NERC CPS2 criteria and passing the SCE ten (10) minute control limit.