| PRR Number | 608 | PRR Title | Improve Ancillary Service Performance Conditions |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Withdrawn |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 6.10.6, Ancillary Service Performance Conditions |  |  |
| Revision Description |  | Revises Section 6.10.6 of the Protocols to include the impact of different ramp rates on the calculation of a Qualified Scheduling Entity’s (QSE’s) Schedule Control Error (SCE) Performance Metric. |  |  |
| Overall Market Benefit |  | Efficient combined cycle plants will not be discouraged from participating in the market. |  |  |
| Overall Market Impact |  | None. |  |  |
| Consumer Impact |  | None. |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | Yes. ERCOT credit staff and the Credit Work Group (CWG) have reviewed PRR608 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 6/1/05, PRR608 was posted. - On 6/20/05, Air Liquide posted comments. - On 7/13/05, ERCOT posted comments. - On 7/21/05, PRS considered this PRR. - On 6/22/06, PRS reconsidered this PRR. |  |  |
| PRS Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | On 7/21/05, the Protocol Revisions Subcommittee (PRS) unanimously voted to refer PRR608 to the Wholesale Market Subcommittee (WMS) and Retail Market Subcommittee (RMS) task forces. All Market Segments were present for the vote. On 6/22/06, PRS voted to grant a request for withdrawal of PRR608. The motion passed unanimously. All Market Segments were present for the vote. |  |  |
| Summary of PRS discussion |  | On 7/21/05, PRS discussed how PRR608 should be discussed along with other performance criteria and frequency control issues. On 6/22/06, PRS discussed a request for withdrawal of PRR608 by the sponsor. |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Provides better information to ERCOT. | Should have minimal impact on ERCOT’s systems. | Should provide ERCOT with a better understanding of the capabilities of combined cycle plants with duct burners. |
| MARKET SEGMENT |  |  |  |
| Consumer | None | None | Consumers benefit because efficient combined cycle plants will not be discouraged from participating in the market. |
| LSE: General, Including NOIE | None | None | LSEs benefit because efficient combined cycle plants will not be discouraged from participating in the market. |
| LSE: CR & REP | None | None | LSEs benefit because efficient combined cycle plants will not be discouraged from participating in the market. |
| QSE | Allows combined cycle plants with duct burners to be treated fairly when determining their SCE performance score. | None | A QSE’s SCE performance metric will not be calculated based on ramp rate limitations in ERCOT’s system. |
| Resource | Allows combined cycle plants with duct burners to be treated fairly when determining their SCE performance score. | None | A resource’s SCE performance metric will not be calculated based on ramp rate limitations in ERCOT’s system. |
| TDSP | None | None | None |

| Original Sponsor |  |
| --- | --- |
| Name | Jeff Brown |
| Company | Coral Power, LLC |
| Segment | Independent Power Marketer |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| Air Liquide 062005 | Supports PRR. |
| ERCOT 071305 | Opposes exclusions to performance metric based on generation technology used. |

Proposed Protocol Language Revision

6.10.6	Ancillary Service Deployment Performance Conditions

ERCOT shall determine the performance of providers of QSE SCE Performance under normal operating conditions.  ERCOT shall remove from consideration of average performance of a QSE any period during which any of the following events has occurred and which does not have a passing score.

(1)	The two (2) hour period after the QSE has experienced a Forced Outage;

(2)	The entire Settlement Intervals for all QSEs in which ERCOT has deployed or recalled Balancing Energy in response to an Unusual Event;

(3)	The entire Settlement Intervals in which ERCOT has issued a verbal Dispatch Instruction;

(4)	The period where ERCOT issues instructions to any QSE to be deployed at ramp rates in excess of bid ramp rates such as the ten (10) minute time period where a QSE is ramping up due to a RRS deployment;

(5)	The entire Settlement Interval(s) in which a QSE is ramping into (from time of notification to time of deployment) or out of (from end of deployment to thirty (30) minutes later) a NSRS deployment; and

PIP112: Add item #6 below to the list and renumber the existing (6) to (7) when BUL is implemented: (6) If requested by a QSE, up to three (3) scheduling hours following an instruction issued by ERCOT to recall previously deployed Responsive Reserve, Non-Spin or Balancing Energy Up Services provided from Replacement Capacity that is using qualified Load as the QSE’s Resource; and

- The entire Settlement Interval(s) in which a combined cycle plant is ramping into or operating in the duct burners.

- Certain other periods of abnormal operations as determined by ERCOT.