Projects going in service during 2007 that may have an impact on CSCs:

- Hillje 345-kV switch station and STP-Hillje-WA Parish 345-kV lines

- Decker-Techridge 138-kV line reconductor

- Copperas Cove-Ding Dong 138-kV line

2007 CSC Analysis

| Scenario | Description |
| --- | --- |
| 1 | Current 6 CSCs, Case with Elm Creek and without Hillje; 4 zones. |
| 2 | Current 6 CSCs, Case with Elm Creek and without Hillje; 5 zones. |
| 3 | Current 6 CSCs, Case with Elm Creek and without Hillje; 6 zones. |
| 4 | Current 6 CSCs, Case without Elm Creek and with Hillje; 4 zones. |
| 5 | Current 6 CSCs, Case without Elm Creek and with Hillje; 5 zones. |
| 6 | Current 6 CSCs, Case without Elm Creek and with Hillje; 6 zones. |
| 7 | Current 6 CSCs, Case without Elm Creek and without Hillje; 4 zones. |
| 8 | Current 6 CSCs, Case without Elm Creek and without Hillje; 5 zones. |
| 9 | Current 6 CSCs, Case without Elm Creek and without Hillje; 6 zones. |
| 10 | 7 CSCs - six existing plus SAPS-Menard with Hillje and Elm Creek in service; 4 zones |
| 11 | 7 CSCs - six existing plus SAPS-Menard with Hillje and Elm Creek in service; 5 zones |
| 12 | 7 CSCs - six existing plus SAPS-Menard with Hillje and Elm Creek in service; 6 zones |

Scenario 1:	Current 6 CSCs, Case with Elm Creek and without Hillje; 4 zones.

Scenario 2:	Current 6 CSCs, Case with Elm Creek and without Hillje; 5 zones.

Scenario 3:	Current 6 CSCs, Case with Elm Creek and without Hillje; 6 zones.

Scenario 4:	Current 6 CSCs, Case without Elm Creek and with Hillje; 4 zones.

Scenario 5:	Current 6 CSCs, Case without Elm Creek and with Hillje; 5 zones.

Scenario 6:	Current 6 CSCs, Case without Elm Creek and with Hillje; 6 zones.

Scenario 7:	Current 6 CSCs, Case without Elm Creek and without Hillje; 4 zones.

Scenario 8:	Current 6 CSCs, Case without Elm Creek and without Hillje; 5 zones.

Scenario 9:	Current 6 CSCs, Case without Elm Creek and without Hillje; 6 zones.

Scenario 10:	7 CSCs - six existing plus SAPS-Menard with Hillje and Elm Creek projects in service; 4 zones

Scenario 11:	7 CSCs - six existing plus SAPS-Menard with Hillje and Elm Creek projects in service; 5 zones

Scenario 12:	7 CSCs - six existing plus SAPS-Menard with Hillje and Elm Creek projects in service; 6 zones