## Slide 1: UFETF 2006 Goals & Update
June 27, 2006 COPS Presentation

## Slide 2: Short Term Goals
Obtain a better understanding of the drivers of UFE
  Evaluate current line loss calculations
    Filed DLF PRR 668 May 24
    Will submit COPMGRR (if assigned by COPS)
      Change from current 8 base cases updated annually to 36 base cases updated monthly
      Current: 4 seasons; peak & off-peak
      Nodal: Monthly; peak & off-peak, with 18 months of data

## Slide 3: Short Term Goals
Obtain a better understanding of the drivers of UFE
  Evaluate inaccuracies in Profile shapes and assignments (this is being addressed by PWG)
  Identify and evaluate other drivers
    PUCT Staff looking into any available historical theft studies
    Improving/investigating NIDR estimation (future agenda item)
Evaluate the methodology for determining profile scaling factors in the data aggregation process.
  ERCOT researched and not much there

## Slide 4: Long Term Goals
Determine if any Protocols changes are recommended and file PRR if needed
  PRR 668 – DLF add 3rd coefficient
Evaluate the potential for establishing UFE Analysis Zones by determining if suitable TDSP boundary metering data can be made available to ERCOT; if such data is available compare it to the ERCOT aggregated TDSP load.
Analyze historical trends in the volatility and magnitude of UFE and explore the possibility of developing methods to forecast them.