## Slide 1: EECP External Communications
ERCOT Governmental Relations & Communications
COPS
June 27, 2006

## Slide 2: ERCOT External Communications: Pre-EECP and EECP
ERCOT Event Stage | ERCOT action/ communication | Triggering event
1. Early advisory | Conditions are being watched closely | Alert for Forecast of Insufficient Capacity or other events, after consultation with PUC
2. Grid condition advisory | Capacity Reserves are actually at minimum levels | Deployment of non-spin reserves to maintain capacity sufficiency
3. EECP Step 1 | All available generation dispatched | Capacity Reserves below minimum levels
4. EECP Step 2 | Interruptible loads (LaaRs) deployed | Difficulty maintaining frequency at 60 Hz
5. EECP Step 3 | Media appeal for conservation | Continued frequency decay or if EECP Step 2 declared and peak demand has not yet occurred
6. EECP Step 4 | Rotating firm load shed | Continued frequency decay below 59.8 Hz
7. Cancellation of EECP Step 4 | All firm load restored | Frequency restoration
8. Cancellation of EECP Step 2 | Interruptible loads restored | Frequency restoration
9. Cancellation of EECP |  | Grid conditions normal

## Slide 3: Communications: Pre-EECP and EECP
Stage 5 (EECP Step 3) & Updates
PUC
--Commissioners
--Exec. Director
--Media relations
--Infrastructure/Reliability
--Govt. Relations
Legislative Leadership
Governor’s Office
SOC Hotline
All of the above PLUS…..
News media
All legislators
All market participants & other interested parties
Activate ERCOT.com web page for public updates
Market Participants
-- Subscriber list screened by ERCOT
ALL STAGES
ERCOT Officers, Board, & Client Services

## Slide 4: Communications: Pre-EECP and EECP
Messages must be:
  Consistent with operational instructions and grid conditions
  In plain English
  In proper context
Early notices are not intended for news media distribution
  Subject to misinterpretation
  Need to ensure media respond when it really counts
Templates (stock messages)
  Currently in draft form, under review at PUC
  Subject to editing to fit the particular event

## Slide 5: EXAMPLE: Stage 1, First Notice (DRAFT)
ELECTRICITY ALERT
E A R L Y A D V I S O R Y
This is an early advisory only. Emergency conditions are NOT in effect at this time.
This message is not intended for news media distribution.
The Electric Reliability Council of Texas (ERCOT) is projecting a potential shortfall in reserve electric generation capacity for the __ p.m. hour today. If capacity reserves fall below required levels, emergency actions may be required. ERCOT is watching grid conditions closely.
ERCOT has notified all power plant operators of the situation and has asked them to consider voluntary actions such as bringing additional generation capacity online for this afternoon in light of this information.
If generating capacity reserves drop below the required minimum levels, ERCOT will implement the Emergency Electric Curtailment Plan (EECP). The EECP is a series of steps designed to avoid a region-wide outage.
This early notice is being sent to alert you to the possibility of the need for stronger action. Again, emergency measures have NOT been instituted at this time. ERCOT is watching the situation closely and will keep you apprised of further developments.
###

## Slide 6: EXAMPLE: Media Advisory (public appeal for conservation)
EECP Step 3 - Media Advisory
M E D I A A D V I S O R Y
ELECTRIC RELIABILITY COUNCIL OF TEXAS
CONTACTS: ERCOT MEDIA HOTLINE: 512-225-7200
INFORMATION UPDATES: www.ercot.com
Dottie Roark, 512-225-7024; CELL - 512-413-3379
Paul Wattles, 512-225-7242; CELL - 512-740-7050
Emergency grid conditions ARE in effect at this time; ERCOT issues appeal to public for electricity conservation
WHAT:
The Electric Reliability Council of Texas (ERCOT) is requesting all electricity customers in the ERCOT region immediately reduce their use of electricity to the lowest level possible. Voluntary conservation is critically needed to avoid rotating outages in the region.
WHY:
Insufficient generation capacity to serve the public’s demand for electricity.
WHERE:
The ERCOT region covers most of Texas, including Houston, Dallas, Fort Worth, San Antonio, Austin, Corpus Christi, Abilene and the Rio Grande Valley.
It does not include the El Paso area, the Texas Panhandle, Northeast Texas (including Longview, Marshall and Texarkana) and Southeast Texas (including Beaumont and Port Arthur).
HOW CAN THE PUBLIC HELP?
Consumers can help maintain electric service to the ERCOT Region by limiting electricity use until further notice, including these steps:
Adjust thermostat to 78° or higher
Avoid using electric lighting, appliances or equipment unless necessary for health or safety. Do not use washers, dryers, dishwashers, pool pumps or hair dryers until the emergency alert has expired.
Avoid opening refrigerators and freezers more than necessary.
Businesses should minimize the use of electric lighting and use of electricity-consuming equipment as much as possible.
Large consumers of electricity should consider shutting down or reducing non-essential production processes.
WHAT HAPPENS NEXT?
ERCOT will advise the news media when the emergency alert has expired.
If conditions do not improve ERCOT may ask transmission operators in the ERCOT region to begin rotating outages in the region. If this becomes necessary, information updates will be available at www.ercot.com.
***