| OGRR Number | 179 | OGRR Title | Under-Voltage Load Shedding Protection Systems |
| --- | --- | --- | --- |
| Impact Analysis Date |  | May 9, 2006 |  |
| Cost/Budgetary Impact |  | None. |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | None. |  |
| ERCOT Staffing Impacts (across all areas) |  | None. ERCOT Transmission and Systems Operations staff workload is not expected to increase as a result of OGRR179. |  |
| ERCOT Computer System Impacts |  | No computer system impact. |  |
| ERCOT Business Function Impacts |  | None. |  |
| Grid Operations & Practices Impacts |  | None. The operations and practices performed by ERCOT System and Transmission Operations groups are not expected to be impacted by OGRR179. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

None

Evaluation of Interim Solutions (e.g., manual workarounds)

There is no alternative interim solution.

Feasibility of Implementation

Impact on resource availability: Additional ERCOT resources will not be required to implement OGRR179. Impact on other projects: No incremental impacts to other projects are expected from this operating guide revision.

Comments

None.