## Slide 1: WMS Report TO TAC
June 2006

## Slide 2: In Brief
Two Working Group reports
One Task Force Report
Vendor Discussions on Co-Optimization
Four ERCOT Staff Presentations

## Slide 3: Working Group Reports QSEWG
More graceful recall of Non Spin
LOL Deadband
Multiple BES Ramp Rate Feasibility
Claw-back provision in RMR contracts
PRR 607 – One Minute Ramping
Notes: Non-spin
ROS asked ERCOT to propose a methodology of reducing NSRS Recall impact
Turns out that decreasing block deployments already in place – blocks can be recalled in same blocks as deployed
LOL Deadband – has gone into effect 5%
Multiple BES Ramp Rate Feasibility
Second to last of the Patton Recommendations – Found a way to achieve what Patton was looking for (less balancing bids invalidated over ramp rates) with a pre-SPD process. A PRR has been drafted and is about to be submitted.
Claw-back provision in RMR contracts
The last Patton recommendation – removes the disincentive to bid in the unused capacity of an RMR unit that has been started. The working group thinks there may have been some more available bids in the past, but don’t know about the remainder of zonal. There is about 450 mw of RMR and 190 MW should have gone away this week (july 1) – maybe half to two thirds of the capacity is above the minimum runs and at least in the summer, most of it is required to run flat out. More on this next month. May not be worth pursuing in zonal.
Sempra @ Lapalma 190 ending July 1st
Sempra @ Larado 170 will continue
Attkins @ Bryan this summer only 100 MW
PRR 607 – One Minute Ramping
Submitted by FPL and assigned to QSE Managers through FCTF work
Intent of PRR is to allow QSE’s to better represent start-up and shut-down of units.
Current 15 minute schedules do not accurately represent these ramps and is causing SCE compliance issues
QSE Managers agree that technical requirements prohibit timely implementation of solution in ERCOT systems
FPL has revised the PRR to address issue through a compliance measurement only
FPL will submit revised PRR
QSE Managers support revision

## Slide 4: Working Group Reports DSWG
Updated WMS on issues related to Load Participation Docket at the PUC.
PRR removing Sunset provision setting minimum LaaR bid to zero
NPRR on splitting RRS bid stack

## Slide 5: Frequency Task Force
SCE related PRRs wrapped up
PUC Staff concerns regarding Scaling Factor
Notes: Kevin reported on the PRS activity.
Scale Factor in PRR 661 set to 1. Performance dependent where SF moves tenth of a point per point in inverse direction to ERCOT’s CPS1 score
Two options in the PRR
Option one 130 is midpoint (means SF changes every month)
Option two 130 to 140 deadband – will only be more stable if ERCOT stabilizes in that band

## Slide 6: Frequency Task Force
Motion for WMS to support the following concept presented by Mark Bruce: The scaling factor in the SCE performance charge calculation will be adjusted on a monthly basis tied to the ERCOT CPS1 score. Mark Bruce to file the PRR on an urgent timeline on behalf of the FQTF and WMS to review and vote on the language at the July WMS meeting.
Carried by unanimous voice vote.

## Slide 7: ERCOT Staff Presentations
LaaR Performance during EECP
Load Forecasting process
Vendor input on Co-Optimization
Transmission Planning impacts from SB20
Notes: Got a presentation on the LaaR performance and had a brief discussion – recognized that ROS and Compliance needed to do its thing – WMS took no action
John Dumas gave presentation on Load Forecast – punch line being the add one standard deviation to the load – discussion on that point.
WMS asked ERCOT to talk to vendors about Co-Optimization
Describe your implementation of Real-Time Co optimization of Energy and Ancillary Service. What are your proposed ideas for this co-optimization being implemented as part of the 5 minute SCED process?
The ERCOT market is currently considering an Hour-Ahead co-optimization of Energy and Ancillary Services (excluding Regulation). How does this fit in with ERCOT’s current market proposal and what is the potential impact to reliability, market rules, costs, and implementation schedule?
The ERCOT market is currently considering a Real-Time co-optimization of Energy and Ancillary Services (excluding Regulation). How does this fit in with ERCOT’s current market proposal and what is the potential impact to reliability, market rules, costs, and implementation schedule?
Answer: ABB does have forms of real time co-optimization in the NYISO, both a 5 minute SCED and a 2.5 hour real time commitment - in some ways similar to an hour-ahead market. It is also important to note that there are market structure differences with NYISO and ERCOT which will require modifications to existing software, meaning that this is not a ‘forklift’ operation.
ERCOT has no cost or schedule information to report. Additional protocol development and discussions with Vendors must take place before estimates can be made.
Issues to overcome other than Market software (SCED):
Protocols: Scheduling, Settlements, Bidding
Commercial systems : Settlement systems would be a significant change
Operational impact: Although ERCOT currently does not have an opinion until we see more details, there is some operational concern.
WMS had no questions and confirmation that we had no specific schedule and cost impacts.
We got an update on the SB20 work being done by transmission planning – promised future reports on how they will manage

## Slide 8: Subgroups of WMS
Combined Cycle RPRS Task Force
Co-Optimization Task Force
Generation Adequacy Task Force
WMS Frequency Control Task Force
Congestion Management Working Group
Demand-Side Response Working Group
Metering Working Group
Qualified Scheduling Entity Managers Working Group