## Slide 1: PRR 426 Uninstructed Deviation Calculation for Uncontrollable Renewable Resources
WMS July 2006
Ino Gonzalez Settlements

## Slide 2: Objectives
Utilize Renewable Production Potential (RPP) values for URC and OOME
Use the Energy Ratio Share (ERS) to calculate Regulation obligations

## Slide 3: Renewable Production Potential
Uncontrollable Renewable
Resource Generators that can only produce an amount of energy directly related to their supply of variable energy from their respective renewable resources, such as wind or solar.
Renewable Production Potential
The maximum generation in MWh/interval from an Uncontrollable Renewable Resource that could be generated from all available units of such Resource.

## Slide 4: Energy Ratio Share
Energy Ratio Share
A QSE’s ratio of Adjusted Metered Load plus Settlement Meter energy output from Uncontrollable Renewable Resources electing to utilize Renewable Production Potential for URC and OOME to total ERCOT Adjusted Metered Load plus Settlement Meter energy output from Uncontrollable Renewable Resources electing to utilize Renewable Production Potential for URC and OOME related to the appropriate interval.

## Slide 5: Energy Ratio Share
Where:
AMLwq = Adjusted Metered Load for the QSE
GSITETOTwq = Metered Generation output for the QSE
AMLE= ERCOT Adjusted Metered Load

## Slide 6: Implementation Update
Manual Workaround for URC and OOME calculations (RPP)
Currently not calculating ERS for Regulation obligations

## Slide 7: Allocation of Regulation Costs Analysis
Calculate regulation obligation and costs for wind-only QSEs
Objective
Data
6 wind-only QSEs analyzed
June 26, 2006 date
Only 4 wind-Only QSEs have elected to use RPP

## Slide 8: Analysis Summary

## Slide 9: Analysis Summary

## Slide 10: Analysis Summary

## Slide 11: Analysis Summary
Based on an implementation cost of $100,000 and Wind-Only QSEs Regulation Obligation = $1400/day,
Payback = 71 days