## Slide 1: Combined Cycle RPRS Task Force Report
WMS
July 19, 2006

## Slide 2: RPRS Issues
Consistency between OOMC and Local RPRS generic startup payment formulas
  Discussed at March WMS
  PRR to be filed
CC RPRS Modeling and Startup Payment issues
  Agreement on Proxy Unit representation for CCCT units in DA for RPRS
  QSEs with CCs selected in RPRS must modify Resource Plan values within approx. 15 minutes after RPRS but before ERCOT runs its DA voltage studies
  PRR is likely appropriate to document these procedures (no system changes required)
Zonal RPRS Functionality
  DA physical CSC limits are not known at the time RPRS is run
  No reasonably accurate method exists or has been proposed to determine appropriate OC1 CSC limits to apply in DA RPRS Step 2
  If no acceptable solution is put forth or if proposed solutions require system changes, it may be appropriate to remove zonal RPRS from the Protocols

## Slide 3: RPRS Issues
RPRS and Jointly Owned Units
  Not perceived to be a significant issue at this point; handled as necessary with VDIs
RPRS and Black Start
  ERCOT has recently procured some Black Start units for extended periods of time that are run-limited
  ERCOT will present the issue to ROS for further discussion
RPRS and NSRS
  ERCOT sometimes procures in RPRS units that QSEs plan to use to provide NSRS
  ERCOT currently does not have a way to exclude capacity from offline, available units that are scheduled to provide NSRS.
  ERCOT currently does not have a way to determine how much NSRS is being provided from online resources
  A potential solution to address only the RPRS issue would be to identify online and offline units providing NSRS (including MW NSRS). This would require system changes on QSE interfaces and inputs to the RPRS engine
  Outstanding related questions
    Should NSRS be provided only from offline units?
      Simultaneous A/S selection issue of linked bids for RegUp/RRS with NSRS
      Competitiveness issues
    Should the current one standard deviation load adder be procured from NSRS only (if required)?