| PRR Number | 607 | PRR Title | One-Minute Ramp Schedules |
| --- | --- | --- | --- |
| Date |  | July 11, 2006 |  |
| Submitter’s Information |  |  |  |
| Name |  | Mark Bruce |  |
| E-mail Address |  | mark_j_bruce@fpl.com |  |
| Company |  | FPL Energy |  |
| Company Address |  | 2016 Yaupon Trail, Round Rock, TX 78664 |  |
| Phone Number |  | 512-750-1402 |  |
| Fax Number |  | N/A |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 | Assumes ERCOT Compliance will implement manually |  |
| --- | --- | --- | --- |
|  | 2 | Assumes SCPS_2 failure rate does not dramatically increase |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | None | None |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Avoids improper penalization of small Resource QSEs and Resource QSEs running 5X16 schedules. |  |
| Additional Qualitative Information | 1 |  |  |
| Other | 1 |  |  |

Comments

FPL Energy submits the following comments as requested by WMS in accordance with the discussion at the June 14 QSE Managers Work Group (QMWG).  Although the QMWG recognizes the inherent incompatibility of unit start-up and shut-down with the 15-minute SCE Performance Monitring Criteria, it also recognized that ERCOT resource constraints and the move to Texas Nodal make implementation of PRR 607 impractical as originally proposed.  The revised proposed Protocol language below reflects the QMWG conclusion that PRR 607 makes sense to implement for compliance, not operational, purposes.

FPL Energy makes the following observations about the QMWG approach:

- implementation is simplified by making it a “compliance only” piece;

- the ERCOT Compliance workload related to PRR 607 should be minimal as few QSEs fail the SCPS measures each month and fewer still will likely elect to utilize the PRR 607 one-minute ramp schedule mechanism;

- because one-minute schedules must be submitted before the operating hour, no performance measure gaming opportunities are available for generators;

- the QMWG recommendation sufficiently addresses a known disparity bewteen the treatment of large v. small Resource QSEs under the PRR 525 SCE calculation methodology.

Revised Proposed Protocol Language

4.4.15	QSE Resource Plans

Each QSE that represents a Resource will present a Resource Plan to ERCOT at 1600.  These Resources may be specific Generation Resources and/or LaaRs.  The Resource Plan capacity should be sufficient to accommodate the combined quantity of energy and Ancillary Services scheduled by that QSE from the Resources that the QSE represents.  The Resource Plan shall indicate the availability of the Resources represented by the QSE, including a lead-time status code, and the planned operating level of each Resource, for each hour of the Operating Day.  The Resource Plan shall indicate the HOL and LOL, and HSL and LSL by Resource.  A Resource may be listed as unavailable to ERCOT if the Resource’s capacity has been committed to markets in regions outside of ERCOT.  QSEs representing Resources may submit one-minute ramp schedules reflecting the ramp profile of those Resources during startups and shut downs.  QSEs representing combined cycle units can submit aggregated ramp schedules for each block in their QSE.  The one-minute ramp schedules will be used for compliance purposes if both of the following conditions are met:

- The QSE fails the monthly SCPS performance criteria.

- The sum of the capacity of the unit(s) or aggregated unit(s) being ramped represents 50% or more of the capacity on line for the following hour in the case of a start up or the previous hour in the case of a shut down.

One-minute ramp schedules will be submitted to ERCOT Compliance, by the end of the Adjustment period, on spreadsheets with the following format:

Date: 01/01/2006

| Unit Name | Aggregated? | Time (hh:mm) | One-Minute Integrated MW Value |
| --- | --- | --- | --- |
| Unit Block 1 | Y | 4:20 | 0 |
| Unit Block 1 | Y | 4:21 | 1 |
| Unit Block 1 | Y | 4:22 | 2 |
| Unit Block 1 | Y | 4:23 | 3 |
| Unit Block 1 | Y | 4:24 | 5 |
| Unit Block 1 | Y | 4:25 | 8 |

QSEs shall use best efforts, consistent with Good Utility Practice, to continually update their Resource Plans to reflect the current and anticipated operating conditions of the Resources.  ERCOT will monitor the performance of QSEs with respect to the submission of accurate Resource Plans in accordance with the measures established in Section 4.10, Resource Plan Performance Metrics.  ERCOT will work with individual QSEs as necessary to improve the individual QSE performance.

[PRR423: Add the following sentence to the end of the first paragraph of 4.4.15, QSE Resource Plans, when the system change is implemented.] ERCOT shall use other Resource Dispatch options to maintain system reliability prior to Dispatching a Generation Resource below its LOL. ERCOT shall request Qualifying Facilities (QF), hydro units, and/or nuclear to operate below their LOL only after other Resource Dispatch options have been exhausted.

4.10.4	Resource Low Sustainable Limit as a Percent of High Sustainable Limit Measure

The “Resource LSL/HSL Measure” compares the range between the LSL and HSL submitted in the Resource Plan using the last Resource Plan submitted by the QSE before the start of the Operating Hour but after the end of the Adjustment Period.  Only hours when the Resource Plan HSL of a Resource is greater than zero (0) MW and the Resource Plan status for the same Resource is On-line are included in the calculation of this measure.  ERCOT-approved Aggregated Units are treated as single units for the purposes of calculating the score for this measure.  LaaRs, Generation Resources undergoing required testing, Generation Resources during startup and shutdown intervals, and Generation Resources with a Resource Category Generic Fuel Cost of “Renewable” or “Hydro” pursuant to Section 6.8.2.1, Resource Category Generic Costs, item 1, are excluded from this measure.

To determine whether an Occurrence is recorded, the Resource Plan HSL is multiplied by the percentage corresponding to the Resource category as specified in Section 6.8.2.1, item 1, for a particular Resource.  The Resource Plan LSL should not exceed the percentage of the Resource Plan HSL in the table below for a given Generation Resource; such an exceedance shall be recorded as an Occurrence.  The Resource category for each Resource is based on the Resource category designated by the Resource Entity for the Resource

| Resource Category Generic Fuel Cost | LSL Percent of HSL |
| --- | --- |
| Qualifying Facilities | As approved by ERCOT |
| Nuclear | 70 |
| Hydro | N/A |
| Coal and Lignite | 60 |
| Combined Cycle greater than 90 MW | 85 |
| Combined Cycle less than or equal to 90 MW | 85 |
| Gas Steam Supercritical Boiler | 40 |
| Gas Steam Reheat Boiler | 40 |
| Gas Steam Non-reheat or boiler without air-preheater | 40 |
| Simple Cycle greater than 90 MW | 90 |
| Simple Cycle less than or equal to 90 MW | 90 |
| Diesel (and all other diesel or gas-fired Resources) | 90 |
| Renewable (i.e., non-Hydro renewable Resources) | N/A |
| Block Load Transfer | N/A |

If the Resource Plan LSL is greater than the resulting value, then an Occurrence is recorded for that Resource for that hour.  Only one (1) Occurrence can be recorded per Resource per hour.  To determine the QSE Measure Score for the Resource LSL/HSL measure, Occurrences are summed for all Resources for every hour in a given month, and divided by the total number of entries submitted in the Resource Plan by a QSE for all Resources where the HSL is greater than zero (0) MW and the Resource Plan Status is On-line for every hour in that month.

Generation Resources may request (with appropriate supporting documentation) an alternate percentage, subject to approval by ERCOT.

4.10.7	Down Bid & Obligation Measure

The “Down Bid & Obligation Measure” reviews the consistency between the minimum mandatory Balancing Energy Service Down bid, the Regulation Service Down schedule, and the Resource Plan sustainable limits.  Only hours where the energy schedule is greater than zero (0) MW and Generation Resources are not in startup or shutdown mode are included in the calculation of this measure.

An Occurrence is recorded if the QSE’s minimum mandatory Balancing Energy Service Down bid exceeds the QSE’s actual zonal aggregated Balancing Energy Service Down bid by more than one (1) MW.  The minimum mandatory Balancing Energy Service Down bids are calculated in accordance with the requirement established in Section 4.5.2, Receipt of QSE’s Balancing Energy Bid Curves.  An Occurrence may also be recorded if the QSE’s Resource Plan aggregated LSL exceeds the sum of the QSE’s energy schedule, Regulation Service Down schedule, and minimum mandatory Balancing Energy Service Down bid by more than one (1) MW.  Only one (1) Occurrence can be recorded per QSE per hour.

To determine the QSE Measure Score for the Down Bid & Obligation Measure, Occurrences are summed for every hour in a given month and divided by the number of hours in a given month when the QSE’s energy schedule is greater than zero (0) MW.