## Slide 1: GATF Update to WMS July 19, 2006
Re-Examine? | CDR Component
YES | Planned Units
NO | Wind (not this year)
NO | Mothballed Capacity
NO | Switchable Capacity
YES | Netting of Generation & Load (Private Networks)
YES | DC Ties (50% assumption)
NO | Retired Capacity
YES | Load Response Programs (pending PUCT 32853)
YES | Reserves by Zone (more detail in CDR)

## Slide 2: TCEQ Air Permits Discussion
How well does an air permit indicate new capacity?
Permit good for three years.
$75k permit fee; similar $ for preparation & modeling.
The NSR permit is the critical path item.
Permit process for a new power plant is likely to take 6-12 months; could be longer.
TCEQ’s experience suggests 2010 for new coal capacity.
2 coal permits issued (1550 MW), 11 in review (9700 MW).
67% of gas projects permitted have probably been built.
Opportunities for information sharing with ERCOT.
Details are on ercot.com for GATF of July 14, 2006.