## Instruction
RPRS Monthly Report Illustration
Electric Reliability Council of Texas(ERCOT)
1. Intervals when there were RPRS procurements for system capacity
2. Day Ahead Resource Plan generation On-line (reflects the summation of the maximum unit capacities online except for wind, hydro, and nuclear units- which use the Resource Plan schedules
3. Day Ahead estimate of total ERCOT Load used for RPRS market clearing. It includes Mid-term Load Forecast plus DC export
4. Actual average adjusted metered load for settlement
5. Actual procured MW by RPRS for system capacity
6. The amount of RPRS procurement which would have been the proper amount to procure based on the Day Ahead estimate of total ERCOT Load and actual average adjusted metered load:
Theoritical Amount of RPRS Procurement (6) = Actual Average Adjusted Metered Load (4) - Day Ahead Resource Plan Generation On-line (2)
38
1
2
3
4
5
6

## June-06
RPRS Monthly Report | [5 empty] | 2006-06-30
Day | Hour Ending | Day Ahead Resource Plan Generation On-Line | Day Ahead Estimate of Total ERCOT Load | Actual Average Adjusted Metered Load | Quantity of RPRS Procured for System Capacity | Theoritical Amount of RPRS Procurement | Generation RRS | Reg Up | Total Reqirement | Amount that Should have been Procured
|  | MW | MW | MW | MW | MW | MW | MW
2006-06-06 | 17:00 | 58602 | 57991 | 55149.3624 | 892 | -3452.6376 | 1150 | 900 | 60041 | 1439
2006-06-06 | 18:00 | 58668 | 57924 | 55081.9433 | 1343 | -3586.0567 | 1150 | 900 | 59974 | 1306
2006-06-07 | 17:00 | 59548 | 58099 | 55981.022 | 409 | -3566.978 | 1150 | 900 | 60149 | 601
2006-06-07 | 18:00 | 59569 | 57896 | 55648.6226 | 409 | -3920.3774 | 1150 | 900 | 59946 | 377
2006-06-08 | 13:00 | 57220 | 51548 | 49249.546 | 122 | -7970.454 | 1150 | 900 | 53598 | -3622
2006-06-08 | 14:00 | 58040 | 54498 | 51814.0526 | 122 | -6225.9474 | 1150 | 900 | 56548 | -1492
2006-06-08 | 15:00 | 58987 | 57075 | 53826.2423 | 122 | -5160.7577 | 1150 | 900 | 59125 | 138
2006-06-08 | 16:00 | 59173 | 58903 | 55212.4553 | 1674 | -3960.5447 | 1150 | 900 | 60953 | 1780
2006-06-08 | 17:00 | 59922 | 60114 | 55844.4556 | 2165 | -4077.5444 | 1150 | 900 | 62164 | 2242
2006-06-08 | 18:00 | 59930 | 60008 | 55501.3607 | 1856 | -4428.6393 | 1150 | 900 | 62058 | 2128
2006-06-08 | 19:00 | 59911 | 58655 | 54192.0774 | 979 | -5718.9226 | 1150 | 900 | 60705 | 794
2006-06-08 | 20:00 | 59524 | 56326 | 52086.4972 | 122 | -7437.5028 | 1150 | 900 | 58376 | -1148
2006-06-09 | 14:00 | 59737 | 56092 | 52716.3883 | 208 | -7020.6117 | 1150 | 900 | 58142 | -1595
2006-06-09 | 15:00 | 60499 | 58747 | 54501.3767 | 208 | -5997.6233 | 1150 | 900 | 60797 | 298
2006-06-09 | 16:00 | 60755 | 60512 | 55633.6569 | 459 | -5121.3431 | 1150 | 900 | 62562 | 1807
2006-06-09 | 17:00 | 61647 | 61063 | 56028.4716 | 520 | -5618.5284 | 1150 | 900 | 63113 | 1466
2006-06-09 | 18:00 | 62080 | 60614 | 55424.6256 | 582 | -6655.3744 | 1150 | 900 | 62664 | 584
2006-06-09 | 19:00 | 62006 | 58766 | 53698.72 | 208 | -8307.28 | 1150 | 900 | 60816 | -1190
2006-06-10 | 16:00 | 59689 | 56418 | 52610.1186 | 116 | -7078.8814 | 1150 | 900 | 58468 | -1221
2006-06-10 | 17:00 | 60205 | 57198 | 53271.8321 | 1004 | -6933.1679 | 1150 | 900 | 59248 | -957
2006-06-10 | 18:00 | 60249 | 56979 | 53055.6171 | 950 | -7193.3829 | 1150 | 900 | 59029 | -1220
2006-06-12 | 18:00 | 62925 | 60837 | 57181.4518 | 59 | -5743.5482 | 1150 | 900 | 62887 | -38
2006-06-12 | 23:00 | 55620 | 49424 | 45444.1038 | 226 | -10175.8962 | 1150 | 900 | 51474 | -4146
2006-06-12 | 24:00 | 51892 | 43271 | 40794.9763 | 566 | -11097.0237 | 1150 | 900 | 45321 | -6571
2006-06-13 | 15:00 | 61304 | 58826 | 56353.6157 | 208 | -4950.3843 | 1150 | 900 | 60876 | -428
2006-06-13 | 16:00 | 62318 | 60538 | 57701.1237 | 208 | -4616.8763 | 1150 | 900 | 62588 | 270
2006-06-13 | 17:00 | 62439 | 61640 | 57880.5839 | 208 | -4558.4161 | 1150 | 900 | 63690 | 1251
2006-06-13 | 18:00 | 62673 | 61336 | 56930.2386 | 208 | -5742.7614 | 1150 | 900 | 63386 | 713
2006-06-13 | 19:00 | 62580 | 59862 | 55208.6908 | 208 | -7371.3092 | 1150 | 900 | 61912 | -668
2006-06-13 | 20:00 | 62283 | 57484 | 52999.008 | 208 | -9283.992 | 1150 | 900 | 59534 | -2749
2006-06-14 | 15:00 | 61753 | 56308 | 52514.102 | 164 | -9238.898 | 1150 | 900 | 58358 | -3395
2006-06-14 | 16:00 | 62488 | 58017 | 54249.8088 | 164 | -8238.1912 | 1150 | 900 | 60067 | -2421
2006-06-14 | 17:00 | 62919 | 59083 | 55153.1485 | 164 | -7765.8515 | 1150 | 900 | 61133 | -1786
2006-06-14 | 18:00 | 63027 | 58948 | 55117.1691 | 164 | -7909.8309 | 1150 | 900 | 60998 | -2029
2006-06-16 | 11:00 | 53052 | 46498 | 43987.419 | 544 | -9064.581 | 1150 | 900 | 48548 | -4504
2006-06-16 | 12:00 | 56749 | 49039 | 46532.8492 | 544 | -10216.1508 | 1150 | 900 | 51089 | -5660
2006-06-16 | 13:00 | 57387 | 51456 | 48731.2837 | 544 | -8655.7163 | 1150 | 900 | 53506 | -3881
2006-06-16 | 14:00 | 58532 | 53514 | 50645.3579 | 544 | -7886.6421 | 1150 | 900 | 55564 | -2968
2006-06-16 | 15:00 | 58941 | 54879 | 51955.5531 | 707 | -6985.4469 | 1150 | 900 | 56929 | -2012
2006-06-16 | 16:00 | 59240 | 56082 | 53040.3904 | 707 | -6199.6096 | 1150 | 900 | 58132 | -1108
2006-06-16 | 17:00 | 59267 | 56111 | 52851.3503 | 707 | -6415.6497 | 1150 | 900 | 58161 | -1106
2006-06-16 | 18:00 | 59292 | 55399 | 52118.4308 | 839 | -7173.5692 | 1150 | 900 | 57449 | -1843
2006-06-20 | 13:00 | 55505 | 48940 | 43580.6593 | 404 | -11924.3407 | 1150 | 900 | 50990 | -4515
2006-06-20 | 14:00 | 57189 | 51449 | 45910.3635 | 168 | -11278.6365 | 1150 | 900 | 53499 | -3690
2006-06-20 | 22:00 | 57451 | 49150 | 44125.529 | 240 | -13325.471 | 1150 | 900 | 51200 | -6251
2006-06-20 | 23:00 | 51688 | 45643 | 41058.3439 | 420 | -10629.6561 | 1150 | 900 | 47693 | -3995
2006-06-22 | 17:00 | 58056 | 56468 | 53402.3543 | 198 | -4653.6457 | 1150 | 900 | 58518 | 462
2006-06-22 | 18:00 | 58071 | 56406 | 52121.3281 | 126 | -5949.6719 | 1150 | 900 | 58456 | 385
2006-06-27 | 18:00 | 57258 | 55465 | 50971.8259 | 66 | -6286.1741 | 1150 | 900 | 57515 | 257
2006-06-28 | 15:00 | 57352 | 53360 | 50229.1696 | 256 | -7122.8304 | 1150 | 900 | 55410 | -1942
2006-06-28 | 16:00 | 57938 | 54954 | 51793.2573 | 460 | -6144.7427 | 1150 | 900 | 57004 | -934
2006-06-28 | 17:00 | 58568 | 55749 | 52745.6694 | 441 | -5822.3306 | 1150 | 900 | 57799 | -769
2006-06-28 | 18:00 | 58598 | 55608 | 52437.1235 | 352 | -6160.8765 | 1150 | 900 | 57658 | -940
2006-06-28 | 19:00 | 58336 | 54464 | 50977.3029 | 163 | -7358.6971 | 1150 | 900 | 56514 | -1822
2006-06-30 | 13:00 | 54363 | 50213 | 47314.932 | 952 | -7048.068 | 1150 | 900 | 52263 | -2100
2006-06-30 | 14:00 | 55923 | 52709 | 49510.4737 | 773 | -6412.5263 | 1150 | 900 | 54759 | -1164
2006-06-30 | 15:00 | 56862 | 54569 | 50959.5239 | 1099 | -5902.4761 | 1150 | 900 | 56619 | -243
2006-06-30 | 16:00 | 57479 | 56110 | 51460.6903 | 1452 | -6018.3097 | 1150 | 900 | 58160 | 681
2006-06-30 | 17:00 | 57587 | 56719 | 51361.7097 | 1631 | -6225.2903 | 1150 | 900 | 58769 | 1182
2006-06-30 | 18:00 | 57601 | 56295 | 50690.8113 | 1405 | -6910.1887 | 1150 | 900 | 58345 | 744
2006-06-30 | 19:00 | 57733 | 54629 | 49085.4177 | 208 | -8647.5823 | 1150 | 900 | 56679 | -1054