## Slide 1: TPTF NET METERING DISCUSSION SUMMARY
July 13 Off-line Meeting

## Slide 2: Purpose
Allow TPTF members and interested market participants to have an off-line discussion of the issues surrounding the carry-over of the net metering concepts described in Zonal Protocol Section 10.3.2.3 to the nodal market.

## Slide 3: Attendees
Bob Spangler & Jerry Ward (TXU Wholesale)
Tom Payton (OXY)
Calvin Opheim (ERCOT)
Kenneth Ragsdale (ERCOT)
Darrell Scruggs and Randy Jones (Calpine)
Floyd Trefny (Reliant Resources)
Manny Munoz (CenterPoint)
Shams Siddiqi (LCRA)
Clayton Greer (Constellation)

## Slide 4: Recommendations
That zonal Protocol Section 10.3.2.3 should be carried forward to Nodal Protocol Section 10.3.2.3 without change but, potentially, with 1 addition requirement.
During this discussion the participants were divided on the matter of adding a requirement in the nodal protocols related to ERCOT’s posting of an annual report concerning load shifts between associated generation resource load and ERCOT system load in common switchyards, as these terms are described in Section 10.3.2.3.
Consensus language on this subject may be possible.

## Slide 5: Recommendations
Meeting Participants agreed that operational and settlement needs are best addressed by requiring all generation resources to provide ERCOT net generation data in real time.
Net Generation data may be provided by SCADA values that provide net generator output or may be calculated by the QSE using an EROCT approved methodology.
  This requirement is consistent with the requirement that all generation resources have individual energy offer curves and HSL and LSL that are based on net generation for purposes of the SCED.
Further work is required to incorporate into the nodal market implementation for CCCT resources
  the concepts that are presently being discussed for implementation in the zonal market; and
  the details of calculations of net generation for CCCTs.

## Slide 6: Recommendations
Nodal settlement will allocate the settlement payment for energy injections to the ERCOT grid under net metering arrangements to generation resources located behind the netted EPS meters based on the net generation data provided as described above.
  This process is intended to be similar to the process used in today’s zonal market.
  Kenneth Ragsdale committed to bring settlement protocol language to TPTF.
For purposes of settling the Nodal Protocol Base Point Penalty Provisions and for evaluating Generation Resource performance measures, the net generation data provided in as described above will be used.

## Slide 7: Next
Develop an NPRR
  Addition to 10.3.2.3
  Settlement
  Associated Protocol Section