DWG Report to ROS, April 2006

- The last DWG meeting was May 30-31, 2006.

- Flat start activities are complete for the 2006 case with wind models.

- The DWG provided the list of units with critical power system stabilizers to the PSS Ad Hoc Task Force.

- The DWG is currently evaluating proposals for dynamic voltage recovery criteria.

- The DWG has begun reviewing present ERCOT Operating Guides and Protocols for the NERC Planning Standards Field Tests.

- The next DWG meeting is currently scheduled for July 13-14, 2006.

DWG Tasks, 2006

| Task | Status |
| --- | --- |
| Flat start 2006 case | Complete |
| Flat start 2008 case | Complete |
| Incorporate load as responsive reserve models into dynamics database. | Complete |
| Flat start 2006 case with wind models. | Complete |
| Publish flat start book. | Future Activity |
| Make annual determination of the number and location of dynamic monitoring devices. | Working |
| Assist Black Start Task Force in evaluating ERCOT-wide black start plan | Working |
| Dynamic Voltage Recovery criteria | Working |
| Review recently approved NERC Standards with respect to ERCOT Op Guides and Protocols | Working |
| Review current ERCOT criteria for proposed NERC Standards (PRC-019,PRC-024,MOD-026-1,MOD-027-1) | Working |
| Participate in ROS Ad Hoc Task Force regarding Power System Stabilizers | Working |
| Annual Procedural Manual review/update. | Working |
| Begin 2007 flat start activities. | Fall Activity |