## Slide 1: Energize Approval
ROS June 2006

## Slide 2: Energize Approval
8.8 Coordination for System Topology Modifications
8.8.1 Coordination with ERCOT
Prior to energizing and placing into service any new or relocated Facility connected to the ERCOT Transmission Grid, TSPs shall coordinate with and receive approval from ERCOT.

## Slide 3: Energize Approval
NODAL PROTOCOL
3.3 Management of Changes to ERCOT Transmission Grid
Additions and changes to the ERCOT System must be coordinated with ERCOT to accurately represent the ERCOT Transmission Grid.
3.3.1 ERCOT Approval of New or Relocated Facilities
Before energizing and placing into service any new or relocated facility connected to the ERCOT Transmission Grid, a TSP, QSE, or Resource Entity shall enter appropriate information in the Outage Scheduler and coordinate with, and receive written Notice of approval from, ERCOT.

## Slide 4: Current Process
Effectively the current process is a reactive process. ERCOT reacts to energized equipment after the fact. The communication path (a faxed form) is an open loop and provides opportunities for miscommunication.
Temporary Re-Route Process contained form for “In-Service Notification”

## Slide 5: Clarified Process
Highlights of revised and clarified process
Change in communication path
Situational awareness is increased
Reliability awareness is increased
Importance of model data and model data flow is emphasized

## Slide 6: Intended Results
Revised and clarified process results in more informed proactive decisions and actions
This is required to effectively create a better environment for operational decisions and lay the groundwork for Nodal Market requirements.
Upgrades to Outage Scheduler will eventually eliminate fax form.