## Slide 1: NDSWG Report
June 16, 2006

## Slide 2: NDSWG Report
Regular meeting held May 16 in Taylor
Telemetry / State Estimator Update
Naming Convention
Electrical Bus Designation
NMMS Update
Model Comparison
Service Request Deadlines
Service Request Form Changes

## Slide 3: Naming Convention
The group discussed the naming convention and the interpretation of the rule as passed by ROS.
New names will be used in planning cases beginning in September

## Slide 4: Electrical Bus Designation
Electrical Bus (Nodal Protocol Section 2.1)
A physical transmission element that connects, using breakers and switches, one or more Loads, line, transformers, generators, capacitors, reactors, and phase shifters to the ERCOT Transmission Grid where there is negligible impedance between the connected transmission elements. Electrical Buses may be connected to other Electrical Buses using breakers and associated switches. There are no breakers or switches within an Electrical Bus. The breakers and associated switches that are used to interconnect Electrical Buses are not themselves an Electrical Bus. All Electrical Buses are designated by ERCOT and TSPs for modeling the electrical topology of the ERCOT Transmission Grid.
Electrical Bus (Nodal Protocol 3.10.7.1.2)
To accommodate the Outage Scheduler, the TSP may define a separate name and Transmission Element for any Electrical Bus that can be physically separated by a manual switch or breaker within a substation. Breakers and switches may only be connected to the defined Electrical Buses.

## Slide 5: Electrical Bus Designation
ERCOT Staff discussed the appropriate locations within the substation where busses would need names. These are shown in the next slide by X.
ERCOT has sent out a suggested list of locations within the substations that will need to be a named bus.

## Slide 7: Model Comparison
Discussed the differences between the Operations and Planning Models
Some participants had made progress on eliminating or explaining differences since the last meeting
Some discussion on how to eliminate remaining differences

## Slide 8: Other Issues
NMMS Update
Service Request Deadlines
Service Request Form Changes

## Slide 9: Questions ?