| OGRR Number | 181 | OGRR Title | Submission of Consistent Data for Planning and Operational Models |
| --- | --- | --- | --- |
| ###### Date |  | February 24, 2006 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Wayne Kemper |  |
| E-mail Address |  | wayne.kemper@centerpointenergy.com |  |
| Company |  | CenterPoint Energy |  |
| Company Address |  |  |  |
| Phone Number |  | 713-207-2192 |  |
| Fax Number |  |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive OGRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the OGRR.

| Assumptions | 1 | Modeling conventions will be consistent at the TDSP level and ERCOT level |  |
| --- | --- | --- | --- |
|  | 2 | TDSP, and ERCOT Operations Support and Systems Planning groups will be reviewing data closer due to this requirement. |  |
|  | 3 | Results of cases will trend towards consistency |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | Cost per TDSP to implement | 1 FTE each for TDSP (personnel may already be available at local level but process is not in place) |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Data transparency between modeling cases (including cases used in RMR, RAP, SPS, etc) | 20 hours savings per week to ERCOT researching model difference issues. Unknown how many hours per week would be required at TDSP. Possible unknown monetary benefit associated with NOT implementing an RMR, RAP, SPS, postponing a project, etc. Also could have a unplanned monetary cost to Market Participants associated with implementing an RMR, RAP, SPS, needing a project, etc. This OGRR will not reduce the number of differences between the two models and thus will not save ERCOT time. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | Enhanced model consistencies resulting in enhanced model results. Note that the function of the Planning and Operational cases will not change. The base model data that the cases are built on will be consistent. |  |
|  | 2 | This requirement will help ensure that what was planned was built as planned. Granted, the Planning data is a best guess based on future engineering design data but the best guess should be replaced with as-built information. This will help ensure that the Planning and Operational models capture issues more accurately. |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other | 1 | CenterPoint Energy does not agree with this statement. |  |
| Comments | 2 | This would be a requirement in the Texas Nodal Market |  |
|  | 3 |  |  |
|  | 4 |  |  |

Comments

CenterPoint Energy is not convinced that this OGRR is needed. The Operating Guides already require accurate modeling information. The operations model is a breaker model while the Planning model is a bus model, and each one is limited by its own software environment.  Since the two models differ in structure and purpose, modeling differences are inherent and expected. Furthermore, Section 5.1.6 of the Operating Guides allows typical or representative information for planned facility additions or modifications with revisions required once construction information becomes available.  Section 3.10.2(1) in the Nodal Protocols state that ERCOT shall develop models for annual planning purposes (“Annual Planning Models”) that contain, as much as practicable, information consistent with the Network Operations Model. TDSPs are already expending much time and effort to ensure consistency between Planning and Network Operations Models to the extent practicable.

In the event this OGRR goes forward, CenterPoint Energy offers suggested changes and comments in the Operating Guide Revision.

Revised Proposed Operating Guide Language

### 5.1.6	System Modeling Information

Information on existing and future ERCOT System components and topology is necessary for ERCOT to create databases and perform tests as outlined in these criteria.  To ensure that such information is made available to ERCOT, the following actions by ERCOT Market Participants are required:

1.	Each TDSP, or its designated agent, shall provide accurate modeling information for all ERCOT Transmission Facilities owned or planned by the TDSP.  The information provided shall include, but not be limited to, the following:

a.	Information necessary to represent the TDSP’s Transmission Facilities in any model of the ERCOT Transmission Grid whose creation has been approved by ERCOT, including modeling information detailed in procedures of the SSWG, DWG, and SPWG; and

b.	Identification of a designated contact person responsible for providing answers to questions ERCOT may have regarding the information provided.

c.	The model should accurately reflect existing transmission system (as-built) data for ERCOT Transmission Facilities owned or operated by the TDSP and should be consistent with the Operations Model to the extent practicable. .  TDSPs shall provide reasons for any exceptions.

Any long-term changes to the reactive capability must be provided by the facility owner to ERCOT, as-planned at least thirty (30) days prior to implementation and as-built no later than thirty (30) days after implementation, as changes or upgrades are made during the life of the Reactive Power facilities.

Further, each TDSP owning or planning Transmission Facilities shall attend the scheduled meetings and otherwise participate in the activities of the SSWG and the SPWG, unless specifically exempted from these activities by ERCOT.

2.	Each GR, or its designated agent, shall provide accurate modeling information for each existing or publicly-announced ERCOT generating unit for which it is the majority owner. The information provided shall include, but not be limited to, the following:

a.	Information necessary to represent the GR’s generation and interconnection facilities in any model of the ERCOT electrical system whose creation has been approved by ERCOT, including modeling information detailed in procedures of the SSWG, DWG, and SPWG; and

b.	Identification of a designated contact person responsible for providing answers to questions ERCOT may have regarding the information provided.

Typical or representative information may be provided for planned facility additions or modifications, but such information shall be revised using actual design or construction information once it becomes available.  All information provided shall be provided on the schedule and in the format specified by ERCOT, and shall exclude Protected Information as described in the Protocols.

### 8.2.7	Documentation

Information on existing ERCOT Transmission System components and topology is necessary for ERCOT to create databases and perform tests.  To ensure that such information is made available to ERCOT, each TDSP, or its designated agent, shall provide accurate information for all ERCOT Transmission Facilities owned by the TDSP.  The information provided shall include, but not be limited to, the following:

1.	Information necessary to represent the TDSP’s Transmission Facilities in the ERCOT Operations Model.

2.	The model should accurately reflect existing ERCOT Transmission Facilities owned or operated by the TDSP.

Reference:  Protocols Section 8.8.2.1, TSP Information to be provided to ERCOT

The TSP shall notify ERCOT at least thirty (30) days before starting to energize or place into service any new or relocated Facility.  The Notice shall be submitted in accordance with formats and procedures adopted by ERCOT and TSPs.  For Notices involving co-owned, co-operated, or co-rated Transmission Facilities, the TSP submitting the initial Notice shall communicate with the other Market Participants responsible for co-owning, co-operating, or co-rating said Transmission Facilities prior to the Notice submittal.  The Notice shall include the following information:

(1)	Proposed energize date;

(2)	TSP performing work;

(3)	TSP(s) responsible for rating affected transmission element(s);

(4)	Location Code if applicable (e.g. station code);

(5)	Identification of existing Transmission Facilities involved and new Transmission Facilities (if any) being added or existing Transmission Facilities being permanently removed from service;

(6)	Ratings of existing Transmission Facilities involved and new Transmission Facilities (if any) being added;

(7)	Outages required (clearly identify each Outage if multiple Outages are required), including sequence of Outage and estimate of Outage duration;

(8)	General statement of work to be completed with intermediate progress dates and events identified;

(9)	Supervisory Control and Data Acquisition modification work including descriptions of any new data telemetry points or changes to existing telemetry;

(10)	Additional data determined by ERCOT and TSP(s) as needed to complete the ERCOT model representation of existing Transmission Facilities involved and new Transmission Facilities (if any) being added;

(11)	Statement of completion, including:

(a)	Statement to be made at the completion of each intermediate stage of project; and

(b)	Statement to be made at completion of total project.

(12)	Drawings to be attached, including:

(a)	Existing status;

(b)	For each intermediate stage; and

(c)	Proposed completion of job.

The parties involved shall furnish pertinent information to ERCOT on request, including the following:

- Connection diagrams

- Metering one line diagram

- Substation one line diagram

- Panel schematics and one line diagrams

- Instrument transformer (CT and PT) data (ratios, test reports, nameplate)

- Transducer conversion constants

- Meter constants

- RTU and digital device configuration details

- Certified calibration test reports of any device used for operational metering

- Other data as may be requested