DWG Report to ROS, August 2006

- The last DWG meeting was July 13-14, 2006.

- DWG asks ROS approval of the following:

The DWG wants to require that wind modeling data, provided by a wind facility owner, be available for use by all TDSPs with the standard ERCOT confidentiality agreement.  Also, the DWG wants to add data requirements to the DWG Procedural Manual concerning wind facilities which will require them to provide certain data, included in this data is:

Either,

- Dynamic model source code for the wind facility and associated data.

Or,

- Dynamic model object code for the wind facility and associated data, which must be updated for PSSE version changes or as requested by the DWG and/or ERCOT.

The DWG encourages ERCOT to become heavily involved in the WECC effort to develop standard wind models.  Successful completion of these standard models should resolve many of the issues that DWG members and ERCOT have faced during wind facility dynamic studies.

I have attached a draft of the wind model section for your review “DRAFT DWG Wind Model Requirements.doc”; however, this is by no means a final version.  The final version will be included when we present the DWG Procedural Manual to ROS later in the year.

- The DWG is still evaluating proposals for dynamic voltage recovery criteria.

- The DWG is continuing to review present ERCOT Operating Guides and Protocols for the field test NERC Planning Standards.  We intend to complete our review in October and report to results to ERCOT Compliance at that time.

- DWG recommends making no changes to the dynamics monitoring device (DDR) recommendations from last year.

- The next DWG meeting is currently scheduled for October 3-4, 2006.

DWG Tasks, 2006

| Task | Status |
| --- | --- |
| Flat start 2006 case | Complete |
| Flat start 2008 case | Complete |
| Incorporate load as responsive reserve models into dynamics database. | Complete |
| Flat start 2006 case with wind models. | Complete |
| Publish flat start book. | Fall Activity |
| Make annual determination of the number and location of dynamic monitoring devices. | Complete |
| Assist Black Start Task Force in evaluating ERCOT-wide black start plan | Working |
| Dynamic Voltage Recovery criteria | Working |
| Review recently approved NERC Standards with respect to ERCOT Op Guides and Protocols | Working |
| Review current ERCOT criteria for proposed NERC Standards (PRC-019,PRC-024,MOD-026-1,MOD-027-1) | Working |
| Participate in ROS Ad Hoc Task Force regarding Power System Stabilizers | Working |
| Annual Procedural Manual review/update. | Working |
| Begin 2007 flat start activities. | Fall Activity |