| PRR Number | 650 | PRR Title | Balancing Energy Price Adjustment Due to Non-Spinning Reserve Service Energy Deployment |
| --- | --- | --- | --- |
| Date |  | 7/28/06 |  |
| Submitter’s Information |  |  |  |
| Name |  | Matt Mereness |  |
| E-mail Address |  | mmereness@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  | 2705 West Lake Drive |  |
| Phone Number |  | 512.248.3089 |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 |  |  |
| Additional Qualitative Information | 1 |  |  |
| Other | 1 |  |  |

Comments

With these comments ERCOT wishes to raise a possible implementation issue that may be best addressed at the Monday, July 31st conference call addressing PRR650.

Under PRR650, ERCOT will re-calculate the market clearing prices for Balancing Energy Services when Non-Spinning Services are deployed.  ERCOT wants to present a possible scenario whereby the adjusted market clearing price for energy (MCPE) for Balancing Energy Services may be reduced below the Balancing Energy Services bid for a Qualified Scheduling Entity (QSE).  In other words, the QSE is struck and deployed in real-time, but the price modification could adjust the MCPE below the QSE bid price for settlement.  For example, as shown graphically on the next page:

- The ERCOT operator deploys 500MW of Non-Spinning Reserves Service (NSRS) in the Houston zone due to an insufficient amount of Balancing Energy Services bids.

- If there is zonal congestion from North-to-Houston that is relieved by the NSRS deployment, the MCPEs for both zones are the same price, such as $150.  All QSEs are paid $150/MW for BES in both zones.

- In accordance with PRR650, ERCOT would re-clear the market without the NSRS deployments (which previously relieved zonal congestion), and the zonal MCPEs would diverge, and theoretically increase the MCPEHouston= $180, and decrease the MCPENorth=$120.

As a result, under this scenario, QSEs could be deployed real-time but possibly paid below their bid price.  The scenario also results in congestion costs (as related to shadow prices and Transmission Congestion Right payments).

Revised Proposed Protocol Language

<None>