## Slide 1: WMS Report TO TAC
August 2006

## Slide 2: EECP Action Item Status Update
Resource Plans, Updating Resource Plans, Offline Capacity Not Available, Max Capability in Resource Plans, How Much Wind Capacity to Count as Available
Emergency Load Response Service, and Quantifying Price Responsiveness of Load Participation.

## Slide 3: In Brief
Three Working Group reports
Three Task Force Report
Two ERCOT Staff Presentations
Vendor Discussions on Co-Optimization
Notes: QSEWG – two PRRs that will come to TAC via PRS
CMWG – CSCs for next year and outage coordination with TCR sales
DMSWG – working on PUC project and shuffling officers – told to report through WMS
CC – RPRS TF – not optimistic on the zonal RPRS problem – if so we need to strike Protocol language - need to produce clawback for local RPRS PRR to coordinate with 666 implementation
FREQ TF – Scaling factor PRR 673 filed with two options – WMS supported option 2 – questions on when info available – some discussion on when scores will be available and if exceptions can be automated. Ino wanted to be sure we did not True Up the SF with final settlements – Gave us 4 options on how to move with primary freq (see slide) WMS option two – NPRR only
GATF – use the slide that was presented

## Slide 4: Working Group Reports QSEWG
Two PRRs finalized that will be reported through PRS
Notes: QSE Project Managers Working Group Gary Miller, QSE has not met since last WMS. Wanted to give wording on PRRs.
  PRR607 One Minute Schedules on Start Up – Revision (Possible Vote) *
Reviewed FPL Energy comments. Only if QSE fails does this come into play.
Danielle Jaussaud – will it allow ERCOT to take into account this ramping curve into plans for balancing energy? Will it improve?
Gary – no, just settlements
Josh – does not benefit operations
Mark Bruce – information exchange, ERCOT will prepare IA, etc during PRS process
Wayne Morter – drafted when really an issue, now not so much of an issue.
Brad – appeal of something simple, would be more in favor if there was an FTE assigned.
Mark Bruce - ERCOT will not do an official IA until you pass a PRR at PRS.

## Slide 5: Working Group Reports CMWG
2007 CSC Analysis
List of issues related to the calculation of TCRs
Notes: CMWG – CSCs are being worked on
South to Houston – impact of Hilgie – on the second half the year – Policy question – exact CSC after construction is a question
CSC issues list was one of the WMS goals for the year.
* Issue: Increase visibility of TCR revenue adequacy.
* Activity: TCR quarterly reports posted – MPs need to provide comments on content.
* Issue: Improve outage impact determination.
* Solution: Outage Sensitivity Factor Project (PR-30056-01) pending; this tool allows for a quicker review of specific outage impacts
* Issue: Determine methodology for outage significant impact.
* Activity: Currently outages lasting 5 days or more are considered to have an impact; need to review impact of multiple outages lasting less than 5 days.
* Issue: Review differences in load distribution between TCR case vs. daily operation case.
* Solution: Additional analysis not required at this time.
* Issue: Inclusion of generator outages in TCR case.
* Activity: Generator outages are protected information for 180 days. TCR posting requirement is for TCR quantities only. PRR needed to allow generator outages inclusion in Section 7.5.2.2
* Recommend implementation no sooner than 2007 annual auction
* Question about whether generation outages should be included for Annual auction or only in monthly
* Issue: Use of Dynamic & Seasonal Ratings for TCR calculation.
* Solution: Leads to TCR underselling, no additional analysis is required at this time.
* Issue: Comparison of STNET vs MUST.
* Solution: Leads to TCR underselling, no additional analysis is required at this time.
* Issue: Improve accuracy of 45-day outage list.
* Solution: ERCOT emails TOs to update outage list prior to TCR calculation.
* Issue: Review possible delays in outage postings.
* Solution: There is no delay in outage postings, therefore no action required.
* Issue: TCR training for TO personnel.
* Solution: Presented at Outage Scheduler meeting in August 2005.

## Slide 6: Working Group Reports DSWG
Updated WMS on issues related to Load Participation Docket at the PUC.
Renomination of WG leadership
Notes: DMSWG – working on PUC project and shuffling officers – told to report through WMS

## Slide 7: Task Force Reports Frequency (SCE)
PRR 673 Adjust SCE Performance Charge Scale Factor
Primary Frequency Control Options
PRR 607 One Minute Ramp Schedules
PRR 426 Uninstructed Deviation Calculation for Uncontrollable Renewable Resources
Notes: FREQ TF – Scaling factor PRR 673 filed with two options – WMS supported option 2 – questions on when info available – some discussion on when scores will be available and if exceptions can be automated. PUC staff and others raised concerns regarding a scale factor of less than one. Ino wanted to be sure we did not True Up the SF with final settlements
Scale Factor in PRR 661 set to 1. Performance dependent where SF moves tenth of a point per point in inverse direction to ERCOT’s CPS1 score
Two options in the PRR
Option one 130 is midpoint (means SF changes every month)
Option two 130 to 140 deadband – will only be more stable if ERCOT stabilizes in that band
– The concepts behind a Primary Frequency (Gov Resp service) control ancillary service have been outlined. With staff and budget concerns, FQFT Gave us options on how to move with primary freq (see slide) WMS option two – NPRR only
SCE is all about people doing what they say they are going to do with generators. PRR 525 grades people on 1 minute deviations from schedule but operations can’t accept 1 minute schedules. PRR 607 allows QSEs that are on the edge regarding SCE compliance to enter in advance 1 minute schedules. These won’t be used by operations because its not worth it to implement, but it will be used by compliance. WMS recommend PRS approve PRR607 (One-Minute Ramp Schedules) as reviewed by the QMWG comments submitted on their behalf by FPL energy, Clayton Greer seconded the motion. Voice vote. No negatives. 4 abstentions.
PRR 426 discussion – old PRR with a 3.3 – got raised in the process above the line – PRS asked WMS to look at the second part of it which added wind only QSE MW to loads when determining LRS for regulation. – WMS recommend putting it back below the cut line until the more thorough wind integration studies being done by planning are completed and review

## Slide 8: Task Force Reports Combined Cycle/RPRS
No fix for Zonal RPRS problems
Need Clawback language PRR for local RPRS
RPRS capability Cluge can work
Notes: CC – RPRS TF – not optimistic on the zonal RPRS problem – if so we need to strike Protocol language - need to produce clawback for local RPRS PRR to coordinate with 666 implementation
Cludge is to fudge the HSLs of cc trains so that the steamer is zero and the GTs are the sum of the two. If struck, need to be corrected in Resource Plan within 15 minutes

## Slide 9: Task Force Reports Generation Adequacy
Re-Examine? | CDR Component
YES | Planned Units
NO | Wind (not this year)
NO | Mothballed Capacity
NO | Switchable Capacity
YES | Netting of Generation & Load (Private Networks)
YES | DC Ties (50% assumption)
NO | Retired Capacity
YES | Load Response Programs (pending PUCT 32853)
YES | Reserves by Zone (more detail in CDR)
Notes: GATF – use the slide that was presented
How well does an air permit indicate new capacity?
Permit good for three years.
$75k permit fee; similar $ for preparation & modeling.
The NSR permit is the critical path item.
Permit process for a new power plant is likely to take 6-12 months; could be longer.
TCEQ’s experience suggests 2010 for new coal capacity.
2 coal permits issued (1550 MW), 11 in review (9700 MW).
67% of gas projects permitted have probably been built.
Opportunities for information sharing with ERCOT.
Details are on ercot.com for GATF of July 14, 2006.

## Slide 10: ERCOT Staff Presentations
Wind impact on SCE and BES deployment
15 minute Ramp Schedules
Vendor input on Cooptimization
Notes: John Dumas Report on wind impact on SCE – there is a fudge factor already – at stakeholder request they separated wind error (schedule from actual) out of it, but knowing this may have very little impact on the total fudge factor. Asked for an update on how well things are working in December.
Young Lee Report on 15 minute ramp schedules – is going forward – Deployed in about 6 month – found a TYPO – checking with ERCOT legal on fix process – Patton recommendation
Update on co-opt -- Brandon talked to vendors about cost and schedule impacts of the two co-optimization approaches.
He reported there would be impacts – not forkliftable – still don’t know the answer – they said the will file something with PUC in response to the order but got some push back from WMS – may be reporting their findings to TAC – WMS asked them to take it to TAC

## Slide 11: Subgroups of WMS
Combined Cycle RPRS Task Force
Co-Optimization Task Force
Generation Adequacy Task Force
WMS Frequency Control Task Force
Congestion Management Working Group
Demand-Side Response Working Group
Metering Working Group
Qualified Scheduling Entity Managers Working Group