Draft OWG Meeting Notes

June 21, 2006

Jack:  Opened the meeting with the Antitrust Admonition disclosure.  ROS meeting highlights, (Jack’s notes to post key points from meeting).

Meeting notes from May 17th meeting:  Ross Owen brought up scripts for backing out of procedures initiated during EECP events. Jack to take an action item to talk to James Hinson on this issue. Wayne Kemper also requested better communication practices and procedures. Robert Potts discussed procedural steps and compliance action items to address both ERCOT System Operators and QSE/TO Operators with respect to this issue.

Jason Sweeney:  SCPS-2 comments from Mark Henry discussed at the ROS. NERC is considering dropping this measure. Mark stated that some 10-minute measure may still be used in ERCOT. (Review the ROS notes from the May 15th and 16th meeting)

PRR647:  Jeff Healy to present in place of John Dumas/Steve Reedy. (Note, Steve is no longer with ERCOT) Jack discussed the PSS language to address critical units. Gross/Net MVAR calculations discussed and Jack requested, what measure is being used by generators, (High Side and/or Low Side). Discussion on calculation of MVAR losses, Wayne stated that a standard calculation is available. Gross calculation needs to be defined, and where is this calculated from with respect to generator. If PRR647 is approved, what would the implementation date and what timeframe will be given to the generators to provide the new data. Critical units again addressed by WG. Cost to provide this service/data and benefit to be gained by ERCOT from the data. Jeff discussed the possible losses to reactive reserves, specifically in the Houston area.

ACTION Items:  Define Gross MVAR calculation and where will it be calculated. Critical units to be defined and how are they identified by ERCOT. How many units are providing High Side and/or Low Side data on a unit by unit basis? What would be the timeline for implementation and how would the generators be impacted with respect to grace period for implementation?

Jeff Healy:  Operations Report:  (See report for key points): To date SCPS-1 has been outstanding for May and June with response to frequency events the best in several years. Ops Report to separate OOMC/RMR and Replacement (RPRS) market data to be posted in this report by procurement. (See the Operations Report for May for key points)

Frank Owens discussed communication issues from outages performed in May; ERCOT questioned daily the outage conditions. (ERCOT Power Operations Bulletin 266 reference). Wayne Kemper asked if there was any additional activities due to Bulletin 266 that the TOs were to accomplish. The answer was – NO.

Ross Owen brought up transmission data that is not seen by the TO’s with respect to intraday constraints and actions taken by ERCOT, (reference May Ops Report). The only way TO’s see these constraints is through the Daily Ops Report posted by the Shift Supervisor the following day. Daily Ops Report not being posted until 12 noon or later, and sometimes as long as several days.

ACTION ITEM: Kent Grammer to follow-up on process for posting of the Daily Ops Report.

Ops Report: Kent Grammer:  If you have not provided the Storm Drill critique, please provide as soon as possible. ERCOT Compliance to follow-up with QSEs/TOs that have not provided this information. Kent reviewed the following ERCOT Power Ops Bulletins: 259, 260, 261 (SMP – SCADA Media Platform), 263, 264, 265, 267, 268, 269, and 270.

Approval to Energize Notification Form located in the Operations Engineering Procedures section, (Operations and System Planning secure web site) . This form is used by the Market Participant after the fact for energizing of a facility and/or transmission line. Kent stated that the Shift Supervisor will request this information from the Market Participant. Ross requested information related to RTU being taken down, what and how does the Market Participant use to advise ERCOT. There is no formal reporting process in place at this time by ERCOT.

Black Start Task Force:  Meeting tentatively scheduled for August 2nd or 3rd, November 7th or 8th, and December 12th or 13th. ROS recommended that PRR631 be rejected by PRS. August 1st preliminary announcement for Black Start Unit awards. PRR584 to be discussed and voted upon at the next Black Start meeting.

Robert Potts:  NERC standards that may or may not be incorporated with the ERCOT Protocols, Robert has not been able to collect this information yet. Robert advised that TOs may be responsible for NERC Operator Certification in the future. NERC Readiness Audits take approximately 3 to 4 days.

Action Item: Jack requested that ERCOT Compliance provide updates to the NERC field testing progress.

ERCOT Training Seminar:  Jason Sweeney for Van Weldon:  Seminar meeting may be held the first two weeks in July. CEH criteria may be main topic of next year’s seminar. Black Start CEH to also be reviewed. Tip requested information for the ERCOT CEH to be provided to Market Participants. Kent reported that the ERCOT fundamentals will be provided via the web site. 360.com and L&K provide trading programs. (www.OESNA.com also a consultant that provides this formal training).