## Slide 1: DWG Procedural Manual: Wind Model Requirements
DWG Request to ROS
August 11, 2006

## Slide 2: Standard PSS/E Dynamics Model

## Slide 3: Standard PSS/E Wind Farm Dynamics Model
This page intentionally left blank.

## Slide 4: Wind Modeling Background
ERCOT contracted PTI to develop wind models in 2002
  In 2003, successfully completed models for all of the wind facilities that were in operation at that time in ERCOT
  ERCOT/DWG received the programs and source code for these wind models
  Models not added to standard model library in PSS/E

## Slide 5: Example of Wind Modeling Complexity
IPLAN program
  To aggregate wind farm to collector buses,
  To dispatch equivalent machines,
  To setup reactive power control,
  To write out dynamic data to the dynamic input file.
Dynamic Simulation Models (programs):
  Wind gust and ramp
  Aerodynamic conversion
  Mechanical Shaft System
  Pitch Control
  Generator
  Generator Control (if applicable)
  Power Factor Compensation (if applicable)
  Voltage Protection
  Frequency Protection
Input Data Files
  Aerodynamic Cp matrix
  Machine parameters
Dynamic Models Datasheets and Block Diagrams

## Slide 6: Wind Modeling Currently
ERCOT/DWG members still use the models developed in 2003
  Some programs are modified to make integration of the wind models into ERCOT cases possible
    Bus numbering issue
    Multiple wind facility modeling issue
  Only possible because we have the source code

## Slide 7: Wind Modeling Moving Forward
ERCOT currently lists over 13,000 MW of wind generation being studied
Rapidly developing technology
  Existing models do not work for some newer wind facilities
  Manufacturers wish to protect proprietary information
New wind generators providing data to ERCOT/DWG

## Slide 8: DWG Concerns
New wind generators providing data to ERCOT/DWG
  Some are requiring NDA’s from each TSP to use models
    ERCOT currently signing NDA’s so that they can perform their studies
    Information should be protected by the standard ERCOT confidentiality requirements
  Only providing object code for their wind facility
    Does not allow ERCOT/DWG to make changes to the model
    May not work with future versions of PSS/E

## Slide 9: DWG Requests ROS Approve the Following
Add requirements in DWG Procedural Manual:
  Require that the wind modeling data be available for use by all TDSPs
  Data requirements include providing
    Dynamic model source code or,
    Dynamic model object code which must be updated for PSS/E version changes or as requested by ERCOT or DWG