OWG Report to ROS

8-10 & 11- 2006

Revised 8/9/06

The OWG met June 21 and July 19, 2006. The following OGRRs are pending at the OGRTF:

- 165 – Update Unit Telemetry Requirement:  This revision proposes to add a requirement for QSEs to submit real-time AGC status and Ramp Rate for all units in their portfolio. ERCOT submits this OGR to address Recommendation No. 14 of Potomac Economics’ recommendations to improve ERCOT’s wholesale market design.  This OGRR has been tabled per ROS directive.

- 181OGRR - Submission of Consistent Data for Planning and Operational

Models – This OGRR adds language that will require that data on existing and future ERCOT System components and topology submitted to ERCOT by Transmission and/or Distribution Service Providers (TDSPs) for use in Planning and Operational Models is consistent. After ERCOT and Market participant language changes, ERCOT submitted those changes as comments on 5/19/06. This OGRR was reviewed at the June OGRTF and OWG meetings. At the directive of ROS, this OGRR is awaiting input from the ad hoc task force on data consistency.

- The chairs of ROS, OWG and OGRTF participated in a conference call on July 27th with ERCOT’s Steve Grendel et al. The conference was to discuss the issue of Operating Guides process to incorporate appropriate Nodal Protocols and the reorganization of the Operating Guides. Steve Grendel will give a presentation to the ROS, OWG and OGRTF based on the agreements reached during this conference call.

- The Black Start Task Force will meet on August 14th at the Met Center. The rescheduling of the meeting was a result of the delay of the 2007 Black Start Unit List. The following items will be discussed:

PRR 584 which attempted to make the black start contract period two years vs. the existing one year is still being discussed.  The BSTF will decide at its next meeting whether or not to go forward with the PRR of with draw the PRR.

Charles Bui and Jack Thormahlen will review the document to PTI/Siemens related to the ROS directive to investigate the feasibility of a study of the ERCOT Black Start Plan and the BSTF concluded, after a spirited discussion to continue with the request for information for a “Ball Park” estimate of data requirements, time to do the study and cost overall.

The 2007 Black Start RFP proposals were received on June 1, 2006. ERCOT has analyzed the responses and presented a preliminary finding of contracted units. The preliminary estimated total cost of the Black Start Service is $ 7.4M

- The OTF completed the hurricane drill that took place on May 10th, 2006. In a separate document, the summary critique of the drill is described. There were issues of participants not filing a critique and limited participation. ERCOT Compliance is in the process of addressing these issues.

- There were further discussions on the merits of PRR-647 with John Dumas. The OWG and John Dumas reached a compromise of language and effective timing of the required data and communications. Essentially, the data is to be supplied as soon as possible with the understanding that specific issues of market participants be considered such as budget timing. ERCOT Compliance’s Robert Potts stated that as long as the data were supplied in a reasonable time, ERCOT would work with the individual market participant. OWG has submitted its comments to the PRS. OWG recommends that this PRR 647 proceed forward to implementation.

- The OWG has submitted a Resolution for your consideration a resolution requesting the supporting of the ERCOT training budget related to the inclusion of CEHs (Continuing Education Hours) for the Annual Operator Training Seminar and the Annual Black Start Seminar. The ERO has/ or will set a standard for those requirements. The OWG recommends that this resolution and the ROS support of the resolution be conveyed to TAC.

- The attached Hurricane Drill Summary is now complete. The ERCOT Compliance is in the process of evaluating and talking with entities on possible non-compliance issues.

- The OWG, the Chairman of ROS, ERCOT Operations have developed an OGRR for revising the EECP. An Urgent vote was requested for this OGRR.

The next two meetings of the OWG have been scheduled for August 16th and September 20th, 2006.