## Slide 1: ROS Report to TAC – 7/6/06 Major Discussion Items at 6/15-16/06 ROS
ERCOT Operations:
Replacement selection criteria / cumulative reliability impacts
Continued CPS performance / Improved QSE performance
Ancillary Service Performance Monitoring Criteria:
PRR 664 NSRS
PRR 665 Responsive
EECP Improvements
OGRR package on EECP steps and triggers
Discount Factor
ERCOT procedures on advisories and RMR dispatch
TPTF Assignments:
State Estimator Performance Standard – TAC vote
Telemetry Criteria – TAC vote
Principles of Consistency – joint ROS/TPTF group
Hurricane Rita / Hurricane Drill

## Slide 2: ROS Report to TAC – 7/6/06 Items Requiring TAC Vote
OGRR 179 – Under-Voltage Load Shedding Protection.
State Estimator Performance Standard.
Telemetry Criteria.
All the Above Approved by ROS June 15, 2006

## Slide 4: ROS Report to TAC – 7/6/06 Next ROS Meeting
August 10-11 – Regular Meeting
Special Topics:
Conclude EECP Recommendations
Optimal Frequency Bias (TPTF)
Non-Spin Deployment (TPTF)