- COMMENTS FROM ERCOT’s Don Tucker :

-- Would like to discuss the association of EPS metering points to an electrical bus, so a price can be calculated for the EPS metering point in support of the generation settlements.  Zonal Protocols do not have a requirement for this information to be provided to ERCOT.  The verbiage below offers some options to try and address this change.

-- Would like to discuss the new requirement passed at TPTF on Monday August 7th for Section 10.3.2.3 (5) to clarify the expectations of this requirement.

a)  Where does the information come from?

b) What does ERCOT do with the information?

c) What are the requirements for keeping the information current?

d) What are the requirements to confirm the information?

----------------------------------------------------------------------------------------------------------------

10.13	EPS Meter & Meter Point Identification

10.13.1   MDAS Device Identifier

The device id used to identify an EPS Meter shall be unique for such meters on the ERCOT System.  ERCOT shall maintain a master list of device ids and shall notify each TDSP if the device id selected has been used elsewhere in MDAS.

10.13.2   EPS Meter Point Identification

Option 1:

EPS metering points must be associated to an Electrical Bus that exists in the ERCOT Network Operations Model before an EPS metering point price can be determined to support Settlements.  The TDSP shall provide to ERCOT, the ERCOT Network Operations Model Electrical Bus name that will uniquely identify the location of each EPS metering point. ERCOT shall utilize this Electrical Bus name when determining an EPS metering point price.

Option 2:

The TDSP shall provide to ERCOT, the ERCOT Network Operations Model Electrical Bus name that will uniquely identify the location of each EPS metering point. ERCOT shall utilize this Electrical Bus name when determining the price that will be associated to an EPS metering point.

Option 3:

The TDSP shall provide to ERCOT, the ERCOT Network Operations Model Electrical Bus name that will uniquely identify the location of each EPS metering point. ERCOT shall utilize this Electrical Bus name when determining the settlement point price associated with an EPS metering point.