## Slide 1: CMWG update
WMS
16 August, 2006

## Slide 2: Outline
2007 CSC Analysis
  Recommendation
  ERCOT assignments
Future discussion topics
Notes: Kevin reported on the PRS activity.
Scale Factor in PRR 661 set to 1. Performance dependent where SF moves tenth of a point per point in inverse direction to ERCOT’s CPS1 score
Two options in the PRR
Option one 130 is midpoint (means SF changes every month)
Option two 130 to 140 deadband – will only be more stable if ERCOT stabilizes in that band

## Slide 3: 2007 CSC Analysis
Met on July 28 to review additional analysis performed by ERCOT Staff and discussed:
  Selection of the South to Houston double circuit line based on the impact of the Hilje project; requested -
    A 4 zone cluster map for 5 CSCs
    Bus locations
  Elimination of the Northeast to North CSC; requested -
    ERCOT staff track congestion activity on this CSC and the CREs during 2007.
Notes: Kevin reported on the PRS activity.
Scale Factor in PRR 661 set to 1. Performance dependent where SF moves tenth of a point per point in inverse direction to ERCOT’s CPS1 score
Two options in the PRR
Option one 130 is midpoint (means SF changes every month)
Option two 130 to 140 deadband – will only be more stable if ERCOT stabilizes in that band

## Slide 4: 2007 CSC Recommendation
CMWG recommends that for 2007, the CSCs remain the same as 2006, except that the NE_N CSC (Farmersville-Royse double circuit) no longer be a CSC.
Notes: Kevin reported on the PRS activity.
Scale Factor in PRR 661 set to 1. Performance dependent where SF moves tenth of a point per point in inverse direction to ERCOT’s CPS1 score
Two options in the PRR
Option one 130 is midpoint (means SF changes every month)
Option two 130 to 140 deadband – will only be more stable if ERCOT stabilizes in that band

## Slide 5: Future topics
Slated for September meeting
  Competitive Constraints
  Consideration of generator outages in TCR calculation
Notes: Kevin reported on the PRS activity.
Scale Factor in PRR 661 set to 1. Performance dependent where SF moves tenth of a point per point in inverse direction to ERCOT’s CPS1 score
Two options in the PRR
Option one 130 is midpoint (means SF changes every month)
Option two 130 to 140 deadband – will only be more stable if ERCOT stabilizes in that band