## RUC
| Document Name: | TN.COMS.63C01.RUC.REQUIREMENTS.A.doc
| Issuing Entity | Name | Page Number | Description | Accepted / Rejected | Reviewer | Reason
1 | COPS | J. Briscoe | p. 4 § 1.1 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
2 | COPS | J. Briscoe | p. 14 § FR21 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
3 | COPS | J. Briscoe | p. 18 § FR22 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
4 | COPS | J. Briscoe | p. 21 § FR40 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
5 | COPS | J. Briscoe | p. 25 § FR52 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
6 | COPS | J. Briscoe | p. 25 § FR52 | If the QSE submitted a validated Three-Part Supply Offer, Then, MEPRq,r,ii = MEOq,r,ii Otherwise, MEPRq,r,ii = MECAPq,r,ii If QSE verifiable minimum-energy costs for the Resource are on file, Then, MECAPq,r,ii = verifiable minimum-energy costsq,r,ii Otherwise, MECAPq,r,ii = RCGMECii | Rejected | kh | The calculation of Minimim-Energy Price (MEPR) is an intermediate calculation to many RUC calculations and needs to be detailed only once. The requirements for the calculation of Minimum-Energy Price (MEPR) are detailed in Section 2.2 of the same document (TX.COMS.63C01.RUC.REQUIREMENTS.A). Furthermore, the table in which each variable included in the calculation of RUCEXRQC is defined makes reference to the previously calculated MEPR. Repeating this information could be confusing to the developers.
7 | COPS | J. Briscoe | p. 30 § FR66 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
8 | COPS | J. Briscoe | p. 30 § FR66 | Summation of hours for variable RUCHR Deleted | Accepted | kh
9 | COPS | J. Briscoe | p. 30 § FR67 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
10 | COPS | J. Briscoe | p. 31 § FR68 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
11 | COPS | J. Briscoe | p. 36 § FR86 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
12 | COPS | J. Briscoe | p. 36 § FR87 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
13 | COPS | J. Briscoe | p. 36 § FR87 | Summation of hours for variable RUCHR Deleted | Accepted | kh
14 | COPS | J. Briscoe | p. 42 § FR106 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
15 | COPS | J. Briscoe | p. 47 § FR119 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
16 | COPS | J. Briscoe | p. 48 § FR120 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
17 | COPS | J. Briscoe | p. 48 § FR123 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
18 | COPS | J. Briscoe | p. 67 § FR168 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
19 | COPS | J. Briscoe | p. 70 § FR176 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
20 | COPS | J. Briscoe | p. 72 § FR183 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
21 | Reliant | M. Wagner | p. 5 § A4 | It would be helpful to include a statement here indicating that the interface requirements [document reference] with market participant systems will account for this convention so that market participant systems are constructed to this specification. | Response | kh | This specification is response to data storage issues within the settlement system. Drivers, indicated within each RUC calculation, will guide to market participants how to handle this assumption.
22 | Reliant | M. Wagner | p. 5 § A6 | Delete word "may" | Accepted | kh
23 | Reliant | M. Wagner | p. 5 § A6 | Please consider alphabetizing the list. | Rejected | kh | The list is correctly sorted by the order in which the Settlement System will build the bill determinant recorder names. This will help ERCOT and Market Participants construct their systems.
24 | Reliant | M. Wagner | p. 5 § A6 | Include additional recorder format element | Rejected | kh | It is suggested that "MMS" be included to the list. MMS is not a recorder format element.
25 | Reliant | M. Wagner | p. 6 § 2.1 | Consider re-wording sentence and include variable names for better description | Accepted | kh
26 | Reliant | M. Wagner | p. 6 § FR2 | Recommend that all of these values be specified as variables so that if they are ever changed, modifying the system will be easier. | Response | kh | FR10 accommodates this request.
27 | Reliant | M. Wagner | p. 6 § FR2 | The Resource Categories should be identified and consistent between the Registration, DAM, RUC, (Market Operations) systems and EMS where required so that the data flow between these systems is seamless. Resource naming conventions also need to be matched with the Network Operations Model, the CRR Model and the Registration, DAM, RUC, and EMS systems… | Response | kh | ERCOT will take into consideration while drafting requirements for other ERCOT systems and interfaces.
28 | Reliant | M. Wagner | p. 7 | Portion of SUO definition is highlighted "Resource r at Resource Node p represented by QSE q" with no comment from Market Participant. | No Response | kh
29 | Reliant | M. Wagner | p. 7 | We did not cross check protocol citations. | Response | kh | Definitions are a straight lift from the Nodal Protocol sections listed in Section 1.1 of the RUC Requirement document, Proposed System Scope.
30 | Reliant | M. Wagner | p. 8 | Concerning the definition of RCGSC "Does this attribute need a subscript?" | Response | kh | Definitions are a straight lift from the Nodal Protocol sections listed in Section 1.1 of the RUC Requirement document, Proposed System Scope. If TPTF feels that a protocol revision is necessary the requirements will be changed.
31 | Reliant | M. Wagner | p. 9 § A3 | Assumption #3 is highlighted with no comment from Market Particpant. | No Response | kh
32 | Reliant | M. Wagner | p. 9 § A4 | Concerning settlement of Combined Cycle Resources: This is a good point. I think we envisioned multiple Combined Cycle configurations being represented in Registration and thus available to the EMS. The various configurations and SUOs would need to be linked. This comment applies where relevant to similar comments about CC units throughout this document. Global Comment across all nodal design docs: Consideration needs to be given to how modifications the Registration system will be developed so that naming conventions for Resources and QSEs are common throughout ERCOT Operations (EMS), Commercial Operations, Market Operations and NMMS systems (and between all market interfaces to these systems) to the extent possible. | Response | kh | ERCOT will take into consideration while drafting requirements for other ERCOT systems and interfaces.
33 | Reliant | M. Wagner | p. 9 § A4 | Add "Startup Offer" to sentence | Rejected | kh | ERCOT agrees that revision of this sentence is needed, but the words "approved verifiable startup cost" have been added instead of "startup offer".
34 | Reliant | M. Wagner | p. 10 § FR5 | Protocols 5.3(b) requires posting of all Resources committed and decommitted through RUC. (This may be an EMS-MIS interface requirement.) Also, to the entent that any costs are incurred for RMR resources, the information will need to be available on the MIS under 3.14.1(i) which states: “ERCOT shall post on the MIS Secure Area all information relative to the use of RMR Units including energy deployed monthly.” | Response | kh | ERCOT will take into consideration while drafting MIS requirements.
35 | Reliant | M. Wagner | p. 10 § FR5 | Protocols 3.14.1(f) sets forth requirements for ‘backing out’ various elements of payment to RMR units which warrants review in the context of this document. This comment applies, where relevant, to similarly situated data throughout this document. | Response | kh | The RMR agreement will clearly designate the configuration of a CC generation facility.
36 | Reliant | M. Wagner | p. 11 § FR10 | Include text "date and a" | Rejected | kh | Start time and stop time have specific and articulate meaning for Settlements and their IT Counterparts and includes the date of the start and stop; as such, ERCOT believes requirement is phrased most appropriately.
37 | Reliant | M. Wagner | p. 11 § 2.2 | Consider re-wording sentence and include variable names for better description | Accepted | kh
38 | Reliant | M. Wagner | p. 12 § FR12 | All of the RCGMECs should be specified as variables in the settlement system so that they can be easily modified if a PRR to change them is approved. | Response | kh | FR20 accommodates this request.
39 | Reliant | M. Wagner | p. 13 | Delete extra period in definition for Minimum-Energy Offer (MEO) | Accepted | kh
40 | Reliant | M. Wagner | p. 15 § FR20 | Include text "date and a" | Rejected | kh | Start time and stop time have specific and articulate meaning for Settlements and their IT Counterparts and includes the date of the start and stop; as such, ERCOT believes requirement is phrased most appropriately.
41 | Reliant | M. Wagner | p. 15 § 2.3 | Revise paragraph | Rejected | kh | See comment #68.
42 | Reliant | M. Wagner | p. 16 § FR21 | Revise paragraph | Accepted | kh | With the addition of the word "Therefore" instead of "However" in the last sentence.
43 | Reliant | M. Wagner | p. 17 | The concept is in PR 5.6.1.1 (Sept 2005 version). | Response | kh | The protocols do discuss three types of starts (hot, intermediate, cold) but it does not describe a bill determinant for start type.
44 | Reliant | M. Wagner | p. 22 § 2.5 | Delete "less the cost" | Rejected | kh | Deleting the words"less the cost" incorrectly states the function of the RUCEXRR calculation. ERCOT agrees to re-word sentence for more clarity.
45 | Reliant | M. Wagner | p. 22 § FR40 | Include protocols reference | Accepted | kh
46 | Reliant | M. Wagner | p. 26 § FR52 | Include protocols reference | Accepted | kh
47 | Reliant | M. Wagner | p. 36 § 2.8 | The Clawback percentages should be specified as variables during development. | Rejected | kh | FR91, FR92 and FR93 accommodate this request. Renumbered FR100, FR101 and FR102.
48 | Reliant | M. Wagner | p. 36 § 2.8 | in 2.3 we discuss the potential of more than one RUC startup in a day. Is the makewhole guarantee process independent for each RUC process? Or would multiple guarantees for the RUCs for a Resource for a single operating day all be netted together against any potential revenues arising from RUC commits? A close reading 5.7.2 of the protocols (as in 003NPRR-01) indicates that it is all netted together—particularly in the table—which uses phrases like ‘all RUC committed hours.’ This should be made clear in this document. | Response | kh | The RUC Guarantee is the result of all RUC processes for an Operating Day. ERCOT has made an special effort to denote, for each calculation, if the calculation is for all RUC committed hours or for a particular RUC process.
49 | Reliant | M. Wagner | p. 37 § FR86 | Add (RUCCBFR for RUC Committed hours and RUCCBFC for Clawback hours) | Accepted | kh
50 | Reliant | M. Wagner | p. 37 § FR86 | Language in 5.7.2(2) states: “The amount of the RUC Clawback Charge is a percentage of the difference calculated in subsection (1), above. Whether or not the QSE submits a Three-Part Supply Offer for a Resource determines the clawback percentage. If the QSE submitted a validated Three-Part Supply Offer for the Resource into the RUC, then the clawback percentage in RUC-Committed Hours is 50% and the clawback percentage in QSE Clawback Intervals is 0%. If not, then the clawback percentage in RUC-Committed Hours is 100% and the clawback percentage in QSE Clawback Intervals is 50%.” The EECP language in Section 5.7.2(3) reads: “When ERCOT issues a RUC instruction to commit a Resource during the implementation of an EECP, then during the implementation of the EECP in all RUC-Committed Hours, the clawback percentage is 0% if the QSE submitted a validated Three-Part Supply Offer for the Resource into the RUC and 50% otherwise. Thus, the original language below referring to EECP during any hour of the operating day is ‘too global’ and needs to be restricted by the addition of the words “RUC-Committed” | Accepted | kh
51 | Reliant | M. Wagner | p. 37 § FR86 | Add "for the Resource for which the calculation is being done" | Rejected | kh | Specific reference to the resource is clearly stated.
52 | Reliant | M. Wagner | p. 37 § FR86 | Revise nesting order of RUC Clawback factors | Accepted | kh
53 | Reliant | M. Wagner | p. 39 | Include references to offers submitted in the DAM to the definition of RUC Clawback factor for RUC-Committed Hours (RUCCBFR) | Response | kh | Definitions are a straight lift from the Nodal Protocol sections listed in Section 1.1 of the RUC Requirement document, Proposed System Scope. If TPTF feels that a protocol revision is necessary the requirements will be changed.
54 | Reliant | M. Wagner | p. 39 | Include references to offers submitted in the DAM to the definition of RUC Clawback factor for RUC-Committed Hours (RUCCBFR) | Response | kh | Definitions are a straight lift from the Nodal Protocol sections listed in Section 1.1 of the RUC Requirement document, Proposed System Scope. If TPTF feels that a protocol revision is necessary the requirements will be changed.
55 | Reliant | M. Wagner | p. 39 | Concerning the RUC Clawback factor for QSE Clawback Intervals: "This factor is not affected by the presence (or absence) of an EECP condition." | Accepted | kh | Incorporated in FR86. Renumbered FR95.
56 | Reliant | M. Wagner | p. 41 § A2 | Revise paragraph to include condition of EECP in effect for RUC hours only | Accepted | kh
57 | Reliant | M. Wagner | p. 43 § 2.9 | Delete the word "-self" | Response | kh | The sentence in question is a straight lift from the Nodal Protocol sections listed in Section 1.1 of the RUC Requirement document, Proposed System Scope. If TPTF feels that a protocol revision is necessary the requirements will be changed.
58 | Reliant | M. Wagner | p. 48 | There are specific requirements for handling QSEs with Wind Generation Resources set forth in Protocols 5.7.4 which affect the determination of the capacity-short condition. This is mentioned below in A1, but it may be worth mentioning up here as well. | Accepted | kh | Incorporated as FR129. Renumbred FR140.
59 | Reliant | M. Wagner | p. 50 § FR123 | The multiplier 2 should be coded as a variable to accommodate potential changes in this multiplier after market open. | Accepted | kh | The multiplier of 2 is intended to be coded as suggested. Incorporated as FR131. Renumbered FR142.
60 | Reliant | M. Wagner | p. 74 § FR183 | This calculation matches the protocols—but we may need to distinguish between units that are self scheduled and units that are committed through DAM. We are re-evaluating this section of the protocols. | Response | kh | A protocol revision will initiate a change to the requirements.
61 | TXU | B. Spangler | p. 5 § 1.3 A6 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
62 | TXU | B. Spangler | p. 6 § 2.1 | Need to modify the following logic to include the provision that SUPR = Min(RCGSC,SUO) or Min(VERISU, SUO), whichever applies. | Rejected | kh | ERCOT believes that the Protocol 4.4.9.2.1(4) clearly indicates that a QSE cannot submit a Startup Offer that is greater than the generic cap, unless verifiable is on file and then no greater than the verifiable cap. Additionally, this action must take place while ERCOT is validating offers, therefore Market Operations will be verifying that a QSE does not submit a Startup Offer that does not meet this criteria and requirements for this will be captured there.
63 | TXU | B. Spangler | p. 7 § FR2 | We do not believe this to be the intent of the NA provision. Startup offers for RMR may not exceed the RMR contract allowance for Startup. In that sense there is no need for a genric offer since the contract will always exist for a RMR resource. | Accepted | kh
64 | TXU | B. Spangler | p. 7 | ERCOT must approve a verifiable for each of the hot, intermediate and cold startup costs. ERCOT systems must now which of these costs are being offered as part of the 3-part in order to set the cap for the reqruirement that the SU offer not exceed the verifiable cost. | Rejected | kh | The selection process will have access to approved verifiable startup costs for each resource for each startup type (hot, intermidiate, cold) and will utilized in order to cap the offer.
65 | TXU | B. Spangler | p. 9 § A3 p. 14 § A2 | Concerning Startup and Minimum-Energy Offers: "We support a protocol change to make the forgoing clear." | No Response | kh
66 | TXU | B. Spangler | p. 10 § 2.2 | Need to modify the following logic to include the provision that MEPR = Min(RCGMEC,MEO) or Min(VERIME, MEO), whichever applies. | Rejected | kh | ERCOT believes that the Protocol 4.4.9.2.1(5) clearly indicates that a QSE cannot submit a Minimum-Energy Offer that is greater than the generic cap, unless verifiable is on file and then no greater than the verifiable cap. Additionally, this action must take place while ERCOT is validating offers, therefore Market Operations will be verifying that a QSE does not submit a Startup Offer that does not meet this criteria and requirements for this will be captured there.
67 | TXU | B. Spangler | p. 12 | For verifiable the heat rate for different fuels may be different and this should be recognized in the ERCOT verifiable calculation. This means that when verifiable costs are established ERCOT the heat rate will need to be established for each fuel type. | Response | kh | ERCOT will take into consideration while drafting the process for submitting and calculating Verifiable Costs.
68 | TXU | B. Spangler | p. 15 § 2.3 | The RUC Guarantee insures that a resource will recover its verifiable (or generic) startup and minimum energy costs that result from its operation in a committed settlement interval. Eligibility for startup cost recovery is contingent on the resource’s sequenced output breaker closure to open such that each pair of these events constitutes a startup. To the extent that the resources is characterized in its resource parameters to have cold, intermediate and hot start verifiable costs, each start-up can have one of these unique verifiable costs. Minimum energy is guaranteed in committed settlement interval during which the committed resource operates for any portion of the interval. | Accepted | kh
69 | TXU | B. Spangler | p. 16 § FR21 | Define the summation index I in the above equation. | Accepted | kh
70 | TXU | B. Spangler | p. 20 § FR32 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
71 | TXU | B. Spangler | p. 22 § FR40 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
72 | TXU | B. Spangler | p. 26 § FR52 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
73 | TXU | B. Spangler | p. 31 § FR66 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
74 | TXU | B. Spangler | p. 31 § FR67 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
75 | TXU | B. Spangler | p. 32 § FR68 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
76 | TXU | B. Spangler | p. 37 § FR86 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
77 | TXU | B. Spangler | p. 37 § FR87 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
78 | TXU | B. Spangler | p. 41 § A2 | Consider revising Section 5.7.2 (3) to explicitly reflect this assumption. | No Response | kh
79 | TXU | B. Spangler | p. 43 § 2.9 | Eligibility applies here. The decommitment payment is appropriate in those QSE committed hours, as shown in the COP, that are not contiguous with a block of DAM or RUC committed hours, provided the QSE actually started the unit, and is shown on-line in the settlement interval in which the decommitment is issued, in accordance with its COP commitment. Eligibility applies for both the Startup and Min Energy parts of the payment (i.e. the unit is not eligible and receives no payment or it is eligible and receives both SU and Min Energy payment) . The idea is to recognize that the decommitment is creating the need for another Startup in order to accomplish the unit owners intended operation as specified in the COP. | No Response | kh | No response required per discussion with B. Spangler
80 | TXU | B. Spangler | p. 43 § FR106 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
81 | TXU | B. Spangler | p. 44 | For those units with a hot, intermediate or cold SU amount, how will settlement select between the appropriate SU charge. This decision is likely to depend on the unit’s intended operation as reflected in its 7 day COP. | Response | kh | The requirements for startup eligibility will address this issue. Settlement will determine the appropriate startup price by first determining the length of the decommitment and second determine the startup price based on the resource's hot, intermediate and cold parameters up to that resources cold start parameter.
82 | TXU | B. Spangler | p. 48 § FR119 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
83 | TXU | B. Spangler | p. 48 § FR120 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
84 | TXU | B. Spangler | p. 49 § FR123 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
85 | TXU | B. Spangler | p. 67 § FR168 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
86 | TXU | B. Spangler | p. 70 § FR176 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.
87 | TXU | B. Spangler | p. 72 § FR183 | Format | Response | kh | ERCOT believes this change to language formatting was unintentional and does not change the content of the requirements.