Commercial Systems

Ancillary Services Real-Time Settlements Requirements

v0.09

Revision History

| Date | Version | Description | Author |
| --- | --- | --- | --- |
| 05/26/06 | 0.01 | Initial Draft | John Adams |
| 06/5/06 | 0.02 | Peer Review Process. This draft is based off of the 9-23-06 protocols. | John Adams |
| 8/8/06 | 0.09 | TPTF Review Process | John Adams |

Table of Contents

1.	Real-Time Supplemental Ancillary Service Market Settlement	4

2.	Functional Requirements	9

2.1	Regulation Up Service Payment (PCRUAMT)	9

2.2	Regulation Down Service Payment (PCRDAMT)	13

2.3	Responsive Reserve Service Payment (PCRRAMT)	16

2.4	Non-Spin Service Payment (PCNSAMT)	19

2.5	Charges for Ancillary Service Capacity Replaced Due to a Failure to Provide (RUFQAMT)	22

2.6	Charges for Ancillary Service Capacity Replaced Due to a Failure to Provide (RDFQAMT)	25

2.7	Charges for Ancillary Service Capacity Replaced Due to a Failure to Provide (RRFQAMT)	27

2.8	Charges for Ancillary Service Capacity Replaced Due to a Failure to Provide (NSFQAMT)	30

2.9	Adjustments to Cost Allocations for Ancillary Services Procurement Part I (RUCOSTTOT)	32

2.10	Adjustments to Cost Allocations for Ancillary Services Procurement Part II (RUCOST)	34

2.11	Adjustments to Cost Allocations for Ancillary Services Procurement Part III (RTRUAMT)	39

2.12	Adjustments to Cost Allocations for Ancillary Services Procurement Part I (RDCOSTTOT)	40

2.13	Adjustments to Cost Allocations for Ancillary Services Procurement Part II (RDCOST)	42

2.14	Adjustments to Cost Allocations for Ancillary Services Procurement Part III (RTRDAMT)	47

2.15	Adjustments to Cost Allocations for Ancillary Services Procurement Part I (RRCOSTTOT)	49

2.16	Adjustments to Cost Allocations for Ancillary Services Procurement Part II (RRCOST)	50

2.17	Adjustments to Cost Allocations for Ancillary Services Procurement Part III (RTRRAMT)	56

2.18	Adjustments to Cost Allocations for Ancillary Services Procurement Part I (NSCOSTTOT)	57

2.19	Adjustments to Cost Allocations for Ancillary Services Procurement Part II (NSCOST)	59

2.20	Adjustments to Cost Allocations for Ancillary Services Procurement Part III (RTNSAMT)	64

3.	Supplementary Requirements	66

4.	Protocol Coverage	66

Software Requirements Specification

# Real-Time Supplemental Ancillary Service Market Settlement

## Proposed System Scope

This document delineates the overall operational requirements necessary for the Ancillary Services to be settled in the Real-Time Market, in accordance with the ERCOT Nodal Protocols.  The requirements in scope for this document include calculation of energy-related RTM Settlement Charge Types that are:

- detailed in Nodal Protocols Section 6 (May 5, 2006 version included in the May 2006 filing), and

- listed as a component of the RTM Settlement Statement in NPRR 007 Section 9 (as approved by the Board on 07/1806.)

The requirements include calculation of the following RTM Settlement Charge Types that are settled via the RTM Statement and RTM Resettlement Statement:

- Payments for AS Capacity Sold in a Supplemental AS Market – Regulation Up

( NP §6.7.1(1) and  NPRR007 §9.5.3(bb) )

- Payments for AS Capacity Sold in a Supplemental AS Market – Regulation Down

( NP §6.7.1(2) and  NPRR007 §9.5.3 (cc) )

- Payments for AS Capacity Sold in a Supplemental AS Market – Responsive Reserve

( NP §6.7.1(3) and  NPRR007 §9.5.3 (dd) )

- Payments for AS Capacity Sold in a Supplemental AS Market – Non Spin

( NP §6.7.1(4) and  NPRR007 §9.5.3 (ee) )

- Charges for AS Capacity Replaced due to Failure to Provide in a Supplemental AS Market – Regulation Up

( NP §6.7.2(1) and  NPRR007 §9.5.3 (ff) )

- Charges for AS Capacity Replaced due to Failure to Provide in a Supplemental AS Market – Regulation Down

( NP §6.7.2(2) and  NPRR007 §9.5.3 (gg) )

- Charges for AS Capacity Replaced due to Failure to Provide in a Supplemental AS Market – Responsive Reserve

( NP §6.7.2(3) and  NPRR007 §9.5.3 (hh) )

- Charges for AS Capacity Replaced due to Failure to Provide in a Supplemental AS Market – Non Spin

( NP §6.7.2(4) and  NPRR007 §9.5.3 (ii) )

- Adjustments to Cost Allocation for AS Procurement – Regulation Up

( NP §6.7.3(1) and  NPRR007 §9.5.3 (jj) )

- Adjustments to Cost Allocation for AS Procurement – Regulation Down

( NP §6.7.3(2) and  NPRR007 §9.5.3 (kk) )

- Adjustments to Cost Allocation for AS Procurement – Responsive Reserve

( NP §6.7.3(3) and  NPRR007 §9.5.3 (ll) )

- Adjustments to Cost Allocation for AS Procurement – Non Spin

( NP §6.7.3(4) and  NPRR007 §9.5.3 (mm) )

To Be Sub-Process for Settlements and Billing

The following charts illustrate the dependencies between the various SASM Settlement calculations.  Disclaimer:  the diagrams are meant to provide contextual information only, to the extent that the information in the Functional Requirements conflict with the diagram, the functional requirements shall override the diagram.

## Document Conventions

- All text lifted from the Nodal Protocols is in italic font.

- All dependencies are identified using D1, D2, etc.

- All assumptions are identified using A1, A2, etc.

- The “Original Source” column of the Input, Intermediate, and Output Bill Determinates tables (refer to Section 2, Functional Requirements) delineate the initial source of market and/or operational information required to construct each variable.  The data transformation process exists within the interface between the Settlement System and Market / Operational Systems.  A separate and distinct set of Business Requirements will address all data interfacing between the original source system and the Settlement System.

## Document Assumptions

- All Real-Time Market Clearing Prices for Ancillary Service Capacity (MCPCxx) will be calculated outside of the Settlement System and therefore are not detailed within this document.

# Per the Nodal Protocols Section 6.4.8.2 ERCOT will communicate Real Time Supplemental Ancillary Service Capacity Awards and post public data (market clearing prices and ERCOT-wide quantities) to the MIS Public area no later than 45 minutes after ERCOT declares a need for SASM in the Real-Time Market.

- The Settlement System should not store zero value data cuts for a charge type, unless the zero data cut is a result of a calculation.

- Any charge type that requires historical data will obtain this information via alternative means during the beginning of market open until the data is available.

- The charge type calculations are documented using the proposed recorder format for the bill determinants.  The following list defines the nomenclature used for the recorders (not all of these bill determinant recorder elements may apply to the charge types within this document):

<Q> = QSE

<CO> = CRR Owner

<R> = Resource

<SP> = Settlement Point

<SRSP> = Source Settlement Point

<SKSP> = Sink Settlement Point

<ST> = Start Type

<F> = Flowgate

<E> = Directional Network Element

<C> = Constraint Identifier

<M> = Market

<RUC> = RUC Process

## 1.4  Global Input Calculation Requirements

None Applicable

# Functional Requirements

## Regulation Up Service Payment (PCRUAMT)

If a SASM is executed for one or more Operating Hours for any reason, ERCOT shall pay QSEs for their Ancillary Service Offers cleared in the SASM, based on the MCPC for that SASM and that service.  By service and by SASM, the payment to each QSE for a given Operating Hour is calculated as follows:

(PR 6.7.1(1))

These particular bill determinants, PCRUAMT and PCRU, will need to be calculated and recorded on a per Supplemental Ancillary Service Market basis.  This is necessary to maintain Market Integrity and allow for multiple market situations.  As a result, it will be necessary to propagate the market identifier from the original input bill determinant to the output bill determinant.

Payment is calculated by QSE for each hour of the Operating Day within the Real-Time Market.

| Requirement ID | FR1 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3 (1) (a) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description PCRUAMTTOT_<M> = ΣQPCRUAMT_<Q>_<M> |  |

| Requirement ID | FR2 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.1(1) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description PCRUAMT_<Q>_<M> = (-1) * (MCPCRU_<M> * PCRU_<Q>_<M>) |  |

| Requirement ID | FR3 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.1(1) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description PCRU_<Q>_<M> = ΣRPCRUR_<Q>_<R>_<M> |  |

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| PCRUR | MW | Procured Capacity for Reg-Up from Resource per Resource per QSE by market—The Reg-Up capacity quantity awarded to QSE Q in the market M for Resource R for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | MMS |
| Interval Frequency: 1 / hour Additional Comments: PCRUR data cuts will be created for Load Resources, as well as Generation Resources, whose Regulation Up offers were cleared in the SASM. |  |  |  |
| MCPCRU | $/MW per hour | Market Clearing Price for Capacity for Reg-Up by market —The MCPC for Reg-Up from the market M, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Intermediate Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| PCRU | MW | Procured Capacity for Reg-Up by QSE by market—The portion of QSE Q’s Ancillary Service Offers cleared in the market m to provide Reg-Up, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: This value is the result of an intermediate calculation and is an input into the PCRUAMT calculation. |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| PCRUAMT | $ | Procured Capacity for Reg-Up Amount by QSE by market—The payment to QSE Q for the Ancillary Service Offers cleared in the market M to provide Reg-Up, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| PCRUBILLAMT | $ | Procured Capacity for Reg-Up Bill Amount per QSE in RTM— The difference between two consecutive daily summed channels of PCRUAMT for QSE Q in the Supplemental Ancillary Service Market. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | Settlement System |
| Interval Frequency: 1 / Day Additional Comments: This bill determinant is not specifically documented in the Nodal Protocols but is required as a result of Section 9 Statements and Invoices Protocol requirements. |  |  |  |
| PCRUAMTTOT | $ | Procured Capacity for Reg-Up Amount Total by market—The total payments to all QSEs for the Ancillary Service Offers cleared in the market M for Reg-Up, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Data Dependencies

D1)  The PCRUAMT depends upon the availability of the MCPCRU and PCRUR.

### Assumptions

A1) 	If a SASM is cleared, the Settlement System will receive verified and validated MCPCRU data, for that particular SASM, from the original source system with no null values for an Operating Day.  In the event that a null value is received from the original source system, the Interface Business Requirements should document this event as a critical error and define the appropriate actions necessary to remedy this issue.

A2)	The Interface should appropriately interpolate data from the original source system in a fashion to only create a PCRUR data cut for a resource that was actually awarded Regulation Up Capacity in the RTM.  Essentially, PCRUR data cuts should not be created with all zero values.

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR4 | PR 6.7.1(1) | Will be completed August 31 | The input bill determinants should not be rounded or truncated. This includes the following bill determinants: PCRUR, and MCPCRU. |
| FR5 | PR 6.7.1(1) | Will be completed August 31 | The following intermediate bill determinant should not be rounded or truncated: PCRU. |
| FR6 | PR 9.7.1 (2) | Will be completed August 31 | The following output bill determinants should be rounded to two (2) decimal places: PCRUAMT, PCRUBILLAMT, PCRUAMTTOT, PCRUBILLAMTTOT. |
| FR7 | PR 12.3 (C) | Will be completed August 31 | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the public data extracts. MCPCRU PCRUAMTTOT All of the other input, intermediate, and output bill determinants defined below should be identified within the Settlement System as a bill determinant that should be included in the private data extracts. PCRUR PCRU PCRUAMT |
| FR8 | PR 6.7.1(1) | Will be completed August 31 | All of the input, intermediate, and output bill determinants defined above should be identified with a unique market identifier with a numerical indicator. |
| FR9 | PR 9.2.5 | Will be completed August 31 | The PCRUBILLAMT value shall be calculated as the entire day’s sum of the PCRUAMT values for the greater channel less the entire day’s sum of the PCRUAMT values for the lesser channel. |
| FR10 | PR 6.7.1(1) | Will be completed August 31 | DRIVER: The PCRUAMT calculation should only be attempted for QSEs for which there is a resource with a PCRUR data cut for any SASM (Specifically to exclude the DAM) in the settlement system. |

### Business Defined Errors

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR11 | PR 6.7.1(1) | Will be completed August 31, 2006 | MCPCRU is a critical bill determinant. The Settlement System should include this bill determinant in its check for critical data, prior to beginning the settlements process. If MCPCRU does not exist for a given Operating Day, the system should cease any calculation processes associated with the Real-Time Regulation Up Settlements; additionally an error message should be logged. The error message should capture the Operating Day, Hour, and Settlement Point. |

### Specific Database Needs

None

## Regulation Down Service Payment (PCRDAMT)

If a SASM is executed for one or more Operating Hours for any reason, ERCOT shall pay QSEs for their Ancillary Service Offers cleared in the SASM, based on the MCPC for that SASM and that service.  By service and by SASM, the payment to each QSE for a given Operating Hour is calculated as follows:

(PR 6.7.1(1))

These particular bill determinants, PCRDAMT and PCRD, will need to be calculated and recorded on a per Supplemental Ancillary Service Market basis.  This is necessary to maintain Market Integrity and allow for multiple market situations.  As a result, it will be necessary to propagate the market identifier from the original input bill determinant to the output bill determinant.

Payment is calculated by QSE for each hour of the Operating Day within the Real-Time Market.

| Requirement ID | FR12 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3 (2) (a) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description PCRDAMTTOT_<M> = ΣQPCRDAMT_<Q>_<M> |  |

| Requirement Id | FR 13 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.1(2) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description PCRDAMT_<Q>_<M> = (-1) * (MCPCRD_<M> * PCRD_<Q>_<M>) |  |

| Requirement Id | FR 14 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.1(2) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description PCRD_<Q>_<M> = ΣRPCRDR_<Q>_<R>_<M> |  |

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| PCRDR | MW | Procured Capacity for Reg-Up from Resource per Resource per QSE by market—The Reg-Down capacity quantity awarded to QSE Q in the market m for Resource R for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | MMS |
| Interval Frequency: 1 / hour Additional Comments: PCRDR data cuts will be created for Load Resources, as well as Generation Resources, whose Regulation Down offers were cleared in the SASM. |  |  |  |
| MCPCRD | $/MW per hour | Market Clearing Price for Capacity for Reg-Down by market —The MCPC for Reg-Down from the market M, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Intermediate Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| PCRD | MW | Procured Capacity for Reg-Down by QSE by market—The portion of QSE Q’s Ancillary Service Offers cleared in the market M to provide Reg-Down, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: This value is the result of an intermediate calculation and is an input into the PCRDAMT calculation. |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| PCRDAMT | $ | Procured Capacity for Reg-Down Amount by QSE by market—The payment to QSE Q for the Ancillary Service Offers cleared in the market M to provide Reg-Down, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| PCRDBILLAMT | $ | Procured Capacity for Reg-Down Bill Amount per QSE in RTM— The difference between two consecutive daily summed channels of PCRDAMT for QSE Q in the Supplemental Ancillary Service Market. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | Settlement System |
| Interval Frequency: 1 / Day Additional Comments: This bill determinant is not documented in the Nodal Protocols, but is required. |  |  |  |
| PCRDAMTTOT | $ | Procured Capacity for Reg-Down Amount Total by market—The total payments to all QSEs for the Ancillary Service Offers cleared in the market M for Reg-Down, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

Data Dependencies

D1)  The PCRDAMT depends upon the availability of the MCPCRD and PCRDR.

Assumptions

A1) 	If a SASM is cleared, the Settlement System will receive verified and validated MCPCRD data, for that particular SASM, from the original source system with no null values for an Operating Day.  In the event that a null value is received from the original source system, the Interface Business Requirements should document this event as a critical error and define the appropriate actions necessary to remedy this issue.

A2)	The Interface should appropriately interpolate data from the original source system in a fashion to only create a PCRDR data cut for a resource that was actually awarded Regulation Up Capacity in the RTM.  Essentially, PCRDR data cuts should not be created with all zero values.

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR15 | PR 6.7.1(2) | Will be completed August 31 | The input bill determinants should not be rounded or truncated. This includes the following bill determinants: PCRDR, and MCPCRD. |
| FR16 | PR 6.7.1(2) | Will be completed August 31 | The following intermediate bill determinant should not be rounded or truncated: PCRD. |
| FR17 | PR 9.7.1 (2) | Will be completed August 31 | The following output bill determinants should be rounded to two (2) decimal places: PCRDAMT and PCRDBILLAMT. |
| FR18 | PR 12.3 (C) | Will be completed August 31 | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the public data extracts. MCPCRD PCRDAMTTOT All of the other input, intermediate, and output bill determinants defined below should be identified within the Settlement System as a bill determinant that should be included in the private data extracts. PCRDR PCRD PCRDAMT |
| FR19 | PR 6.7.1(2) | Will be completed August 31 | All of the input, intermediate, and output bill determinants defined above should be identified with a unique market identifier with a numerical indicator. |
| FR20 | PR 9.2.5 | Will be completed August 31 | The PCRDBILLAMT value shall be calculated as the entire day’s sum of the PCRDAMT values for the greater channel less the entire day’s sum of the PCRDAMT values for the lesser channel. |
| FR21 | PR 6.7.1(2) | Will be completed August 31 | DRIVER: The PCRDAMT calculation should only be attempted for QSEs for which there is a resource with a PCRDR data cut for any SASM (Specifically to exclude the DAM) in the settlement system. |

### Business Defined Errors

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR22 | PR 6.7.1(2) | Will be completed August 31, 2006 | MCPCRD is a critical bill determinant. The Settlement System should include this bill determinant in its check for critical data, prior to beginning the settlements process. If MCPCRD does not exist for a given Operating Day, the system should cease any calculation processes associated with the Real-Time Regulation Down Settlements; additionally an error message should be logged. The error message should capture the Operating Day, Hour, and Settlement Point. |

### Specific Database Needs

None

## Responsive Reserve Service Payment (PCRRAMT)

If a SASM is executed for one or more Operating Hours for any reason, ERCOT shall pay QSEs for their Ancillary Service Offers cleared in the SASM, based on the MCPC for that SASM and that service.  By service and by SASM, the payment to each QSE for a given Operating Hour is calculated as follows:

(PR 6.7.1(1))

These particular bill determinants, PCRRAMT and PCRR, will need to be calculated and recorded on a per Supplemental Ancillary Service Market basis.  This is necessary to maintain Market Integrity and allow for multiple market situations.  As a result, it will be necessary to propagate the market identifier from the original input bill determinant to the output bill determinant.

Payment is calculated by QSE for each hour of the Operating Day within the Real-Time Market.

| Requirement ID | FR23 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3 (3) (a) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description PCRRAMTTOT_<M> = ΣQPCRRAMT_<Q>_<M> |  |

| Requirement ID | FR24 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.1(3) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description PCRRAMT_<Q>_<M> = (-1) * (MCPCRR_<M> * PCRR_<Q>_<M>) |  |

| Requirement ID | FR25 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.1(3) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description PCRR_<Q>_<M> = ΣRPCRRR_<Q>_<R>_<M> |  |

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| PCRRR | MW | Procured Capacity for Reg-Up from Resource per Resource per QSE by market—The Responsive Reserve capacity quantity awarded to QSE Q in the market M for Resource R for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | MMS |
| Interval Frequency: 1 / hour Additional Comments: PCRRR data cuts will be created for Load Resources, as well as Generation Resources, whose Responsive Reserve offers were cleared in the SASM. |  |  |  |
| MCPCRR | $/MW per hour | Market Clearing Price for Capacity for Responsive Reserve by market —The MCPC for Responsive Reserve from the market M, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Intermediate Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| PCRR | MW | Procured Capacity for Responsive Reserve by QSE by market—The portion of QSE Q’s Ancillary Service Offers cleared in the market M to provide Responsive Reserve, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: This value is the result of an intermediate calculation and is an input into the PCRRAMT calculation. |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| PCRRAMT | $ | Procured Capacity for Responsive Reserve Amount by QSE by market—The payment to QSE Q for the Ancillary Service Offers cleared in the market M to provide Responsive Reserve, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| PCRRBILLAMT | $ | Procured Capacity for Responsive Reserve Bill Amount per QSE in RTM— The difference between two consecutive daily summed channels of PCRRAMT for QSE Q in the Supplemental Ancillary Service Market. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | Settlement System |
| Interval Frequency: 1 / Day Additional Comments: This value is the result of an intermediate calculation and is an input into the PCRRAMT calculation. |  |  |  |
| PCRRAMTTOT | $ | Procured Capacity for Responsive Reserve Amount Total by market—The total payments to all QSEs for the Ancillary Service Offers cleared in the market M for Responsive Reserve, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Data Dependencies

D1)  The PCRRAMT depends upon the availability of the MCPCRR and PCRRR.

### Assumptions

A1) 	If a SASM is cleared, the Settlement System will receive verified and validated MCPCRR data, for that particular SASM, from the original source system with no null values for an Operating Day.  In the event that a null value is received from the original source system, the Interface Business Requirements should document this event as a critical error and define the appropriate actions necessary to remedy this issue.

A2)	The Interface should appropriately interpolate data from the original source system in a fashion to only create a PCRRR data cut for a resource that was actually awarded Regulation Up Capacity in the RTM.  Essentially, PCRRR data cuts should not be created with all zero values.

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR26 | PR 6.7.1(3) | Will be completed August 31 | The input bill determinants should not be rounded or truncated. This includes the following bill determinants: PCRRR, and MCPCRR. |
| FR27 | PR 6.7.1(3) | Will be completed August 31 | The following intermediate bill determinant should not be rounded or truncated: PCRR. |
| FR28 | PR 9.7.1 (2) | Will be completed August 31 | The following output bill determinants should be rounded to two (2) decimal places: PCRRAMT and PCRRBILLAMT. |
| FR29 | PR 12.3 (C) | Will be completed August 31 | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the public data extracts. MCPCRR PCRRAMTTOT All of the other input, intermediate, and output bill determinants defined below should be identified within the Settlement System as a bill determinant that should be included in the private data extracts. PCRRR PCRR PCRRAMT |
| FR30 | PR 6.7.1(3) | Will be completed August 31 | All of the input, intermediate, and output bill determinants defined above should be identified with a unique market identifier with a numerical indicator. |
| FR31 | PR 9.2.5 | Will be completed August 31 | The PCRRBILLAMT value shall be calculated as the entire day’s sum of the PCRRAMT values for the greater channel less the entire day’s sum of the PCRRUAMT values for the lesser channel. |
| FR32 | PR 6.7.1(3) | Will be completed August 31 | DRIVER: The PCRRAMT calculation should only be attempted for QSEs for which there is a resource with a PCRRR data cut for any SASM (Specifically to exclude the DAM) in the settlement system. |

### Business Defined Errors

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR33 | PR 6.7.1(3) | Will be completed August 31, 2006 | MCPCRR is a critical bill determinant. The Settlement System should include this bill determinant in its check for critical data, prior to beginning the settlements processes associated with the Real-Time Responsive Reserve Settlements. If MCPCRR does not exist for a given Operating Day, or a given operating hour interval, the system should abend. The error message should capture the missing data element, Operating Day, and Operating Hour. |

### Specific Database Needs

None

## Non-Spin Service Payment (PCNSAMT)

If a SASM is executed for one or more Operating Hours for any reason, ERCOT shall pay QSEs for their Ancillary Service Offers cleared in the SASM, based on the MCPC for that SASM and that service.  By service and by SASM, the payment to each QSE for a given Operating Hour is calculated as follows:

(PR 6.7.1(1))

These particular bill determinants, PCNSAMT and PCNS, will need to be calculated and recorded on a per Supplemental Ancillary Service Market basis.  This is necessary to maintain Market Integrity and allow for multiple market situations.  As a result, it will be necessary to propagate the market identifier from the original input bill determinant to the output bill determinant.

Payment is calculated by QSE for each hour of the Operating Day within the Real-Time Market.

| Requirement ID | FR34 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3 (4) (a) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description PCNSAMTTOT_<M> = ΣQPCNSAMT_<Q>_<M> |  |

| Requirement ID | FR35 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.1(4) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description PCNSAMT_<Q>_<M> = (-1) * (MCPCNS_<M> * PCNS_<Q>_<M>) |  |

| Requirement ID | FR36 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.1(4) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description PCNS_<Q>_<M> = ΣRPCNSR_<Q>_<R>_<M> |  |

### Input Bill Determinants

| Variable | Unit | Definition | Source |
| --- | --- | --- | --- |
| PCNSR | MW | Procured Capacity for Non-Spin from Resource per Resource per QSE by market—The Non-Spin capacity quantity awarded to QSE Q in the market M for Resource R for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | MMS |
| Interval Frequency: 1 / hour Additional Comments: PCRNS data cuts will be created for Load Resources, as well as Generation Resources, whose Non-Spin offers were cleared in the SASM. |  |  |  |
| MCPCNS | $/MW per hour | Market Clearing Price for Capacity for Non-Spin by market —The MCPC for Non-Spin from the market M, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Intermediate Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| PCNS | MW | Procured Capacity for Non-Spin by QSE by market—The portion of QSE Q’s Ancillary Service Offers cleared in the market M to provide Non-Spin, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: This value is the result of an intermediate calculation and is an input into the PCNSAMT calculation. |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| PCNSAMT | $ | Procured Capacity for Non-Spin Amount by QSE by market—The payment to QSE Q for the Ancillary Service Offers cleared in the market M to provide Non-Spin, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| PCNSBILLAMT | $ | Procured Capacity for Non-Spin Bill Amount per QSE in RTM— The difference between two consecutive daily summed channels of PCNSAMT for QSE Q in the Supplemental Ancillary Service Market. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | Settlement System |
| Interval Frequency: 1 / Day Additional Comments: This value is the result of an intermediate calculation and is an input into the PCRRAMT calculation. |  |  |  |
| PCNSAMTTOT | $ | Procured Capacity for Non-Spin Amount Total by market—The total payments to all QSEs for the Ancillary Service Offers cleared in the market M for Non-Spin, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Data Dependencies

D1)  The PCNSAMT depends upon the availability of the MCPCNS and PCNSR

### Assumptions

A1) 	If a SASM is cleared, the Settlement System will receive verified and validated MCPCNS data, for that particular SASM, from the original source system with no null values for an Operating Day.  In the event that a null value is received from the original source system, the Interface Business Requirements should document this event as a critical error and define the appropriate actions necessary to remedy this issue.

A2)	The Interface should appropriately interpolate data from the original source system in a fashion to only create a PCNSR data cut for a resource that was actually awarded Regulation Up Capacity in the RTM.  Essentially, PCNSR data cuts should not be created with all zero values.

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR37 | PR 6.7.1(4) | Will be completed August 31, 2006 | The input bill determinants should not be rounded or truncated. This includes the following bill determinants: PCNSR, and MCPCNS. |
| FR38 | PR 6.7.1(4) | Will be completed August 31 | following intermediate bill determinant should not be rounded or truncated: PCNS. |
| FR39 | PR 9.4.1 (2) | Will be completed August 31 | The following output bill determinants should be rounded to two (2) decimal places: PCNSAMT and PCNSBILLAMT. |
| FR40 | PR 12.3 (C) | Will be completed August 31 | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the public data extracts. MCPCNS PCNSAMTOT All of the other input, intermediate, and output bill determinants defined below should be identified within the Settlement System as a bill determinant that should be included in the private data extracts. PCNSR PCNS PCNSAMT |
| FR41 | PR 6.7.1(4) | Will be completed August 31 | All of the input, intermediate, and output bill determinants defined above should be identified with a unique market identifier with a numerical indicator. |
| FR42 | PR 9.2.5 | Will be completed August 31 | The PCNSBILLAMT value shall be calculated as the entire day’s sum of the PCNSAMT values for the greater channel less the entire day’s sum of the PCNSAMT values for the lesser channel. |
| FR43 | PR 6.7.1(4) | Will be completed August 31 | DRIVER: The PCNSAMT calculation should only be attempted for QSEs for which there is a resource with a PCNSR data cut for any SASM (Specifically to exclude the DAM) in the settlement system. |

### Business Defined Errors

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR44 | PR 6.7.1(4) | Will be completed August 31, 2006 | MCPCNS is a critical bill determinant. The Settlement System should include this bill determinant in its check for critical data, prior to beginning the settlements processes associated with the Real-Time Non-Spin Settlements. If MCPCNS does not exist for a given Operating Day, or a given operating hour interval, the system should abend. The error message should capture the missing data element, Operating Day, and Operating Hour. |

### Specific Database Needs

None

## Charges for Ancillary Service Capacity Replaced Due to a Failure to Provide (RUFQAMT)

A charge to each QSE that fails on its Ancillary Service Supply Responsibility, whether or not a SASM is executed due to its failure to supply, is calculated based on the greatest of the MCPC in the DAM or any SASM for the same Operating Hour.  By service, the charge to each QSE for a given Operating Hour is calculated as follows: (PR 6.7.2)

Payment is calculated by QSE for each hour of the Operating Day within the Real-Time Supplemental Ancillary Service Market.

| Requirement ID | FR45 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(1)(a) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RUFQAMTTOT = ΣQRUFQAMT _<Q> |  |

| Requirement ID | FR46 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.2(1) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RUFQAMT _<Q> = MaxM(MCPCRU_<M>) * RUFQ _<Q> |  |

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| RUFQ | MW | Reg-Up Failure Quantity per QSE—QSE Q total capacity associated with failures on its Ancillary Service Supply Responsibility for Reg-Up, for the hour. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| MCPCRU | $/MW per hour | Market Clearing Price for Capacity for Reg-Up by market —The MCPC for Reg-Up from the market M (which includes the DAM and SASM markets), for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RUFQAMT | $ | Reg-Up Failure Quantity Amount per QSE—The charge to QSE Q for its total capacity associated with failures on its Ancillary Service Supply Responsibility for Reg-Up, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RUFQBILLAMT | $ | Reg-Up Failure Quantity Bill Amount per QSE— The difference between two consecutive daily summed channels of RUFQAMT for QSE Q in the Supplemental Ancillary Service Market. | Settlement System |
| Interval Frequency: 1 / Day Additional Comments: This bill determinant is not specifically documented in the Nodal Protocols but is required as a result of Section 9 Statements and Invoices Protocol requirements. |  |  |  |
| RUFQAMTTOT | $ | Reg-Up Failure Quantity Amount Total—The total charges to all QSEs for their capacity associated with failures on their Ancillary Service Supply Responsibilities for Reg-Up, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Data Dependencies

D1)  The RUFQAMT depends upon the availability of the MCPCRU and RUFQ.

### Assumptions

A1) 	If a SASM is cleared, the Settlement System will receive verified and validated MCPCRU data, for that particular SASM, from the original source system with no null values for an Operating Day.  In the event that a null value is received from the original source system, the Interface Business Requirements should document this event as a critical error and define the appropriate actions necessary to remedy this issue.

A2)	The original source system should only make available RUFQ data for QSEs that actually failed to provide Regulation Up Capacity, as defined in §6.4.8.1.3 in the Nodal Protocols.  If ERCOT Operations determines that a QSE has failed to provide the respective Ancillary Service, then the Interface should appropriately interpolate data from the original source system in a fashion to create a RUFQ interval data cut for an entire day, substituting zeros for the intervals that have null values.  As such, the Settlement System will settle based upon any RUFQ data created by the original source system.

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR47 | PR 6.7.1(1) | Will be completed August 31 | The maximum MCPCRU for all Markets including the Day-Ahead Market and the multiple Supplemental Ancillary Service Markets is to be used for calculating the RUFQAMT. |
| FR48 | PR 6.7.1(1) | Will be completed August 31 | The input bill determinants should not be rounded or truncated. This includes the following bill determinants: RUFQ and MCPCRU. |
| FR49 | PR 9.7.1 (2) | Will be completed August 31 | The following output bill determinants should be rounded to two (2) decimal places: RUFQAMT and RUFQBILLAMT. |
| FR50 | PR 12.3 (C) | Will be completed August 31 | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the public data extracts. MCPCRU RUFQAMTTOT All of the other input, intermediate, and output bill determinants defined below should be identified within the Settlement System as a bill determinant that should be included in the private data extracts. RUFQ RUFQAMT |
| FR51 | PR 9.2.5 | Will be completed August 31 | The RUFQBILLAMT value shall be calculated as the entire day’s sum of the RUFQAMT values for the greater channel less the entire day’s sum of the RUFQAMT values for the lesser channel. |
| FR52 | PR 6.7.1(1) | Will be completed August 31, 2006 | DRIVER: The RUFQAMT calculation should only be attempted for QSEs for which there is a resource with a RUFQ data cut in the settlement system. |

### Business Defined Errors

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR53 | PR 6.7.1(1) | Will be completed August 31, 2006 | MCPCRU is a critical bill determinant. The Settlement System should include this bill determinant in its check for critical data, prior to beginning the settlements processes associated with the Real-Time Regulation Up Settlements. If MCPCRU does not exist for a given Operating Day, the system should cease any calculation process; additionally an error message should be logged. The error message should capture the Operating Day, Hour, and Settlement Point. |

### Specific Database Needs

None

## Charges for Ancillary Service Capacity Replaced Due to a Failure to Provide (RDFQAMT)

A charge to each QSE that fails on its Ancillary Service Supply Responsibility, whether or not a SASM is executed due to its failure to supply, is calculated based on the greatest of the MCPC in the DAM or any SASM for the same Operating Hour.  By service, the charge to each QSE for a given Operating Hour is calculated as follows: (PR 6.7.2)

Payment is calculated by QSE for each hour of the Operating Day within the Real-Time Supplemental Ancillary Service Market.

| Requirement ID | FR54 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(2)(a) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RDFQAMTTOT = ΣQRDFQAMT _<Q> |  |

| Requirement ID | FR55 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.2(2) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RDFQAMT _<Q> = MaxM (MCPCRD_<M>) * RDFQ _<Q> |  |

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| RDFQ | MW | Reg-Down Failure Quantity per QSE—QSE Q total capacity associated with failures on its Ancillary Service Supply Responsibility for Reg-Down, for the hour. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| MCPCRD | $/MW per hour | Market Clearing Price for Capacity for Reg-Down by market —The MCPC for Reg-Down from the market M (which includes the DAM and SASM markets), for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RDFQAMT | $ | Reg-Down Failure Quantity Amount per QSE—The charge to QSE Q for its total capacity associated with failures on its Ancillary Service Supply Responsibility for Reg-Down, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RDFQBILLAMT | $ | Reg-Down Failure Quantity Bill Amount per QSE— The difference between two consecutive daily summed channels of RDFQAMT for QSE Q in the Supplemental Ancillary Service Market. | Settlement System |
| Interval Frequency: 1 / Day Additional Comments: This bill determinant is not specifically documented in the Nodal Protocols but is required as a result of Section 9 Statements and Invoices Protocol requirements. |  |  |  |
| RDFQAMTTOT | $ | Reg-Down Failure Quantity Amount Total—The total charges to all QSEs for their capacity associated with failures on their Ancillary Service Supply Responsibilities for Reg-Down, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Data Dependencies

D1)  The RDFQAMT depends upon the availability of the MCPCRD and RDFQ.

### Assumptions

A1) 	If a SASM is cleared, the Settlement System will receive verified and validated MCPCRD data, for that particular SASM, from the original source system with no null values for an Operating Day.  In the event that a null value is received from the original source system, the Interface Business Requirements should document this event as a critical error and define the appropriate actions necessary to remedy this issue.

A2)	The original source system should only make available RDFQ data for QSEs that actually failed to provide Regulation Down Capacity, as defined in §6.4.8.1.3 in the Nodal Protocols.  If ERCOT Operations determines that a QSE has failed to provide the respective Ancillary Service, then the Interface should appropriately interpolate data from the original source system in a fashion to create a RDFQ interval data cut for an entire day, substituting zeros for the intervals that have null values.  As such, the Settlement System will settle based upon any RDFQ data created by the original source system.

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR56 | PR 6.7.1(2) | Will be completed August 31 | The maximum MCPCRD for all Markets including the Day-Ahead Market and the multiple Supplemental Ancillary Service Markets is to be used for calculating the RDFQAMT. |
| FR57 | PR 6.7.1(2) | Will be completed August 31 | The input bill determinants should not be rounded or truncated. This includes the following bill determinants: RDFQ and MCPCRD. |
| FR58 | PR 9.7.1 (2) | Will be completed August 31 | The following output bill determinants should be rounded to two (2) decimal places: RDFQAMT and RDFQBILLAMT. |
| FR59 | PR 12.3 (C) | Will be completed August 31 | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the public data extracts. MCPCRD RDFQAMTTOT All of the other input, intermediate, and output bill determinants defined below should be identified within the Settlement System as a bill determinant that should be included in the private data extracts. RDFQ RDFQAMT |
| FR60 | PR 9.2.5 | Will be completed August 31 | The RDFQBILLAMT value shall be calculated as the entire day’s sum of the RDFQAMT values for the greater channel less the entire day’s sum of the RDFQAMT values for the lesser channel. |
| FR61 | PR 6.7.1(2) | Will be completed August 31 | DRIVER: The RDFQAMT calculation should only be attempted for QSEs for which there is a resource with a RDFQ data cut in the settlement system. |

### Business Defined Errors

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR62 | PR 6.7.1(2) | Will be completed August 31, 2006 | MCPCRD is a critical bill determinant. The Settlement System should include this bill determinant in its check for critical data, prior to beginning the settlements processes associated with the Real-Time Regulation Down Settlements. If MCPCRD does not exist for a given Operating Day, the system should cease any calculation process; additionally an error message should be logged. The error message should capture the Operating Day, Hour, and Settlement Point. |

### Specific Database Needs

None

## Charges for Ancillary Service Capacity Replaced Due to a Failure to Provide (RRFQAMT)

A charge to each QSE that fails on its Ancillary Service Supply Responsibility, whether or not a SASM is executed due to its failure to supply, is calculated based on the greatest of the MCPC in the DAM or any SASM for the same Operating Hour.  By service, the charge to each QSE for a given Operating Hour is calculated as follows: (PR 6.7.2)

Payment is calculated by QSE for each hour of the Operating Day within the Real-Time Supplemental Ancillary Service Market.

| Requirement ID | FR63 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(3)(a) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RRFQAMTTOT = ΣQRRFQAMT _<Q> |  |

| Requirement ID | FR64 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.2(3) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RRFQAMT _<Q> = MaxM (MCPCRR_<M>) * RRFQ _<Q> |  |

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| RRFQ | MW | Responsive Reserve Failure Quantity per QSE—QSE Q total capacity associated with failures on its Ancillary Service Supply Responsibility for Responsive Reserve, for the hour. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| MCPCRR | $/MW per hour | Market Clearing Price for Capacity for Responsive Reserve by market —The MCPC for Responsive Reserve from the market M (which includes the DAM and SASM markets), for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RRFQAMT | $ | Responsive Reserve Failure Quantity Amount per QSE—The charge to QSE Q for its total capacity associated with failures on its Ancillary Service Supply Responsibility for Responsive Reserve, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RRFQBILLAMT | $ | Responsive Reserve Failure Quantity Bill Amount per QSE— The difference between two consecutive daily summed channels of RRFQAMT for QSE Q in the Supplemental Ancillary Service Market. | Settlement System |
| Interval Frequency: 1 / Day Additional Comments: This bill determinant is not specifically documented in the Nodal Protocols but is required as a result of Section 9 Statements and Invoices Protocol requirements. |  |  |  |
| RRFQAMTTOT | $ | Responsive Reserve Failure Quantity Amount Total—The total charges to all QSEs for their capacity associated with failures on their Ancillary Service Supply Responsibilities for Responsive Reserve, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Data Dependencies

D1)  The RRFQAMT depends upon the availability of the MCPCRR and RRFQ.

### Assumptions

A1)	If a SASM is cleared, the Settlement System will receive verified and validated MCPCRR data, for that particular SASM, from the original source system with no null values for an Operating Day.  In the event that a null value is received from the original source system, the Interface Business Requirements should document this event as a critical error and define the appropriate actions necessary to remedy this issue.

A2)	The original source system should only make available RRFQ data for QSEs that actually failed to provide Responsive Reserve Capacity, as defined in §6.4.8.1.3 in the Nodal Protocols.  If ERCOT Operations determines that a QSE has failed to provide the respective Ancillary Service, then the Interface should appropriately interpolate data from the original source system in a fashion to create a RRFQ interval data cut for an entire day, substituting zeros for the intervals that have null values.  As such, the Settlement System will settle based upon any RRFQ data created by the original source system.

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR65 | PR 6.7.1(3) | Will be completed August 31 | The maximum MCPCRR for all Markets including the Day-Ahead Market and the multiple Supplemental Ancillary Service Markets is to be used for calculating the RRFQAMT. |
| FR66 | PR 6.7.1(3) | Will be completed August 31 | The input bill determinants should not be rounded or truncated. This includes the following bill determinants: RRFQ and MCPCRR. |
| FR67 | PR 9.7.1 (3) | Will be completed August 31 | The following output bill determinants should be rounded to two (2) decimal places: RRFQAMT and RRFQBILLAMT. |
| FR68 | PR 12.3 (C) | Will be completed August 31 | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the public data extracts. MCPCRR RRFQAMTTOT All of the other input, intermediate, and output bill determinants defined below should be identified within the Settlement System as a bill determinant that should be included in the private data extracts. RRFQ RRFQAMT |
| FR69 | PR 9.2.5 | Will be completed August 31 | The RRFQBILLAMT value shall be calculated as the entire day’s sum of the RRFQAMT values for the greater channel less the entire day’s sum of the RRFQAMT values for the lesser channel. |
| FR70 | PR 6.7.1(3) | Will be completed August 31 | DRIVER: The RRFQAMT calculation should only be attempted for QSEs for which there is a resource with a RRFQ data cut in the settlement system. |

### Business Defined Errors

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR71 | PR 6.7.1(3) | Will be completed August 31, 2006 | MCPCRR is a critical bill determinant. The Settlement System should include this bill determinant in its check for critical data, prior to beginning the settlements processes associated with the Real-Time Responsive Reserve Settlements. If MCPCRR does not exist for a given Operating Day, the system should cease any calculation process; additionally an error message should be logged. The error message should capture the Operating Day, Hour, and Settlement Point. |

### Specific Database Needs

None

## Charges for Ancillary Service Capacity Replaced Due to a Failure to Provide (NSFQAMT)

A charge to each QSE that fails on its Ancillary Service Supply Responsibility, whether or not a SASM is executed due to its failure to supply, is calculated based on the greatest of the MCPC in the DAM or any SASM for the same Operating Hour.  By service, the charge to each QSE for a given Operating Hour is calculated as follows: (PR 6.7.2)

Payment is calculated by QSE for each hour of the Operating Day within the Real-Time Supplemental Ancillary Service Market.

| Requirement ID | FR72 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(4)(a) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description NSFQAMTTOT = ΣQNSFQAMT _<Q> |  |

| Requirement ID | FR73 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.2(4) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description NSFQAMT _<Q> = MaxM (MCPCNS_<M>) * NSFQ _<Q> |  |

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| NSFQ | MW | Non-Spin Failure Quantity per QSE—QSE Q total capacity associated with failures on its Ancillary Service Supply Responsibility for Non-Spin, for the hour. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| MCPCNS | $/MW per hour | Market Clearing Price for Capacity for Non-Spin by market —The MCPC for Non-Spin from the market M (which includes the DAM and SASM markets), for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| NSFQAMT | $ | Non-Spin Failure Quantity Amount per QSE—The charge to QSE Q for its total capacity associated with failures on its Ancillary Service Supply Responsibility for Non-Spin, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| NSFQBILLAMT | $ | Non-Spin Failure Quantity Bill Amount per QSE— The difference between two consecutive daily summed channels of NSFQAMT for QSE Q in the Supplemental Ancillary Service Market. | Settlement System |
| Interval Frequency: 1 / Day Additional Comments: This bill determinant is not specifically documented in the Nodal Protocols but is required as a result of Section 9 Statements and Invoices Protocol requirements. |  |  |  |
| NSFQAMTTOT | $ | Non-Spin Failure Quantity Amount Total—The total charges to all QSEs for their capacity associated with failures on their Ancillary Service Supply Responsibilities for Non-Spin, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Data Dependencies

D1)  The NSFQAMT depends upon the availability of the MCPCNS and NSFQ.

### Assumptions

A1) 	If a SASM is cleared, the Settlement System will receive verified and validated MCPCNS data, for that particular SASM, from the original source system with no null values for an Operating Day.  In the event that a null value is received from the original source system, the Interface Business Requirements should document this event as a critical error and define the appropriate actions necessary to remedy this issue.

A2)	The original source system should only make available NSFQ data for QSEs that actually failed to provide Non-Spin Capacity, as defined in §6.4.8.1.3 in the Nodal Protocols.  If ERCOT Operations determines that a QSE has failed to provide the respective Ancillary Service, then the Interface should appropriately interpolate data from the original source system in a fashion to create a NSFQ interval data cut for an entire day, substituting zeros for the intervals that have null values.  As such, the Settlement System will settle based upon any NSFQ data created by the original source system.

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR74 | PR 6.7.1(4) | Will be completed August 31 | The maximum MCPCNS for all Markets including the Day-Ahead Market and the multiple Supplemental Ancillary Service Markets is to be used for calculating the NSFQAMT. |
| FR75 | PR 6.7.1(4) | Will be completed August 31 | The input bill determinants should not be rounded or truncated. This includes the following bill determinants: NSFQ, and MCPCNS. |
| FR76 | PR 9.7.1 (4) | Will be completed August 31 | The following output bill determinants should be rounded to two (2) decimal places: NSFQAMT and NSFQBILLAMT. |
| FR77 | PR 12.3 (C) | Will be completed August 31 | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the public data extracts. MCPCNS NSFQAMTTOT All of the other input, intermediate, and output bill determinants defined below should be identified within the Settlement System as a bill determinant that should be included in the private data extracts. NSFQ NSFQAMT |
| FR78 | PR 9.2.5 | Will be completed August 31 | The NSFQBILLAMT value shall be calculated as the entire day’s sum of the NSFQAMT values for the greater channel less the entire day’s sum of the NSFQAMT values for the lesser channel. |
| FR79 | PR 6.7.1(4) | Will be completed August 31 | DRIVER: The NSFQAMT calculation should only be attempted for QSEs for which there is a resource with a NSFQ data cut in the settlement system. |

### Business Defined Errors

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR80 | PR 6.7.1(4) | Will be completed August 31, 2006 | MCPCNS is a critical bill determinant. The Settlement System should include this bill determinant in its check for critical data, prior to beginning the settlements processes associated with the Real-Time Non-Spin Settlements. If MCPCNS does not exist for a given Operating Day, the system should cease any calculation process; additionally an error message should be logged. The error message should capture the Operating Day, Hour, and Settlement Point. |

### Specific Database Needs

None

## Adjustments to Cost Allocations for Ancillary Services Procurement Part I (RUCOSTTOT)

Each QSE, for which ERCOT purchases Ancillary Service capacity in the DAM and SASMs (if any), is charged for the QSE’s share of the net costs incurred for each service.  For each QSE, its share of the DAM costs has been calculated in Section 4.6.4, Settlement of Ancillary Services Procured in the DAM; its share of the net total costs incurred in both DAM and SASMs less its DAM charge is calculated in the following three sections.

The net total costs for Reg-Up for a given Operating Hour is calculated as follows:

The Procured Capacity for Regulation Up Amount Total per Market is summed across all markets, including the Day-Ahead Market and the Supplemental Ancillary Service Markets, and then summed with the Failure to Provide Regulation Up Capacity Amount Total to determine the total cost, ERCOT-Wide for each hour of the Operating Day.

| Requirement ID | FR81 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(1)(a) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RUCOSTTOT = (-1) * (ΣMPCRUAMTTOT_<M> + RUFQAMTTOT) |  |

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| PCRUAMTTOT | $ | Procured Capacity for Reg-Up Amount Total by market—The total payments to all QSEs for the Ancillary Service Offers cleared in the market M for Reg-Up, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RUFQAMTTOT | $ | Reg-Up Failure Quantity Amount Total—The total charges to all QSEs for their capacity associated with failures on their Ancillary Service Supply Responsibilities for Reg-Up, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RUCOSTTOT | $ | Reg-Up Cost Total—The net total costs for Reg-Up for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Data Dependencies

D1)  The RUCOSTTOT depends upon the completion of the RUFQAMTOT and PCRUAMTTOT calculation process.

### Assumptions

None

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR82 | PR 6.7.3(1)(a) | Will be completed August 31 | The PCRUAMTTOT must be summed across all markets including the Day-Ahead Market and all Supplemental Ancillary Service Markets. |
| FR83 | PR 6.7.3(1)(a) | Will be completed August 31 | The input bill determinants should not be rounded or truncated. This includes the following bill determinants: PCRUAMTTOT, and RUFQAMTTOT. |
| FR84 | PR 6.7.3(1)(a) | Will be completed August 31 | The following output bill determinants should not be rounded: RUCOSTTOT. |
| FR85 | PR 12.3 (C) | Will be completed August 31 | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the public data extracts. PCRUAMTTOT RUFQAMTTOT RUCOSTTOT |
| FR86 | PR 6.7.3(1)(a) | Will be completed August 31 | DRIVER: The RUCOSTTOT calculation should only be attempted for QSEs for which there is a RUFQAMTTOT cut or PCRUAMTTOT cut for the Operating Day in the settlement system. |

### Business Defined Errors

None

### Specific Database Needs

None

## Adjustments to Cost Allocations for Ancillary Services Procurement Part II (RUCOST)

Each QSE’s share of the net total costs for Reg-Up for the Operating Hour is calculated as follows:

| Requirement ID | FR87 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(1)(b) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RUCOST _<Q> = RUPR * RUQ_<Q> |  |

| Requirement ID | FR88 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(1)(b) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RUPR = (-1) * RUCOSTTOT / RUQTOT |  |

| Requirement ID | FR89 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(1)(b) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RUQTOT = ΣQRUQ_<Q> |  |

| Requirement ID | FR90 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(1)(b) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RUQ_<Q> = RUONET_<Q> – ΣMRUSQ_<Q>_<M> |  |

| Requirement ID | FR91 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(1)(b) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RUONET_<Q> = (ΣQ (ΣMRUSQ_<Q>_<M> + ΣMPCRU_<Q>_<M> – ΣMRURP_<Q>_<M> – RUFQ_<Q>)) * HLRS_<Q> + RUCS_<Q> – RUCP_<Q> + ΣMRURP_<Q>_<M> |  |

### Input Bill Determinants

| Variable | Unit | Definition | Source |
| --- | --- | --- | --- |
| RUCOSTTOT | $ | Reg-Up Cost Total—The net total costs for Reg-Up for the hour. See item (a) above. | Settlement System Section 2.9 |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RUSQ | MW | Reg-Up Supplied Quantity per QSE per market—The capacity for Reg-Up to be supplied with Resources represented by QSE Q to meet its Ancillary Service Obligation and/or its Ancillary Service Trades, for the market M, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| PCRU | MW | Procured Capacity for Reg-Up per QSE by market—The MW portion of QSE Q’s Ancillary Service Offers cleared in the market M to provide Reg-Up, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RURP | MW | Reg-Up Replacement per QSE per market—The Reg-Up capacity that was a portion of the Ancillary Service Supply Responsibility of QSE Q but is replaced in the market M, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RUFQ | MW | Reg-Up Failure Quantity per QSE—QSE Q’s total capacity associated with failures on its Ancillary Service Supply Responsibility for Reg-Up, for the hour. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| HLRS | Misc | The hourly Load Ratio Share calculated for QSE Q for the hour. See Section 6.6.2.3, QSE Load Ratio Share for an Operating Hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RUCS | MW | Reg-Up Capacity Sale per QSE—The total Reg-Up capacity shown in Ancillary Service Trades with QSE Q as a seller, for the hour. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RUCP | MW | Reg-Up Capacity Purchase per QSE—The total Reg-Up capacity shown in Ancillary Service Trades with QSE Q as a buyer, for the hour. | MMS |
| Interval Frequency: 1 / hour Additional None |  |  |  |

### Intermediate Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RUPR | $/MW per hour | Reg-Up Price—The price for Reg-Up calculated based on the net total costs for Reg-Up, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RUQTOT | MW | Reg-Up Quantity Total—The sum of every QSE’s portion of its net Ancillary Service Obligation that is not self-supplied with its Resource capacity in either DAM or any SASM, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RUQ | MW | Reg-Up Quantity per QSE—The portion of QSE Q’s net Ancillary Service Obligation that is not self-supplied with its Resources capacity in either DAM or any SASM, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RUONET | MW | Reg-Up Obligation Net per QSE—The net Ancillary Service obligation Obligation of QSE Q, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RUCOST | $ | Reg-Up Cost per QSE—QSE Q’s share of the net total costs for Reg-Up, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Data Dependencies

D1)  Calculation of RUCOST is dependent upon the completion of the input bill determinants’ calculation process.

### Assumptions

A1)  The Operations system must prevent a QSE from specifying a self-arranged quantity greater than its obligation, as assigned by ERCOT, per PR 4.4.7.1 (1).

A2)	The original source system should only make available RUFQ data for QSEs that actually failed to provide Regulation Up Capacity, as defined in §6.4.8.1.3 in the Nodal Protocols.  If ERCOT Operations determines that a QSE has failed to provide the respective Ancillary Service, then the Interface should appropriately interpolate data from the original source system in a fashion to create a RUFQ interval data cut for an entire day, substituting zeros for the intervals that have null values.  As such, the Settlement System will settle based upon any RUFQ data created by the original source system.

A3)	The original source system should only make available RURP data for QSEs that actually had Regulation Up Capacity replaced in any Market, as defined in §6.4.8.1.2 in the Nodal Protocols.  If ERCOT Operations determines that a QSE needs to replace the respective Ancillary Service, then the Interface should appropriately interpolate data from the original source system in a fashion to create a RURP interval data cut for an entire day, substituting zeros for the intervals that have null values.  As such, the Settlement System will settle based upon any RURP data created by the original source system.

A4)	The original source system should only make available RUSQ data for QSEs that actually had a non-zero Self-Arranged Regulation Up quantity for at least one interval in any Market.  The Interface should appropriately interpolate data from the original source system, maintaining market integrity, in a fashion to create a RUSQ interval data cut for an entire day, substituting zeros for the intervals that have null values.  As such, the Settlement System will settle based upon any RUSQ data created by the original source system.

A5)	The original source system should only make available RUCP data for QSEs that actually had a non-zero Regulation Up Ancillary Service Capacity Purchase quantity for at least one interval.  The Interface should appropriately interpolate data from the original source system in a fashion to create a RUCP interval data cut for an entire day, substituting zeros for the intervals that have null values.  As such, the Settlement System will settle based upon any RUCP data created by the original source system.

A6)	The original source system should only make available RUCS data for QSEs that actually had a non-zero Regulation Up Ancillary Service Capacity Sale quantity for at least one interval.  The Interface should appropriately interpolate data from the original source system in a fashion to create a RUCS interval data cut for an entire day, substituting zeros for the intervals that have null values.  As such, the Settlement System will settle based upon any RUCS data created by the original source system.

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR92 | PR 6.7.3(1)(b) | Will be completed August 31 | The input bill determinants should not be rounded or truncated. This includes the following bill determinants: RUCCOSTTOT, PCRU, RURP, RUFQ, RUCS, RUCP, HLRS, and RUSQ. |
| FR93 | PR 6.7.3(1)(b) | Will be completed August 31 | The following intermediate bill determinants should not be rounded or truncated: RUPR, RUQTOT, RUQ, and RUONET. |
| FR94 | PR 6.7.3(1)(b) | Will be completed August 31 | The following output bill determinants should not be rounded or truncated: RUCOST. |
| FR95 | PR 12.3 (C) | Will be completed August 31 | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the public data extracts. RUPR RUCOSTTOT RUQTOT All of the other input, intermediate, and output bill determinants defined below should be identified within the Settlement System as a bill determinant that should be included in the private data extracts. RUCOST RUQ RUONET RUSQ PCRU RURP RUFQ HLRS RUCS RUCP |
| FR96 | PR 6.7.3(1)(b) | Will be completed August 31 | The following input, intermediate, and output bill determinants defined above should be identified with a unique market identifier with a numerical indicator: RURP, PCRU, and RUSQ. |
| FR97 | PR 6.7.3(1)(b) | Will be completed August 31 | DRIVER: The RUCOST calculation should only be attempted for QSEs for which there exists at least one of the following Bill Determinant for the QSE and the Operating Day: RUSQ, PCRU, RURP, RUFQ, RUCS, or RUCP. |
| FR98 | PR 6.7.3(1)(b) | Will be completed August 31 | The RUCOST settlement process will use the Day-Ahead Market Ancillary Service data available from the most recent Day Ahead Settlement run. |
| FR99 | PR 6.7.3(1)(b) | Will be completed August 31 | In the event that the Day-Ahead Market Ancillary Service is resettled at a time after the Real-Time True-Up Resettlement, then the RUCOST will need to be resettled. |

### Business Defined Errors

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR100 | PR 6.7.3(1)(b) | TBD | If RUCS does not exist for the QSE, assume a default value of zero. No error message is necessary. |
| FR101 | PR 6.7.3(1)(b) | TBD | If RUCP does not exist for the QSE, assume a default value of zero. No error message is necessary. |
| FR102 | PR 6.7.3(1)(b) | TBD | If RUSQ does not exist for the QSE, assume a default value of zero. No error message is necessary. |
| FR103 | PR 6.7.3(1)(b) | TBD | If PCRU does not exist for any QSE, assume a default value of zero. No error message is necessary. |
| FR104 | PR 6.7.3(1)(b) | TBD | If RURP does not exist for any QSE, assume a default value of zero. No error message is necessary. |
| FR105 | PR 6.7.3(1)(b) | TBD | If RUFQ does not exist for any QSE, assume a default value of zero. No error message is necessary. |
| FR106 | PR 6.7.3(1)(b) | TBD | If HLRS does not exist for any QSE, assume a default value of zero. No error message is necessary. |
| FR107 | PR 6.7.3(1)(b) | TBD | If the RUQTOT cut equals zero for an interval then the RUPR cut should automatically set to zero for that same interval to prevent a Division by Zero error. |

### Specific Database Needs

None

## Adjustments to Cost Allocations for Ancillary Services Procurement Part III (RTRUAMT)

## The adjustment to each QSE’s DAM charge for the Reg-Up for the Operating Hour, due to changes during the Adjustment Period or Real-Time operations, is calculated as follows:

| Requirement ID | FR108 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(1)(c) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RTRUAMT_<Q> = RUCOST_<Q> – DARUAMT_<Q> |  |

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| RUCOST | $ | Reg-Up Cost per QSE—QSE Q’s share of the net total costs for Reg-Up, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| DARUAMT | $ | Day-Ahead Reg-Up Amount per QSE—QSE Q’s share of the DAM cost for Reg-Up, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RTRUAMT | $ | Real-Time Reg-Up Amount per QSE—The adjustment to QSE Q’s share of the costs for Reg-Up, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RTRUBILLAMT | $ | Real-Time Reg-Up Bill Amount per QSE— The difference between two consecutive daily summed channels of RTRUAMT for QSE Q in the Supplemental Ancillary Service Market. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: This bill determinant is not specifically documented in the Nodal Protocols but is required as a result of Section 9 Statements and Invoices Protocol requirements. |  |  |  |

### Data Dependencies

D1)  The RTRUAMT depends upon the completion of the RUCOST and DARUAMT calculation process.

### Assumptions

None

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR109 | PR 6.7.3(1)(c) | Will be completed August 31 | The input bill determinants should not be rounded or truncated. This includes the following bill determinants: RUCOST, and DARUAMT. |
| FR110 | PR 9.7.1 (4) | Will be completed August 31 | The following output bill determinants should be rounded to two (2) decimal places: RTRUAMT, RTRUBILLAMT. |
| FR111 | PR 12.3 (C) | Will be completed August 31 | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the private data extracts. RUCOST DARUAMT RTRUAMT |
| FR112 | PR 6.7.3(1)(c) | Will be completed August 31 | DRIVER: The RTRUAMT calculation should only be attempted for QSEs for which there is a RUCOST cut or DARUAMT cut for the Operating Day in the settlement system. |
| FR113 | PR 6.7.3(1)(b) | Will be completed August 31 | The RTRUAMT settlement process will use the Day-Ahead Market Ancillary Service data available from the most recent Day Ahead Settlement run. |
| FR114 | PR 6.7.3(1)(b) | Will be completed August 31 | In the event that the Day-Ahead Market Ancillary Service is resettled at a time after the Real-Time True-Up Resettlement, then the RTRUAMT will need to be resettled. |

### Business Defined Errors

None

### Specific Database Needs

None

## Adjustments to Cost Allocations for Ancillary Services Procurement Part I (RDCOSTTOT)

Each QSE, for which ERCOT purchases Ancillary Service capacity in the DAM and SASMs (if any), is charged for the QSE’s share of the net costs incurred for each service.  For each QSE, its share of the DAM costs has been calculated in Section 4.6.4, Settlement of Ancillary Services Procured in the DAM; its share of the net total costs incurred in both DAM and SASMs less its DAM charge is calculated in the following three sections.

The net total costs for Reg-Down for a given Operating Hour is calculated as follows:

The Procured Capacity for Regulation Down Amount Total per Market is summed across all markets, including the Day-Ahead Market and the Supplemental Ancillary Service Markets, and then summed with the Failure to Provide Regulation Down Capacity Amount Total to determine the total cost, ERCOT-Wide for each hour of the Operating Day.

| Requirement ID | FR115 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(2)(a) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RDCOSTTOT = (-1) * (ΣMPCRDAMTTOT_<M> + RDFQAMTTOT) |  |

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| PCRDAMTTOT | $ | Procured Capacity for Reg-Down Amount Total by market—The total payments to all QSEs for the Ancillary Service Offers cleared in the market M for Reg-Down, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RDFQAMTTOT | $ | Reg-Down Failure Quantity Amount Total—The total charges to all QSEs for their capacity associated with failures on their Ancillary Service Supply Responsibilities for Reg-Down, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RDCOSTTOT | $ | Reg-Down Cost Total—The net total costs for Reg-Down for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Data Dependencies

D1)  The RDCOSTTOT depends upon the completion of the RDFQAMTOT and PCRDAMTTOT calculation process.

### Assumptions

None

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR116 | PR 6.7.3(2)(a) | Will be completed August 31 | The PCRDAMTTOT must be summed across all markets including the Day-Ahead Market and all Supplemental Ancillary Service Markets. |
| FR117 | PR 6.7.3(2)(a) | Will be completed August 31 | The input bill determinants should not be rounded or truncated. This includes the following bill determinants: PCRDMTTOT, and RDFQAMTTOT. |
| FR118 | PR 6.7.3(2)(a) | Will be completed August 31 | The following output bill determinants should not be rounded: RDCOSTTOT. |
| FR119 | PR 12.3 (C) | Will be completed August 31 | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the public data extracts. PCRDAMTTOT RDFQAMTTOT RDCOSTTOT |
| FR120 | PR 6.7.3(2)(a) | Will be completed August 31 | DRIVER: The RDCOSTTOT calculation should only be attempted for QSEs for which there is a RDFQAMTTOT cut or PCRDAMTTOT cut for the Operating Day in the settlement system. |

### Business Defined Errors

None

### Specific Database Needs

None

## Adjustments to Cost Allocations for Ancillary Services Procurement Part II (RDCOST)

Each QSE’s share of the net total costs for Reg-Down for the Operating Hour is calculated as follows:

| Requirement ID | FR121 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(2)(b) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RDCOST _<Q> = RDPR * RDQ_<Q> |  |

| Requirement ID | FR122 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(2)(b) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RDPR = (-1) * RDCOSTTOT / RDQTOT |  |

| Requirement ID | FR123 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(2)(b) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RDQTOT = ΣQRDQ_<Q> |  |

| Requirement ID | FR124 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(2)(b) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RDQ_<Q> = RDONET_<Q> – ΣMRDSQ_<Q>_<M> |  |

| Requirement ID | FR125 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(2)(b) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RDONET_<Q> = (ΣQ (ΣMRDSQ_<Q>_<M> + ΣMPCRD_<Q>_<M> – ΣMRDRP_<Q>_<M> – RDFQ_<Q>)) * HLRS_<Q> + RDCS_<Q> – RDCP_<Q> + ΣMRDRP_<Q>_<M> |  |

### Input Bill Determinants

| Variable | Unit | Definition | Source |
| --- | --- | --- | --- |
| RDCOSTTOT | $ | Reg-Down Cost Total—The net total costs for Reg-Down for the hour. See item (a) above. | Settlement System Section 2.12 |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RDSQ | MW | Reg-Down Supplied Quantity per QSE per market—The capacity for Reg-Down to be supplied with Resources represented by QSE Q to meet its Ancillary Service Obligation and/or its Ancillary Service Trades, for the market M, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| PCRD | MW | Procured Capacity for Reg-Down per QSE by market—The MW portion of QSE Q’s Ancillary Service Offers cleared in the market M to provide Reg-Down, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RDRP | MW | Reg-Down Replacement per QSE per market—The Reg-Down capacity that was a portion of the Ancillary Service Supply Responsibility of QSE Q but is replaced in the market M, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RDFQ | MW | Reg-Down Failure Quantity per QSE—QSE Q’s total capacity associated with failures on its Ancillary Service Supply Responsibility for Reg-Down, for the hour. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| HLRS | Misc | The hourly Load Ratio Share calculated for QSE Q for the hour. See Section 6.6.2.3, QSE Load Ratio Share for an Operating Hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RDCS | MW | Reg-Down Capacity Sale per QSE—The total Reg-Down capacity shown in Ancillary Service Trades with QSE Q as a seller, for the hour. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RDCP | MW | Reg-Down Capacity Purchase per QSE—The total Reg-Down capacity shown in Ancillary Service Trades with QSE Q as a buyer, for the hour. | MMS |
| Interval Frequency: 1 / hour Additional None |  |  |  |

### Intermediate Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RDPR | $/MW per hour | Reg-Down Price—The price for Reg-Down calculated based on the net total costs for Reg-Down, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RDQTOT | MW | Reg-Down Quantity Total—The sum of every QSE’s portion of its net Ancillary Service Obligation that is not self-supplied with its Resource capacity in either DAM or any SASM, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RDQ | MW | Reg-Down Quantity per QSE—The portion of QSE Q’s net Ancillary Service Obligation that is not self-supplied with its Resources capacity in either DAM or any SASM, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RDONET | MW | Reg-Down Obligation Net per QSE—The net Ancillary Service obligation of QSE Q, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RDCOST | $ | Reg-Down Cost per QSE—QSE q’s share of the net total costs for Reg-Down, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Data Dependencies

D1)  Calculation of RDCOST is dependent upon the completion of the input bill determinants’ calculation process.

### Assumptions

A1)  The Operations system must prevent a QSE from specifying a self-arranged quantity greater than its obligation, as assigned by ERCOT, per PR 4.4.7.1 (1).

A2)	The original source system should only make available RDFQ data for QSEs that actually failed to provide Regulation Down Capacity, as defined in §6.4.8.1.3 in the Nodal Protocols.  If ERCOT Operations determines that a QSE has failed to provide the respective Ancillary Service, then the Interface should appropriately interpolate data from the original source system in a fashion to create a RDFQ interval data cut for an entire day, substituting zeros for the intervals that have null values.  As such, the Settlement System will settle based upon any RDFQ data created by the original source system.

A3)	The original source system should only make available RDRP data for QSEs that actually had Regulation Down Capacity replaced in any Market, as defined in §6.4.8.1.2 in the Nodal Protocols.  If ERCOT Operations determines that a QSE needs to replace the respective Ancillary Service, then the Interface should appropriately interpolate data from the original source system in a fashion to create a RDRP interval data cut for an entire day, substituting zeros for the intervals that have null values.  As such, the Settlement System will settle based upon any RDRP data created by the original source system.

A4)	The original source system should only make available RDSQ data for QSEs that actually had a non-zero Self-Arranged Regulation Down quantity for at least one interval in any Market.  The Interface should appropriately interpolate data from the original source system, maintaining market integrity, in a fashion to create a RDSQ interval data cut for an entire day, substituting zeros for the intervals that have null values.  As such, the Settlement System will settle based upon any RDSQ data created by the original source system.

A5)	The original source system should only make available RDCP data for QSEs that actually had a non-zero Regulation Down Ancillary Service Capacity Purchase quantity for at least one interval.  The Interface should appropriately interpolate data from the original source system in a fashion to create a RDCP interval data cut for an entire day, substituting zeros for the intervals that have null values.  As such, the Settlement System will settle based upon any RDCP data created by the original source system.

A6)	The original source system should only make available RDCS data for QSEs that actually had a non-zero Regulation Down Ancillary Service Capacity Sale quantity for at least one interval.  The Interface should appropriately interpolate data from the original source system in a fashion to create a RDCS interval data cut for an entire day, substituting zeros for the intervals that have null values.  As such, the Settlement System will settle based upon any RDCS data created by the original source system.

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR126 | PR 6.7.3(2)(b) | Will be completed August 31 | The input bill determinants should not be rounded or truncated. This includes the following bill determinants: RDCCOSTTOT, PCRD, RDRP, RDFQ, RDCS, RDCP, HLRS, and RDSQ. |
| FR127 | PR 6.7.3(2)(b) | Will be completed August 31 | The following intermediate bill determinants should not be rounded or truncated: RDPR, RDQTOT, RDQ, and RDONET. |
| FR128 | PR 6.7.3(2)(b) | Will be completed August 31 | The following output bill determinants should not be rounded or truncated: RDCOST. |
| FR129 | PR 12.3 (C) | Will be completed August 31 | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the public data extracts. RDPR RDCOSTTOT RDQTOT All of the other input, intermediate, and output bill determinants defined below should be identified within the Settlement System as a bill determinant that should be included in the private data extracts. RDCOST RDQ RDONET RDSQ PCRD RDRP RDFQ HLRS RDCS RDCP |
| FR130 | PR 6.7.3(2)(b) | Will be completed August 31 | The following input, intermediate, and output bill determinants defined above should be identified with a unique market identifier with a numerical indicator: RDRP, PCRD, and RDSQ. |
| FR131 | PR 6.7.3(2)(b) | Will be completed August 31, 2006 | DRIVER: The RDCOST calculation should only be attempted for QSEs for which there exists at least one of the following Bill Determinant for the QSE and the Operating Day: RDSQ, PCRD, RDRP, RDFQ, RDCS, or RDCP. |
| FR132 | PR 6.7.3(1)(b) | Will be completed August 31 | The RDCOST settlement process will use the Day-Ahead Market Ancillary Service data available from the most recent Day Ahead Settlement run. |
| FR133 | PR 6.7.3(1)(b) | Will be completed August 31 | In the event that the Day-Ahead Market Ancillary Service is resettled at a time after the Real-Time True-Up Resettlement, then the RDCOST will need to be resettled. |

### Business Defined Errors

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR134 | PR 6.7.3(2)(b) | Will be completed August 31 | If RDCS does not exist for the QSE, assume a default value of zero. No error message is necessary. |
| FR135 | PR 6.7.3(2)(b) | Will be completed August 31 | If RDCP does not exist for the QSE, assume a default value of zero. No error message is necessary. |
| FR136 | PR 6.7.3(2)(b) | Will be completed August 31 | If RDSQ does not exist for the QSE, assume a default value of zero. No error message is necessary. |
| FR137 | PR 6.7.3(2)(b) | Will be completed August 31 | If PCRD does not exist for any QSE, assume a default value of zero. No error message is necessary. |
| FR138 | PR 6.7.3(2)(b) | Will be completed August 31 | If RDRP does not exist for any QSE, assume a default value of zero. No error message is necessary. |
| FR139 | PR 6.7.3(2)(b) | Will be completed August 31 | If RDFQ does not exist for any QSE, assume a default value of zero. No error message is necessary. |
| FR140 | PR 6.7.3(2)(b) | Will be completed August 31 | If HLRS does not exist for any QSE, assume a default value of zero. No error message is necessary. |
| FR141 | PR 6.7.3(2)(b) | Will be completed August 31 | If the RDQTOT cut equals zero for an interval then the RDPR cut should automatically set to zero for that same interval to prevent a Division by Zero error. |

### Specific Database Needs

None

## Adjustments to Cost Allocations for Ancillary Services Procurement Part III (RTRDAMT)

## The adjustment to each QSE’s DAM charge for the Reg-Down for the Operating Hour, due to changes during the Adjustment Period or Real-Time operations, is calculated as follows:

| Requirement ID | FR142 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(2)(c) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RTRDAMT_<Q> = RDCOST_<Q> – DARDAMT_<Q> |  |

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| RDCOST | $ | Reg-Down Cost per QSE—QSE Q’s share of the net total costs for Reg-Down, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| DARDAMT | $ | Day-Ahead Reg-Down Amount per QSE—QSE Q’s share of the DAM cost for Reg-Down, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RTRDAMT | $ | Real-Time Reg-Down Amount per QSE—The adjustment to QSE Q’s share of the costs for Reg-Down, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RTRDBILLAMT | $ | Real-Time Reg-Down Bill Amount per QSE— The difference between two consecutive daily summed channels of RTRDAMT for QSE Q in the Supplemental Ancillary Service Market. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: This bill determinant is not specifically documented in the Nodal Protocols but is required as a result of Section 9 Statements and Invoices Protocol requirements. |  |  |  |

### Data Dependencies

D1)  The RTRDAMT depends upon the completion of the RDCOST and DARDAMT calculation process.

### Assumptions

None

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR142 | PR 6.7.3(2)(c) | Will be completed August 31 | The input bill determinants should not be rounded or truncated. This includes the following bill determinants: RDCOST, and DARDAMT. |
| FR143 | PR 9.7.1 (4) | Will be completed August 31 | The following output bill determinants should be rounded to two (2) decimal places: RTRDAMT, RTRDBILLAMT. |
| FR144 | PR 12.3 (C) | Will be completed August 31 | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the private data extracts. RDCOST DARDAMT RTRDAMT |
| FR145 | PR 6.7.3(2)(c) | Will be completed August 31 | DRIVER: The RTRDAMT calculation should only be attempted for QSEs for which there is a RDCOST cut or DARDAMT cut for the Operating Day in the settlement system. |
| FR146 | PR 6.7.3(1)(b) | Will be completed August 31 | The RTRDAMT settlement process will use the Day-Ahead Market Ancillary Service data available from the most recent Day Ahead Settlement run. |
| FR147 | PR 6.7.3(1)(b) | Will be completed August 31 | In the event that the Day-Ahead Market Ancillary Service is resettled at a time after the Real-Time True-Up Resettlement, then the RTRDAMT will need to be resettled. |

### Business Defined Errors

None

### Specific Database Needs

None

## Adjustments to Cost Allocations for Ancillary Services Procurement Part I (RRCOSTTOT)

Each QSE, for which ERCOT purchases Ancillary Service capacity in the DAM and SASMs (if any), is charged for the QSE’s share of the net costs incurred for each service.  For each QSE, its share of the DAM costs has been calculated in Section 4.6.4, Settlement of Ancillary Services Procured in the DAM; its share of the net total costs incurred in both DAM and SASMs less its DAM charge is calculated in the following three sections.

The net total costs for Responsive Reserve for a given Operating Hour is calculated as follows:

The Procured Capacity for Responsive Reserve Amount Total per Market is summed across all markets, including the Day-Ahead Market and the Supplemental Ancillary Service Markets, and then summed with the Failure to Provide Responsive Reserve Capacity Amount Total to determine the total cost, ERCOT-Wide for each hour of the Operating Day.

| Requirement ID | FR148 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(3)(a) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RRCOSTTOT = (-1) * (ΣMPCRRAMTTOT_<M> + RRFQAMTTOT) |  |

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| PCRRAMTTOT | $ | Procured Capacity for Responsive Reserve Amount Total by market—The total payments to all QSEs for the Ancillary Service Offers cleared in the market M for Responsive Reserve, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RRFQAMTTOT | $ | Responsive Reserve Failure Quantity Amount Total—The total charges to all QSEs for their capacity associated with failures on their Ancillary Service Supply Responsibilities for Responsive Reserve, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RRCOSTTOT | $ | Responsive Reserve Cost Total—The net total costs for Responsive Reserve for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Data Dependencies

D1)  The RDCOSTTOT depends upon the completion of the RDFQAMTOT and PCRDAMTTOT calculation process..

### Assumptions

None

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR149 | PR 6.7.3(3)(a) | Will be completed August 31 | The PCRRAMTTOT must be summed across all markets including the Day-Ahead Market and all Supplemental Ancillary Service Markets. |
| FR150 | PR 6.7.3(3)(a) | Will be completed August 31 | The input bill determinants should not be rounded or truncated. This includes the following bill determinants: PCRRMTTOT, and RRFQAMTTOT. |
| FR151 | PR 6.7.3(3)(a) | Will be completed August 31 | The following output bill determinants should not be rounded: RRCOSTTOT. |
| FR152 | PR 12.3 (C) | Will be completed August 31 | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the public data extracts. PCRRAMTTOT RRFQAMTTOT RRCOSTTOT |
| FR153 | PR 6.7.3(3)(a) | Will be completed August 31 | DRIVER: The RRCOSTTOT calculation should only be attempted for QSEs for which there is a RRFQAMTTOT cut or PCRRAMTTOT cut for the Operating Day in the settlement system. |

### Business Defined Errors

None

### Specific Database Needs

None

## Adjustments to Cost Allocations for Ancillary Services Procurement Part II (RRCOST)

Each QSE’s share of the net total costs for Responsive Reserve for the Operating Hour is calculated as follows:

| Requirement ID | FR154 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(3)(b) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RRCOST _<Q> = RRPR * RRQ_<Q> |  |

| Requirement ID | FR155 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(3)(b) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RRPR = (-1) * RRCOSTTOT / RRQTOT |  |

| Requirement ID | FR156 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(3)(b) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RRQTOT = ΣQRRQ_<Q> |  |

| Requirement ID | FR157 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(3)(b) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RRQ_<Q> = RRONET_<Q> – ΣMRRSQ_<Q>_<M> |  |

| Requirement ID | FR158 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(3)(b) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RRONET_<Q> = (ΣQ (ΣMRRSQ_<Q>_<M> + ΣMPCRR_<Q>_<M> – ΣMRRRP_<Q>_<M> – RRFQ_<Q>)) * HLRS_<Q> + RRCS_<Q> – RRCP_<Q> + ΣMRRRP_<Q>_<M> |  |

### Input Bill Determinants

| Variable | Unit | Definition | Source |
| --- | --- | --- | --- |
| RRCOSTTOT | $ | Responsive Reserve Cost Total—The net total costs for Responsive Reserve for the hour. See item (a) above. | Settlement System Section 2.12 |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RRSQ | MW | Responsive Reserve Supplied Quantity per QSE per market—The capacity for Responsive Reserve to be supplied with Resources represented by QSE Q to meet its Ancillary Service Obligation and/or its Ancillary Service Trades, for the market M, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| PCRR | MW | Procured Capacity for Responsive Reserve per QSE by market—The MW portion of QSE Q’s Ancillary Service Offers cleared in the market M to provide Responsive Reserve, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RRRP | MW | Responsive Reserve Replacement per QSE per market—The Responsive Reserve capacity that was a portion of the Ancillary Service Supply Responsibility of QSE Q but is replaced in the market M, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RRFQ | MW | Responsive Reserve Failure Quantity per QSE—QSE Q’s total capacity associated with failures on its Ancillary Service Supply Responsibility for Responsive Reserve, for the hour. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| HLRS | Misc | The hourly Load Ratio Share calculated for QSE Q for the hour. See Section 6.6.2.3, QSE Load Ratio Share for an Operating Hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RRCS | MW | Responsive Reserve Capacity Sale per QSE—The total Responsive Reserve capacity shown in Ancillary Service Trades with QSE Q as a seller, for the hour. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RRCP | MW | Responsive Reserve Capacity Purchase per QSE—The total Responsive Reserve capacity shown in Ancillary Service Trades with QSE Q as a buyer, for the hour. | MMS |
| Interval Frequency: 1 / hour Additional None |  |  |  |

### Intermediate Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RRPR | $/MW per hour | Responsive Reserve Price—The price for Responsive Reserve calculated based on the net total costs for Responsive Reserve, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RRQTOT | MW | Responsive Reserve Quantity Total—The sum of every QSE’s portion of its net Ancillary Service Obligation that is not self-supplied with its Resource capacity in either DAM or any SASM, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RRQ | MW | Responsive Reserve Quantity per QSE—The portion of QSE Q’s net Ancillary Service Obligation that is not self-supplied with its Resources capacity in either DAM or any SASM, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RRONET | MW | Responsive Reserve Obligation Net per QSE—The net Ancillary Service obligation of QSE Q, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RRCOST | $ | Responsive Reserve Cost per QSE—QSE Q’s share of the net total costs for Responsive Reserve, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Data Dependencies

D1)  Calculation of RRCOST is dependent upon the completion of the input bill determinants’ calculation process.

### Assumptions

A1)  The Operations system must prevent a QSE from specifying a self-arranged quantity greater than its obligation, as assigned by ERCOT, per PR 4.4.7.1 (1).

A2)	The original source system should only make available RRFQ data for QSEs that actually failed to provide Responsive Reserve Capacity, as defined in §6.4.8.1.3 in the Nodal Protocols.  If ERCOT Operations determines that a QSE has failed to provide the respective Ancillary Service, then the Interface should appropriately interpolate data from the original source system in a fashion to create a RRFQ interval data cut for an entire day, substituting zeros for the intervals that have null values.  As such, the Settlement System will settle based upon any RRFQ data created by the original source system.

A3)	The original source system should only make available RRRP data for QSEs that actually had Responsive Reserve Capacity replaced in any Market, as defined in §6.4.8.1.2 in the Nodal Protocols.  If ERCOT Operations determines that a QSE needs to replace the respective Ancillary Service, then the Interface should appropriately interpolate data from the original source system in a fashion to create a RRRP interval data cut for an entire day, substituting zeros for the intervals that have null values.  As such, the Settlement System will settle based upon any RRRP data created by the original source system.

A4)	The original source system should only make available RRSQ data for QSEs that actually had a non-zero Self-Arranged Responsive Reserve quantity for at least one interval in any Market.  The Interface should appropriately interpolate data from the original source system, maintaining market integrity, in a fashion to create a RRSQ interval data cut for an entire day, substituting zeros for the intervals that have null values.  As such, the Settlement System will settle based upon any RRSQ data created by the original source system.

A5)	The original source system should only make available RRCP data for QSEs that actually had a non-zero Responsive Reserve Ancillary Service Capacity Purchase quantity for at least one interval.  The Interface should appropriately interpolate data from the original source system in a fashion to create a RRCP interval data cut for an entire day, substituting zeros for the intervals that have null values.  As such, the Settlement System will settle based upon any RRCP data created by the original source system.

A6)	The original source system should only make available RRCS data for QSEs that actually had a non-zero Responsive Reserve Ancillary Service Capacity Sale quantity for at least one interval.  The Interface should appropriately interpolate data from the original source system in a fashion to create a RRCS interval data cut for an entire day, substituting zeros for the intervals that have null values.  As such, the Settlement System will settle based upon any RRCS data created by the original source system.

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR159 | PR 6.7.3(3)(b) | Will be completed August 31 | The input bill determinants should not be rounded or truncated. This includes the following bill determinants: RRCCOSTTOT, PCRR, RRRP, RRFQ, RRCS, RRCP, HLRS, and RRSQ. |
| FR160 | PR 6.7.3(3)(b) | Will be completed August 31 | The following intermediate bill determinants should not be rounded or truncated: RRPR, RRQTOT, RRQ, and RRONET. |
| FR161 | PR 6.7.3(3)(b) | Will be completed August 31 | The following output bill determinants should not be rounded or truncated: RRCOST. |
| FR162 | PR 12.3 (C) | Will be completed August 31 | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the public data extracts. RRPR RRCOSTTOT RRQTOT All of the other input, intermediate, and output bill determinants defined below should be identified within the Settlement System as a bill determinant that should be included in the private data extracts. RRCOST RRQ RRONET RRSQ PCRR RRRP RRFQ HLRS RRCS RRCP |
| FR163 | PR 6.7.3(3)(b) | Will be completed August 31 | The following input, intermediate, and output bill determinants defined above should be identified with a unique market identifier with a numerical indicator: RRRP, PCRR, and RRSQ. |
| FR164 | PR 6.7.3(3)(b) | Will be completed August 31, 2006 | DRIVER: The RRCOST calculation should only be attempted for QSEs for which there exists at least one of the following Bill Determinant for the QSE and the Operating Day: RRSQ, PCRR, RRRP, RRFQ, RRCS, or RRCP. |
| FR165 | PR 6.7.3(1)(b) | Will be completed August 31 | The RRCOST settlement process will use the Day-Ahead Market Ancillary Service data available from the most recent Day Ahead Settlement run. |
| FR166 | PR 6.7.3(1)(b) | Will be completed August 31 | In the event that the Day-Ahead Market Ancillary Service is resettled at a time after the Real-Time True-Up Resettlement, then the RRCOST will need to be resettled. |

### Business Defined Errors

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR167 | PR 6.7.3(3)(b) | Will be completed August 31 | If RRCS does not exist for the QSE, assume a default value of zero. No error message is necessary. |
| FR168 | PR 6.7.3(3)(b) | Will be completed August 31 | If RRCP does not exist for the QSE, assume a default value of zero. No error message is necessary. |
| FR169 | PR 6.7.3(3)(b) | Will be completed August 31 | If RRSQ does not exist for the QSE, assume a default value of zero. No error message is necessary. |
| FR170 | PR 6.7.3(3)(b) | Will be completed August 31 | If PCRR does not exist for any QSE, assume a default value of zero. No error message is necessary. |
| FR171 | PR 6.7.3(3)(b) | Will be completed August 31 | If RRRP does not exist for any QSE, assume a default value of zero. No error message is necessary. |
| FR172 | PR 6.7.3(3)(b) | Will be completed August 31 | If RRFQ does not exist for any QSE, assume a default value of zero. No error message is necessary. |
| FR173 | PR 6.7.3(3)(b) | Will be completed August 31 | If HLRS does not exist for any QSE, assume a default value of zero. No error message is necessary. |
| FR174 | PR 6.7.3(3)(b) | Will be completed August 31 | If the RRQTOT cut equals zero for an interval then the RRPR cut should automatically set to zero for that same interval to prevent a Division by Zero error. |

### Specific Database Needs

None

## Adjustments to Cost Allocations for Ancillary Services Procurement Part III (RTRRAMT)

## The adjustment to each QSE’s DAM charge for the Responsive Reserve for the Operating Hour, due to changes during the Adjustment Period or Real-Time operations, is calculated as follows:

| Requirement ID | FR175 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(3)(c) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RTRRAMT_<Q> = RRCOST_<Q> – DARRAMT_<Q> |  |

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| RRCOST | $ | Responsive Reserve Cost per QSE—QSE Q’s share of the net total costs for Responsive Reserve, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| DARRAMT | $ | Day-Ahead Responsive Reserve Amount per QSE—QSE Q’s share of the DAM cost for Responsive Reserve, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RTRRAMT | $ | Real-Time Responsive Reserve Amount per QSE—The adjustment to QSE Q’s share of the costs for Responsive Reserve, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RTRRBILLAMT | $ | Real-Time Responsive Reserve Bill Amount per QSE— The difference between two consecutive daily summed channels of RTRRAMT for QSE Q in the Supplemental Ancillary Service Market. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: This bill determinant is not specifically documented in the Nodal Protocols but is required as a result of Section 9 Statements and Invoices Protocol requirements. |  |  |  |

### Data Dependencies

D1)  The RTRRAMT depends upon the completion of the RRCOST and DARRAMT calculation process.

### Assumptions

None

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR176 | PR 6.7.3(3)(c) | Will be completed August 31 | The input bill determinants should not be rounded or truncated. This includes the following bill determinants: RRCOST, and DARRAMT. |
| FR177 | PR 9.7.1 (4) | Will be completed August 31 | The following output bill determinants should be rounded to two (2) decimal places: RTRRAMT, RTRRBILLAMT. |
| FR178 | PR 12.3 (C) | Will be completed August 31 | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the private data extracts. RRCOST DARRAMT RTRRAMT |
| FR179 | PR 6.7.3(3)(c) | Will be completed August 31 | DRIVER: The RTRRAMT calculation should only be attempted for QSEs for which there is a RRCOST cut or DARRAMT cut for the Operating Day in the settlement system. |
| FR180 | PR 6.7.3(1)(b) | Will be completed August 31 | The RTRRAMT settlement process will use the Day-Ahead Market Ancillary Service data available from the most recent Day Ahead Settlement run. |
| FR181 | PR 6.7.3(1)(b) | Will be completed August 31 | In the event that the Day-Ahead Market Ancillary Service is resettled at a time after the Real-Time True-Up Resettlement, then the RTRRAMT will need to be resettled. |

### Business Defined Errors

None

### Specific Database Needs

None

## Adjustments to Cost Allocations for Ancillary Services Procurement Part I (NSCOSTTOT)

Each QSE, for which ERCOT purchases Ancillary Service capacity in the DAM and SASMs (if any), is charged for the QSE’s share of the net costs incurred for each service.  For each QSE, its share of the DAM costs has been calculated in Section 4.6.4, Settlement of Ancillary Services Procured in the DAM; its share of the net total costs incurred in both DAM and SASMs less its DAM charge is calculated in the following three sections.

The net total costs for Non-Spin for a given Operating Hour is calculated as follows:

The Procured Capacity for Non-Spin Amount Total per Market is summed across all markets, including the Day-Ahead Market and the Supplemental Ancillary Service Markets, and then summed with the Failure to Provide Non-Spin Capacity Amount Total to determine the total cost, ERCOT-Wide for each hour of the Operating Day.

| Requirement ID | FR182 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(4)(a) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description NSCOSTTOT = (-1) * (ΣMPCNSAMTTOT_<M> + NSFQAMTTOT) |  |

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| PCNSAMTTOT | $ | Procured Capacity for Non-Spin Amount Total by market—The total payments to all QSEs for the Ancillary Service Offers cleared in the market M for Non-Spin, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| NSFQAMTTOT | $ | Non-Spin Failure Quantity Amount Total—The total charges to all QSEs for their capacity associated with failures on their Ancillary Service Supply Responsibilities for Non-Spin, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| NSCOSTTOT | $ | Non-Spin Cost Total—The net total costs for Non-Spin for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Data Dependencies

D1)  The NSCOSTTOT depends upon the completion of the NSFQAMTOT and PCNSAMTTOT calculation process.

### Assumptions

None

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR183 | PR 6.7.3(4)(a) | Will be completed August 31 | The PCNSAMTTOT must be summed across all markets including the Day-Ahead Market and all Supplemental Ancillary Service Markets. |
| FR184 | PR 6.7.3(4)(a) | Will be completed August 31 | The input bill determinants should not be rounded or truncated. This includes the following bill determinants: PCNSMTTOT, and NSFQAMTTOT. |
| FR185 | PR 6.7.3(4)(a) | Will be completed August 31 | The following output bill determinants should not be rounded: NSCOSTTOT. |
| FR186 | PR 12.3 (C) | Will be completed August 31 | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the public data extracts. PCNSAMTTOT NSFQAMTTOT NSCOSTTOT |
| FR187 | PR 6.7.3(4)(a) | Will be completed August 31 | DRIVER: The NSCOSTTOT calculation should only be attempted for QSEs for which there is a NSFQAMTTOT cut or PCNSAMTTOT cut for the Operating Day in the settlement system. |

### Business Defined Errors

None

### Specific Database Needs

None

## Adjustments to Cost Allocations for Ancillary Services Procurement Part II (NSCOST)

Each QSE’s share of the net total costs for Non-Spin for the Operating Hour is calculated as follows:

| Requirement ID | FR2188 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(4)(b) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description NSCOST _<Q> = NSPR * NSQ_<Q> |  |

| Requirement ID | FR189 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(4)(b) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description NSPR = NSCOSTTOT / NSQTOT |  |

| Requirement ID | FR190 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(4)(b) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description NSQTOT = ΣQNSQ_<Q> |  |

| Requirement ID | FR191 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(4)(b) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description NSQ_<Q> = NSONET_<Q> – ΣMNSSQ_<Q>_<M> |  |

| Requirement ID | FR192 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(4)(b) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description NSONET_<Q> = (ΣQ (ΣMNSSQ_<Q>_<M> + ΣMPCNS_<Q>_<M> – ΣMNSRP_<Q>_<M> – NSFQ_<Q>)) * HLRS_<Q> + NSCS_<Q> – NSCP_<Q> + ΣMNSRP_<Q>_<M> |  |

### Input Bill Determinants

| Variable | Unit | Definition | Source |
| --- | --- | --- | --- |
| NSCOSTTOT | $ | Non-Spin Cost Total—The net total costs for Non-Spin for the hour. See item (a) above. | Settlement System Section 2.12 |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| NSSQ | MW | Non-Spin Supplied Quantity per QSE per market—The capacity for Non-Spin to be supplied with Resources represented by QSE Q to meet its Ancillary Service Obligation and/or its Ancillary Service Trades, for the market M, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| PCNS | MW | Procured Capacity for Non-Spin per QSE by market—The MW portion of QSE Q’s Ancillary Service Offers cleared in the market M to provide Non-Spin, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| NSRP | MW | Non-Spin Replacement per QSE per market—The Non-Spin capacity that was a portion of the Ancillary Service Supply Responsibility of QSE Q but is replaced in the market M, for the hour. This bill determinant needs to be identified with a Market Identifier to ensure proper classification. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| NSFQ | MW | Non-Spin Failure Quantity per QSE—QSE Q’s total capacity associated with failures on its Ancillary Service Supply Responsibility for Non-Spin, for the hour. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| HLRS | Misc | The hourly Load Ratio Share calculated for QSE Q for the hour. See Section 6.6.2.3, QSE Load Ratio Share for an Operating Hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| NSCS | MW | Non-Spin Capacity Sale per QSE—The total Non-Spin capacity shown in Ancillary Service Trades with QSE Q as a seller, for the hour. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| NSCP | MW | Non-Spin Capacity Purchase per QSE—The total Non-Spin capacity shown in Ancillary Service Trades with QSE Q as a buyer, for the hour. | MMS |
| Interval Frequency: 1 / hour Additional None |  |  |  |

### Intermediate Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| NSPR | $/MW per hour | Non-Spin Price—The price for Non-Spin calculated based on the net total costs for Non-Spin, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| NSQTOT | MW | Non-Spin Quantity Total—The sum of every QSE’s portion of its net Ancillary Service Obligation that is not self-supplied with its Resource capacity in either DAM or any SASM, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| NSQ | MW | Non-Spin Quantity per QSE—The portion of QSE Q’s net Ancillary Service Obligation that is not self-supplied with its Resources capacity in either DAM or any SASM, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| NSONET | MW | Non-Spin Obligation Net per QSE—The net Ancillary Service obligation of QSE Q, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| NSCOST | $ | Non-Spin Cost per QSE—QSE Q’s share of the net total costs for Non-Spin, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Data Dependencies

D1)  Calculation of NSCOST is dependent upon the completion of the input bill determinants’ calculation process.

### Assumptions

A1)  The Operations system must prevent a QSE from specifying a self-arranged quantity greater than its obligation, as assigned by ERCOT, per PR 4.4.7.1 (1).

A2)	The original source system should only make available NSFQ data for QSEs that actually failed to provide Non-Spin Capacity, as defined in §6.4.8.1.3 in the Nodal Protocols.  If ERCOT Operations determines that a QSE has failed to provide the respective Ancillary Service, then the Interface should appropriately interpolate data from the original source system in a fashion to create a NSFQ interval data cut for an entire day, substituting zeros for the intervals that have null values.  As such, the Settlement System will settle based upon any NSFQ data created by the original source system.

A3)	The original source system should only make available NSRP data for QSEs that actually had Non-Spin  Capacity replaced in any Market, as defined in §6.4.8.1.2 in the Nodal Protocols.  If ERCOT Operations determines that a QSE needs to replace the respective Ancillary Service, then the Interface should appropriately interpolate data from the original source system in a fashion to create a NSRP interval data cut for an entire day, substituting zeros for the intervals that have null values.  As such, the Settlement System will settle based upon any NSRP data created by the original source system.

A4)	The original source system should only make available NSSQ data for QSEs that actually had a non-zero Self-Arranged Non-Spin quantity for at least one interval in any Market.  The Interface should appropriately interpolate data from the original source system, maintaining market integrity, in a fashion to create a NSSQ interval data cut for an entire day, substituting zeros for the intervals that have null values.  As such, the Settlement System will settle based upon any NSSQ data created by the original source system.

A5)	The original source system should only make available NSCP data for QSEs that actually had a non-zero Non-Spin Ancillary Service Capacity Purchase quantity for at least one interval.  The Interface should appropriately interpolate data from the original source system in a fashion to create a NSCP interval data cut for an entire day, substituting zeros for the intervals that have null values.  As such, the Settlement System will settle based upon any NSCP data created by the original source system.

A6)	The original source system should only make available NSCS data for QSEs that actually had a non-zero Non-Spin Ancillary Service Capacity Sale quantity for at least one interval.  The Interface should appropriately interpolate data from the original source system in a fashion to create a NSCS interval data cut for an entire day, substituting zeros for the intervals that have null values.  As such, the Settlement System will settle based upon any NSCS data created by the original source system.

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR193 | PR 6.7.3(4)(b) | Will be completed August 31 | The input bill determinants should not be rounded or truncated. This includes the following bill determinants: NSCCOSTTOT, PCNS, NSRP, NSFQ, NSCS, NSCP, HLRS, and NSSQ. |
| FR194 | PR 6.7.3(4)(b) | Will be completed August 31 | The following intermediate bill determinants should not be rounded or truncated: NSPR, NSQTOT, NSQ, and NSONET. |
| FR195 | PR 6.7.3(4)(b) | Will be completed August 31 | The following output bill determinants should not be rounded or truncated: NSCOST. |
| FR196 | PR 12.3 (C) | Will be completed August 31 | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the public data extracts. NSPR NSCOSTTOT NSQTOT All of the other input, intermediate, and output bill determinants defined below should be identified within the Settlement System as a bill determinant that should be included in the private data extracts. NSCOST NSQ NSONET NSSQ PCNS NSRP NSFQ HLRS NSCS NSCP |
| FR197 | PR 6.7.3(4)(b) | Will be completed August 31 | The following input, intermediate, and output bill determinants defined above should be identified with a unique market identifier with a numerical indicator: NSRP, PCNS, and NSSQ. |
| FR198 | PR 6.7.3(4)(b) | Will be completed August 31 | DRIVER: The RDCOST calculation should only be attempted for QSEs for which there exists at least one of the following Bill Determinant for the QSE and the Operating Day: NSSQ, PCNS, NSRP, NSFQ, NSCS, or NSCP. |
| FR199 | PR 6.7.3(1)(b) | Will be completed August 31 | The NSCOST settlement process will use the Day-Ahead Market Ancillary Service data available from the most recent Day Ahead Settlement run. |
| FR200 | PR 6.7.3(1)(b) | Will be completed August 31 | In the event that the Day-Ahead Market Ancillary Service is resettled at a time after the Real-Time True-Up Resettlement, then the NSCOST will need to be resettled. |

### Business Defined Errors

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR201 | PR 6.7.3(4)(b) | Will be completed August 31 | If NSCS does not exist for the QSE, assume a default value of zero. No error message is necessary. |
| FR202 | PR 6.7.3(4)(b) | Will be completed August 31 | If NSCP does not exist for the QSE, assume a default value of zero. No error message is necessary. |
| FR203 | PR 6.7.3(4)(b) | Will be completed August 31 | If NSSQ does not exist for the QSE, assume a default value of zero. No error message is necessary. |
| FR204 | PR 6.7.3(4)(b) | Will be completed August 31 | If PCNS does not exist for any QSE, assume a default value of zero. No error message is necessary. |
| FR205 | PR 6.7.3(4)(b) | Will be completed August 31 | If NSRP does not exist for any QSE, assume a default value of zero. No error message is necessary. |
| FR206 | PR 6.7.3(4)(b) | Will be completed August 31 | If NSFQ does not exist for any QSE, assume a default value of zero. No error message is necessary. |
| FR207 | PR 6.7.3(4)(b) | Will be completed August 31 | If HLRS does not exist for any QSE, assume a default value of zero. No error message is necessary. |
| FR208 | PR 6.7.3(4)(b) | Will be completed August 31 | If the NSQTOT cut equals zero for an interval then the NSPR cut should automatically set to zero for that same interval to prevent a Division by Zero error. |

### Specific Database Needs

None

## Adjustments to Cost Allocations for Ancillary Services Procurement Part III (RTNSAMT)

## The adjustment to each QSE’s DAM charge for the Non-Spin for the Operating Hour, due to changes during the Adjustment Period or Real-Time operations, is calculated as follows:

| Requirement ID | FR209 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.7.3(4)(c) |
| Traceability to Sub-Process Maps | Will be completed August 31, 2006 |
| Description RTNSAMT_<Q> = NSCOST_<Q> – DANSAMT_<Q> |  |

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| NSCOST | $ | Non-Spin Cost per QSE—QSE Q’s share of the net total costs for Non-Spin, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| DANSAMT | $ | Day-Ahead Non-Spin Amount per QSE—QSE Q’s share of the DAM cost for Non-Spin, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RTNSAMT | $ | Real-Time Non-Spin Amount per QSE—The adjustment to QSE Q’s share of the costs for Non-Spin, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RTNSBILLAMT | $ | Real-Time Non-Spin Bill Amount per QSE— The difference between two consecutive daily summed channels of RTNSAMT for QSE Q in the Supplemental Ancillary Service Market. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: This bill determinant is not specifically documented in the Nodal Protocols but is required as a result of Section 9 Statements and Invoices Protocol requirements. |  |  |  |

### Data Dependencies

D1)  The RTNSAMT depends upon the completion of the NSCOST and DANSAMT calculation process.

### Assumptions

None

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR210 | PR 6.7.3(4)(c) | Will be completed August 31 | The input bill determinants should not be rounded or truncated. This includes the following bill determinants: NSCOST, and DANSAMT. |
| FR211 | PR 9.7.1 (4) | Will be completed August 31 | The following output bill determinants should be rounded to two (2) decimal places: RTNSAMT, RTNSBILLAMT. |
| FR212 | PR 12.3 (C) | Will be completed August 31 | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the private data extracts. NSCOST DANSAMT RTNSAMT |
| FR213 | PR 6.7.3(4)(c) | Will be completed August 31 | DRIVER: The RTNSAMT calculation should only be attempted for QSEs for which there is a NSCOST cut or DANSAMT cut for the Operating Day in the settlement system. |
| FR214 | PR 6.7.3(1)(b) | Will be completed August 31 | The RTNSAMT settlement process will use the Day-Ahead Market Ancillary Service data available from the most recent Day Ahead Settlement run. |
| FR215 | PR 6.7.3(1)(b) | Will be completed August 31 | In the event that the Day-Ahead Market Ancillary Service is resettled at a time after the Real-Time True-Up Resettlement, then the RTNSAMT will need to be resettled. |

### Business Defined Errors

None

### Specific Database Needs

None

# Supplementary Requirements

## Performance Requirements

Lodestar must be able to perform its full set of Nodal settlement calculations. Performance characteristics will be determined and detailed in the conceptual and detailed design.

## Legal and Regulatory requirements

All Lodestar financial data must be saved in accordance with standard accounting principles as dictated by the ERCOT Texas Nodal Protocols.

## System Security Requirements

Lodestar will only be accessed directly by internal ERCOT personnel either through thin client UI, Citrix environment, or thick client on employee desktops. Market Participants will be able to access their statements and invoices on ERCOT private web site. ERCOT private web site access will be controlled by digital certificate authentication in accordance with ERCOT security policies.  Additional details will be provided in the Conceptual System Design.

## Back up and Recovery Requirements

All Lodestar Nodal settlement data must be backed up on a daily basis and recoverable within 24 hours.  Additional details will be provided in the Conceptual System Design.

## Availability and Redundancy Requirements

Nodal Lodestar system must be available 7/24. Lodestar is considered a tier 1 system and critical to base ERCOT business processes.  Additional details will be provided in the Conceptual System Design.

## Maintainability Requirements

Lodestar Nodal system will be maintained by internal ERCOT personnel. Service Level Agreements and explicit support will be detailed in the detail design document.

## Daylight Savings Time shall be recognized in Nodal Market settlements.

## Spring Daylight Savings Time Operating Day:

### Hour Ending 0300 will be skipped, resulting in 23 hourly intervals for the day.

### The four fifteen minute intervals within Hour Ending 0300 will be skipped, resulting in 92 fifteen minute intervals for the day.

### The sixty one minute intervals within Hour Ending 0300 will be skipped, resulting in 1380 total one minute intervals.

## Fall Daylight Savings Time Operating Day:

### Hour Ending 0200 will have two (2) sets of data, resulting in 25 hourly intervals for the day.

### The four fifteen minute intervals within Hour Ending 0200 will have two (2) sets of data, resulting in 100 fifteen minute intervals for the day.

### The sixty one minute intervals within Hour Ending 0200 will have two (2) sets of data, resulting in 1500 total one minute intervals.

# Protocol Coverage

Since one protocol may translate into many requirements, Project Managers are required to identify the coverage extent (Full/Partial) of all relevant Nodal Protocols that are mentioned in this requirements document.

| Protocol Sub-Section # (To the lowest level of granularity as possible) | Coverage by Requirements (Full/Partial) |
| --- | --- |
| 6.7.3 (1)(a) | Partial |
| 6.7.3 (1)(b) | Partial |
| 6.7.3 (1)(c) | Partial |
| 6.7.3 (2)(a) | Partial |
| 6.7.3 (2)(b) | Partial |
| 6.7.3 (2)(c) | Partial |
| 6.7.3 (3)(a) | Partial |
| 6.7.3 (3)(b) | Partial |
| 6.7.3 (3)(c) | Partial |
| 6.7.3 (4)(a) | Partial |
| 6.7.3 (4)(b) | Partial |
| 6.7.3 (4)(c) | Partial |
| 6.7.1(1) | Partial |
| 6.7.1(2) | Partial |
| 6.7.1(3) | Partial |
| 6.7.1(4) | Partial |
| 6.7.2(1) | Partial |
| 6.7.2(2) | Partial |
| 6.7.2(3) | Partial |
| 6.7.2(4) | Partial |
| 9.2.5 | Partial |
| 9.7.1(2) | Partial |
| 12.3 (c) | Partial |