| PRR Number | 671 | PRR Title | Remove Sunset Date on Floor for Responsive Reserve Service Bids |  |
| --- | --- | --- | --- | --- |
| Timeline (Normal or Urgent) | Normal | Recommended Action |  | Approval |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 4.4.11 Ancillary Services Bid Submittal |  |  |
| Proposed Effective Date |  | November 1, 2006 |  |  |
| Priority and Rank Assigned |  | N/A |  |  |
| Revision Description |  | Revise 4.4.11 to remove sunset date of January 1, 2007. |  |  |
| Overall Market Benefit |  | None – continues current practice |  |  |
| Overall Market Impact |  | None – continues current practice |  |  |
| Consumer Impact |  | None – continues current practice |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | TBD |  |  |
| Procedural History |  | - PRR671 was posted on 6/15/06. - PRS considered this PRR on 7/20/06. - On 8/9/06, ERCOT posted an Impact Analysis (IA). - On 8/17/06, PRS reviewed the IA and Recommendation Report. |  |  |
| PRS Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | On 7/20/06, PRS voted to recommend approval as submitted by the sponsor. The motion passed unanimously with all Market Segments present for the vote. On 8/17/06, PRS reviewed the IA and Recommendation Report and voted to forward these documents on to TAC. The motion passed with one abstention from an Investor Owned Utility (IOU). All Market Segments were present for the vote. |  |  |
| Summary of PRS discussion |  | On 7/20/06, PRS discussed how this issue will be addressed in the Nodal market. A Nodal PRR is being developed. Participants discussed whether this PRR adequately addresses all the potential uses of Load response, especially in the event of an Emergency Electric Curtailment Plan (EECP) and whether this PRR will take away motivation to find a long-term solution. Participants also noted that the lack of participation in the non-spin market may be due to issues related to linked bids due to pro-ration. |  |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 | This is an interim solution prior to implementation of nodal protocols. Long term solution is being implemented via the Nodal protocol revision process. |  |
| --- | --- | --- | --- |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 |  |  |
| Additional Qualitative Information | 1 |  |  |
| Other | 1 |  |  |

| Original Sponsor |  |
| --- | --- |
| Name | Mary Anne Brelinsky |
| Company | Reliant |
| Segment | Demand Side Working Group |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| None |  |

Proposed Protocol Language Revision

4.4.11	Ancillary Services Bid Submittal

QSEs may submit, by 1300, Ancillary Service bids to ERCOT for any Ancillary Service market open during the Day Ahead Period.  Submitted bids remain active for any period until:

(a)	selected by ERCOT; or

(b)	automatically expired by software at the time selected by the QSE.

Ancillary Service bids shall not exceed one thousand ($1,000) dollars per MW for any Resources.  QSEs shall not submit bids to provide RRS at a price less than zero dollars.  Any Ancillary Service bids in excess of one thousand ($1,000) dollars per MW will be rejected by ERCOT.