## Slide 1
REPLACEMENT RESERVE SERVICE:
PRS Version
PRESENTED BY: Constellation NewEnergy DATE: JULY 19, 2006
©2006 CONSTELLATION ENERGY GROUP, INC. PRIVILEGED & CONFIDENTIAL

## Slide 2: RPRS Procurements Are Based on ERCOT’s Load Forecast
0
1000
2000
3000
4000
5000
6000
7000
8000
MW
ERCOT
Load Forecast
Committed
Resources
Capacity Insufficiency
RPRS
Procurement

## Slide 3: RPRS Procurement Costs vs. QSE Charges
RPRS
Procurement
Costs
QSE Charges
$
$500,000.00
$1,000,000.00
$1,500,000.00
$2,000,000.00
$2,500,000.00
$3,000,000.00
$3,500,000.00
$4,000,000.00
$4,500,000.00
1333
2666
3999
5332
6665
7998
9331
10664
11997
MW
Price
X
Amount
QSE
Charges
Allocation
of Charges
By Max Short and Schedule Imbalance
Uplifted
On A Load Ratio Share
$
$500,000.00
$1,000,000.00
$1,500,000.00
$2,000,000.00
$2,500,000.00
$3,000,000.00
$3,500,000.00
$4,000,000.00
$4,500,000.00
Paid to RPRS Providers

## Slide 4: RPRS Uplift Money Flows (example)
Net Result
Credits
Costs
ERCOT Purchases 500MW RPRS @ $100 MCPC
QSE A
-2,000 MW
10% LRS
QSE A
($200,000)
TOTAL COLLECTION $500,000 - RPRS RESOURCE PAYMENT $50,000
QSE A
$45,000
QSE A
($155,000)
QSE B
($78,500)
QSE C
$45,000
QSE D
$138,500
QSE E
0
QSE B
$121,500
QSE C
$45,000
QSE D
$238,500
QSE E
0
QSE B
($200,000)
QSE C
$0
QSE D
($100,000)
QSE E
0
QSE B
-2,000 MW
27% LRS
QSE C
+500 MW
10% LRS
QSE D
-1,000 MW
53% LRS
QSE E
+4,500 MW
0% LRS
Effective
Rate
QSE A
$77.50
QSE B
$39.25
QSE C
($45,000)
QSE D
($138.00)
QSE E
0

## Slide 5: RPRS Data through June 27
MONTH | RPRS Cost | Dollars Collected | Dollars Uplifted | % Uplifted
APRIL | ($1,851,331.44) | $19,778,786.49 | ($17,543,877.52) | 89%
MAY | ($1,060,754.59) | $14,380,333.88 | ($12,425,791.00) | 86%
JUNE (UP TO 6/27) | ($1,715,253.67) | $11,955,170.22 | ($9,215,086.51) | 77%
TOTAL | ($4,627,339.70) | $46,114,290.59 | ($39,184,755.03) | 85%

## Slide 6: The Uplift Misaligns Incentives and Can Currently be…Optimized
LOAD PAYS
RESOURCE IS CREDITED
NET RESULT
LOAD IS CREDITED

## Slide 7: Imprecision in Forecasting Has Played a Significant Role in RPRS Procurements
Source: Replace Reserve Service Daily Reports, ERCOT Load Forecast, Initial Market Totals

## Slide 8: Current RPRS Structure Abandons Cost Causation Principles?
  Cost Causation Principles Demand that RPRS Procured due to Forecast Imprecision be Allocated to the Entire Market
  No one can forecast 60+ GW with precision
  We can however, settle with precision
  Market uplifts are done absent rents
  Can’t quantify the damage without more data
RPRS DATA |  |  | 
APRIL 1 - JUNE 30, 2006 |  |  | 
TOTAL HOURS |  | 2,183 | 
HOURS OVERFORECASTED |  | 2,142 | 98.12%
HOURS UNDERFORECASTED |  | 41 | 1.88%
RPRS PROCUREMENTS THROUGH 6/30/06 (HOURS) |  | 92 | 
ADJUSTED FOR FORECAST IMPRECISIONS |  | (63) | -68%
REMAINDER |  | 29 | 32%
TOTAL PROCURMENT (MW) |  | 51,911 | 
PROCURMENT ADJUSTED FOR IMPRECISIONS (MW) |  | 37,639 | 72.5%

## Slide 9: Current RPRS Structure Has Damaged the Energy Market

## Slide 10: Potomac Economics Recognized Certain Problems with RPRS
There are two potential negative impacts from the replacement reserves market that should be monitored. First, the model determines whether additional capacity is necessary based on ancillary services requirements and a forecast of load on the following day. On days when the day-ahead load forecast is significantly higher than real-time load, it may result in unnecessary purchases of replacement reserves. Currently, QSEs are relied upon to start more capacity when real-time load is higher than anticipated. However, they are able to do this closer to real-time when load forecasts are likely to be more accurate, rather than in the day-ahead timeframe when the replacement reserves market will clear.
Source: ERCOT 2004 State of the Market Report, July 2005, Potomac Economics, Ltd.

## Slide 11: Potomac Problems Continued
Second, the replacement reserves market compensates units that are started through this market, but not units that are already scheduled to be on-line. This may create an incentive for market participants to delay committing certain resources until after the replacement reserves market. This would allow them to receive a capacity payment in addition to payments for sales through the balancing market. If these units are not selected in the replacement reserves market, the QSE can still commit them after the market clears. If QSEs wait until after the replacement reserves market to commit large amounts of capacity, it may result in unnecessary capacity purchases and higher costs to consumers.
Source: ERCOT 2004 State of the Market Report, July 2005, Potomac Economics, Ltd.

## Slide 12: Additional Data Since June 27
DATE | RPRS COST | PROJECTED DOLLARS COLLECTED | PROJECTED DOLLARS UPLIFTED
6/28/2006 | $ (200,503.79) | NO DATA | NO DATA
6/30/2006 | $ (761,241.42) | NO DATA | NO DATA
7/8/2006 | $ (1,194,772.43) | NO DATA | NO DATA
7/10/2006 | $ (48,397.02) | NO DATA | NO DATA
7/11/2006 | $ (291,131.75) | NO DATA | NO DATA
7/12/2006 | $ (744,222.63) | NO DATA | NO DATA
7/15/2006 | $ (915,450.63) | NO DATA | NO DATA
7/17/2006 | $ (1,473,453.67) | NO DATA | NO DATA
TOTAL | $ (10,271,740.50) | $ 103,026,723 | $ (87,572,715)
THROUGH (JULY 17, 2006) |  |  | 

## Slide 13: RPRS Costs Over Time

## Slide 14: Request of the Board
  Direct PRS to urgently consider a Protocol Revision that would upon Board passage change the settlement for the RPRS Market by uplifting the cost of RPRS on a load ratio share until a future Protocol Revision (or Revisions) resolving the issues with the RPRS Market are filed and system changes are implemented
  Consider the Protocol Revision at the next Board Meeting