## Slide 1: ROS Report to TAC – 9/7/06 Major Discussion Items at 8/10-11/06 ROS
Nodal Operating Guides:
Motion passed to maintain separate Operating Guides, as is done now, after Nodal begins, with simplified references.
PRR 673 Adjust Scale Factor:
Motion passed to endorse sliding scale with max value of 2 and a min value of 1.
PRR 647 Gross and Net Reporting:
Motion passed to endorse simplified OWG version.
NERC Continuing Education Hours:
Unanimous motion to endorse ERCOT support of CEH credit for Training Seminar and Black Start.
Synchrophasor Project Endorsement:
Motion passed to endorse ERCOT funding and participation.
ERCOT Staffing / Resource Allocation:
Unanimous motion that ERCOT seriously consider ongoing and future grid reliability when determining resources and priorities, and that TAC and the BOD be advised that improvements are needed.

## Slide 2: ROS Report to TAC – 9/7/06 Items Requiring TAC Vote
OGRR 186 EECP Realignment:
Unanimous motion to adopt new EECP steps and operating actions, as previously shown to TAC. Unanimous motion to sponsor a draft PRR that adopts the provisions of OGRR 186 by reference.
NPRR 003 Section 5:
Unanimous motion to endorse with changes, to insure treatment of double circuit contingencies consistent with current practice.
Principles of Consistency:
Motion passed to endorse consistency document, and definition of annual planning model, brought forth by the joint TPTF/ROS TF.
OGRR 181 Submission of Consistent Data:
E-mail motion passed to endorse OWG version that now reflects the Principles of Consistency document
TPTF Assignment - Definition of Simple Trans. Outage:
Unanimous motion to endorse ERCOT proposal.
TPTF Assignment – Optimal Frequency Bias:
Unanimous motion to endorse PDCWG proposal, as amended.