## Slide 1
Appeal of PRR 674
PRESENTED BY: Constellation NewEnergy DATE: Sept. 6, 2006
©2006 CONSTELLATION ENERGY GROUP, INC. PRIVILEGED & CONFIDENTIAL

## Slide 2: RPRS Update/Overview
Issues We Raised In July:
  Load Forecast Deviations
  RPRS Over-collection/ Redistribution
    Discrimination/Lack of Uniformity in Rates for QSEs
    Misaligned incentives/Gaming
  These Issues are unresolved
New Issues:
  Resource Plans Deviations
  Security Issues
    Forecast Augmentation
    N-1
  Non-Spinning, Non Spin Reserve Service
  Eliminated of the Forecast Augmentation
  Adjustments for Irresolvable contingencies

## Slide 3: Security Issues, N-1 & 1800 MW 
  Security Issues Account for 95% of RPRS Procured
  In June and July the RPRS Engine Procured an Average of 3.7 GW OVER & ABOVE ERCOT’s Forecast to Resolve Security Issues
  Solving for N-1 and Forecast Augmentation are system security costs an not appropriately allocated to QSEs with unscheduled load
    Grid Security Costs are NEVER isolated and charged to a segment of the market
    No causal relationship exists between a QSE’s day-ahead schedule and the need for additional capacity to resolve system security issues
    System security is a system benefit that is charged to the system

## Slide 4: Forecast Deviations
  Forecast Deviations Account for 4% of RPRS Procured
  In June and July the RPRS Engine Procured an Average of 1.5 GW OVER & ABOVE ERCOT’s Forecast Due to Forecast Deviations
  A Forecast is not settlement quality data
  No other ERCOT Charges/Credits are Charged/Credited based on a Forecast (prediction, estimate, guess)
  No other Market Charges/Credits based on an unadjusted Forecast

## Slide 5: Sample Data
Day | Hour | Unadjusted Resource Plans | ERCOT LOAD Forecast + Ancillary Service Requirements -  | RPRS Step 2 | Effect of N-1 and 
 |  | MW | MW | MW | MW
21-Jul | 7:00 | 50749 | 36938 | 30 | -13781
21-Jul | 5:00 | 48429 | 35525 | 30 | -12874
21-Jul | 6:00 | 48893 | 36072 | 30 | -12791
21-Jul | 8:00 | 51150 | 37990 | 30 | -13130
21-Jul | 4:00 | 48178 | 36047 | 30 | -12101
Relating to Security Issues
Forecast Deviations
Day | Hour | ERCOT Load Forecast | Actual Average Adjusted Metered Load | Forecast Deviation
 |  | MW | MW | MW
26-Jul | 15:00 | 55545 | 48947 | 6598
23-Jul | 19:00 | 53899 | 47565 | 6334
26-Jul | 16:00 | 56376 | 50262 | 6114
25-Jul | 16:00 | 57316 | 51377 | 5939
25-Jul | 17:00 | 57771 | 51897 | 5874

## Slide 6: Resource Plan Deviations/Non Spin
  Insufficient Data to determine the Total Effect
  In the Hour where Data was Provided, Resource Plan Deviations were significant (+89 Resources, +4GW, -16 Resources, -2GW)
  No Data on Non-Spin
  Could Easily Dwarf All Capacity Insufficiency Amount

## Slide 7: Capacity Insufficiency, Caused by Under-scheduling
  Potentially 1.42% or 3 hours out of 211 in June and July
  Not adjusted for Resource Plan Deviations or Non-Spin
Day | Hour | Unadjusted Resource Plans w/o Non-Spin | Actual Metered Load + Ancillary Requirements | Potential Capacity Insufficiency Caused by Under-scheduling | RPRS Step 2
 |  | MW | MW | MW | MW
17-Jul | 16:00 | 62523 | 63484 | -961 | 2323
17-Jul | 17:00 | 62553 | 63622 | -1069 | 2487
17-Jul | 18:00 | 62693 | 63261 | -568 | 2487
Averages |  |  | 63456 | -866 | 2432

## Slide 8: PRR 676 is VERY Different than Nodal
PRR 676
  Assigns all Local Congestion to Under-scheduled QSEs
  Assigns N-1 Grid Security Costs to Under-scheduled QSEs
  No Incentives for Accurate Resource Plans
  Unadjusted Day Ahead Procurement
Nodal
  Directly Assigns Congestions
  Directly Assigns Grid Security Costs in LMPs
  Financial Incentives For Actual Resource Plans
  Day Ahead Energy Deviations Settled in Real Time

## Slide 9: PRR 676 is very similar to 667
Similarities
  No Marginal Cost Pricing
  Cost Based Pricing based on a Short Ratio Share
Differences
  All local Congestion Costs Assigned to Under-scheduled QSEs
    Nodal Revesal
    Wrong incentive
  2x Penalty Pricing

## Slide 10: Where is the Causality????
  The Theoretical Causality between short scheduling and the need for RPRS Capacity is the entire basis for direct assignment
  Data demonstrates that short scheduling has, at best, a miniscule effect on RPRS Capacity Procured
  There is NO SUPPORT for Direct Assignment
  To date we Estimate $132MM in Step 2 RPRS Charges with more than $90MM uplifted
  PRR 674 is the Right Answer, and Right Incentive

## Slide 11: A Warning About Red Herrings