| OGRR Number | 181 | OGRR Title | Submission of Consistent Data for Planning and Operational Models |  |
| --- | --- | --- | --- | --- |
| Timeline (Normal or Urgent) | Normal | Action |  | Approved |
| Operating Guide Section(s) Requiring Revision (include Section No. and Title) |  | 5.1.6, System Modeling Information 8.2.7, Documentation |  |  |
| Protocol Section(s) Requiring Revision, if any |  | None |  |  |
| Proposed Effective Date |  | ## October 1, 2006 |  |  |
| Revision Description |  | This OGRR adds language that will require that data on existing and future ERCOT System components and topology submitted to ERCOT by Transmission and/or Distribution Service Providers (TDSPs) for use in Planning and Operational Models is consistent. |  |  |
| Reason for Revision |  | The transmission system could be at risk if planned or operated on inconsistent data. As consistent data tends to yield consistent results, it is good business practice to correlate existing ERCOT System components and topology within Planning and Operational models. |  |  |
| Overall Market Benefit |  | This OGRR will provide data transparency and consistency between modeling cases. It will help ensure that planning and operational models capture issues accurately. |  |  |
| Overall Market Impact |  | Cost to implement the proposed requirements for TDSPs. |  |  |
| Consumer Impact |  | None. |  |  |
| Procedural History |  | - On 02/03/06, OGRR181 and an Impact Analysis (IA) were posted. - On 02/22/06, TXU Electric Delivery comments were posted. - On 02/24/06, CenterPoint Energy comments were posted. - On 03/17/06, additional comments from TXU Electric Delivery were posted. - On 05/19/06, ERCOT comments were posted. - On 06/15/06, additional comments from CenterPoint Energy were posted. - On 06/21/06, OGRTF’s comments were posted - On 08/11/06, the ROS/TPTF Consistency Task Force’s comments were posted. - On 08/15/06, additional OGRTF comments were posted. - On 08/16/06, the Operations Working Group (OWG) considered OGRR181. - On 08/24/06, the ROS considered OGRR181 via email vote. - On 08/30/06, a Cost Benefit Analysis and revised IA were posted. - On 09/07/06, the TAC considered OGRR181. |  |  |
| OWG Recommendation |  | On 08/16/06, the OWG recommended that ROS approve OGRR181 as revised by OWG. |  |  |
| Summary of OWG Discussion |  | On 08/16/06, OWG reviewed OGRR181 and discussed the comments submitted. |  |  |
| ROS Recommendation |  | On 08/24/06, the ROS endorsed approval of OGRR181 as revised by the OWG via email vote. There was one abstention from the Consumer Segment. All Market Segments participated in the vote. |  |  |
| Summary of ROS Discussion |  | No discussion. |  |  |
| TAC Action |  | On 09/07/06, the TAC voted to approve OGRR181 as recommended by the ROS. The motion was approved with one abstention from the Municipal segment. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | No discussion. |  |  |

| Original Sponsor |  |
| --- | --- |
| Name | W. Curtis Crews |
| E-mail Address | ccrews@ercot.com |
| Company | ERCOT |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| 022206 TXUED | Comments to provide additional clarity to language. |
| 022406 CenterPoint | Comments addressing the necessity of the OGRR. Proposed language changes. |
| 031706 TXUED | Comments to restore language in Section 8.2.7 as originally submitted. |
| 051906 ERCOT | Comments submitted as a result of discussions between ERCOT and Market Participants. |
| 061506 CenterPoint | Comments to clarify data inconsistencies. |
| 062106 OGRTF | Comments to support CenterPoint Energy comments. |
| 081106 ROS/TPTF Consistency Task Force | Comments to propose additional language. |
| 081506 OGRTF | Comments to support ROS/TPTF Consistency Task Force and to remove duplicative language. |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive OGRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the OGRR.

| Assumptions | 1 | Modeling conventions will be consistent at the TDSP level and ERCOT level |  |
| --- | --- | --- | --- |
|  | 2 | TDSP, and ERCOT Operations Support and Systems Planning groups will be reviewing data closer due to this requirement. |  |
|  | 3 | Results of cases will trend towards consistency |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | Cost per TDSP to implement | 1 FTE each for TDSP (personnel may already be available at local level but process is not in place) |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Data transparency between modeling cases (including cases used in RMR, RAP, SPS, etc) | 20 hours savings per week to ERCOT researching model difference issues. Unknown how many hours per week would be required at TDSP. Possible unknown monetary benefit associated with NOT implementing an RMR, RAP, SPS, postponing a project, etc. Also could have a unplanned monetary cost to Market Participants associated with implementing an RMR, RAP, SPS, needing a project, etc. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | Enhanced model consistencies resulting in enhanced model results. Note that the function of the Planning and Operational cases will not change. The base model data that the cases are built on will be consistent. |  |
|  | 2 | This requirement will help ensure that what was planned was built as planned. Granted, the Planning data is a best guess based on future engineering design data but the best guess should be replaced with as-built information. This will help ensure that the Planning and Operational models capture issues more accurately. |  |
|  | 3 | . |  |
|  | 4 |  |  |
| Other | 1 |  |  |
| Comments | 2 | This would be a requirement in the Texas Nodal Market |  |
|  | 3 |  |  |
|  | 4 |  |  |

Proposed Operating Guide Language Revision

### 5.1.6	System Modeling Information

Information on existing and future ERCOT System components and topology is necessary for ERCOT to create databases and perform tests as outlined in these criteria.  To ensure that such information is made available to ERCOT, the following actions by ERCOT Market Participants are required:

1.	Each TDSP, or its designated agent, shall provide accurate modeling information for all ERCOT Transmission Facilities owned or planned by the TDSP.  The information provided shall include, but not be limited to, the following:

a.	Information necessary to represent the TDSP’s Transmission Facilities in any model of the ERCOT Transmission Grid whose creation has been approved by ERCOT, including modeling information detailed in procedures of the SSWG, DWG, and SPWG;

b.	Identification of a designated contact person responsible for providing answers to questions ERCOT may have regarding the information provided; and

c.	  TDSP owned or operated Transmission Facility d

Data provided and used to accurately represent a Transmission Facility in a model shall be consistent to the extent practicable with data provided and used to represent that same Transmission Facility in any other model created to represent a time period during which the Transmission Facility is expected to be physically identical to the extent practicable.  At a minimum, the impedance data (resistance, reactance, and charging) for Transmission Facilities or groups of series-connected Transmission Facilities having the same physical termination points in both models shall match to within a precision specified by ERCOT.  Rating data (Planning's Rate A and Operation's Normal Rating, and Planning's Rate B and Operation's Emergency Rating) shall match to within a precision specified by ERCOT when ambient weather conditions specified for models are identical.  The TDSP's designated contact person shall provide an explanation to ERCOT for any failure to provide the required data consistencydata inconsistencies. All existing transmission line’s and transformer’s impedances (or equivalent branch circuit impedance) and ratings (Normal and Emergency) shall be identical, to the extent practicable.  If all normally closed breakers and switches are closed and normally open breakers and switches are open in the Network Operations Model, the calculated line flows between substations in the Annual Planning Model shall be consistent (very close), when all models use the same load magnitude and distribution, generation commitment and dispatch, and voltage profile. The TDSP shall provide an explanation to ERCOT for data inconsistencies.

Any long-term changes to the reactive capability must be provided by the facility owner to ERCOT, as-planned at least thirty (30) days prior to implementation and as-built no later than thirty (30) days after implementation, as changes or upgrades are made during the life of the Reactive Power facilities.

Further, each TDSP owning or planning Transmission Facilities shall attend the scheduled meetings and otherwise participate in the activities of the SSWG and the SPWG, unless specifically exempted from these activities by ERCOT.

2.	Each GR, or its designated agent, shall provide accurate modeling information for each existing or publicly-announced ERCOT generating unit for which it is the majority owner. The information provided shall include, but not be limited to, the following:

a.	Information necessary to represent the GR’s generation and interconnection facilities in any model of the ERCOT electrical system whose creation has been approved by ERCOT, including modeling information detailed in procedures of the SSWG, DWG, and SPWG; and

b.	Identification of a designated contact person responsible for providing answers to questions ERCOT may have regarding the information provided.

Typical or representative information may be provided for planned facility additions or modifications, but such information shall be revised using actual design or construction information no later than thirty (30) days after it becomes available.

### 8.2.7	Documentation

Information on existing ERCOT System components and topology is necessary for ERCOT to create databases and perform tests.  To ensure that such information is made available to ERCOT, each TDSP, or its designated agent, shall provide accurate information for all ERCOT Transmission Facilities owned or planned .  The information provided shall include, but not be limited to, the following:

1.	Information necessary to represent the TDSP’s Transmission Facilities in the ERCOT Operations Model, including modeling information detailed in procedures of ERCOT and Network Data Support Working Group (NDSWG); and

2.	Identification of a designated contact person responsible for providing answers to questions ERCOT may have regarding the information provided; and

3. TDSP owned or operated Transmission Facility data provided and used to accurately represent a Transmission Facility in a model shall be consistent to the extent practicable with data provided and used to represent that same Transmission Facility in any other model created to represent a time period during which the Transmission Facility is expected to be physically identical.  The TDSP's designated cont existing transmission line’s and transformer’s impedances (or equivalent branch circuit impedance) and raergency) shall be idncal, to the extent practicable.  If all normally closed breakers and switches are closed and normally open breakers and switches are open in the Network Operations Model, the calculated line flows between substations in the Annual Planning Model shall be consistent (very close), when all models use the same load magnitude and distribution, generation commitment and dispatch, and voltage profile. The TDSP shall provide an explanation to ERCOT for data inconsistencies.

arovisent a Transmission Fn a modelallb with data posed to reprenty in any other model created tnsmission Facility is expected to be physicall At a minimum edance eactance, and chargFacilities or groups o ted Transmissving the same phyiion points i dels shmatcrecision specif data (Planning's RatA d Planning's Rate B and Operationthin a precision specified by ERCOT whmbietditions specfdels are ied contact person shall provid on to ERCOT oure to proe requiconsisten

Reference:  Protocols Section 8.8.2.1, TSP Information to be provided to ERCOT

The TSP shall notify ERCOT at least thirty (30) days before starting to energize or place into service any new or relocated Facility.  The Notice shall be submitted in accordance with formats and procedures adopted by ERCOT and TSPs.  For Notices involving co-owned, co-operated, or co-rated Transmission Facilities, the TSP submitting the initial Notice shall communicate with the other Market Participants responsible for co-owning, co-operating, or co-rating said Transmission Facilities prior to the Notice submittal.  The Notice shall include the following information:

(1)	Proposed energize date;

(2)	TSP performing work;

(3)	TSP(s) responsible for rating affected transmission element(s);

(4)	Location Code if applicable (e.g. station code);

(5)	Identification of existing Transmission Facilities involved and new Transmission Facilities (if any) being added or existing Transmission Facilities being permanently removed from service;

(6)	Ratings of existing Transmission Facilities involved and new Transmission Facilities (if any) being added;

(7)	Outages required (clearly identify each Outage if multiple Outages are required), including sequence of Outage and estimate of Outage duration;

(8)	General statement of work to be completed with intermediate progress dates and events identified;

(9)	Supervisory Control and Data Acquisition modification work including descriptions of any new data telemetry points or changes to existing telemetry;

(10)	Additional data determined by ERCOT and TSP(s) as needed to complete the ERCOT model representation of existing Transmission Facilities involved and new Transmission Facilities (if any) being added;

(11)	Statement of completion, including:

(a)	Statement to be made at the completion of each intermediate stage of project; and

(b)	Statement to be made at completion of total project.

(12)	Drawings to be attached, including:

(a)	Existing status;

(b)	For each intermediate stage; and

(c)	Proposed completion of job.

The parties involved shall furnish pertinent information to ERCOT on request, including the following:

- Connection diagrams

- Metering one line diagram

- Substation one line diagram

- Panel schematics and one line diagrams

- Instrument transformer (CT and PT) data (ratios, test reports, nameplate)

- Transducer conversion constants

- Meter constants

- RTU and digital device configuration details

- Certified calibration test reports of any device used for operational metering

- Other data as may be requested