Draft OWG Meeting Notes

August 16, 2006

- Chair:  Meeting opened with the Antitrust Admonition disclosure.

- ROS Meeting:  NPRR-008 remanded to ROS for testing clarification,

Action Item:  Jack to follow-up on what TAC is requiring in this NPRR.

ERCOT reported an Operational Patch for AGC was installed July 27th to correct for proper ancillary services dispatch between intervals.

RPRS, RATA testing mode, indicate generations as unavailable/out of service in the Resource Plan.

Austin June 12th event still under investigation by Compliance.

PRR-647 being indorsed by ROS.

Texas Nodal Implementation meetings scheduled for 8/21/06 and 9/11/06 to discuss EMS requirements.

ERCOT reliability support, issue raised by Chair of ROS, to be taken to TAC for resolution and support.

Jason brought up OCN reporting of 69 kV and below via All-Call, further discussion to follow.

Action Item: Meeting notes from July 19th meeting:  (Jack to post via e-mail for WG’s comments.)

- Colleen Frosch (ERCOT): Discussion on the Nodal Operating Guides (reference the presentation by Colleen and Steve). OGRTF will receive sections 1 and 2 by September’s meeting for review and comments. Discussion on structure and content was very in-depth between ERCOT and WG.

- Operations Task Force:  ERCOT asked to review the comments provided by Market Participants and follow-up with WG on recommendations. 2007 Drill scenario has not been firmed up with respect to which seasonal drill will be implemented, Spring/Winter. Wayne Kemper to discuss scenario date with John Jonte. OCN or Transmission Alert notifications to be reviewed for need of information type. What does or does not need to be provided to the Market Participants?

- Black Start:  Met August 14th.

James Hinson gave a review of the CEH’s, and that 7 to 8 will be provided for training. ERCOT to provide one presenter and take over the CEH program. Black Start Seminar to remain in the Spring for 2007, and go to the Fall 2008. Discussion on testing criteria, may go to a open book type testing format. 20 Hours discussed for ERCOT Training Seminar program.

Black Start bid process extended to a wider pool of providers, 18 from 15 participants. Testing procedures must be submitted by August 31st.

Testing of Satellite Phones discussed, LCRA has not tested to date with ERCOT. CPS and BTU purchased to low orbit Satellite Phones. NERC Standard states documentation must be available in-house for testing criteria and verification. (See Jack’s notes from BSTF meeting).

Ross brought up PRR-584 (2 Year Qualification), dead lock on language between TOs and QSEs with respect to non-qualification vs. qualification. Testing criteria still a concern by BSTF members, no agreement reached.

Action Item: OWG to take PRR-584 to ROS for guidance and recommendation for moving forward.

Ross Owen brought up the distribution of the PUC Daily Report, no consistency in the distribution process.

Action Item: Kent to follow-up on how the senders (Shift Supervisors) are e-mailing the distribution of this report.

- ERCOT Compliance:  Robert Potts:

Mark Henry sent out the July Compliance Report to ROS. ERCOT Compliance opposed to PRR-607 based on the current performance by Market Participants with respect to SCPS scores.

April 17th EECP Event analysis report by ERCOT Compliance distributed to Market Participants. 10 violation reports issues, all concerns have reported back to ERCOT Compliance with satisfactory responses.

June 12th event discussed and is still under investigation by ERCOT Compliance.

Wayne Kemper raised the question on the time requirement for Firm Load Shed. Operating Guides do not address specific time requirement. Robert Potts agreed that language needs to be developed in the Operating Guides to address this concern.

ERCOT Compliance will conduct NERC Readiness Audits with CenterPoint and TXU. ERCOT Compliance looking for other volunteer Market Participants to participate in these audits. Audit Team consists of 1-NERC, 1-Compliance, 2-internal, and 2-external members.

ERCOT Compliance has filed compliance standards with NERC and awaiting NERC’s determination on acceptance. Pilot compliance program may be developed and implemented in 2007, with respect to the new ERO Standards. (See Compliance Report for July for further detailed information.)

- ERCOT Ops: Kent Grammer:  Ops Bulletins:  #272, #273, #274, #275, and #276. WG requested language change in #276 for item 3. from the term of “emergency” to “anticipated capacity shortage”.

- ERCOT Training Seminar:  Jason Sweeney:  Development of seminar materials and trainers on going.

- OGRTF:  Reference meeting notes for August 15th.

Next meeting September 20th.