Draft OWG Meeting Notes

July 19, 2006

Jack:  Opened the meeting with the Antitrust Admonition disclosure.

Meeting notes from June 20th meeting:  Wayne Kemper requested an additional comment added to the June 20th meeting notes referencing Ops Bulletin 266 and additional activities by the TOs. Addition made and accepted by WG. June 20th meeting minutes approved by WG.

John Dumas:  Discussion on EECP Events and how ERCOT determines when to declare EECP. April 17th events where used to analyze the declaration for EECP events. Criterions’ being used to determine EECP declaration is when Up Regulation, Up Balancing, and Non-Spin are completely deployed. EECP to be declared off of physical responsive reserve not the responsive reserve service. (Reference draft OGRR language item 3.) James Hinson discussed the issues surrounding accurate Resource Plans vs. the seasonal NDC. The problem with accurate Resource Plans has been in existence for several years. John requested to provide the draft procedure used to determine the criteria for declaring the EECP event.

James Hinson to draft language for the Operating Procedure to allow the 7% discount. ACTION ITEM: Jack to submit, on behalf of OWG, the draft OGRR language agreed upon at this meeting.

James Hinson:  System Ops will take over the Operator Training Seminar starting 2008. Date change will move the seminar to the Fall of 2008. (Reference the resolution as written.) Black Start training to recognize CEH training starting in 2007.

John Dumas:  PRR647 discussion. LCRA only entity to provide written comments to date. Professional Engineer reference to be removed from draft language, WG approved motion. Jason discussed the large VAR delta behind the fence (Industrial) vs. the small VAR delta provided currently. John discussed the current problem of data being provided with the disconnect between Gross vs. Net VAR data being provided. Cost to entities a major concern for implementation.

John Dumas:  Ops Report presented for discussion. Wayne Centerpoint OOMC question, web based data total procured vs. the report information. There seems to be a disconnect between total procured for OOMC, MCPC, & RPRS. Reports indicates 144, Wayne’s total indicates 70. John to look into this discrepancy. Ross brought up elements lost, reference the Capacitor bank element.

Black Start:  PRR584 to be reviewed at the next meeting on August 3rd (Met Center, Austin). Satellite Phone testing; will this become a requirement for a contracted Black Start facility? Requirement to include the QSE, TO, and Black Start facility.

Kent Grammer:  Ops Bulletins:  Black Start Ops Bulletin 271 has been reviewed and corrected internally by System Ops. Jack discussion “Off-line and available” statement in the procedure language. Kent said that this reference has been removed.

Robert Potts:  Compliance will be sending out the April 17th analysis report from this event. Compliance will be sending out non-compliance letters to entities that had violation during this event. Issue of the definition of “Load Shedding” for the TOs. No time criterion is defined for the time period to shed load when requested by System Ops. QSE with LaaRs required to deploy in 10 minutes. Language needs to be developed for TOs with respect to time to deploy.

Drill critiques that were not provided by market participants will be receiving non-compliance letters. EMO pending further approval, Board has approved this tentatively.

Jason Sweeney:  Training Seminar:  Group met July 18th, see Van’s meeting minutes. CEH discussion very much the focus for next years training program. Recommendation to go to a 6-week training program.

OGRTF discussed OGRR 181 with respect to the special committee formed per ROS to review language. No information or updated provided by the Chair pending conference call scheduled July 19th. OGRTF to receive communications from this committee prior to their August meeting.